## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 631 | 631 | 0 | 0 | 0 | 998913 | 998897 | 16 | -16000 | -0.016
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100799 | 100518 | 281 | -562000 | -0.562 | 5281 | 5276 | 5 | -10000 | -0.01
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 2763000.06 | 2511000.06 | 252000 | -252000 | -0.252 | 10000 | 9000 | 1000 | -1000 | -0.001
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19283 | 18926 | 357 | -357000 | -0.357 | 2600 | 2593 | 7 | -7000 | -0.007
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 3409999.87 | 3244999.94 | 164999.93 | -164999.93 | -0.165 | 55000 | 49000 | 6000 | -6000 | -0.006
SUBZI MANDI
5 | Tx.1 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 450 | 422 | 28 | -28000 | -0.028 | 536 | 512 | 24 | -24000 | -0.024
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 331 | 331 | 0 | 0 | 0 | 2192 | 2015 | 177 | -354000 | -0.354
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41917 | 40671 | 1246 | -1246000 | -1.246 | 999162 | 999159 | 3 | -3000 | -0.003
8 | Tx.2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1671 | 528 | 1143 | -1143000 | -1.143 | 11 | 8 | 3 | -3000 | -0.003
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37508 | 36607 | 901 | -901000 | -0.901 | 997128 | 997096 | 32 | -32000 | -0.032
10 | Tx.-4 | 4902498 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1668 | 1083 | 585 | -585000 | -0.585 | 86 | 74 | 12 | -12000 | -0.012
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17390 | 16521 | 869 | -869000 | -0.869 | 998590 | 998574 | 16 | -16000 | -0.016
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40044 | 39500 | 544 | -544000 | -0.544 | 1051 | 239 | 812 | -812000 | -0.812
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65569 | 65330 | 239 | -239000 | -0.239 | 995674 | 995677 | -3 | 3000 | 0.003
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 649581 | 656563 | -6982 | -6982000 | -6.982 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 655496 | 659920 | -4424 | -2212000 | -2.212 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16454 | 16348 | 106 | -106000 | -0.106 | 1308 | 1254 | 54 | -54000 | -0.054
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113 | 113 | 0 | 0 | 0 | 11427 | 10602 | 825 | -825000 | -0.825
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64243 | 64008 | 235 | -235000 | -0.235 | 2592 | 2532 | 60 | -60000 | -0.06
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998561.125 | 998562 | -0.875 | -875 | -0.000875 | 985318.67 | 985321 | -2.33 | -2330 | -0.00233
|  | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998719 | 998722 | -3 | -3000 | -0.003 | 996721 | 996729 | -8 | -8000 | -0.008 | wef 07.03.2024
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999545 | 999546 | -1 | -4000 | -0.004 | 999490 | 999495 | -5 | -20000 | -0.02
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1915 | 1934 | -19 | -9500 | -0.0095 | 17396 | 17395 | 1 | 500 | 0.0005
23 | 16 MVA TX.-2 | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 11364 | 11296 | 68 | 34000 | 0.034 | 31189 | 31188 | 1 | 500 | 0.0005
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997961 | 998019 | -58 | -58000 | -0.058 | 991920 | 991920 | 0 | 0 | 0 | up to 18.03.2024
[10 empty] | -0.04188 |  |  |  |  | 0 | assesment
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999992 | 999992 | 0 | 0 | 0 | 992782 | 992905 | -123 | -163999.959 | -0.164
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999692 | 999716 | -24 | -24000 | -0.024 | 2 | 4 | -2 | -2000 | -0.002
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994229 | 995231 | -1002 | -1002000 | -1.002 | 28 | 28 | 0 | 0 | 0
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 871759 | 873845 | -2086 | -1043000 | -1.043 | 999208 | 999208 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 989726 | 989855 | -129 | -34400.43 | -0.0344 | 999930 | 999924 | 6 | 1600.02 | 0.0016
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6 | 6 | 0 | 0 | 0 | 150 | 145 | 5 | 10000 | 0.01
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62187 | 62187 | 0 | 0 | 0 | 995618 | 995554 | 64 | -64000 | -0.064
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7692 | 7670 | 22 | -22000 | -0.022 | 465 | 398 | 67 | -67000 | -0.067
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45629 | 45020 | 609 | -1218000 | -1.218 | 999962 | 999946 | 16 | -32000 | -0.032
BAWANA
34 | I/C 100 MVA PR.TR. | 4864847 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2519 | 2352 | 167 | -417500 | -0.4175 | 22 | 24 | -2 | 5000 | 0.005
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 20294 | 19499 | 795 | -3180000 | -3.18 | 149 | 144 | 5 | -20000 | -0.02
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 182523 | 181178 | 1345 | -1345000 | -1.345 | 998560 | 998550 | 10 | -10000 | -0.01
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 439325 | 434182 | 5143 | -1714316.19 | -1.7143 | 2797 | 2617 | 180 | -59999.4 | -0.059999
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 63884 | 62547 | 1337 | -2674000 | -2.674 | 218 | 202 | 16 | -32000 | -0.032
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 7411 | 6743 | 668 | -1670000 | -1.67 | 153 | 153 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 172051 | 171311 | 740 | -740000 | -0.74 | 2714 | 2663 | 51 | -51000 | -0.051
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 23391000 | 22296000 | 1095000 | -1095000 | -1.095 | 5184000 | 5162000 | 22000 | -22000 | -0.022
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 65763000 | 64115000 | 1648000 | -1648000 | -1.648 | 3368000 | 3361000 | 7000 | -7000 | -0.007
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54814 | 52591 | 2223 | -2223000 | -2.223 | 998035 | 998035 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62714 | 62427 | 287 | -287000 | -0.287 | 985 | 984 | 1 | -1000 | -0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991520 | 992072 | -552 | -552000 | -0.552 | 24310 | 24310 | 0 | 0 | 0
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MARCH-2024
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3099 | 3099 | 0 | 0 | 0 | 35717 | 35713 | 4 | 400 | 0.0004
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 737 | 744 | -7 | -9331 | -0.009331 | 603 | 601 | 2 | 2666 | 0.002666
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4738 | 4738 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999942 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1543 | 1577 | -34 | -3400 | -0.0034 | 13012 | 12918 | 94 | 9400 | 0.0094
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999859 | 999859 | 0 | 0 | 0 | 2594 | 2541 | 53 | 26500 | 0.0265
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999982 | 999982 | 0 | 0 | 0 | 999932 | 999936 | -4 | -2000 | -0.002
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1202 | 1202 | 0 | 0 | 0 | 1640 | 1626 | 14 | 7000 | 0.007
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992182 | 992315 | -133 | -13300 | -0.0133 | 3806 | 3781 | 25 | 2500 | 0.0025
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 33 | 33 | 0 | 0 | 0 | 120 | 110 | 10 | 13333.3 | 0.013333
61 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 8 | 8 | 0 | 0 | 0 | 283 | 196 | 87 | 11599.71 | 0.0116
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 2764 | 2764 | 0 | 0 | 0 | 564 | 541 | 23 | 2300 | 0.0023
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59260 | 59505 | -245 | -24500 | -0.0245 | 2640 | 2640 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 424 | 424 | 0 | 0 | 0 | 1182 | 1186 | -4 | -533.32 | -0.00053332
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 929049 | 929049 | 0 | 0 | 0 | 999633 | 999633 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 991460 | 991903 | -443 | -354400 | -0.3544 | 999987 | 999987 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 955249 | 956344 | -1095 | -219000 | -0.219 | 2237 | 2244 | -7 | -1400 | -0.0014
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 987277 | 987881 | -604 | -151000 | -0.151 | 827 | 829 | -2 | -500 | -0.0005
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973909 | 975003 | -1094 | -1094000 | -1.094 | 1744 | 1745 | -1 | -1000 | -0.001
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999537 | 999557 | -20 | -5625 | -0.005625 | 435 | 435 | 0 | 0 | 0
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -850000 | -803000 | -47000 | -47000 | -0.047 | -16000 | -16000 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | -429000 | -307000 | -122000 | -122000 | -0.122 | 0 | 0 | 0 | 0 | 0
76 | 33KV NARAINA DTC CKT-I | Q0487627 | Secure | Kvarh(Lead/Lag) | 1 | -474000 | -361000 | -113000 | -113000 | -0.113 | -8000 | -8000 | 0 | 0 | 0
77 | 33KV NARAINA DTC CKT-II | Q0487631 | Secure | Kvarh(Lead/Lag) | 1 | -1022000 | -906000 | -116000 | -116000 | -0.116 | -9000 | -9000 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -39.671 |  |  |  |  | -2.7065
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 676 | 676 | 0 | 0 | 0 | 4868 | 4757 | 111 | -11100 | -0.0111
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 870000 | 839500 | 30500 | -24400 | -0.0244 | 17000 | 17000 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 972977 | 972983 | -6 | 3000 | 0.003 | 992102 | 992100 | 2 | -1000 | -0.001
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5668 | 6251 | -583 | 77731.39 | 0.077731 | 8304 | 8303 | 1 | -133.33 | -0.00013333
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995697 | 995712 | -15 | 2812.5 | 0.0028125 | 998167 | 998173 | -6 | 1125 | 0.001125
KANJAWALA
6 | 66KV DMRC | Y0357713 | ELSTER | Kvarh(Lead/Lag) | -0.4 | -2151000 | -2151000 | 0 | 0 | 0 | -2662000 | -2662000 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992002 | 991990 | 12 | -7500 | -0.0075 | 1392 | 1392 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999605 | 999605 | 0 | 0 | 0 | 872 | 822 | 50 | -25000 | -0.025
REWARI LINE
10 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | -400 | 998573 | 998812 | -239 | 95600 | 0.0956 | 999990 | 999990 | 0 | 0 | 0
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999270 | 999411 | -141 | 132187.5 | 0.13219 | 999732 | 999732 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 977878 | 978603 | -725 | 135937.5 | 0.13594 | 2505 | 2506 | -1 | 187.5 | 0.0001875
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999961 | 999961 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 992299 | 992500 | -201 | 20100 | 0.0201 | 32207 | 32207 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.43547 |  |  |  |  | -0.035921
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -39.671 |  |  |  |  | -2.7065
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.43547 |  |  |  |  | -0.035921
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.9417 |  |  |  |  | -0.023988
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -41.1773 |  |  |  |  | -2.7664
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -41.1773 | (REACTIVE MUs) |  |  |  | -2.7664 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 6.6308 | (REACTIVE MUs) |  |  |  | 0.022051 | (REACTIVE MUs)
[9 empty] | TOTAL | -34.5465 | (REACTIVE MUs) |  |  |  | -2.7443 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997800 | 997800 | 0 | 0 | 0 | 985652 | 986091 | -439 | -439000 | -0.439
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998503 | 998503 | 0 | 0 | 0 | 997223 | 997403 | -180 | -180000 | -0.18
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999383 | 999383 | 0 | 0 | 0 | 961008 | 962083 | -1075 | -215000 | -0.215
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999792 | 999792 | 0 | 0 | 0 | 995417 | 995403 | 14 | 18666.62 | 0.018667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997312 | 997312 | 0 | 0 | 0 | 996958 | 997056 | -98 | -147000 | -0.147
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10342 | 10342 | 0 | 0 | 0 | 17725 | 17867 | -142 | -189332.86 | -0.18933
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994424 | 994424 | 0 | 0 | 0 | 994229 | 994453 | -224 | -224000 | -0.224
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990600 | 990600 | 0 | 0 | 0 | 984522 | 984733 | -211 | -211000 | -0.211
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999990 | 999990 | 0 | 0 | 0 | 996362 | 996872 | -510 | -408000 | -0.408
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988541 | 988541 | 0 | 0 | 0 | 264879 | 264912 | -33 | -43999.89 | -0.044
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1841 | 1574 | 267 | -1779999.822 | -1.78 | 108 | 108 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44897 | 42482 | 2415 | -2415000 | -2.415 | 997384 | 997384 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7118 | 6715 | 403 | -806000 | -0.806 | 999710 | 999710 | 0 | 0 | 0
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7094 | 5506 | 1588 | -1588000 | -1.588 | 996144 | 996144 | 0 | 0 | 0
PAAPANKALAN-II
15 | Tx.1 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 3924 | 3347 | 577 | -721250 | -0.72125 | 309 | 306 | 3 | -3750 | -0.00375
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13806 | 13802 | 4 | -4000 | -0.004 | 940 | 912 | 28 | -28000 | -0.028
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38758 | 38757 | 1 | -2000 | -0.002 | 6292 | 6177 | 115 | -230000 | -0.23
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4789 | 4715 | 74 | -148000 | -0.148 | 999884 | 999883 | 1 | -2000 | -0.002
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 6229 | 5953 | 276 | -441600 | -0.4416 | 2216 | 2197 | 19 | -30400 | -0.0304
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 141960 | 140558 | 1402 | -1121600 | -1.1216 | 8190 | 8188 | 2 | -1600 | -0.0016
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 242 | 77 | 165 | -412500 | -0.4125 | 999890 | 999890 | 0 | 0 | 0
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952828 | 952710 | 118 | -236000 | -0.236 | 988917 | 988924 | -7 | 14000 | 0.014
23 | Tx.3 | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998500 | 998581 | -81 | 162000 | 0.162 | 999965 | 999965 | 0 | 0 | 0
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2099 | 1504 | 595 | -595000 | -0.595 | 999909 | 999909 | 0 | 0 | 0
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997762 | 997696 | 66 | -66000 | -0.066 | 997366 | 997367 | -1 | 1000 | 0.001
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981701 | 981612 | 89 | -89000 | -0.089 | 13092 | 13096 | -4 | 4000 | 0.004
27 | 66KV I/C-1 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 134 | 58 | 76 | -152000 | -0.152 | 6 | 5 | 1 | -2000 | -0.002
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8644 | 8592 | 52 | -104000 | -0.104 | 1564 | 1563 | 1 | -2000 | -0.002
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 870000 | 839500 | 30500 | 24400 | 0.0244 | 17000 | 17000 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930481 | 930118 | 363 | -363000 | -0.363 | 965241 | 965241 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992470 | 992437 | 33 | -33000 | -0.033 | 999484 | 999484 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5986 | 5989 | -3 | 3000 | 0.003 | 999976 | 999976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41994 | 41866 | 128 | -102400 | -0.1024 | 17156 | 17072 | 84 | -67200 | -0.0672
34 | 66KV I/C-2 | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1200 | 503 | 435 | 68 | -81600 | -0.0816 | 1694 | 1636 | 58 | -69600 | -0.0696
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 250 | 249 | 1 | -2000 | -0.002 | 2163 | 2120 | 43 | -86000 | -0.086
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 302 | 302 | 0 | 0 | 0 | 1624 | 1550 | 74 | -74000 | -0.074
37 | Tx.5 (33 KV)-Ckt No.3 | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 638 | 636 | 2 | -2000 | -0.002
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5764 | 5764 | 0 | 0 | 0 | 997922 | 997851 | 71 | -71000 | -0.071
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1324 | 1324 | 0 | 0 | 0 | 5862 | 5293 | 569 | -569000 | -0.569
BRPL(+) continue | [14 empty] | MARCH-2024
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10819 | 10969 | -150 | 150000 | 0.15 | 75 | 75 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26242 | 25926 | 316 | -316000 | -0.316 | 1595 | 1525 | 70 | -70000 | -0.07
42 | Tx.3 | 4864900 | ELSTER | Kvarh(Lead/Lag) | -2500 | 244 | 205 | 39 | -97500 | -0.0975 | 999960 | 999961 | -1 | 2500 | 0.0025
MEHRAULI
43 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2374 | 2160 | 214 | -214000 | -0.214 | 284 | 287 | -3 | 3000 | 0.003
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 27067 | 25484 | 1583 | -791500 | -0.7915 | 2187 | 2186 | 1 | -500 | -0.0005
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3619 | 3514 | 105 | -262500 | -0.2625 | 1231 | 1233 | -2 | 5000 | 0.005
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7309 | 6909 | 400 | -800000 | -0.8 | 1280 | 1276 | 4 | -8000 | -0.008
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113805 | 110736 | 3069 | -3069000 | -3.069 | 996806 | 996806 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 81898 | 79715 | 2183 | -4366000 | -4.366 | 999341 | 999341 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 15574 | 14867 | 707 | -1060500 | -1.0605 | 71 | 71 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18811 | 17842 | 969 | -969000 | -0.969 | 16 | 16 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996829 | 996829 | 0 | 0 | 0 | 399 | 395 | 4 | -4000 | -0.004 | up to 04.03.2024
[10 empty] | -0.0001 |  |  |  |  | -0.0005 | assesment
|  | 5295132 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960197 | 960195 | 2 | -2000 | -0.002 | 103546 | 103542 | 4 | -4000 | -0.004 | w.ef 07.03.2024
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991340 | 991335 | 5 | -5000 | -0.005 | 994903 | 994912 | -9 | 9000 | 0.009
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989987 | 989947 | 40 | -40000 | -0.04 | 986775 | 986781 | -6 | 6000 | 0.006
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 992448 | 992716 | -268 | -1072000 | -1.072 | 999981 | 999981 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 957026 | 958206 | -1180 | -944000 | -0.944 | 596 | 596 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 903331 | 904131 | -800 | -640000 | -0.64 | 999389 | 999389 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 999390 | 999426 | -36 | -28800 | -0.0288 | 22 | 22 | 0 | 0 | 0
59 | BAY No 612 | 4902511 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999915 | 999948 | -33 | -132000 | -0.132 | 11 | 11 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 978046 | 979804 | -1758 | -1406400 | -1.4064 | 999120 | 999139 | -19 | -15200 | -0.0152
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 971029 | 974178 | -3149 | -2519200 | -2.5192 | 999887 | 999887 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | Y0357818 | Secure | Kvarh(Lead/Lag) | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 5100232 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7878 | 5172 | 2706 | -5412000 | -5.412 | 26 | 26 | 0 | 0 | 0
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20410 | 20384 | 26 | -26000 | -0.026 | 20738 | 19579 | 1159 | -1159000 | -1.159
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151157 | 149140 | 2017 | -2017000 | -2.017 | 3521 | 3521 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 676 | 676 | 0 | 0 | 0 | 4868 | 4757 | 111 | 11100 | 0.0111
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995697 | 995712 | -15 | -2812.5 | -0.0028125 | 998167 | 998173 | -6 | -1125 | -0.001125
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997794 | 997858 | -64 | -64000 | -0.064 | 355 | 358 | -3 | -3000 | -0.003
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997146 | 997200 | -54 | -54000 | -0.054 | 343 | 342 | 1 | 1000 | 0.001
KANJAWALA
70 | 66KV DMRC | Y0357713 | Secure | Kvarh(Lead/Lag) | 0.4 | -2151000 | -2151000 | 0 | 0 | 0 | -2662000 | -2662000 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634 | 644 | -10 | -10000 | -0.01 | 999569 | 999569 | 0 | 0 | 0
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994001 | 994622 | -621 | -621000 | -0.621 | 999563 | 999563 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999701 | 999735 | -34 | -3400 | -0.0034 | 999677 | 999677 | 0 | 0 | 0
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 258 | 250 | 8 | 1600 | 0.0016 | 407 | 407 | 0 | 0 | 0
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 7853 | 7987 | -134 | -67000 | -0.067 | 2906 | 2909 | -3 | -1500 | -0.0015
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993643 | 993877 | -234 | -234000 | -0.234 | 4034 | 4037 | -3 | -3000 | -0.003
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980275 | 980353 | -78 | -78000 | -0.078 | 519 | 520 | -1 | -1000 | -0.001
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7445 | 7484 | -39 | -39000 | -0.039 | 6930 | 6929 | 1 | 1000 | 0.001
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 992774 | 993147 | -373 | -55950 | -0.05595 | 715 | 708 | 7 | 1050 | 0.00105
80 | PASCHIM PURI - 2(L-8) | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999902 | 999940 | -38 | -38000 | -0.038 | 999999 | 999999 | 0 | 0 | 0
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3273 | 3264 | 9 | 2400.03 | 0.0024 | 557 | 547 | 10 | 2666.7 | 0.0026667
82 | MUKHERJEE PARK - II | 4865154 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999950 | 999986 | -36 | -36000 | -0.036 | 74 | 73 | 1 | 1000 | 0.001
REWARI LINE
83 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | 400 | 998573 | 998812 | -239 | -95600 | -0.0956 | 999990 | 999990 | 0 | 0 | 0
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999270 | 999411 | -141 | -132187.5 | -0.13219 | 999732 | 999732 | 0 | 0 | 0
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 977878 | 978603 | -725 | -135937.5 | -0.13594 | 2505 | 2506 | -1 | -187.5 | -0.0001875
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999961 | 999961 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 992299 | 992500 | -201 | -20100 | -0.0201 | 32207 | 32207 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -38.798 |  |  |  |  | -4.4859
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21801 | 21801 | 0 | 0 | 0 | 6169 | 6175 | -6 | 3000 | 0.003
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992379 | 992382 | -3 | 399.99 | 0.00039999 | 1050 | 1119 | -69 | 9199.77 | 0.0091998
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999406 | 999442 | -36 | 24000.012 | 0.024 | 140 | 156 | -16 | 10666.672 | 0.010667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984 | 1011 | -27 | 27000 | 0.027 | 385 | 389 | -4 | 4000 | 0.004
6 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | -2 | 0 | 0 | 0 | 0 | 0 | 149200 | 124200 | 25000 | -50000 | -0.05
EXPORTS(*)
EXPORT TO NDMC
7 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987056 | 987594 | -538 | 538000 | 0.538 | 2695 | 2695 | 0 | 0 | 0
8 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2431 | 2499 | -68 | 10880 | 0.01088 | 45532 | 45570 | -38 | 6080 | 0.00608
9 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3759 | 3779 | -20 | 4000 | 0.004 | 27029 | 27044 | -15 | 3000 | 0.003
10 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964947 | 965527 | -580 | 580000 | 0.58 | 999618 | 999618 | 0 | 0 | 0
EXPORT TO NDMC
11 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 903 | 903 | 0 | 0 | 0 | 3550 | 3590 | -40 | 4000 | 0.004
12 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5793 | 5794 | -1 | 100 | 0.0001 | 6303 | 6271 | 32 | -3200 | -0.0032
13 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 998299 | 998388 | -89 | 17800 | 0.0178 | 999703 | 999703 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
14 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999999 | 999999 | 0 | 0 | 0 | 999870 | 999870 | 0 | 0 | 0
16 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 718 | 633 | 85 | 70833.05 | 0.070833 | 7971 | 7914 | 57 | 47499.81 | 0.0475
KIDWAI NAGAR
17 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 542 | 533 | 9 | -5625 | -0.005625 | 8818 | 8769 | 49 | -30625 | -0.030625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3099 | 3099 | 0 | 0 | 0 | 35717 | 35713 | 4 | -400 | -0.0004
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 737 | 744 | -7 | 9331 | 0.009331 | 603 | 601 | 2 | -2666 | -0.002666
22 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4738 | 4738 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999942 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1543 | 1577 | -34 | 3400 | 0.0034 | 13012 | 12918 | 94 | -9400 | -0.0094
REWARI LINE (11KV TRANSFER OF ENERGY)
27 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
28 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
29 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 2692 | 2486 | 206 | -164800 | -0.1648 | 1609 | 1609 | 0 | 0 | 0
REWARI LINE
30 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973909 | 975003 | -1094 | 1094000 | 1.094 | 1744 | 1745 | -1 | 1000 | 0.001
31 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999537 | 999557 | -20 | 5625 | 0.005625 | 435 | 435 | 0 | 0 | 0
FED FROM BRPL(RLY.)
32 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.18 | 0.12 | 0.06 | -36 | -3.6e-05 | 50.39 | 49.3 | 1.09 | -654 | -0.000654
33 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.69 | 0.63 | 0.06 | -180 | -0.00018 | 39.23 | 38.06 | 1.17 | -3510 | -0.00351
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.2147 |  |  |  |  | -0.012009
MARCH-2024
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -38.798 |  |  |  |  | -4.4859
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.2147 |  |  |  |  | -0.012009
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.45429 |  |  |  |  | -0.031921
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.000575 |  |  |  |  | -0.062175
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -37.037 |  |  |  |  | -4.592
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -37.037 | (REACTIVE MUs) |  |  |  | -4.592 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 9.1939 | (REACTIVE MUs) |  |  |  | 0.030984 | (REACTIVE MUs)
[9 empty] | TOTAL | -27.8432 | (REACTIVE MUs) |  |  |  | -4.561 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2024
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36443 | 36443 | 0 | 0 | 0 | 976848 | 977203 | -355 | -94785 | -0.094785
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 998754 | 998858 | -104 | -416000 | -0.416
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24928 | 24928 | 0 | 0 | 0 | 33653 | 33625 | 28 | 3733.24 | 0.0037332
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999556 | 999556 | 0 | 0 | 0 | 998180 | 998190 | -10 | -10000 | -0.01
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 88 | 88 | 0 | 0 | 0 | 999022 | 999077 | -55 | -88000 | -0.088
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18398 | 18398 | 0 | 0 | 0 | 3067 | 3135 | -68 | -90666.44 | -0.090666
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999439 | 999439 | 0 | 0 | 0 | 982733 | 984816 | -2083 | -416600 | -0.4166
RPH
8 | KAMLA MKT.-2 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999794 | 999855 | -61 | -81333.13 | -0.081333 | 999998 | 999998 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 981907 | 982051 | -144 | -72000 | -0.072 | 545 | 546 | -1 | -500 | -0.0005
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996964 | 997023 | -59 | -59000 | -0.059 | 999765 | 999765 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982183 | 982277 | -94 | -94000 | -0.094 | 1003 | 1003 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999954 | 999954 | 0 | 0 | 0 | 3177 | 3186 | -9 | -11999.97 | -0.012
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993233 | 993288 | -55 | -55000 | -0.055 | 994526 | 994526 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992485 | 992490 | -5 | -5000 | -0.005 | 999585 | 999587 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994300 | 994315 | -15 | -12000 | -0.012 | 6682 | 6682 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14129 | 14679 | -550 | -73331.5 | -0.073331 | 8685 | 8685 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 999857 | 999857 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 148 | 179 | -31 | -31000 | -0.031 | 16394 | 16394 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 932980 | 934929 | -1949 | -2436250 | -2.4362 | 947108 | 947108 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 901906 | 906056 | -4150 | -4150000 | -4.15 | 933434 | 933434 | 0 | 0 | 0
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998363 | 999419 | -1056 | -1056000 | -1.056 | 999959 | 999959 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -7.6422 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999993 | 999993 | 0 | 0 | 0 | 999979 | 999962 | 17 | -17000 | -0.017
23 | 100 MVA TX.-2 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 782 | 655 | 127 | -127000 | -0.127 | 21 | 21 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998863 | 998865 | -2 | -2000 | -0.002 | 11152 | 11197 | -45 | -45000 | -0.045
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24584 | 19643 | 4941 | -4941000 | -4.941 | 2295 | 2295 | 0 | 0 | 0
27 | TX.-2(66KV) | Y0357712 | Secure | Kvarh(Lead/Lag) | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17654 | 16699 | 955 | -955000 | -0.955 | 999156 | 999156 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9217 | 8774 | 443 | -443000 | -0.443 | 998021 | 998021 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -2000 | 585 | 389 | 196 | -392000 | -0.392 | 164 | 157 | 7 | -14000 | -0.014
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99382 | 98935 | 447 | -447000 | -0.447 | 6536 | 6525 | 11 | -11000 | -0.011
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 4316 | 4112 | 204 | -1020000 | -1.02 | 450 | 450 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 972977 | 972983 | -6 | -3000 | -0.003 | 992102 | 992100 | 2 | 1000 | 0.001
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5668 | 6251 | -583 | -77731.39 | -0.077731 | 8304 | 8303 | 1 | 133.33 | 0.00013333
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992379 | 992382 | -3 | -399 | -0.000399 | 1050 | 1119 | -69 | -9177 | -0.009177
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998116 | 997570 | 546 | -546000 | -0.546 | 990317 | 990317 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996350 | 995887 | 463 | -463000 | -0.463 | 969563 | 969563 | 0 | 0 | 0
[5 empty] | -1000 | 8493 | 7967 | 526 | -526000 | -0.526
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | 1547000.06 | 1391000.06 | 156000 | -156000 | -0.156 | 26000 | 26000 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 4102000.13 | 3639000.06 | 463000.07 | -463000.07 | -0.463 | 25000 | 25000 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -18.687 |  |  |  |  | -1.2219
| (A) NET ENERGY TO CENTRAL | [8 empty] | -18.687 |  |  |  |  | -1.2219
MARCH-2024
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1913 | 1906 | 7 | -7000 | -0.007 | 734 | 706 | 28 | -28000 | -0.028
2 | Tx.2 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1458 | 1456 | 2 | -2000 | -0.002 | 586 | 528 | 58 | -58000 | -0.058
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 904 | 901 | 3 | -3000 | -0.003 | 309 | 293 | 16 | -16000 | -0.016
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4756 | 4442 | 314 | -314000 | -0.314 | 999809 | 999810 | -1 | 1000 | 0.001
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41972 | 41971 | 1 | -1000 | -0.001 | 269 | 145 | 124 | -124000 | -0.124
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 25334 | 25318 | 16 | -8000 | -0.008 | 3026 | 2861 | 165 | -82500 | -0.0825
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 474 | 474 | 0 | 0 | 0 | 400 | 360 | 40 | -40000 | -0.04
8 | 100MVA Tx.3 (33 KV) | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141 | 138 | 3 | -3000 | -0.003 | 204 | 191 | 13 | -13000 | -0.013
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2033 | 2031 | 2 | -2000 | -0.002 | 339 | 324 | 15 | -15000 | -0.015
GEETA COLONY
10 | I/C-I | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 248 | 247 | 1 | -1000 | -0.001 | 1091 | 1087 | 4 | -4000 | -0.004
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1671 | 1598 | 73 | -73000 | -0.073 | 2096 | 2067 | 29 | -29000 | -0.029
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14380 | 14376 | 4 | -20000 | -0.02 | 1285 | 1216 | 69 | -345000 | -0.345
13 | TX-2 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10713 | 3524 | 7189 | -7189000 | -7.189 | 29 | 29 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11559 | 14752 | -3193 | 3193000 | 3.193 | 912 | 912 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.43 |  |  |  |  | -0.7535
| (B) NET ENERGY TO EAST | [8 empty] | -4.43 |  |  |  |  | -0.7535
MARCH-2024
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 989726 | 989855 | -129 | 34400.43 | 0.0344 | 999930 | 999924 | 6 | -1600.02 | -0.0016
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6 | 6 | 0 | 0 | 0 | 150 | 145 | 5 | -10000 | -0.01
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1 | 7 | -6 | 1599.96 | 0.0016 | 2146 | 2146 | 0 | 0 | 0
[5 empty] | -266.66 | 999850 | 999994 | -144 | 38399.04 | 0.038399
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 16991 | 15946 | 1045 | -104500 | -0.1045 | 1603 | 1603 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 966555 | 967566 | -1011 | 202200 | 0.2022 | 244 | 244 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88 | 222 | -134 | 134000 | 0.134 | 365 | 365 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999813 | 999896 | -83 | 66400 | 0.0664 | 1134 | 1134 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 963 | 1170 | -207 | 165600 | 0.1656 | 2252 | 2252 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 934983 | 936511 | -1528 | 1222400 | 1.2224 | 987472 | 987472 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991788 | 992037 | -249 | 498000 | 0.498 | 997964 | 997965 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | Y0357818 | SECURE | Kvarh(Lead/Lag) | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991520 | 992072 | -552 | 552000 | 0.552 | 24310 | 24310 | 0 | 0 | 0
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999859 | 999859 | 0 | 0 | 0 | 2594 | 2541 | 53 | -26500 | -0.0265
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999982 | 999982 | 0 | 0 | 0 | 999932 | 999936 | -4 | 2000 | 0.002
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1202 | 1202 | 0 | 0 | 0 | 1640 | 1626 | 14 | -7000 | -0.007
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59260 | 59505 | -245 | 24500 | 0.0245 | 2640 | 2640 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 424 | 424 | 0 | 0 | 0 | 1182 | 1186 | -4 | 533.32 | 0.00053332
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992182 | 992315 | -133 | 13300 | 0.0133 | 3806 | 3781 | 25 | -2500 | -0.0025
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 33 | 33 | 0 | 0 | 0 | 120 | 110 | 10 | -13333.3 | -0.013333
24 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 8 | 8 | 0 | 0 | 0 | 283 | 196 | 87 | -11599.71 | -0.0116
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 2764 | 2764 | 0 | 0 | 0 | 564 | 541 | 23 | -2300 | -0.0023
FED FROM BYPL (RLY.)
26 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | -1 | 93400 | 89530 | 3870 | -3870 | -0.00387 | 459750.02 | 455630.02 | 4120 | -4120 | -0.00412
27 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | -1 | 60020 | 59330 | 690 | -690 | -0.00069 | 716350.02 | 685440 | 30910.02 | -30910.02 | -0.03091
28 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | -1 | 356200 | 354000 | 2200 | -2200 | -0.0022 | 2407399.94 | 2353999.87 | 53400.07 | -53400.07 | -0.0534
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -850000 | -803000 | -47000 | 47000 | 0.047 | -16000 | -16000 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | -429000 | -307000 | -122000 | 122000 | 0.122 | 0 | 0 | 0 | 0 | 0
31 | 33KV NARAINA DTC CKT-I | Q0487627 | SECURE | Kvarh(Lead/Lag) | -1 | -474000 | -361000 | -113000 | 113000 | 0.113 | -8000 | -8000 | 0 | 0 | 0
32 | 33KV NARAINA DTC CKT-II | Q0487631 | SECURE | Kvarh(Lead/Lag) | -1 | -1022000 | -906000 | -116000 | 116000 | 0.116 | -9000 | -9000 | 0 | 0 | 0
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 36.16 | 25.47 | 10.69 | -12828 | -0.012828 | 66.65 | 63.83 | 2.82 | -3384 | -0.003384
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 1.71 | 1.71 | 0 | 0 | 0 | 256.75 | 235.06 | 21.69 | -26028 | -0.026028
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 4.14 | 4.05 | 0.09 | -108 | -0.000108 | 55.47 | 54.35 | 1.12 | -1344 | -0.001344
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 6.45 | 5.28 | 1.17 | -1404 | -0.001404 | 56.35 | 54.47 | 1.88 | -2256 | -0.002256
35 | KODIYA PUL | 29000015 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.11 | 0.11 | 0 | 0 | 0 | 22.95 | 22.51 | 0.44 | -1320 | -0.00132 | check Meter data
[10 empty] | 3.2252 |  |  |  |  | -0.19306
MARCH-2024
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -18.687 |  |  |  |  | -1.2219
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.2252 |  |  |  |  | -0.19306
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -15.4618 |  |  |  |  | -1.4149
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.43 |  |  |  |  | -0.7535
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -19.8918 |  |  |  |  | -2.1684
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -19.8918 | (REACTIVE MUs) |  |  |  | -2.1684 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.0064 | (REACTIVE MUs) |  |  |  | 0.017488 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.8854 | (REACTIVE MUs) |  |  |  | -2.1509 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1 | 7 | -6 | -1600.02 | -0.0016 | 2146 | 2146 | 0 | 0 | 0
[5 empty] | 266.67 | 999850 | 999994 | -144 | -38400.48 | -0.0384
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 16991 | 15946 | 1045 | 104500 | 0.1045 | 1603 | 1603 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 966555 | 967566 | -1011 | -202200 | -0.2022 | 244 | 244 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 88 | 222 | -134 | -134000 | -0.134 | 365 | 365 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999813 | 999896 | -83 | -66400 | -0.0664 | 1134 | 1134 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 963 | 1170 | -207 | -165600 | -0.1656 | 2252 | 2252 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 934983 | 936511 | -1528 | -1222400 | -1.2224 | 987472 | 987472 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 991788 | 992037 | -249 | -498000 | -0.498 | 997964 | 997965 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952637 | 952637 | 0 | 0 | 0 | 20532 | 22767 | -2235 | -111750 | -0.11175
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998744 | 998744 | 0 | 0 | 0 | 415 | 1059 | -644 | -64400 | -0.0644
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997770 | 997770 | 0 | 0 | 0 | 8469 | 8567 | -98 | -49000 | -0.049
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999817 | 999817 | 0 | 0 | 0 | 993481 | 994206 | -725 | -72500 | -0.0725
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998334 | 998334 | 0 | 0 | 0 | 4288 | 4343 | -55 | -73333.15 | -0.073333
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999842 | 999842 | 0 | 0 | 0 | 3932 | 3954 | -22 | -29333.26 | -0.029333
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985962 | 987092 | -1130 | -1130000 | -1.13 | 399 | 399 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970711 | 971720 | -1009 | -1009000 | -1.009 | 3090 | 3090 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4864851 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999360 | 999360 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 990690 | 990991 | -301 | -752500 | -0.7525 | 512 | 512 | 0 | 0 | 0
[10 empty] | -2.8915 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987056 | 987594 | -538 | -538000 | -0.538 | 2695 | 2695 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2431 | 2499 | -68 | -10880 | -0.01088 | 45532 | 45570 | -38 | -6080 | -0.00608
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3759 | 3779 | -20 | -4000 | -0.004 | 27029 | 27044 | -15 | -3000 | -0.003
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964947 | 965527 | -580 | -580000 | -0.58 | 999618 | 999618 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999999 | 999999 | 0 | 0 | 0 | 999870 | 999870 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 718 | 633 | 85 | -70833.05 | -0.070833 | 7971 | 7914 | 57 | -47499.81 | -0.0475
MARCH-2024
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1298 | 302 | 996 | -996000 | -0.996 | 0 | 0 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15757 | 14487 | 1270 | -1270000 | -1.27 | 995101 | 995101 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998625 | 998591 | 34 | -68000 | -0.068 | 994584 | 994584 | 0 | 0 | 0
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999871 | 999785 | 86 | -86000 | -0.086 | 998753 | 998753 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 542 | 533 | 9 | 5625 | 0.005625 | 8818 | 8769 | 49 | 30625 | 0.030625
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 903 | 903 | 0 | 0 | 0 | 3550 | 3590 | -40 | -4000 | -0.004
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5793 | 5794 | -1 | -100 | -0.0001 | 6303 | 6271 | 32 | 3200 | 0.0032
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 998299 | 998388 | -89 | -17800 | -0.0178 | 999703 | 999703 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21801 | 21801 | 0 | 0 | 0 | 6169 | 6175 | -6 | -3000 | -0.003
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 634 | 644 | -10 | 10000 | 0.01 | 999569 | 999569 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994001 | 994622 | -621 | 621000 | 0.621 | 999563 | 999563 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999701 | 999735 | -34 | 3400 | 0.0034 | 999677 | 999677 | 0 | 0 | 0
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 258 | 250 | 8 | -1600 | -0.0016 | 407 | 407 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.1188 |  |  |  |  | -0.43207
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -8.1188 |  |  |  |  | -0.43207
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.80683 |  |  |  |  | 0.0036774
| TOTAL ENERGY TO NDMC | [8 empty] | -7.312 |  |  |  |  | -0.42839

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2024
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3445 | 3869 | -424 | -84800 | -0.0848 | 82218 | 82218 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999605 | 999613 | -8 | -1280 | -0.00128 | 32807 | 32821 | -14 | -2240 | -0.00224
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999857 | 999863 | -6 | -1200 | -0.0012 | 2422 | 2479 | -57 | -11400 | -0.0114
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999726 | 999733 | -7 | -2800 | -0.0028 | 20081 | 20085 | -4 | -1600 | -0.0016
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999255 | 999256 | -1 | -800 | -0.0008 | 648 | 643 | 5 | 4000 | 0.004
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2201 | 2220 | -19 | -7600 | -0.0076 | 6744 | 6770 | -26 | -10400 | -0.0104
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999406 | 999442 | -36 | -24000.012 | -0.024 | 140 | 156 | -16 | -10666.672 | -0.010667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984 | 1011 | -27 | -27000 | -0.027 | 385 | 389 | -4 | -4000 | -0.004
9 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | 2 | 0 | 0 | 0 | 0 | 0 | 149200 | 124200 | 25000 | 50000 | 0.05
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.14948 |  |  |  |  | 0.013693
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
10 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 164 | 165 | -1 | -500 | -0.0005 | 914 | 888 | 26 | 13000 | 0.013
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 105 | 105 | 0 | 0 | 0 | 1855 | 1855 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4831 | 4831 | 0 | 0 | 0 | 76657 | 75961 | 696 | 52200 | 0.0522
13 | SUBROTO PARK | 4865088 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 784 | -1 | -75 | -7.5e-05 | 5909 | 5952 | -43 | -3225 | -0.003225
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8855 | 8853 | 2 | 200 | 0.0002
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.000575 |  |  |  |  | 0.062175
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.14948 |  |  |  |  | 0.013693
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.15006 |  |  |  |  | 0.075868
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.15006 | (REACTIVE MUs) |  |  |  | 0.075868 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.050725 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.20078 | (REACTIVE MUs) |  |  |  | 0.075868 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2024
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992002 | 991990 | 12 | 7500 | 0.0075 | 1392 | 1392 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999605 | 999605 | 0 | 0 | 0 | 872 | 822 | 50 | 25000 | 0.025
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 2692 | 2486 | 206 | 164800 | 0.1648 | 1609 | 1609 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | 1 | 93400 | 89530 | 3870 | 3870 | 0.00387 | 459750.02 | 455630.02 | 4120 | 4120 | 0.00412
2 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | 1 | 60020 | 59330 | 690 | 690 | 0.00069 | 716350.02 | 685440 | 30910.02 | 30910.02 | 0.03091
3 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | 1 | 356200 | 354000 | 2200 | 2200 | 0.0022 | 2407399.94 | 2353999.87 | 53400.07 | 53400.07 | 0.0534
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 36.16 | 25.47 | 10.69 | 12828 | 0.012828 | 66.65 | 63.83 | 2.82 | 3384 | 0.003384
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 1.71 | 1.71 | 0 | 0 | 0 | 256.75 | 235.06 | 21.69 | 26028 | 0.026028
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 4.14 | 4.05 | 0.09 | 108 | 0.000108 | 55.47 | 54.35 | 1.12 | 1344 | 0.001344
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 6.45 | 5.28 | 1.17 | 1404 | 0.001404 | 56.35 | 54.47 | 1.88 | 2256 | 0.002256
8 | KODIYA PUL | 29000015 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.11 | 0.11 | 0 | 0 | 0 | 22.95 | 22.51 | 0.44 | 1320 | 0.00132 | check meter
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.18 | 0.12 | 0.06 | 36 | 3.6e-05 | 50.39 | 49.3 | 1.09 | 654 | 0.000654
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.69 | 0.63 | 0.06 | 180 | 0.00018 | 39.23 | 38.06 | 1.17 | 3510 | 0.00351
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.19362 |  |  |  |  | 0.15193
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.011165 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.20478 |  |  |  |  | 0.15193

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2024
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 991892 | 992050 | -158 | -148125 | -0.14813 | 999237 | 999239 | -2 | -1875 | -0.001875
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 11594 | 11977 | -383 | -38300 | -0.0383 | 985549 | 985466 | 83 | 8300 | 0.0083
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999468 | 999680 | -212 | -176666.596 | -0.17667 | 272 | 282 | -10 | -8333.33 | -0.0083333
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996730 | 996752 | -22 | -20625 | -0.020625 | 998646 | 998681 | -35 | -32812.5 | -0.032813
AT 33/11 KV LEVEL
5 | TX.-I | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9 | 0 | 9 | -9000 | -0.009 | 0 | 0 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 999995 | 999999 | -4 | 4000 | 0.004
6 | TX-II | 4902535 | ELSTER | Kvarh(Lead/Lag) | -1875 | 169 | 136 | 33 | -61875 | -0.061875 | 4 | 4 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 177 | 176 | 1 | 300 | 0.0003 | 999936 | 999940 | -4 | -1200 | -0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.45429 |  |  |  |  | -0.031921
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4902496 | ELSTER | Kvarh(Lead/Lag) | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998729 | 998748 | -19 | -23750 | -0.02375 | 998434 | 998434 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996793 | 997090 | -297 | -278437.5 | -0.27844 | 999286 | 999314 | -28 | -26250 | -0.02625
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 983810 | 983756 | 54 | 6750 | 0.00675 | 994244 | 994244 | 0 | 0 | 0
|  | 4864814 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 983104 | 983810 | -706 | -132375 | -0.13237 | 994217 | 994244 | -27 | -5062.5 | -0.0050625 | wef 16.03.24 (CTR 750/1)
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998556 | 998712 | -156 | -195000 | -0.195 | 999922 | 999923 | -1 | -1250 | -0.00125
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997513 | 997541 | -28 | -28000 | -0.028 | 999426 | 999438 | -12 | -12000 | -0.012
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957489 | 958824 | -1335 | -1335000 | -1.335 | 988285 | 988265 | 20 | 20000 | 0.02
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999358 | 999429 | -71 | 44375 | 0.044375 | 999742 | 999741 | 1 | -625 | -0.000625
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 177 | 176 | 1 | -300 | -0.0003 | 999936 | 999940 | -4 | 1200 | 0.0012
| TOTAL NDPL | [8 empty] | -1.9417 |  |  |  |  | -0.023988
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.45429 |  |  |  |  | -0.031921
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.9417 |  |  |  |  | -0.023988

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2024
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2024 | INTIAL READING 01/03/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 31037 | 28439 | 2598 | 5196000 | 5.196 | 999980 | 999980 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 21809 | 19348 | 2461 | 4922000 | 4.922 | 999976 | 999976 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 10.118 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -10.5337 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 20.6517 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 6.1274 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 8.5767 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 4.6962 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 1.0223 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 995810 | 996471 | -661 | 661000 | 0.661 | 999124 | 999155 | -31 | 31000 | 0.031
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.661 |  |  |  |  | 0.031
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.19301 |  |  |  |  | 0.009052
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.27636 |  |  |  |  | 0.012961
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.15798 |  |  |  |  | 0.007409
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.033645 |  |  |  |  | 0.0015779
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 198299 | 197747 | 552 | -414000 | -0.414 | 999741 | 999741 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 10901 | 10405 | 496 | -496000 | -0.496 | 4 | 4 | 0 | 0 | 0
3 | STG | 4902483 | ELSTER | kvarh (lag) | -750 | 993418 | 993276 | 142 | -106500 | -0.1065 | 999402 | 999402 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -1.0165 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.19598 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.28757 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.16335 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.308 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.0616 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 250457 | 264957 | -14500 | 1450000 | 1.45 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 1.45 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 50 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.23 | % |  |  | 0.48183 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.99 | % |  |  | 0.59435 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.45 | % |  |  | 0.29652 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.79 | % |  |  | 0.054955 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.75 | % |  |  | 0.010875 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.77 | % |  |  | 0.011165 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PLANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -3.34 | -3 | -0.34 | 81600 | 0.0816 | -31.5 | -31.32 | -0.18 | 43200 | 0.0432
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0.024553 |  |  |  |  | 0.012999
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0.034044 |  |  |  |  | 0.018023
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0.019037 |  |  |  |  | 0.010079
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0.0039658 |  |  |  |  | 0.0020995
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 6.6308 |  |  |  |  | 0.022051
2) | BRPL |  |  |  | = |  |  |  |  | 9.1939 |  |  |  |  | 0.030984
3) | BYPL |  |  |  | = |  |  |  |  | 5.0064 |  |  |  |  | 0.017488
4) | NDMC |  |  |  | = |  |  |  |  | 0.80683 |  |  |  |  | 0.0036774
5) | MES |  |  |  | = |  |  |  |  | -0.050725 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.011165 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2024 TO 31st MARCH-2024
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -34.5465 |  | -2.7443
+
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -27.8432 |  | -4.561
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -14.8854 |  | -2.1509
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -7.312 |  | -0.42839
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.20078 | + | 0.075868
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.20478 | + | 0.15193
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system