## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989619 | 990885 | -1266 | 1266000 | 1.266 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18817 | 18798 | 19 | -19000 | -0.019 | 999465 | 999342 | 123 | -123000 | -0.123
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954788 | 958616 | -3828 | 3828000 | 3.828 | 995658 | 995705 | -47 | 47000 | 0.047
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 998358 | 999925 | -1567 | 1567000 | 1.567
[10 empty] | 0 |  |  |  |  | -0.075 | Assessment
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997590 | 998168 | -578 | 578000 | 0.578 | 999581 | 999653 | -72 | 72000 | 0.072
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24618 | 24606 | 12 | -12000 | -0.012 | 16904 | 16923 | -19 | 19000 | 0.019
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 550 | 538 | 12 | -12000 | -0.012 | 998963 | 998986 | -23 | 23000 | 0.023
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999374 | 999374 | 0 | 0 | 0 | 998232 | 998339 | -107 | 107000 | 0.107
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986697 | 986697 | 0 | 0 | 0 | 979305 | 979305 | 0 | 0 | 0 | Meter FAULTY
[10 empty] | 0.0053 |  |  |  |  | 0.1226 | Assessment
|  | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 999999 | 1000000 | -1 | 500 | 0.0005 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/08/17
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999693 | 999691 | 2 | -2000 | -0.002 | 999358 | 999555 | -197 | 197000 | 0.197
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 146 | 150 | -4 | 4000 | 0.004 | 999477 | 999540 | -63 | 63000 | 0.063
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998996 | 999065 | -69 | 69000 | 0.069 | 998303 | 999473 | -1170 | 1170000 | 1.17
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 910162 | 912523 | -2361 | -2361000 | -2.361 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982294 | 982644 | -350 | 350000 | 0.35 | 16732 | 16739 | -7 | 7000 | 0.007
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9196 | 9300 | -104 | 104000 | 0.104 | 20502 | 20507 | -5 | 5000 | 0.005
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18125 | 17977 | 148 | -148000 | -0.148 | 274 | 276 | -2 | 2000 | 0.002
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 997620 | 997883 | -263 | -263000 | -0.263
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 791 | 791 | 0 | 0 | 0 | 25082 | 25202 | -120 | -120000 | -0.12
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 665 | 659 | 6 | 3000 | 0.003 | 3628 | 2949 | 679 | 339500 | 0.3395
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 128259 | 128126 | 133 | 13300 | 0.0133 | 287177 | 284053 | 3124 | 312400 | 0.3124
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996190 | 996190 | 0 | 0 | 0 | 986888 | 987900 | -1012 | -1012000 | -1.012
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 0 | 6 | 6000 | 0.006 | 998023 | 998325 | -302 | -302000 | -0.302
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 98728 | 97467 | 1261 | 126100 | 0.1261 | 31618 | 27896 | 3722 | 372200 | 0.3722
[5 empty] | 100 | 80227 | 79557 | 670 | 67000 | 0.067
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625378 | 625381 | -3 | -3000 | -0.003 | 795920 | 795966 | -46 | -46000 | -0.046
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 609911 | 610503 | -592 | -592000 | -0.592 | 829222 | 829225 | -3 | -3000 | -0.003
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 566 | 526 | 40 | 16000 | 0.016 | 998533 | 998622 | -89 | -35600 | -0.0356
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5979 | 5979 | 0 | 0 | 0 | 1697 | 1860 | -163 | -81500 | -0.0815
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 195 | 194 | 1 | -1000 | -0.001 | 997793 | 998054 | -261 | 261000 | 0.261
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15741 | 15734 | 7 | -7000 | -0.007 | 996109 | 996196 | -87 | 87000 | 0.087 | till 21/08
[10 empty] | -0.0033 |  |  |  |  | 0.0414 | Assessment
|  | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/09/17
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11464 | 11342 | 122 | -122000 | -0.122 | 999811 | 999868 | -57 | 57000 | 0.057
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3344 | 2934 | 410 | -820000 | -0.82 | 102 | 129 | -27 | 54000 | 0.054
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23881 | 22532 | 1349 | -1349000 | -1.349 | 998951 | 998962 | -11 | 11000 | 0.011
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48091 | 46052 | 2039 | -2039000 | -2.039 | 2432 | 2431 | 1 | -1000 | -0.001
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12335 | 12335 | 0 | 0 | 0 | 999339 | 999372 | -33 | 33000 | 0.033
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5185 | 5185 | 0 | 0 | 0 | 720 | 571 | 149 | -149000 | -0.149
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992486 | 992958 | -472 | 472000 | 0.472 | 998728 | 998730 | -2 | 2000 | 0.002
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15171 | 15600 | -429 | 429000 | 0.429 | 1380 | 1382 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1977 | 1976 | 1 | 1000 | 0.001 | 28025 | 27833 | 192 | 192000 | 0.192
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 999503 | 999558 | -55 | -5500 | -0.0055 | 26788 | 26336 | 452 | 45200 | 0.0452
| NDPL(+) continue | [14 empty] | AUGUST -2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 997337 | 998094 | -757 | -315411.62 | -0.31541 | 998992 | 999070 | -78 | -32499.48 | -0.032499
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9125 | 9125 | 0 | 0 | 0 | 37615 | 37736 | -121 | -12100 | -0.0121
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12192 | 12192 | 0 | 0 | 0 | 77030 | 76379 | 651 | 65100 | 0.0651
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 891 | 881 | 10 | 1000 | 0.001 | 17370 | 16625 | 745 | 74500 | 0.0745
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 148 | 123 | 25 | 33325 | 0.033325 | 190 | 180 | 10 | 13330 | 0.01333
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999092 | 999093 | -1 | -100 | -0.0001 | 13810 | 12729 | 1081 | 108100 | 0.1081
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.67 | 100 | 19 | 81 | 13500.27 | 0.0135 | 1817 | 1726 | 91 | 15166.97 | 0.015167
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999935 | 999934 | 1 | 500 | 0.0005 | 552 | 552 | 0 | 0 | 0
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 431 | 352 | 79 | 52666.93 | 0.052667 | 123 | 114 | 9 | 6000.03 | 0.006
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 3482 | 3376 | 106 | 70666.6667 | 0.070667 | 1429 | 1421 | 8 | 5333.3333 | 0.0053333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997518 | 997520 | -2 | -200 | -0.0002 | 2255 | 2087 | 168 | 16800 | 0.0168
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23973 | 23973 | 0 | 0 | 0 | 57892 | 57892 | 0 | 0 | 0
[10 empty] | -0.00206 |  |  |  |  | -0.00051 | Assessment
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1742 | 1651 | 91 | 9100 | 0.0091 | 8217 | 7822 | 395 | 39500 | 0.0395
64 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 2906 | 2594 | 312 | 31200 | 0.0312 | 766 | 562 | 204 | 20400 | 0.0204
|  | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 168 | 0 | 168 | 16800 | 0.0168 | 35 | 0 | 35 | 3500 | 0.0035 | w.e.f 22/08/17
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 13707 | 13027 | 680 | 68000 | 0.068 | 5146 | 4833 | 313 | 31300 | 0.0313
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 4238 | 4141 | 97 | 9700 | 0.0097 | 1732 | 1716 | 16 | 1600 | 0.0016
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25126 | 25050 | 76 | 7600 | 0.0076 | 51314 | 51293 | 21 | 2100 | 0.0021
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 62 | 19 | -7600 | -0.0076
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999888 | 999888 | 0 | 0 | 0 | 999975 | 999995 | -20 | -8000 | -0.008
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 71 | 231 | -160 | -128000 | -0.128 | 999998 | 999999 | -1 | -800 | -0.0008
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1095 | 1158 | -63 | -126000 | -0.126 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999864 | 999995 | -131 | -32750 | -0.03275 | 132 | 131 | 1 | 250 | 0.00025 | w.e.f 10/07/17
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.44806 |  |  |  |  | 3.3417
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 9038 | 8984 | 54 | -5400 | -0.0054 | 37983 | 36411 | 1572 | -157200 | -0.1572
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 8 | 8 | 0 | 0 | 0 | 1384 | 1366 | 18 | -14400 | -0.0144
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999921 | 999953 | -32 | 32000 | 0.032 | 364 | 301 | 63 | -63000 | -0.063
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86916 | 86943 | -27 | 27000 | 0.027 | 124087 | 124023 | 64 | -64000 | -0.064 | till 21/08
|  | 4864815 | ELSTER | Kvarh(Lead/Lag) | -200 | 285 | 314 | -29 | 5800 | 0.0058 | 2701 | 2686 | 15 | -3000 | -0.003 | Check Meter
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 969366 | 969183 | 183 | -9150 | -0.00915 | 1560 | 1541 | 19 | -950 | -0.00095 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1 | 0 | 1 | -1000 | -0.001 | 1000002 | 999990 | 12 | -12000 | -0.012
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 987105 | 987290 | -185 | 148000 | 0.148 | 999041 | 999167 | -126 | 100800 | 0.1008
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.19725 |  |  |  |  | -0.21375
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.44806 |  |  |  |  | 3.3417
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.19725 |  |  |  |  | -0.21375
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.092425 |  |  |  |  | -0.10421
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.15839 |  |  |  |  | 3.0237
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.15839 | (REACTIVE MUs) |  |  |  | 3.0237 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.22938 | (REACTIVE MUs) |  |  |  | -0.34854 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.070988 | (REACTIVE MUs) |  |  |  | 2.6752 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST -2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13426 | 13438 | -12 | -1200 | -0.0012 | 998091 | 998433 | -342 | -34200 | -0.0342
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8310 | 8311 | -1 | -300 | -0.0003 | 4920 | 4627 | 293 | 87900 | 0.0879
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 26289 | 26248 | 41 | 3075 | 0.003075 | 165061 | 162327 | 2734 | 205050 | 0.20505
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999274 | 999260 | 14 | 4200 | 0.0042 | 6055 | 5573 | 482 | 144600 | 0.1446
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1798 | 1798 | 0 | 0 | 0 | 2999 | 2970 | 29 | 38665.7 | 0.038666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33731 | 33789 | -58 | -5800 | -0.0058 | 158815 | 159666 | -851 | -85100 | -0.0851
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 8484 | 8297 | 187 | 14025 | 0.014025 | 35330 | 34688 | 642 | 48150 | 0.04815
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988283 | 988286 | -3 | -3000 | -0.003 | 2260 | 2206 | 54 | 54000 | 0.054
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996868 | 996869 | -1 | -1000 | -0.001 | 3805 | 3733 | 72 | 72000 | 0.072
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999022 | 999012 | 10 | 10000 | 0.01 | 1472 | 1429 | 43 | 43000 | 0.043
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995005 | 995049 | -44 | -44000 | -0.044 | 1444 | 1459 | -15 | -15000 | -0.015
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993530 | 993544 | -14 | -14000 | -0.014 | 5700 | 5629 | 71 | 71000 | 0.071
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997311 | 997327 | -16 | -16000 | -0.016 | 998751 | 998783 | -32 | -32000 | -0.032
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999399 | 999397 | 2 | 2000 | 0.002 | 999851 | 999889 | -38 | -38000 | -0.038
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999105 | 999088 | 17 | 13600 | 0.0136 | 2339 | 2217 | 122 | 97600 | 0.0976
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999475 | 999472 | 3 | 3000 | 0.003 | 32889 | 32081 | 808 | 808000 | 0.808
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1513 | 1507 | 6 | 6000 | 0.006 | 9669 | 9668 | 1 | 1000 | 0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1971 | 1848 | 123 | 123000 | 0.123 | 17008 | 16890 | 118 | 118000 | 0.118
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 995522 | 996090 | -568 | -710000 | -0.71 | 951761 | 951764 | -3 | -3750 | -0.00375
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 982933 | 985563 | -2630 | -2893000 | -2.893
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973016 | 973345 | -329 | -329000 | -0.329 | 7610 | 7616 | -6 | -6000 | -0.006
| KASHMIRI GATE | [8 empty] | -0.9594 |  |  |  |  | -1.7231
22 | 100 MVA TX.-1 | 4864921 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954547 | 954547 | 0 | 0 | 0 | 946304 | 946377 | -73 | 73000 | 0.073 | Check Meter
|  | 5295143 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46 | 0 | 46 | -46000 | -0.046 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 21/08/17
23 | 100 MVA TX.-2 | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998330 | 998330 | 0 | 0 | 0 | 999305 | 999316 | -11 | 22000 | 0.022 | Check Meter
|  | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/08/17
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999994 | 999994 | 0 | 0 | 0 | 6479 | 6071 | 408 | 408000 | 0.408
PARK STREET
26 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 20703 | 20691 | 12 | -6000 | -0.006 | 310 | 539 | -229 | 114500 | 0.1145
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11354 | 11352 | 2 | -2000 | -0.002 | 174 | 68 | 106 | -106000 | -0.106
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992784 | 992649 | 135 | -135000 | -0.135 | 992043 | 992084 | -41 | 41000 | 0.041
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997426 | 997377 | 49 | -49000 | -0.049 | 998893 | 998926 | -33 | 33000 | 0.033
HARSH VIHAR
30 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8103 | 8145 | -42 | 84000 | 0.084 | 996091 | 996225 | -134 | 268000 | 0.268
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 676 | 863 | -187 | 187000 | 0.187 | 186 | 214 | -28 | 28000 | 0.028
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996878 | 997598 | -720 | 720000 | 0.72 | 999659 | 999665 | -6 | 6000 | 0.006
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999921 | 999953 | -32 | -32000 | -0.032 | 364 | 301 | 63 | 63000 | 0.063
34 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86916 | 86943 | -27 | -27000 | -0.027 | 124087 | 124023 | 64 | 64000 | 0.064 | till 21/08
|  | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 285 | 314 | -29 | -5800 | -0.0058 | 2701 | 2686 | 15 | 3000 | 0.003 | Check Meter
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998066 | 998066 | 0 | 0 | 0 | 1144 | 1141 | 3 | 3000 | 0.003
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 151261 | 151261 | 0 | 0 | 0 | 53969 | 53606 | 363 | 363000 | 0.363
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000058 | 999947 | 111 | -111000 | -0.111 | 999984 | 999986 | -2 | 2000 | 0.002
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999889 | 999778 | 111 | -111000 | -0.111 | 999928 | 999930 | -2 | 2000 | 0.002
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.4782 |  |  |  |  | 0.070416
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.4782 |  |  |  |  | 0.070416
AUGUST -2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979293 | 979313 | -20 | 20000 | 0.02 | 879072 | 879895 | -823 | 823000 | 0.823
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993669 | 993673 | -4 | 4000 | 0.004 | 962485 | 963641 | -1156 | 1156000 | 1.156
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999984 | 1000000 | -16 | 16000 | 0.016 | 999015 | 999922 | -907 | 907000 | 0.907
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991192 | 991271 | -79 | 158000 | 0.158 | 972236 | 972414 | -178 | 356000 | 0.356
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998762 | 998893 | -131 | 131000 | 0.131 | 999119 | 999193 | -74 | 74000 | 0.074
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994952 | 995102 | -150 | 150000 | 0.15 | 998561 | 998633 | -72 | 72000 | 0.072
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3892 | 3439 | 453 | -453000 | -0.453 | 999637 | 999641 | -4 | 4000 | 0.004
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984073 | 983828 | 245 | -245000 | -0.245 | 937448 | 937477 | -29 | 29000 | 0.029
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989580 | 989343 | 237 | -237000 | -0.237 | 989835 | 989855 | -20 | 20000 | 0.02
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979360 | 979418 | -58 | 58000 | 0.058 | 963377 | 963602 | -225 | 225000 | 0.225
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960082 | 959786 | 296 | -296000 | -0.296 | 829687 | 830074 | -387 | 387000 | 0.387
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15906 | 15903 | 3 | -3000 | -0.003 | 33698 | 33699 | -1 | 1000 | 0.001
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2931 | 2753 | 178 | -178000 | -0.178 | 999918 | 999922 | -4 | 4000 | 0.004
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963011 | 963759 | -748 | 748000 | 0.748 | 919598 | 919600 | -2 | 2000 | 0.002
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.127 |  |  |  |  | 4.06
| (B) NET ENERGY TO EAST | [8 empty] | -0.127 |  |  |  |  | 4.06
AUGUST -2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 566 | 526 | 40 | -16000 | -0.016 | 998533 | 998622 | -89 | 35600 | 0.0356
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5979 | 5979 | 0 | 0 | 0 | 1697 | 1860 | -163 | 81500 | 0.0815
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 167 | 30 | 137 | -36533.79 | -0.036534 | 413 | 184 | 229 | -61067.43 | -0.061067
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 74483 | 74531 | -48 | 4800 | 0.0048 | 143867 | 143900 | -33 | 3300 | 0.0033
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 973087 | 973163 | -76 | 15200 | 0.0152 | 995109 | 995268 | -159 | 31800 | 0.0318
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 37187 | 36519 | 668 | -133600 | -0.1336 | 117937 | 117407 | 530 | -106000 | -0.106
[11 empty] | 9814 | 9814 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16810 | 16810 | 0 | 0 | 0 | 13474 | 12934 | 540 | -432000 | -0.432
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15049 | 15049 | 0 | 0 | 0 | 4389 | 4216 | 173 | -346000 | -0.346
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 974721 | 974721 | 0 | 0 | 0 | 986757 | 987037 | -280 | 224000 | 0.224
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 985150 | 985150 | 0 | 0 | 0 | 987826 | 988976 | -1150 | 920000 | 0.92
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 991361 | 991361 | 0 | 0 | 0 | 994318 | 995102 | -784 | 627200 | 0.6272
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980126 | 980126 | 0 | 0 | 0 | 994694 | 995000 | -306 | 244800 | 0.2448
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979968 | 979936 | 32 | -32000 | -0.032 | 32516 | 32673 | -157 | 157000 | 0.157
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1977 | 1976 | 1 | -1000 | -0.001 | 28025 | 27833 | 192 | -192000 | -0.192
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 999503 | 999558 | -55 | 5500 | 0.0055 | 26788 | 26336 | 452 | -45200 | -0.0452
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.67 | 100 | 19 | 81 | -13500.27 | -0.0135 | 1817 | 1726 | 91 | -15166.97 | -0.015167
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999935 | 999934 | 1 | -500 | -0.0005 | 552 | 552 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 431 | 352 | 79 | -52666.93 | -0.052667 | 123 | 114 | 9 | -6000.03 | -0.006
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 3482 | 3376 | 106 | -70666.6667 | -0.070667 | 1429 | 1421 | 8 | -5333.3333 | -0.0053333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 4238 | 4141 | 97 | -9700 | -0.0097 | 1732 | 1716 | 16 | -1600 | -0.0016
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25126 | 25050 | 76 | -7600 | -0.0076 | 51314 | 51293 | 21 | -2100 | -0.0021
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997518 | 997520 | -2 | 200 | 0.0002 | 2255 | 2087 | 168 | -16800 | -0.0168
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23973 | 23973 | 0 | 0 | 0 | 57892 | 57892 | 0 | 0 | 0
[10 empty] | 0.00206 |  |  |  |  | 0.00051
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1742 | 1651 | 91 | -9100 | -0.0091 | 8217 | 7822 | 395 | -39500 | -0.0395
31 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 2906 | 2594 | 312 | -31200 | -0.0312 | 766 | 562 | 204 | -20400 | -0.0204
|  | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 168 | 0 | 168 | -16800 | -0.0168 | 35 | 0 | 35 | -3500 | -0.0035 | w.e.f 22/08/17
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 13707 | 13027 | 680 | -68000 | -0.068 | 5146 | 4833 | 313 | -31300 | -0.0313
[10 empty] | -0.47111 |  |  |  |  | 1.0017
AUGUST -2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.4782 |  |  |  |  | 0.070416
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.47111 |  |  |  |  | 1.0017
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.32545 |  |  |  |  | -0.02945
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.2748 |  |  |  |  | 1.0427
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.127 |  |  |  |  | 4.06
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.4018 |  |  |  |  | 5.1027
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.4018 | (REACTIVE MUs) |  |  |  | 5.1027 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.18423 | (REACTIVE MUs) |  |  |  | -0.27994 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.2175 | (REACTIVE MUs) |  |  |  | 4.8228 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999595 | 999595 | 0 | 0 | 0 | 999434 | 999329 | 105 | 525000 | 0.525
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984698 | 984698 | 0 | 0 | 0 | 671586 | 671921 | -335 | -446665.55 | -0.44667
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1355 | 1351 | 4 | 1600 | 0.0016 | 34358 | 33751 | 607 | 242800 | 0.2428
[5 empty] | 400 | [5 empty] | 30461 | 29382 | 1079 | 431600 | 0.4316
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16995 | 16994 | 1 | 1000 | 0.001 | 996727 | 996882 | -155 | -155000 | -0.155
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17494 | 17492 | 2 | 200 | 0.0002 | 17227 | 15025 | 2202 | 220200 | 0.2202
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 726260 | 726360 | -100 | -7500 | -0.0075 | 1153 | 4854 | -3701 | -277575 | -0.27758
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983181 | 983179 | 2 | 150 | 0.00015 | 4864 | 2973 | 1891 | 141825 | 0.14183
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997416 | 997415 | 1 | 900 | 0.0009 | 995752 | 995574 | 178 | 160200 | 0.1602
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1940 | 1934 | 6 | -6000 | -0.006 | 998465 | 998826 | -361 | 361000 | 0.361
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997800 | 997800 | 0 | 0 | 0 | 994020 | 994691 | -671 | 671000 | 0.671
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3540 | 3401 | 139 | -139000 | -0.139 | 999833 | 999914 | -81 | 81000 | 0.081
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963296 | 963172 | 124 | -124000 | -0.124 | 998075 | 997955 | 120 | -120000 | -0.12
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000066 | 999990 | 76 | -76000 | -0.076 | 999901 | 999977 | -76 | 76000 | 0.076
16 | Tx.2 | 5128440 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61930 | 61888 | 42 | -42000 | -0.042 | 986655 | 986669 | -14 | 14000 | 0.014 | Check Meter
|  | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 4 | 0 | 4 | -2000 | -0.002 | 139 | 0 | 139 | -69500 | -0.0695 | w.e.f 12/08/17
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) |  | 88 | 38 | 50 | 0 | 0 | 999116 | 999255 | -139 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2787 | 2952 | -165 | 165000 | 0.165 | 904021 | 905233 | -1212 | 1212000 | 1.212
NAJAFGARH
19 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1650 | 1287 | 363 | -363000 | -0.363 | 985138 | 985293 | -155 | 155000 | 0.155
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997859 | 997841 | 18 | -18000 | -0.018 | 984355 | 985268 | -913 | 913000 | 0.913
21 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998004 | 997782 | 222 | -222000 | -0.222 | 997572 | 997784 | -212 | 212000 | 0.212
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14041 | 13989 | 52 | -52000 | -0.052 | 996629 | 996593 | 36 | -36000 | -0.036
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 8 | 8 | 0 | 0 | 0 | 1384 | 1366 | 18 | 14400 | 0.0144
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980778 | 980778 | 0 | 0 | 0 | 979793 | 981504 | -1711 | 1711000 | 1.711
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
26 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999660 | 1000000 | -340 | 340000 | 0.34 | w.e.f 21/08/17
OKHLA
27 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995415 | 995362 | 53 | -53000 | -0.053 | 989446 | 989942 | -496 | 496000 | 0.496
28 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991045 | 990653 | 392 | -392000 | -0.392 | 929076 | 930035 | -959 | 959000 | 0.959
29 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2434 | 2064 | 370 | -370000 | -0.37 | 33475 | 33469 | 6 | -6000 | -0.006
30 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997939 | 997963 | -24 | 24000 | 0.024 | 996143 | 996188 | -45 | 45000 | 0.045
31 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999892 | 999891 | 1 | -1000 | -0.001 | 999757 | 999839 | -82 | 82000 | 0.082
BRPL(+) continue | [14 empty] | AUGUST -2017
VASANT KUNJ
32 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3334 | 2846 | 488 | -488000 | -0.488 | 999976 | 999960 | 16 | -16000 | -0.016
33 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 5555 | 4829 | 726 | -363000 | -0.363 | 998414 | 998321 | 93 | -46500 | -0.0465
34 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 19619 | 18525 | 1094 | -2188000 | -2.188 | 969581 | 969575 | 6 | -12000 | -0.012
MEHRAULI
35 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995010 | 995004 | 6 | -6000 | -0.006 | 895241 | 896495 | -1254 | 1254000 | 1.254
36 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994404 | 994407 | -3 | 3000 | 0.003 | 927385 | 927385 | 0 | 0 | 0
37 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998964 | 998958 | 6 | -6000 | -0.006 | 980787 | 981852 | -1065 | 1065000 | 1.065 | till 22/08
|  | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999970 | 999970 | 0 | 0 | 0 | 995656 | 995733 | -77 | 77000 | 0.077 | Check Meter
38 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999866 | 999888 | -22 | 44000 | 0.044 | 999413 | 999529 | -116 | 232000 | 0.232
RIDGE VALLEY
39 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969869 | 969855 | 14 | -9333.324 | -0.0093333 | 964299 | 965201 | -902 | 601332.732 | 0.60133
40 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999059 | 998844 | 215 | -430000 | -0.43 | 999750 | 999831 | -81 | 162000 | 0.162
DIAL
41 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5772 | 5713 | 59 | -118000 | -0.118 | 2417 | 2422 | -5 | 10000 | 0.01
42 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2702 | 2640 | 62 | -124000 | -0.124 | 1377 | 1382 | -5 | 10000 | 0.01
MASJID MOD
43 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917326 | 917326 | 0 | 0 | 0 | 981547 | 981789 | -242 | 242000 | 0.242
44 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120 | 120 | 0 | 0 | 0 | 997086 | 997326 | -240 | 240000 | 0.24
MUNDKA
45 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
46 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 1331 | 713 | 618 | 494400 | 0.4944 | 27 | 22 | 5 | 4000 | 0.004
47 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 994516 | 995640 | -1124 | -899200 | -0.8992 | 999988 | 999989 | -1 | -800 | -0.0008
48 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
49 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1081 | 882 | 199 | 159200 | 0.1592 | 999795 | 999794 | 1 | 800 | 0.0008
50 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 382 | 321 | 61 | 48800 | 0.0488 | 1 | 1 | 0 | 0 | 0
PARK STREET
51 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979968 | 979936 | 32 | 32000 | 0.032 | 32516 | 32673 | -157 | -157000 | -0.157
52 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
53 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26945 | 24744 | 2201 | -2201000 | -2.201 | 26 | 26 | 0 | 0 | 0
54 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9260 | 9393 | -133 | 133000 | 0.133 | 998471 | 998489 | -18 | 18000 | 0.018
55 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11035 | 9388 | 1647 | -1647000 | -1.647 | 10 | 10 | 0 | 0 | 0
NARAINA
56 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 9038 | 8984 | 54 | 5400 | 0.0054 | 37983 | 36411 | 1572 | 157200 | 0.1572
SUDARSHAN PARK
57 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 969366 | 969183 | 183 | 9150 | 0.00915 | 1560 | 1541 | 19 | 950 | 0.00095
58 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997249 | 997367 | -118 | -47200 | -0.0472 | 6757 | 6523 | 234 | 93600 | 0.0936
59 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 995752 | 994674 | 1078 | 431200 | 0.4312 | 32164 | 31597 | 567 | 226800 | 0.2268
[5 empty] | 400 | 2203 | 1605 | 598 | 239200 | 0.2392
REWARI LINE
60 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1 | 0 | 1 | 1000 | 0.001 | 1000002 | 999990 | 12 | 12000 | 0.012
KANJAWALA
61 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 987105 | 987290 | -185 | -148000 | -0.148 | 999041 | 999167 | -126 | -100800 | -0.1008
Trauma Centre
62 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 239240 | 236251 | 2989 | 298900 | 0.2989 | 7989 | 7487 | 502 | 50200 | 0.0502
63 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3789 | 3461 | 328 | 328000 | 0.328 | 337 | 338 | -1 | -1000 | -0.001
A.I.I.M.S.
64 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 8613 | 8556 | 57 | 4275 | 0.004275 | 14375 | 14113 | 262 | 19650 | 0.01965
65 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 3282 | 3195 | 87 | 8700 | 0.0087 | 5610 | 5319 | 291 | 29100 | 0.0291
PEERGARHI
66 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 2667 | 2304 | 363 | 181500 | 0.1815 | 2775 | 2761 | 14 | 7000 | 0.007
67 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3150 | 3091 | 59 | 59000 | 0.059 | 4058 | 4027 | 31 | 31000 | 0.031
68 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996993 | 996989 | 4 | 4000 | 0.004 | 1305 | 1308 | -3 | -3000 | -0.003
69 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2762 | 2700 | 62 | 62000 | 0.062 | 6438 | 6428 | 10 | 10000 | 0.01
70 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 332 | 254 | 78 | 78000 | 0.078 | 378 | 319 | 59 | 59000 | 0.059
71 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 8396 | 8120 | 276 | 27600 | 0.0276 | 44707 | 44731 | -24 | -2400 | -0.0024
72 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1336 | 1399 | -63 | -63000 | -0.063 | 293 | 308 | -15 | -15000 | -0.015
73 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1131 | 1093 | 38 | 38000 | 0.038 | 5846 | 5693 | 153 | 153000 | 0.153
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.7221 |  |  |  |  | 12.3644
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 180730 | 178729 | 2001 | -200100 | -0.2001 | 913323 | 913117 | 206 | -20600 | -0.0206
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998066 | 998066 | 0 | 0 | 0 | 1144 | 1141 | 3 | -3000 | -0.003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151261 | 151261 | 0 | 0 | 0 | 53969 | 53606 | 363 | -363000 | -0.363
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 995197 | 995221 | -24 | 4800 | 0.0048 | 999297 | 999755 | -458 | 91600 | 0.0916
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000000 | 999999 | 1 | -1000 | -0.001 | 9 | 7 | 2 | -2000 | -0.002
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999972 | 999919 | 53 | -53000 | -0.053 | 691 | 533 | 158 | -158000 | -0.158
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 1896 | 1889 | 7 | -1120 | -0.00112 | 3053 | 2370 | 683 | -109280 | -0.10928
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907051 | 907050 | 1 | -1000 | -0.001 | 62100 | 61937 | 163 | -163000 | -0.163
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998937 | 998957 | -20 | 20000 | 0.02 | 999823 | 999827 | -4 | 4000 | 0.004
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 86724 | 84316 | 2408 | -240800 | -0.2408 | 71739 | 71729 | 10 | -1000 | -0.001
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 98096 | 97157 | 939 | -93900 | -0.0939 | 72422 | 72341 | 81 | -8100 | -0.0081
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27522 | 27520 | 2 | -200 | -0.0002 | 32189 | 30597 | 1592 | -159200 | -0.1592
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999174 | 999175 | -1 | -500 | -0.0005 | 16668 | 16668 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999880 | 999880 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 398347 | 395257 | 3090 | -309000 | -0.309 | 49064 | 49035 | 29 | -2900 | -0.0029
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 5183 | 4959 | 224 | -22400 | -0.0224 | 29894 | 29652 | 242 | -24200 | -0.0242
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 997337 | 998094 | -757 | 315411.62 | 0.31541 | 998992 | 999070 | -78 | 32499.48 | 0.032499
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9125 | 9125 | 0 | 0 | 0 | 37615 | 37736 | -121 | 12100 | 0.0121
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12192 | 12192 | 0 | 0 | 0 | 77030 | 76379 | 651 | -65100 | -0.0651
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 891 | 881 | 10 | -1000 | -0.001 | 17370 | 16625 | 745 | -74500 | -0.0745
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 148 | 123 | 25 | -33325 | -0.033325 | 190 | 180 | 10 | -13330 | -0.01333
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999092 | 999093 | -1 | 100 | 0.0001 | 13810 | 12729 | 1081 | -108100 | -0.1081
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 62 | 19 | 7600 | 0.0076
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999888 | 999888 | 0 | 0 | 0 | 999975 | 999995 | -20 | 8000 | 0.008
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.61703 |  |  |  |  | -1.1195
AUGUST -2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -7.7221 |  |  |  |  | 12.3644
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.61703 |  |  |  |  | -1.1195
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.38529 |  |  |  |  | 0.020712
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0372 |  |  |  |  | -0.26438
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -8.7616 |  |  |  |  | 11.0012
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.7616 | (REACTIVE MUs) |  |  |  | 11.0012 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.32596 | (REACTIVE MUs) |  |  |  | -0.4953 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.4356 | (REACTIVE MUs) |  |  |  | 10.5059 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 267 | 167 | 30 | 137 | 36579 | 0.036579 | 413 | 184 | 229 | 61143 | 0.061143
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 74483 | 74531 | -48 | -4800 | -0.0048 | 143867 | 143900 | -33 | -3300 | -0.0033
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 973087 | 973163 | -76 | -15200 | -0.0152 | 995109 | 995268 | -159 | -31800 | -0.0318
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 37187 | 36519 | 668 | 133600 | 0.1336 | 117937 | 117407 | 530 | 106000 | 0.106
[11 empty] | 9814 | 9814 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16810 | 16810 | 0 | 0 | 0 | 13474 | 12934 | 540 | 432000 | 0.432
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15049 | 15049 | 0 | 0 | 0 | 4389 | 4216 | 173 | 346000 | 0.346
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 974721 | 974721 | 0 | 0 | 0 | 986757 | 987037 | -280 | -224000 | -0.224
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 985150 | 985150 | 0 | 0 | 0 | 987826 | 988976 | -1150 | -920000 | -0.92
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 991361 | 991361 | 0 | 0 | 0 | 994318 | 995102 | -784 | -627200 | -0.6272
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980126 | 980126 | 0 | 0 | 0 | 994694 | 995000 | -306 | -244800 | -0.2448
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 999859 | 999860 | -1 | -50 | -5e-05 | 8151 | 7045 | 1106 | 55300 | 0.0553
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993086 | 993081 | 5 | 375 | 0.000375 | 13539 | 12819 | 720 | 54000 | 0.054
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 51 | 51 | 0 | 0 | 0 | 1879 | 1701 | 178 | 89000 | 0.089
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998959 | 998959 | 0 | 0 | 0 | 2472 | 2618 | -146 | -54750 | -0.05475
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989304 | 989304 | 0 | 0 | 0 | 329507 | 327411 | 2096 | 209600 | 0.2096
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 65 | 65 | 0 | 0 | 0 | 9613 | 8073 | 1540 | 115500 | 0.1155
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3473 | 3487 | -14 | -1400 | -0.0014 | 265739 | 265933 | -194 | -19400 | -0.0194
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 83159 | 83109 | 50 | 5000 | 0.005 | 736490 | 734934 | 1556 | 155600 | 0.1556
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999299 | 999203 | 96 | 96000 | 0.096 | 102070 | 101993 | 77 | 77000 | 0.077
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997799 | 997570 | 229 | 229000 | 0.229 | 45221 | 45103 | 118 | 118000 | 0.118
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 997815 | 998008 | -193 | -212300 | -0.2123 | 143903 | 143793 | 110 | 121000 | 0.121
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3042 | 2838 | 204 | 204000 | 0.204 | 59490 | 59425 | 65 | 65000 | 0.065
[10 empty] | 0.3167 |  |  |  |  | 0.381
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999972 | 999919 | 53 | 53000 | 0.053 | 691 | 533 | 158 | 158000 | 0.158
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 1896 | 1889 | 7 | 1120 | 0.00112 | 3053 | 2370 | 683 | 109280 | 0.10928
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907051 | 907050 | 1 | 1000 | 0.001 | 62100 | 61937 | 163 | 163000 | 0.163
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998937 | 998957 | -20 | -20000 | -0.02 | 999823 | 999827 | -4 | -4000 | -0.004
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999174 | 999175 | -1 | 500 | 0.0005 | 16668 | 16668 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999880 | 999880 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
AUGUST -2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935083 | 935984 | -901 | 901000 | 0.901 | 970572 | 970689 | -117 | 117000 | 0.117
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978404 | 979958 | -1554 | 1554000 | 1.554 | 998232 | 998505 | -273 | 273000 | 0.273
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997600 | 997861 | -261 | 522000 | 0.522 | 999721 | 999769 | -48 | 96000 | 0.096
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996287 | 996842 | -555 | 555000 | 0.555 | 999428 | 999521 | -93 | 93000 | 0.093
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 398347 | 395257 | 3090 | 309000 | 0.309 | 49064 | 49035 | 29 | 2900 | 0.0029
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 5183 | 4959 | 224 | 22400 | 0.0224 | 29894 | 29652 | 242 | 24200 | 0.0242
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 86724 | 84316 | 2408 | 240800 | 0.2408 | 71739 | 71729 | 10 | 1000 | 0.001
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 98096 | 97157 | 939 | 93900 | 0.0939 | 72422 | 72341 | 81 | 8100 | 0.0081
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27522 | 27520 | 2 | 200 | 0.0002 | 32189 | 30597 | 1592 | 159200 | 0.1592
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 180730 | 178729 | 2001 | 200100 | 0.2001 | 913323 | 913117 | 206 | 20600 | 0.0206
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 239240 | 236251 | 2989 | -298900 | -0.2989 | 7989 | 7487 | 502 | -50200 | -0.0502
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3789 | 3461 | 328 | -328000 | -0.328 | 337 | 338 | -1 | 1000 | 0.001
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 8613 | 8556 | 57 | -4275 | -0.004275 | 14375 | 14113 | 262 | -19650 | -0.01965
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 3282 | 3195 | 87 | -8700 | -0.0087 | 5610 | 5319 | 291 | -29100 | -0.0291
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.8918 |  |  |  |  | 1.0524
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.8918 |  |  |  |  | 1.0524
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.03659 |  |  |  |  | -0.055599
| TOTAL ENERGY TO NDMC | [8 empty] | 4.9284 |  |  |  |  | 0.99682

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST -2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 833 | 833 | 0 | 0 | 0 | 20877 | 19249 | 1628 | 325600 | 0.3256
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1509 | 0 | 0 | 0 | 42365 | 41616 | 749 | 749000 | 0.749
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4110 | 4109 | 1 | 1000 | 0.001 | 51771 | 51179 | 592 | 592000 | 0.592
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 1000000 | -1 | -400 | -0.0004 | 101 | 101 | 0 | 0 | 0
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6494 | 6493 | 1 | 1000 | 0.001 | 11773 | 11526 | 247 | 247000 | 0.247
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 1000000 | -1 | -400 | -0.0004 | 999445 | 999872 | -427 | -170800 | -0.1708
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 995197 | 995221 | -24 | -4800 | -0.0048 | 999297 | 999755 | -458 | -91600 | -0.0916
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000000 | 999999 | 1 | 1000 | 0.001 | 9 | 7 | 2 | 2000 | 0.002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0026 |  |  |  |  | 1.6532
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 57249 | 56891 | 358 | 35800 | 0.0358 | 90179 | 89760 | 419 | 41900 | 0.0419
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77959 | 77945 | 14 | 1400 | 0.0014 | 16447 | 16418 | 29 | 2900 | 0.0029
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61634 | 61634 | 0 | 0 | 0 | 111225 | 109102 | 2123 | 212300 | 0.2123
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1155 | 1058 | 97 | 7275 | 0.007275
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10255 | 10255 | 0 | 0 | 0 | 3806 | 3582 | 224 | 22400 | 0.0224
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0372 |  |  |  |  | 0.26438
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0372 |  |  |  |  | 0.26438
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0026 |  |  |  |  | 1.6532
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0346 |  |  |  |  | 1.9176
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0346 | (REACTIVE MUs) |  |  |  | 1.9176 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0031398 | (REACTIVE MUs) |  |  |  | -0.0047709 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.03774 | (REACTIVE MUs) |  |  |  | 1.9128 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST -2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 997359 | 999578 | -2219 | -221900 | -0.2219 | 2018 | 2132 | -114 | -11400 | -0.0114
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 36746 | 36558 | 188 | 18800 | 0.0188 | 4995 | 4967 | 28 | 2800 | 0.0028
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 4455 | 4347 | 108 | 54000 | 0.054 | 1964 | 1887 | 77 | 38500 | 0.0385
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 358 | 427 | -69 | -64687.5 | -0.064687 | 151 | 152 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 997307 | 998017 | -710 | -177500 | -0.1775 | 983759 | 983812 | -53 | -13250 | -0.01325
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982259 | 982271 | -12 | 6000 | 0.006 | 976396 | 976406 | -10 | 5000 | 0.005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.38529 |  |  |  |  | 0.020712
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986892 | 986963 | -71 | -14200 | -0.0142 | 999997 | 1000058 | -61 | -12200 | -0.0122
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 903926 | 904756 | -830 | -311250 | -0.31125 | 996693 | 996739 | -46 | -17250 | -0.01725
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.32545 |  |  |  |  | -0.02945
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 293288 | 292890 | 398 | 79600 | 0.0796 | 284117 | 283686 | 431 | 86200 | 0.0862
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 253350 | 252707 | 643 | 64300 | 0.0643 | 998803 | 998828 | -25 | -2500 | -0.0025
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 135235 | 134285 | 950 | 59375 | 0.059375 | 985693 | 985722 | -29 | -1812.5 | -0.0018125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 504 | 506 | -2 | -1600 | -0.0016 | 1751 | 1684 | 67 | 53600 | 0.0536
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 988211 | 988442 | -231 | -23100 | -0.0231 | 999316 | 999341 | -25 | -2500 | -0.0025
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999016 | 999007 | 9 | 1350 | 0.00135 | 984412 | 986010 | -1598 | -239700 | -0.2397
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998850 | 998815 | 35 | -87500 | -0.0875 | 3069 | 3070 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.092425 |  |  |  |  | -0.10421
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.38529 |  |  |  |  | 0.020712
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.32545 |  |  |  |  | -0.02945
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.092425 |  |  |  |  | -0.10421

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST -2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902489 | ELSTER | kvarh (Lead/lag) | 1000 | 985380 | 985380 | 0 | 0 | 0 | 993873 | 993617 | 256 | 256000 | 0.256 | Check Meter
|  | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 497 | 0 | 497 | 497000 | 0.497 | 999997 | 1000000 | -3 | -3000 | -0.003 | w.e.f 18/08/17
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 7727 | 7542 | 185 | 925000 | 0.925 | 80 | 99 | -19 | -95000 | -0.095
[7 empty] | NET REACTIVE ENERGY |  |  | 1.422 |  | NET REACTIVE ENERGY |  |  | 0.158
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.422 |  |  |  |  | 0.158
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.9594 |  |  |  |  | -1.7231
[7 empty] | NDMC = |  |  | 0.3167 |  |  |  |  | 0.381
MES =
[7 empty] | 2)TOTAL |  |  | -0.6427 |  |  |  |  | -1.3421
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.7793 |  |  |  |  | -1.1842
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.4336 | % |  |  | 0.22938 |  |  |  |  | -0.34854
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.8275 | % |  |  | 0.32596 |  |  |  |  | -0.4953
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.6407 | % |  |  | 0.18423 |  |  |  |  | -0.27994
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6953 | % |  |  | 0.03659 |  |  |  |  | -0.055599
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4029 | % |  |  | 0.0031398 |  |  |  |  | -0.0047709
Note :Sharing taken from wk-23 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2017 TO 1st SEPTEMBER-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.070988 | + | 2.6752
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -8.4356 | + | 10.5059
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.2175 | + | 4.8228
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.9284 | + | 0.99682
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.03774 | + | 1.9128
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2017 | INTIAL READING 01/08/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 10197 | 9347 | 850 | 637500 | 0.6375 | 999964 | 999984 | -20 | -15000 | -0.015 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 996796 | 996619 | 177 | 265500 | 0.2655 | 991915 | 991920 | -5 | -7500 | -0.0075
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 852604 | 852896 | -292 | -219000 | -0.219 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.684 |  |  | NET REACTIVE ENERGY |  | -0.0225
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999858 | 999858 | 0 | 0 | 0 | 11552 | 11183 | 369 | 1845000 | 1.845
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 933958 | 938861 | -4903 | -4903000 | -4.903
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973272 | 973276 | -4 | -4000 | -0.004 | 998126 | 997839 | 287 | 287000 | 0.287
[8 empty] | NET REACTIVE ENERGY |  | -0.004 |  |  | NET REACTIVE ENERGY |  | -2.771