## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966203 | 966203 | 0 | 0 | 0 | 995443 | 995443 | 0 | 0 | 0
[10 empty] | -0.34 |  |  |  |  | -0.0026
| Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 785 | 0 | 785 | -785000 | -0.785 | 6 | 0 | 6 | -6000 | -0.006 | wef 14/6/16
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8800 | 8744 | 56 | -56000 | -0.056 | 999116 | 999678 | -562 | 562000 | 0.562
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969703 | 969712 | -9 | 9000 | 0.009 | 995764 | 995875 | -111 | 111000 | 0.111
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998991 | 998991 | 0 | 0 | 0 | 994983 | 997629 | -2646 | 2646000 | 2.646
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 578 | 577 | 1 | -1000 | -0.001 | 999297 | 998858 | 439 | -439000 | -0.439
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24026 | 24016 | 10 | -10000 | -0.01 | 17807 | 17784 | 23 | -23000 | -0.023
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 434 | 425 | 9 | -9000 | -0.009 | 999936 | 999917 | 19 | -19000 | -0.019
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12168 | 12168 | 0 | 0 | 0 | 992364 | 992576 | -212 | 265000 | 0.265
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995091 | 995082 | 9 | -9000 | -0.009 | 981573 | 981835 | -262 | 262000 | 0.262
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999756 | 999754 | 2 | -2000 | -0.002 | 1000020 | 999997 | 23 | -23000 | -0.023
11 | Tx.-2 | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999970 | 999953 | 17 | -17000 | -0.017 | 1000003 | 999984 | 19 | -19000 | -0.019 | Check Meter Data till 19/06
| Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11 | 0 | 11 | -11000 | -0.011 | 3 | 0 | 3 | -3000 | -0.003 | wef 20/6/16
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979107 | 979130 | -23 | 23000 | 0.023 | 997764 | 997762 | 2 | -2000 | -0.002
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964261 | 965112 | -851 | -851000 | -0.851 | 999983 | 999988 | -5 | -5000 | -0.005
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982722 | 982697 | 25 | -25000 | -0.025 | 16909 | 16867 | 42 | -42000 | -0.042
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5389 | 5326 | 63 | -63000 | -0.063 | 20493 | 20308 | 185 | -185000 | -0.185
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11913 | 11856 | 57 | -57000 | -0.057 | 181 | 39 | 142 | -142000 | -0.142
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 97 | 97 | 0 | 0 | 0 | 978104 | 978104 | 0 | 0 | 0
| O/G REWARI LINE 1(payal) | 5128404 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999979 | 999979 | 0 | 0 | 0 | 995411 | 995563 | -152 | -152000 | -0.152 | Check Meter
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 782 | 780 | 2 | 2000 | 0.002 | 28081 | 28234 | -153 | -153000 | -0.153
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6332 | 6290 | 42 | 4200 | 0.0042 | 175723 | 173720 | 2003 | 200300 | 0.2003
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 64647 | 42513 | 22134 | 2213400 | 2.2134 | 253776 | 253776 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 994777 | 995848 | -1071 | -1071000 | -1.071
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 2349 | 2751 | -402 | -402000 | -0.402
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 1822 | 1226 | 596 | 59600 | 0.0596 | 5383 | 3683 | 1700 | 170000 | 0.17
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634367 | 634367 | 0 | 0 | 0 | 796304 | 796786 | -482 | -482000 | -0.482
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627296 | 627301 | -5 | -5000 | -0.005 | 829500 | 829921 | -421 | -421000 | -0.421
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 115 | 42 | 73 | 29200 | 0.0292 | 999344 | 999744 | -400 | -160000 | -0.16
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5449 | 5449 | 0 | 0 | 0 | 2880 | 3142 | -262 | -131000 | -0.131
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24786 | 24813 | -27 | 27000 | 0.027 | 980863 | 980884 | -21 | 21000 | 0.021
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11854 | 11812 | 42 | -42000 | -0.042 | 996745 | 996747 | -2 | 2000 | 0.002
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995174 | 995270 | -96 | 96000 | 0.096 | 999846 | 999959 | -113 | 113000 | 0.113
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4666 | 4611 | 55 | -55000 | -0.055 | 999623 | 999863 | -240 | 240000 | 0.24
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20437 | 18934 | 1503 | -1503000 | -1.503 | 39 | 42 | -3 | 3000 | 0.003
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8710 | 8467 | 243 | -243000 | -0.243 | 998818 | 998827 | -9 | 9000 | 0.009
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18264 | 17667 | 597 | -597000 | -0.597 | 1582 | 1581 | 1 | -1000 | -0.001
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5774 | 5843 | -69 | 69000 | 0.069 | 998418 | 998453 | -35 | 35000 | 0.035
36 | Tx.2 | 5295172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1635 | 1237 | 398 | -398000 | -0.398 | 5 | 5 | 0 | 0 | 0 | Reading 13/6/16
|  | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1861 | 1765 | 96 | -96000 | -0.096 | 964 | 963 | 1 | -1000 | -0.001 | Check Meter Data till 19/06
| Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156 | 0 | 156 | -156000 | -0.156 | 0 | 0 | 0 | 0 | 0 | wef 20/6/16
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993354 | 0 | 0 | 0 | 998754 | 999078 | -324 | 324000 | 0.324
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9106 | 9105 | 1 | -1000 | -0.001 | 1197 | 207 | 990 | -990000 | -0.99
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2074 | 2073 | 1 | 1000 | 0.001 | 25866 | 25487 | 379 | 379000 | 0.379
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 36 | 0 | 36 | 3600 | 0.0036 | 12827 | 5793 | 7034 | 703400 | 0.7034
| NDPL(+) continue | [14 empty] | JUNE-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 175505 | 176808 | -1303 | -162875 | -0.16287 | 262419 | 261658 | 761 | 95125 | 0.095125
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9223 | 9224 | -1 | -100 | -0.0001 | 37528 | 37525 | 3 | 300 | 0.0003
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11403 | 11391 | 12 | 1200 | 0.0012 | 69642 | 67887 | 1755 | 175500 | 0.1755
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 645 | 628 | 17 | 1700 | 0.0017 | 7853 | 4713 | 3140 | 314000 | 0.314
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 11090 | 10975 | 115 | 11500 | 0.0115 | 11165 | 10704 | 461 | 46100 | 0.0461
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16050 | 16082 | -32 | -3200 | -0.0032 | 21914 | 21684 | 230 | 23000 | 0.023 | Data till 29/06
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 990863 | 990926 | -63 | -2799.72 | -0.0027997 | 263 | 306 | -43 | -1910.92 | -0.0019109
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5438 | 5432 | 6 | 3000 | 0.003 | 34283 | 34081 | 202 | 101000 | 0.101
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999895 | 999891 | 4 | 2000 | 0.002 | 457 | 368 | 89 | 44500 | 0.0445
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 63 | 42 | 21 | 14000 | 0.014 | 52 | 37 | 15 | 10000 | 0.01
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2512 | 2477 | 35 | 23333.3333 | 0.023333 | 1191 | 1156 | 35 | 23333.3333 | 0.023333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998417 | 998407 | 10 | 1000 | 0.001 | 744 | 659 | 85 | 8500 | 0.0085
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999745 | 999746 | -1 | -100 | -0.0001 | 999938 | 999955 | -17 | -1700 | -0.0017
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24049 | 23646 | 403 | 40300 | 0.0403 | 57872 | 57658 | 214 | 21400 | 0.0214
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1849 | 1848 | 1 | 100 | 0.0001 | 4708 | 3873 | 835 | 83500 | 0.0835
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27054 | 27047 | 7 | 700 | 0.0007 | 67544 | 66971 | 573 | 57300 | 0.0573
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 4771 | 4758 | 13 | 1300 | 0.0013 | 1826 | 928 | 898 | 89800 | 0.0898
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 189034 | 187602 | 1432 | 143200 | 0.1432 | 19838 | 20416 | -578 | -57800 | -0.0578
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24476 | 24476 | 0 | 0 | 0 | 49729 | 48742 | 987 | 98700 | 0.0987
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 457 | 457 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995607 | 995607 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972919 | 972919 | 0 | 0 | 0 | 997601 | 999329 | -1728 | -1382400 | -1.3824
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2076 | 2076 | 0 | 0 | 0 | 985 | 342 | 643 | 1286000 | 1.286
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999739 | 0 | 0 | 0 | 2105 | 577 | 1528 | 152800 | 0.1528
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.7207 |  |  |  |  | 2.3581
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 23898 | 23691 | 207 | -20700 | -0.0207 | 25567 | 24805 | 762 | -76200 | -0.0762
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13849 | 13849 | 0 | 0 | 0 | 8083 | 7850 | 233 | -233000 | -0.233
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11770 | 11770 | 0 | 0 | 0 | 19034 | 20656 | -1622 | 324400 | 0.3244
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86052 | 86052 | 0 | 0 | 0 | 121699 | 121189 | 510 | -510000 | -0.51
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19749 | 19790 | -41 | 4100 | 0.0041 | 143076 | 142790 | 286 | -28600 | -0.0286 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 992738 | 993302 | -564 | 451200 | 0.4512 | 999965 | 999973 | -8 | 6400 | 0.0064
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4346 |  |  |  |  | -0.517
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.7207 |  |  |  |  | 2.3581
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4346 |  |  |  |  | -0.517
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.63291 |  |  |  |  | -0.36096
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.6532 |  |  |  |  | 1.4802
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.6532 | (REACTIVE MUs) |  |  |  | 1.4802 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.1092 | (REACTIVE MUs) |  |  |  | -0.7964 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.544 | (REACTIVE MUs) |  |  |  | 0.68378 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 12206 | 10772 | 1434 | 143400 | 0.1434 | 1836 | 1777 | 59 | 5900 | 0.0059
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 4943 | 4058 | 885 | 265500 | 0.2655 | 1326 | 817 | 509 | 152700 | 0.1527
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 18899 | 18899 | 0 | 0 | 0 | 35221 | 35221 | 0 | 0 | 0
| P. HOSPITAL BAY-19 | 4865105 | ELSTER | Kvarh(Lead/Lag) | 100 | 19338 | 20085 | -747 | -74700 | -0.0747 | 48698 | 48471 | 227 | 22700 | 0.0227 | Check Meter
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999156 | 999238 | -82 | -24600 | -0.0246 | 5513 | 5425 | 88 | 26400 | 0.0264
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1630 | 1588 | 42 | 55998.6 | 0.055999 | 2637 | 2660 | -23 | -30665.9 | -0.030666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 30040 | 32197 | -2157 | -215700 | -0.2157 | 172167 | 172920 | -753 | -75300 | -0.0753
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 18388 | 17907 | 481 | 48100 | 0.0481 | 998019 | 998712 | -693 | -69300 | -0.0693 | reading upto 14/06
[10 empty] | 0.049 |  |  |  |  | -0.07
| MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 4 | 0 | 4 | 300 | 0.0003 | 999999 | 1000000 | -1 | -75 | -7.5e-05 | wef 30/6/2016
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989323 | 989370 | -47 | -47000 | -0.047 | 1580 | 1675 | -95 | -95000 | -0.095
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997573 | 997573 | 0 | 0 | 0 | 3177 | 3104 | 73 | 73000 | 0.073
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 209 | 221 | -12 | -12000 | -0.012 | 892 | 1031 | -139 | -139000 | -0.139
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997254 | 997258 | -4 | -4000 | -0.004 | 1948 | 2048 | -100 | -100000 | -0.1
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995057 | 995069 | -12 | -12000 | -0.012 | 5100 | 4923 | 177 | 177000 | 0.177
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998482 | 998484 | -2 | -2000 | -0.002 | 999332 | 999468 | -136 | -136000 | -0.136
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999336 | 999336 | 0 | 0 | 0 | 17310 | 17213 | 97 | 97000 | 0.097
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999933 | 999933 | 0 | 0 | 0 | 762 | 93 | 669 | 535200 | 0.5352
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999727 | 999727 | 0 | 0 | 0 | 29057 | 28837 | 220 | 220000 | 0.22
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1351 | 1353 | -2 | -2000 | -0.002 | 9483 | 9592 | -109 | -109000 | -0.109
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11996 | 11987 | 9 | 900 | 0.0009 | 350 | 343 | 7 | 700 | 0.0007
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998204 | 998195 | 9 | 9000 | 0.009 | 15404 | 15338 | 66 | 66000 | 0.066
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 969256 | 971021 | -1765 | -2426875 | -2.4269
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 676140 | 679380 | -3240 | -3564000 | -3.564
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980670 | 980757 | -87 | -87000 | -0.087 | 8109 | 8219 | -110 | -110000 | -0.11
| KASHMIRI GATE | [8 empty] | -0.1561 |  |  |  |  | -5.511
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950102 | 950102 | 0 | 0 | 0 | 943546 | 944875 | -1329 | 1329000 | 1.329
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960597 | 960017 | 580 | -580000 | -0.58 | 954965 | 955032 | -67 | 67000 | 0.067
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 457 | 457 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 874 | 857 | 17 | 17000 | 0.017 | 8103 | 7871 | 232 | 232000 | 0.232
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73998 | 73998 | 0 | 0 | 0 | 974825 | 974689 | 136 | -136000 | -0.136
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53500 | 53499 | 1 | -1000 | -0.001 | 970663 | 970082 | 581 | -581000 | -0.581
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994154 | 994139 | 15 | -15000 | -0.015 | 993827 | 993408 | 419 | -419000 | -0.419
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997615 | 997615 | 0 | 0 | 0 | 1000064 | 999477 | 587 | -587000 | -0.587
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4753 | 4638 | 115 | -230000 | -0.23 | 999239 | 999510 | -271 | 542000 | 0.542
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999137 | 999127 | 10 | -20000 | -0.02 | 999883 | 999918 | -35 | 70000 | 0.07
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998135 | 998069 | 66 | -66000 | -0.066 | 999886 | 999905 | -19 | 19000 | 0.019
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11770 | 11770 | 0 | 0 | 0 | 19034 | 20656 | -1622 | -324400 | -0.3244
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86052 | 86052 | 0 | 0 | 0 | 121699 | 121189 | 510 | 510000 | 0.51
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 94559 | 94559 | 0 | 0 | 0 | 964 | 964 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 150307 | 150145 | 162 | 16200 | 0.0162 | 31402 | 23099 | 8303 | 830300 | 0.8303
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.7876 |  |  |  |  | -3.9967
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.7876 |  |  |  |  | -3.9967
JUNE-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981304 | 981304 | 0 | 0 | 0 | 886222 | 889864 | -3642 | 3642000 | 3.642
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999995 | 999995 | 0 | 0 | 0 | 990252 | 993504 | -3252 | 3252000 | 3.252
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980134 | 980134 | 0 | 0 | 0 | 951954 | 955499 | -3545 | 3545000 | 3.545
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996316 | 996317 | -1 | 2000 | 0.002 | 981404 | 983254 | -1850 | 3700000 | 3.7
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996983 | 996974 | 9 | -9000 | -0.009 | 1000328 | 999699 | 629 | -629000 | -0.629
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993738 | 993737 | 1 | -1000 | -0.001 | 999640 | 999367 | 273 | -273000 | -0.273
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8408 | 8367 | 41 | -41000 | -0.041 | 983684 | 983965 | -281 | 281000 | 0.281
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997819 | 997881 | -62 | 62000 | 0.062 | 995955 | 996502 | -547 | 547000 | 0.547
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999785 | 999879 | -94 | 94000 | 0.094 | 998448 | 999878 | -1430 | 1430000 | 1.43
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980069 | 980087 | -18 | 18000 | 0.018 | 971373 | 973276 | -1903 | 1903000 | 1.903
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959396 | 959098 | 298 | -298000 | -0.298 | 838345 | 838814 | -469 | 469000 | 0.469
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15032 | 14961 | 71 | -71000 | -0.071 | 33938 | 34160 | -222 | 222000 | 0.222
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 193 | 0 | 193 | -193000 | -0.193 | 999902 | 1000000 | -98 | 98000 | 0.098 | wef 1/6/2016
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18282 | 18446 | -164 | 164000 | 0.164 | 993346 | 993861 | -515 | 515000 | 0.515
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.273 |  |  |  |  | 18.702
| (B) NET ENERGY TO EAST | [8 empty] | -0.273 |  |  |  |  | 18.702
JUNE-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -1000 | 115 | 42 | 73 | -73000 | -0.073 | 999344 | 999744 | -400 | 400000 | 0.4
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5449 | 5449 | 0 | 0 | 0 | 2880 | 3142 | -262 | 131000 | 0.131
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54286 | 54273 | 13 | -2600 | -0.0026 | 84422 | 82928 | 1494 | -298800 | -0.2988
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72480 | 72483 | -3 | 300 | 0.0003 | 139482 | 139687 | -205 | 20500 | 0.0205
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976871 | 976871 | 0 | 0 | 0 | 997178 | 997853 | -675 | 135000 | 0.135
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 85051 | 85044 | 7 | -1400 | -0.0014 | 106113 | 104418 | 1695 | -339000 | -0.339
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14749 | 14748 | 1 | -800 | -0.0008 | 8790 | 7876 | 914 | -731200 | -0.7312
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14190 | 14189 | 1 | -2000 | -0.002 | 3359 | 3064 | 295 | -590000 | -0.59
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977674 | 977675 | -1 | 800 | 0.0008 | 988993 | 989398 | -405 | 324000 | 0.324
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 997632 | 997636 | -4 | 3200 | 0.0032 | 997030 | 998745 | -1715 | 1372000 | 1.372
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998076 | 998077 | -1 | 800 | 0.0008 | 998936 | 999674 | -738 | 590400 | 0.5904
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 984193 | 984194 | -1 | 800 | 0.0008 | 994680 | 994683 | -3 | 2400 | 0.0024
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983792 | 983792 | 0 | 0 | 0 | 34858 | 34816 | 42 | -42000 | -0.042
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2074 | 2073 | 1 | -1000 | -0.001 | 25866 | 25487 | 379 | -379000 | -0.379
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 36 | 0 | 36 | -3600 | -0.0036 | 12827 | 5793 | 7034 | -703400 | -0.7034
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5438 | 5432 | 6 | -3000 | -0.003 | 34283 | 34081 | 202 | -101000 | -0.101
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999895 | 999891 | 4 | -2000 | -0.002 | 472 | 368 | 104 | -52000 | -0.052
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 63 | 42 | 21 | -14000.07 | -0.014 | 52 | 37 | 15 | -10000.05 | -0.01
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2512 | 2477 | 35 | -23333.3333 | -0.023333 | 1191 | 1156 | 35 | -23333.3333 | -0.023333
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 189034 | 187602 | 1432 | -143200 | -0.1432 | 19838 | 20416 | -578 | 57800 | 0.0578
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24476 | 24476 | 0 | 0 | 0 | 49729 | 48742 | 987 | -98700 | -0.0987
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998417 | 998407 | 10 | -1000 | -0.001 | 744 | 659 | 85 | -8500 | -0.0085
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999745 | 999746 | -1 | 100 | 0.0001 | 999938 | 999955 | -17 | 1700 | 0.0017
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24049 | 23646 | 403 | -40300 | -0.0403 | 57872 | 57658 | 214 | -21400 | -0.0214
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1849 | 1848 | 1 | -100 | -0.0001 | 4708 | 3873 | 835 | -83500 | -0.0835
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27054 | 27047 | 7 | -700 | -0.0007 | 67544 | 66971 | 573 | -57300 | -0.0573
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 4773 | 4758 | 15 | -1500 | -0.0015 | 1869 | 928 | 941 | -94100 | -0.0941
[10 empty] | -0.30753 |  |  |  |  | -0.59843
JUNE-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.7876 |  |  |  |  | -3.9967
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.30753 |  |  |  |  | -0.59843
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.01175 |  |  |  |  | -0.032
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.1069 |  |  |  |  | -4.6271
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.273 |  |  |  |  | 18.702
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.3799 |  |  |  |  | 14.0749
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.3799 | (REACTIVE MUs) |  |  |  | 14.0749 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.091655 | (REACTIVE MUs) |  |  |  | -0.66841 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.2882 | (REACTIVE MUs) |  |  |  | 13.4064 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999725 | 999706 | 19 | 95000 | 0.095 | 999812 | 999777 | 35 | 175000 | 0.175
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984515 | 984432 | 83 | 110666.39 | 0.11067 | 673101 | 673077 | 24 | 31999.92 | 0.032
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1984 | 0 | 1984 | 793600 | 0.7936 | 966 | 0 | 966 | 386400 | 0.3864
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15424 | 15227 | 197 | 197000 | 0.197 | 356 | 208 | 148 | 148000 | 0.148
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11414 | 10860 | 554 | 55400 | 0.0554 | 2962 | 1781 | 1181 | 118100 | 0.1181
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 713334 | 710101 | 3233 | 242475 | 0.24247 | 27424 | 27317 | 107 | 8025 | 0.008025
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 988645 | 988887 | -242 | -18150 | -0.01815 | 997741 | 997765 | -24 | -1800 | -0.0018
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997617 | 997515 | 102 | 91800 | 0.0918 | 998370 | 998347 | 23 | 20700 | 0.0207
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2394 | 2373 | 21 | -10500 | -0.0105 | 992071 | 993934 | -1863 | 931500 | 0.9315
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989399 | 988934 | 465 | -465000 | -0.465 | 948399 | 948219 | 180 | -180000 | -0.18
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996761 | 996444 | 317 | -317000 | -0.317 | 996462 | 996476 | -14 | 14000 | 0.014
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1283 | 913 | 370 | -370000 | -0.37 | 235 | 263 | -28 | 28000 | 0.028
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998402 | 998395 | 7 | -7000 | -0.007 | 996015 | 993936 | 2079 | -2079000 | -2.079
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981900 | 981907 | -7 | 7000 | 0.007 | 967448 | 968370 | -922 | 922000 | 0.922
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 528 | 247 | 281 | -281000 | -0.281 | 12575 | 12164 | 411 | -411000 | -0.411
| Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 2304 | 1724 | 580 | -580000 | -0.58
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36545 | 36549 | -4 | 4000 | 0.004 | 987302 | 989904 | -2602 | 2602000 | 2.602
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999587 | 999681 | -94 | 94000 | 0.094 | 995315 | 997754 | -2439 | 2439000 | 2.439
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 721 | 721 | 0 | 0 | 0 | 994308 | 994854 | -546 | 273000 | 0.273
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997510 | 996887 | 623 | -623000 | -0.623 | 995700 | 995495 | 205 | -205000 | -0.205
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20020 | 20020 | 0 | 0 | 0 | 999178 | 1000109 | -931 | 931000 | 0.931
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13515 | 12923 | 592 | -592000 | -0.592 | 999896 | 999696 | 200 | -200000 | -0.2
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13849 | 13849 | 0 | 0 | 0 | 8083 | 7850 | 233 | 233000 | 0.233
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985548 | 985671 | -123 | 123000 | 0.123 | 988576 | 991141 | -2565 | 2565000 | 2.565
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993399 | 993415 | -16 | 16000 | 0.016 | 989207 | 992139 | -2932 | 2932000 | 2.932
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995491 | 995465 | 26 | -26000 | -0.026 | 993465 | 995732 | -2267 | 2267000 | 2.267
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990793 | 990780 | 13 | -13000 | -0.013 | 936187 | 939659 | -3472 | 3472000 | 3.472
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999915 | 999731 | 184 | -184000 | -0.184 | 35587 | 36404 | -817 | 817000 | 0.817
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998861 | 998845 | 16 | -16000 | -0.016 | 997290 | 997607 | -317 | 317000 | 0.317
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996160 | 996158 | 2 | -2000 | -0.002 | 862827 | 863405 | -578 | 578000 | 0.578
BRPL(+) continue | [14 empty] | JUNE-2016
VASANT KUNJ
31 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996571 | 996296 | 275 | -275000 | -0.275 | 972449 | 972363 | 86 | -86000 | -0.086
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 999051 | 998374 | 677 | -338500 | -0.3385 | 999360 | 999253 | 107 | -53500 | -0.0535
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7916 | 7691 | 225 | -450000 | -0.45 | 969601 | 969616 | -15 | 30000 | 0.03
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994027 | 994025 | 2 | -2000 | -0.002 | 903530 | 905791 | -2261 | 2261000 | 2.261
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994492 | 994492 | 0 | 0 | 0 | 927496 | 927502 | -6 | 6000 | 0.006
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997921 | 997918 | 3 | -3000 | -0.003 | 988682 | 990937 | -2255 | 2255000 | 2.255
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000087 | 999937 | 150 | -150000 | -0.15 | 16121 | 18070 | -1949 | 1949000 | 1.949
[5 empty] | -1000 | [5 empty] | 11711 | 11657 | 54 | -54000 | -0.054
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969913 | 969913 | 0 | 0 | 0 | 970310 | 974421 | -4111 | 2740663.926 | 2.7407
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992113 | 992061 | 52 | -130000 | -0.13 | 115 | 421 | -306 | 765000 | 0.765
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4702 | 4702 | 0 | 0 | 0 | 1937 | 1994 | -57 | 114000 | 0.114
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1598 | 1596 | 2 | -4000 | -0.004 | 987 | 1039 | -52 | 104000 | 0.104
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921429 | 921446 | -17 | 17000 | 0.017 | 985956 | 987467 | -1511 | 1511000 | 1.511
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929622 | 929644 | -22 | 22000 | 0.022 | 989235 | 991151 | -1916 | 1916000 | 1.916
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30613 | 30613 | 0 | 0 | 0 | 4609 | 2455 | 2154 | 1723200 | 1.7232
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905811 | 905811 | 0 | 0 | 0 | 997785 | 999165 | -1380 | -1104000 | -1.104
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999891 | 999891 | 0 | 0 | 0 | 999859 | 999952 | -93 | -74400 | -0.0744
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999945 | 0 | 0 | 0 | 209 | 157 | 52 | 52000 | 0.052
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983792 | 983792 | 0 | 0 | 0 | 34858 | 34816 | 42 | 42000 | 0.042
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38086 | 37967 | 119 | -119000 | -0.119 | 973439 | 973389 | 50 | -50000 | -0.05 | Reading upto 13/6/16
[10 empty] | 0 |  |  |  |  | 0.015
| TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999985 | 1000000 | -15 | 15000 | 0.015 | wef 23/6/2016
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2815 | 2684 | 131 | -131000 | -0.131 | 999822 | 1000460 | -638 | 638000 | 0.638
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14875 | 14380 | 495 | -495000 | -0.495 | 999940 | 1000010 | -70 | 70000 | 0.07
NARAINA
55 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 23898 | 23691 | 207 | 20700 | 0.0207 | 25567 | 24805 | 762 | 76200 | 0.0762
56 | 33KV MayaPuri-1 | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 24/05/2016
57 | 33KV MayaPuri-2 | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 15 | 0 | 15 | 6000 | 0.006 | 101 | 0 | 101 | 40400 | 0.0404 | w.e.f 24/05/2016
SUDARSHAN PARK
58 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19749 | 19790 | -41 | -4100 | -0.0041 | 143076 | 142790 | 286 | 28600 | 0.0286 | Check Meter Data
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 992738 | 993302 | -564 | -451200 | -0.4512 | 999965 | 999973 | -8 | -6400 | -0.0064
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 668 | 0 | 668 | 66800 | 0.0668 | 2190 | 0 | 2190 | 219000 | 0.219
62 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wef 10/6/16
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3601 | 3562 | 39 | 2925 | 0.002925 | 10023 | 8777 | 1246 | 93450 | 0.09345
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1072 | 1047 | 25 | 2500 | 0.0025 | 3255 | 2568 | 687 | 68700 | 0.0687
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999953 | 999953 | 0 | 0 | 0 | 2009 | 768 | 1241 | 1241000 | 1.241
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 2030 | 921 | 1109 | 1109000 | 1.109
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998409 | 998409 | 0 | 0 | 0 | 999923 | 999812 | 111 | 111000 | 0.111
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1246 | 0 | 0 | 0 | 3856 | 2068 | 1788 | 1788000 | 1.788
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998883 | 0 | 0 | 0 | 17774 | 13584 | 4190 | 419000 | 0.419
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 520 | 0 | 0 | 0 | 3625 | 1036 | 2589 | 2589000 | 2.589
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.5096 |  |  |  |  | 41.1148
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 142515 | 139941 | 2574 | -257400 | -0.2574 | 912801 | 911861 | 940 | -94000 | -0.094
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 94559 | 94559 | 0 | 0 | 0 | 964 | 964 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 150307 | 150145 | 162 | -16200 | -0.0162 | 31402 | 23099 | 8303 | -830300 | -0.8303
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 220 | 223 | -3 | 300 | 0.0003
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6311 | 6309 | 2 | -4000 | -0.004 | 74527 | 74026 | 501 | -1002000 | -1.002
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14777 | 14788 | -11 | 11000 | 0.011 | 999859 | 1000279 | -420 | 420000 | 0.42
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906633 | 906633 | 0 | 0 | 0 | 59014 | 58674 | 340 | -170000 | -0.17
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79460 | 79337 | 123 | -12300 | -0.0123 | 70130 | 69113 | 1017 | -101700 | -0.1017
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 87664 | 87605 | 59 | -5900 | -0.0059 | 69786 | 68558 | 1228 | -122800 | -0.1228
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 17751 | 17583 | 168 | -16800 | -0.0168 | 18103 | 13990 | 4113 | -411300 | -0.4113
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 376746 | 378985 | -2239 | 223900 | 0.2239 | 49177 | 49451 | -274 | 27400 | 0.0274
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4274 | 4208 | 66 | -6600 | -0.0066 | 24632 | 24040 | 592 | -59200 | -0.0592
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 175505 | 176808 | -1303 | 162875 | 0.16287 | 262419 | 261658 | 761 | -95125 | -0.095125
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9223 | 9224 | -1 | 100 | 0.0001 | 37528 | 37525 | 3 | -300 | -0.0003
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11403 | 11391 | 12 | -1200 | -0.0012 | 69642 | 67887 | 1755 | -175500 | -0.1755
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 645 | 628 | 17 | -1700 | -0.0017 | 7853 | 4713 | 3140 | -314000 | -0.314
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 11090 | 10975 | 115 | -11500 | -0.0115 | 11165 | 10704 | 461 | -46100 | -0.0461
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16050 | 16082 | -32 | 3200 | 0.0032 | 21914 | 21684 | 230 | -23000 | -0.023
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 990863 | 990926 | -63 | 2799.72 | 0.0027997 | 263 | 306 | -43 | 1910.92 | 0.0019109
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995607 | 995607 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.070275 |  |  |  |  | -2.9957
JUNE-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.5096 |  |  |  |  | 41.1148
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.070275 |  |  |  |  | -2.9957
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.24963 |  |  |  |  | 0.72624
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.035375 |  |  |  |  | -0.46285
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.2251 |  |  |  |  | 38.3825
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.2251 | (REACTIVE MUs) |  |  |  | 38.3825 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.16216 | (REACTIVE MUs) |  |  |  | -1.1826 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.0629 | (REACTIVE MUs) |  |  |  | 37.1999 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54286 | 54273 | 13 | 2600 | 0.0026 | 84422 | 82928 | 1494 | 298800 | 0.2988
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72480 | 72483 | -3 | -300 | -0.0003 | 139482 | 139687 | -205 | -20500 | -0.0205
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976871 | 976871 | 0 | 0 | 0 | 997178 | 997853 | -675 | -135000 | -0.135
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 85051 | 85044 | 7 | 1400 | 0.0014 | 106113 | 104418 | 1695 | 339000 | 0.339
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14749 | 14748 | 1 | 800 | 0.0008 | 8790 | 7876 | 914 | 731200 | 0.7312
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14190 | 14189 | 1 | 2000 | 0.002 | 3359 | 3064 | 295 | 590000 | 0.59
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977674 | 977675 | -1 | -800 | -0.0008 | 988993 | 989398 | -405 | -324000 | -0.324
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997632 | 997636 | -4 | -3200 | -0.0032 | 997030 | 998745 | -1715 | -1372000 | -1.372
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998076 | 998077 | -1 | -800 | -0.0008 | 998936 | 999674 | -738 | -590400 | -0.5904
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984193 | 984194 | -1 | -800 | -0.0008 | 994842 | 994683 | 159 | 127200 | 0.1272
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 5534 | 5131 | 403 | 40300 | 0.0403 | 404515 | 401614 | 2901 | 290100 | 0.2901
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 990526 | 989718 | 808 | 60600 | 0.0606 | 5334 | 4781 | 553 | 41475 | 0.041475
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 26844 | 26107 | 737 | 73700 | 0.0737 | 381952 | 380272 | 1680 | 168000 | 0.168
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998626 | 998604 | 22 | 8250 | 0.00825 | 999929 | 999751 | 178 | 66750 | 0.06675
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 991358 | 991058 | 300 | 30000 | 0.03 | 317277 | 315859 | 1418 | 141800 | 0.1418
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 4456 | 4094 | 362 | 36200 | 0.0362 | 199747 | 198155 | 1592 | 159200 | 0.1592
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 6431 | 6551 | -120 | -12000 | -0.012 | 258001 | 257985 | 16 | 1600 | 0.0016
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 70821 | 70246 | 575 | 57500 | 0.0575 | 715134 | 714526 | 608 | 60800 | 0.0608
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 101712 | 100269 | 1443 | 1587300 | 1.5873
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999985 | 999986 | -1 | -1000 | -0.001 | 43054 | 42761 | 293 | 293000 | 0.293
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146456 | 146366 | 90 | 99000 | 0.099
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2894 | 2897 | -3 | -3000 | -0.003 | 56866 | 56675 | 191 | 191000 | 0.191
[10 empty] | -0.004 |  |  |  |  | 2.1703
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6311 | 6309 | 2 | 4000 | 0.004 | 74527 | 74026 | 501 | 1002000 | 1.002
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14777 | 14788 | -11 | -11000 | -0.011 | 999859 | 1000279 | -420 | -420000 | -0.42
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906633 | 906633 | 0 | 0 | 0 | 59014 | 58674 | 340 | 170000 | 0.17
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
JUNE-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951042 | 951254 | -212 | 212000 | 0.212 | 972026 | 972775 | -749 | 749000 | 0.749
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986793 | 986991 | -198 | 198000 | 0.198 | 996020 | 996787 | -767 | 767000 | 0.767
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964614 | 964809 | -195 | 195000 | 0.195 | 979413 | 980710 | -1297 | 1297000 | 1.297
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979512 | 979720 | -208 | 208000 | 0.208 | 991258 | 992514 | -1256 | 1256000 | 1.256
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 376746 | 378985 | -2239 | -223900 | -0.2239 | 49177 | 49451 | -274 | -27400 | -0.0274
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4274 | 4208 | 66 | 6600 | 0.0066 | 24632 | 24040 | 592 | 59200 | 0.0592
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79460 | 79337 | 123 | 12300 | 0.0123 | 70130 | 69113 | 1017 | 101700 | 0.1017
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 87664 | 87605 | 59 | 5900 | 0.0059 | 69786 | 68558 | 1228 | 122800 | 0.1228
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 17751 | 17583 | 168 | 16800 | 0.0168 | 18103 | 13990 | 4113 | 411300 | 0.4113
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 142515 | 139941 | 2574 | 257400 | 0.2574 | 912801 | 911861 | 940 | 94000 | 0.094
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 668 | 0 | 668 | -66800 | -0.0668 | 2190 | 0 | 2190 | -219000 | -0.219 | wef 8/6/16
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wef 10/6/16
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3601 | 3562 | 39 | -2925 | -0.002925 | 10023 | 8777 | 1246 | -93450 | -0.09345
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1072 | 1047 | 25 | -2500 | -0.0025 | 3255 | 2568 | 687 | -68700 | -0.0687
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.1671 |  |  |  |  | 8.1648
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.1671 |  |  |  |  | 8.1648
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.018008 |  |  |  |  | -0.13132
| TOTAL ENERGY TO NDMC | [8 empty] | 1.1851 |  |  |  |  | 8.0335

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2479 | 2479 | 0 | 0 | 0 | 34954 | 33841 | 1113 | 1113000 | 1.113
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 35529 | 34511 | 1018 | 1018000 | 1.018
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 43728 | 42904 | 824 | 824000 | 0.824
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 29914 | 24345 | 5569 | 742531.477 | 0.74253
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5674 | 5619 | 55 | 55000 | 0.055 | 11334 | 11226 | 108 | 108000 | 0.108
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12641 | 12641 | 0 | 0 | 0 | 61065 | 61096 | -31 | -15500 | -0.0155
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 220 | 223 | -3 | -300 | -0.0003
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.055 |  |  |  |  | 3.7897
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34469 | 21 | 2100 | 0.0021
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55592 | 55456 | 136 | 13600 | 0.0136 | 86694 | 85453 | 1241 | 124100 | 0.1241
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76789 | 76641 | 148 | 14800 | 0.0148 | 14816 | 14298 | 518 | 51800 | 0.0518
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 55580 | 55535 | 45 | 4500 | 0.0045 | 95462 | 92642 | 2820 | 282000 | 0.282
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 596 | 33 | 2475 | 0.002475 | 1005 | 967 | 38 | 2850 | 0.00285
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9870 | 9847 | 23 | 2300 | 0.0023 | 3203 | 3198 | 5 | 500 | 0.0005
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.035375 |  |  |  |  | 0.46285
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.035375 |  |  |  |  | 0.46285
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.055 |  |  |  |  | 3.7897
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.090375 |  |  |  |  | 4.2526
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.090375 | (REACTIVE MUs) |  |  |  | 4.2526 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0028762 | (REACTIVE MUs) |  |  |  | -0.020975 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.093251 | (REACTIVE MUs) |  |  |  | 4.2316 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3529 | 3933 | -404 | -40400 | -0.0404 | 2372 | 2446 | -74 | -7400 | -0.0074
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 21881 | 20456 | 1425 | 142500 | 0.1425 | 688 | 126 | 562 | 56200 | 0.0562
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3256 | 3170 | 86 | 43000 | 0.043 | 417 | 123 | 294 | 147000 | 0.147
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38559 | 38544 | 15 | 14062.5 | 0.014063 | 19103 | 19102 | 1 | 937.5 | 0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 4864826 | ELSTER | Kvarh(Lead/Lag) | -66.67 | 997492 | 997492 | 0 | 0 | 0 | 986199 | 986199 | 0 | 0 | 0
[10 empty] | 0.000464 |  |  |  |  | 0.519
| TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | -250 | 0 | 0 | 0 | 0 | 0 | 999924 | 999998 | -74 | 18500 | 0.0185 | wef 28/6/16
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983937 | 984117 | -180 | 90000 | 0.09 | 976520 | 976504 | 16 | -8000 | -0.008
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.24963 |  |  |  |  | 0.72624
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 994673 | 994668 | 5 | 1000 | 0.001 | 126 | 46 | 80 | 16000 | 0.016
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 924756 | 924790 | -34 | -12750 | -0.01275 | 997447 | 997575 | -128 | -48000 | -0.048
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.01175 |  |  |  |  | -0.032
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 280973 | 281051 | -78 | -15600 | -0.0156 | 266179 | 266112 | 67 | 13400 | 0.0134
[10 empty] | 0.6272 |  |  |  |  | 0.0004 | Assessment
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 65317 | 65072 | 245 | 24500 | 0.0245 | 999626 | 999955 | -329 | -32900 | -0.0329
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 29316 | 28735 | 581 | 36312.5 | 0.036312 | 999281 | 999946 | -665 | -41562.5 | -0.041563
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979 | 979 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
| O/G 33KV SH.W.BAGH-I | 4902521 | ELSTER | Kvarh(Lead/Lag) | 600 | 793 | 780 | 13 | 7800 | 0.0078 | 117 | 9 | 108 | 64800 | 0.0648 | Check Meter
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997045 | 997243 | -198 | -19800 | -0.0198 | 999851 | 999900 | -49 | -4900 | -0.0049
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999090 | 999090 | 0 | 0 | 0 | 997594 | 1000012 | -2418 | -362700 | -0.3627
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999254 | 999243 | 11 | -27500 | -0.0275 | 3071 | 3072 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.63291 |  |  |  |  | -0.36096
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.24963 |  |  |  |  | 0.72624
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.01175 |  |  |  |  | -0.032
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.63291 |  |  |  |  | -0.36096

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 26940 | 26793 | 147 | 294000 | 0.294 | 1744 | 1611 | 133 | 266000 | 0.266
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2315 | 2265 | 50 | 250000 | 0.25 | 124 | 69 | 55 | 275000 | 0.275
[7 empty] | NET REACTIVE ENERGY |  |  | 0.544 |  | NET REACTIVE ENERGY |  |  | 0.541
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.544 |  |  |  |  | 0.541
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1561 |  |  |  |  | -5.511
[7 empty] | NDMC = |  |  | -0.004 |  |  |  |  | 2.1703
MES =
[7 empty] | 2)TOTAL |  |  | -0.1601 |  |  |  |  | -3.3407
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.3839 |  |  |  |  | -2.7997
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.4462 | % |  |  | 0.1092 |  |  |  |  | -0.7964
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.2393 | % |  |  | 0.16216 |  |  |  |  | -1.1826
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8746 | % |  |  | 0.091655 |  |  |  |  | -0.66841
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6907 | % |  |  | 0.018008 |  |  |  |  | -0.13132
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7492 | % |  |  | 0.0028762 |  |  |  |  | -0.020975
Note :Sharing taken from wk-14 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st June-2016 TO 1st July-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.544 |  | 0.68378
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.0629 | + | 37.1999
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.2882 | + | 13.4064
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.1851 | + | 8.0335
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.093251 | + | 4.2316
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2016 | INTIAL READING 01/06/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954193 | 954073 | 120 | 180000 | 0.18 | 979144 | 979216 | -72 | -108000 | -0.108
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992203 | 992217 | -14 | -21000 | -0.021 | 992453 | 992874 | -421 | -631500 | -0.6315
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 894014 | 894214 | -200 | -150000 | -0.15 | 999200 | 999324 | -124 | -93000 | -0.093
[8 empty] | NET REACTIVE ENERGY |  | 0.009 |  |  | NET REACTIVE ENERGY |  | -0.8325
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 375 | 999464 | 999464 | 0 | 0 | 0 | 5598 | 4220 | 1378 | 516750 | 0.51675 | Check Meter Data
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 970884 | 972003 | -1119 | -1119000 | -1.119
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976617 | 977204 | -587 | -587000 | -0.587 | 991866 | 991925 | -59 | -59000 | -0.059
[8 empty] | NET REACTIVE ENERGY |  | -0.587 |  |  | NET REACTIVE ENERGY |  | -0.66125