## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18767 | 18760 | 7 | -7000 | -0.007 | 979266 | 979140 | 126 | -126000 | -0.126
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16 | 0 | 16 | -16000 | -0.016 | 592 | 247 | 345 | -345000 | -0.345
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20466 | 20466 | 0 | 0 | 0 | 997537 | 998494 | -957 | 957000 | 0.957
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975034 | 975034 | 0 | 0 | 0 | 980767 | 982150 | -1383 | 1383000 | 1.383
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923243 | 923264 | -21 | 21000 | 0.021 | 951736 | 952984 | -1248 | 1248000 | 1.248
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18245 | 18245 | 0 | 0 | 0 | 16365 | 15966 | 399 | -399000 | -0.399
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19270 | 19270 | 0 | 0 | 0 | 12546 | 12225 | 321 | -321000 | -0.321
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17074 | 17079 | -5 | 5000 | 0.005 | 996642 | 996762 | -120 | 120000 | 0.12
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11916 | 11926 | -10 | 10000 | 0.01 | 986865 | 987057 | -192 | 192000 | 0.192
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35709 | 35742 | -33 | 33000 | 0.033 | 9942 | 9964 | -22 | 22000 | 0.022
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2802 | 2843 | -41 | 41000 | 0.041 | 4268 | 4282 | -14 | 14000 | 0.014
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998802 | 998808 | -6 | 6000 | 0.006 | 999549 | 999652 | -103 | 103000 | 0.103
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964557 | 965180 | -623 | -623000 | -0.623 | 920550 | 920565 | -15 | -15000 | -0.015
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997444 | 997442 | 2 | -2000 | -0.002 | 17274 | 17049 | 225 | -225000 | -0.225
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998375 | 998341 | 34 | -34000 | -0.034 | 19491 | 19356 | 135 | -135000 | -0.135
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1113 | 1113 | 0 | 0 | 0 | 21286 | 21841 | -555 | 555000 | 0.555
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 28062 | 28392 | -330 | -330000 | -0.33
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 192 | 192 | 0 | 0 | 0 | 26411 | 26349 | 62 | 62000 | 0.062
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1769 | 1769 | 0 | 0 | 0 | 116677 | 113489 | 3188 | 318800 | 0.3188
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2906 | 2906 | 0 | 0 | 0 | 164367 | 162314 | 2053 | 205300 | 0.2053
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996109 | 996109 | 0 | 0 | 0 | 997622 | 997924 | -302 | -302000 | -0.302
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999947 | 0 | 0 | 0 | 952 | 955 | -3 | -3000 | -0.003
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655052 | 655052 | 0 | 0 | 0 | 801464 | 801665 | -201 | -201000 | -0.201
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662472 | 662486 | -14 | -14000 | -0.014 | 833938 | 834149 | -211 | -211000 | -0.211
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990568 | 991070 | -502 | -502000 | -0.502 | 998453 | 998460 | -7 | -7000 | -0.007
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 998980 | 999285 | -305 | -152500 | -0.1525 | 999799 | 999789 | 10 | 5000 | 0.005
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6773 | 6713 | 60 | -60000 | -0.06 | 981804 | 981859 | -55 | 55000 | 0.055
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997673 | 997685 | -12 | 12000 | 0.012 | 948695 | 948748 | -53 | 53000 | 0.053
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992757 | 992746 | 11 | -11000 | -0.011 | 938141 | 940479 | -2338 | 2338000 | 2.338
DSIDC BAWANA
30 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1476 | 528 | 948 | -948000 | -0.948 | 19 | 9 | 10 | -10000 | -0.01
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
31 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 720 | 701 | 19 | 19000 | 0.019 | 15804 | 15420 | 384 | 384000 | 0.384
32 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999016 | 998981 | 35 | 35000 | 0.035 | 3054 | 3154 | -100 | -100000 | -0.1
| NDPL(+) continue | [14 empty] | AUGUST-2011
DMS
33 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 678 | 677 | 1 | 1000 | 0.001 | 54789 | 54169 | 620 | 620000 | 0.62
REWARI LINE
34 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9214 | 9018 | 196 | 19600 | 0.0196 | 55699 | 53243 | 2456 | 245600 | 0.2456
VISHAL
35 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 7203 | 7231 | -28 | -2800 | -0.0028 | 10479 | 10335 | 144 | 14400 | 0.0144
36 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9251 | 9058 | 193 | 19300 | 0.0193 | 29973 | 29641 | 332 | 33200 | 0.0332
37 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35223 | 35231 | -8 | -800 | -0.0008
S.B.MILL
38 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 31326 | 31113 | 213 | 21300 | 0.0213 | 10118 | 9937 | 181 | 18100 | 0.0181
39 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
40 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
41 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14666 | 14613 | 53 | 5300 | 0.0053 | 9924 | 9462 | 462 | 46200 | 0.0462
44 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
B.G.ROAD
45 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3440 | 3440 | 0 | 0 | 0 | 28398 | 28040 | 358 | 179000 | 0.179
46 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3187 | 3187 | 0 | 0 | 0 | 19814 | 19531 | 283 | 141500 | 0.1415
47 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3232 | 3232 | 0 | 0 | 0 | 13370 | 13187 | 183 | 91500 | 0.0915
48 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3182 | 3182 | 0 | 0 | 0 | 15289 | 15054 | 235 | 117500 | 0.1175
D.M.S.
49 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999413 | 999544 | -131 | -13100 | -0.0131 | 5606 | 5371 | 235 | 23500 | 0.0235
50 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2502 | 2429 | 73 | 7300 | 0.0073 | 13449 | 13195 | 254 | 25400 | 0.0254
51 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 6093 | 5895 | 198 | 19800 | 0.0198 | 48324 | 47768 | 556 | 55600 | 0.0556
52 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8200 | 8169 | 31 | 3100 | 0.0031 | 19037 | 19040 | -3 | -300 | -0.0003
53 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999695 | 999713 | -18 | -1800 | -0.0018 | 243 | 253 | -10 | -1000 | -0.001
54 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
55 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 1753 | 1309 | 444 | 44400 | 0.0444 | 60493 | 60014 | 479 | 47900 | 0.0479
56 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 3001 | 2510 | 491 | 49100 | 0.0491 | 52096 | 51861 | 235 | 23500 | 0.0235
57 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 3664 | 3036 | 628 | 62800 | 0.0628 | 74964 | 74513 | 451 | 45100 | 0.0451
KASHMIRI GATE
58 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 95274 | 90882 | 4392 | 439200 | 0.4392 | 26695 | 26549 | 146 | 14600 | 0.0146
59 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 11267 | 9986 | 1281 | 128100 | 0.1281 | 33325 | 33164 | 161 | 16100 | 0.0161
60 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
61 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4567 | 3 | -1200 | -0.0012 | 12608 | 12606 | 2 | -800 | -0.0008
62 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.3861 |  |  |  |  | 7.0409
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4855 | 4610 | 245 | -24500 | -0.0245 | 8374 | 8139 | 235 | -23500 | -0.0235
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5742 | 5742 | 0 | 0 | 0 | 4039 | 3991 | 48 | -48000 | -0.048
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3509 | 3509 | 0 | 0 | 0 | 1901 | 2108 | -207 | 41400 | 0.0414
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12824 | 12824 | 0 | 0 | 0 | 21211 | 19546 | 1665 | -1665000 | -1.665
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38078 | 38213 | -135 | 13500 | 0.0135 | 146870 | 146915 | -45 | 4500 | 0.0045
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981659 | 982126 | -467 | 467000 | 0.467 | 992726 | 992818 | -92 | 92000 | 0.092
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998275 | 998321 | -46 | 57500 | 0.0575 | 428 | 375 | 53 | -66250 | -0.06625
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.5135 |  |  |  |  | -1.6648
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.3861 |  |  |  |  | 7.0409
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.5135 |  |  |  |  | -1.6648
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.1362 |  |  |  |  | 1.0409
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.7364 |  |  |  |  | 6.417
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.7364 | (REACTIVE MUs) |  |  |  | 6.417 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.048064 | (REACTIVE MUs) |  |  |  | 0.51123 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.68834 | (REACTIVE MUs) |  |  |  | 6.9282 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 991615 | 992061 | -446 | -44600 | -0.0446 | 76796 | 76039 | 757 | 75700 | 0.0757
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14956 | 14199 | 757 | 75700 | 0.0757 | 999353 | 998959 | 394 | 39400 | 0.0394
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22601 | 21567 | 1034 | 103400 | 0.1034 | 30628 | 30298 | 330 | 33000 | 0.033
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998984 | 998678 | 306 | 30600 | 0.0306 | 4140 | 2608 | 1532 | 153200 | 0.1532
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8328 | 8333 | -5 | -500 | -0.0005 | 72641 | 72285 | 356 | 35600 | 0.0356
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1722 | 1858 | -136 | -13600 | -0.0136 | 46778 | 45707 | 1071 | 107100 | 0.1071
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999921 | 999911 | 10 | 10000 | 0.01 | 999710 | 999711 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999892 | 999899 | -7 | -7000 | -0.007 | 2279 | 2278 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000045 | 999984 | 61 | 61000 | 0.061 | 1272 | 1276 | -4 | -4000 | -0.004 | ROLL OVER
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 70 | 152 | -82 | -82000 | -0.082 | 2429 | 2428 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999889 | 1000007 | -118 | -118000 | -0.118 | 2213 | 2220 | -7 | -7000 | -0.007 | ROLL OVER
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 419 | 311 | 108 | 108000 | 0.108 | 1088 | 1089 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 31 | -6 | -6000 | -0.006 | 13390 | 13371 | 19 | 19000 | 0.019
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 208 | 186 | 22 | 22000 | 0.022 | 34065 | 34065 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 260 | 260 | 0 | 0 | 0 | 8135 | 8107 | 28 | 28000 | 0.028
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 216 | 197 | 19 | 19000 | 0.019 | 5311 | 5312 | -1 | -1000 | -0.001
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 29381 | 29300 | 81 | 8100 | 0.0081 | 530 | 530 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998756 | 998934 | -178 | -178000 | -0.178 | 5541 | 5542 | -1 | -1000 | -0.001
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 845460 | 848706 | -3246 | -3570600 | -3.5706
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 886351 | 889326 | -2975 | -3272500 | -3.2725
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995086 | 995337 | -251 | -251000 | -0.251 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.4139 |  |  |  |  | -6.8091
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967068 | 967403 | -335 | 335000 | 0.335 | 978102 | 978187 | -85 | 85000 | 0.085
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984484 | 985269 | -785 | 785000 | 0.785 | 984602 | 984739 | -137 | 137000 | 0.137
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 928 | 0 | 0 | 0 | 55129 | 54119 | 1010 | 1010000 | 1.01
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 767 | 616 | 151 | -151000 | -0.151 | 976633 | 977362 | -729 | 729000 | 0.729
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3259 | 3276 | -17 | 17000 | 0.017 | 981958 | 982796 | -838 | 838000 | 0.838
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996303 | 996535 | -232 | 232000 | 0.232 | 991459 | 991509 | -50 | 50000 | 0.05
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998959 | 999027 | -68 | 68000 | 0.068 | 996329 | 996325 | 4 | -4000 | -0.004
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3509 | 3509 | 0 | 0 | 0 | 1901 | 2108 | -207 | -41400 | -0.0414
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12824 | 12824 | 0 | 0 | 0 | 21211 | 19546 | 1665 | 1665000 | 1.665
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 86225 | 80780 | 5445 | 544500 | 0.5445 | 1744 | 1752 | -8 | -800 | -0.0008
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 53017 | 50624 | 2393 | 239300 | 0.2393 | 999430 | 999387 | 43 | 4300 | 0.0043
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.8069 |  |  |  |  | -1.893
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.8069 |  |  |  |  | -1.893
AUGUST-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997811 | 997807 | 4 | -4000 | -0.004 | 947867 | 949786 | -1919 | 1919000 | 1.919
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15656 | 15653 | 3 | -3000 | -0.003 | 965732 | 967349 | -1617 | 1617000 | 1.617
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14265 | 14260 | 5 | -5000 | -0.005 | 954722 | 956763 | -2041 | 2041000 | 2.041
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977064 | 978658 | -1594 | 1594000 | 1.594 | 993764 | 993802 | -38 | 38000 | 0.038
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968354 | 969977 | -1623 | 1623000 | 1.623 | 992051 | 992089 | -38 | 38000 | 0.038
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1500 | 1680 | -180 | 180000 | 0.18 | 994963 | 995588 | -625 | 625000 | 0.625
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1941 | 1523 | 418 | -418000 | -0.418 | 984641 | 984663 | -22 | 22000 | 0.022
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 491 | 614 | -123 | 246000 | 0.246 | 991202 | 991805 | -603 | 1206000 | 1.206
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999729 | 999729 | 0 | 0 | 0 | 977287 | 977287 | 0 | 0 | 0 | OFF FROM 30/07/11
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13630 | 13640 | -10 | 10000 | 0.01 | 961372 | 961749 | -377 | 377000 | 0.377
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970453 | 970439 | 14 | -14000 | -0.014 | 910908 | 913126 | -2218 | 2218000 | 2.218
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21320 | 21316 | 4 | -4000 | -0.004 | 26537 | 25509 | 1028 | -1028000 | -1.028
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15368 | 15366 | 2 | -2000 | -0.002 | 35155 | 34081 | 1074 | -1074000 | -1.074
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.203 |  |  |  |  | 7.999
| (B) NET ENERGY TO EAST | [8 empty] | 3.203 |  |  |  |  | 7.999
6
AUGUST-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990568 | 991070 | -502 | 502000 | 0.502 | 998453 | 998460 | -7 | 7000 | 0.007
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 998980 | 999285 | -305 | 152500 | 0.1525 | 999799 | 999789 | 10 | -5000 | -0.005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 14914 | 11464 | 3450 | -345000 | -0.345 | 61705 | 61506 | 199 | -19900 | -0.0199
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 18632 | 16218 | 2414 | -241400 | -0.2414 | 120206 | 120024 | 182 | -18200 | -0.0182
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 994375 | 995028 | -653 | 65300 | 0.0653 | 4373 | 4406 | -33 | 3300 | 0.0033
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 24287 | 23752 | 535 | -53500 | -0.0535 | 79597 | 79529 | 68 | -6800 | -0.0068
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56133 | 53409 | 2724 | -2724000 | -2.724 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000105 | 999822 | 283 | -283000 | -0.283 | 999994 | 999987 | 7 | -7000 | -0.007 | LOADED ON 14/08/11,ROLL OVER
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 999810 | 999990 | -180 | 144000 | 0.144 | 999351 | 999623 | -272 | 217600 | 0.2176
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999589 | 999597 | -8 | 8000 | 0.008 | 36556 | 35659 | 897 | -897000 | -0.897
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999432 | 999515 | -83 | 110666.39 | 0.11067 | 260 | 118 | 142 | -189332.86 | -0.18933
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 720 | 701 | 19 | -19000 | -0.019 | 15804 | 15420 | 384 | -384000 | -0.384
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999016 | 998981 | 35 | -35000 | -0.035 | 3054 | 3154 | -100 | 100000 | 0.1
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 678 | 677 | 1 | -1000 | -0.001 | 54789 | 54169 | 620 | -620000 | -0.62
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3440 | 3440 | 0 | 0 | 0 | 28398 | 28040 | 358 | -179000 | -0.179
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3187 | 3187 | 0 | 0 | 0 | 19814 | 19531 | 283 | -141500 | -0.1415
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3232 | 3232 | 0 | 0 | 0 | 13370 | 13187 | 183 | -91500 | -0.0915
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3182 | 3182 | 0 | 0 | 0 | 15289 | 15054 | 235 | -117500 | -0.1175
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 95274 | 90882 | 4392 | -439200 | -0.4392 | 26695 | 26549 | 146 | -14600 | -0.0146
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 11267 | 9986 | 1281 | -128100 | -0.1281 | 33325 | 33164 | 161 | -16100 | -0.0161
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999413 | 999544 | -131 | 13100 | 0.0131 | 5606 | 5371 | 235 | -23500 | -0.0235
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2502 | 2429 | 73 | -7300 | -0.0073 | 13449 | 13195 | 254 | -25400 | -0.0254
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 6093 | 5895 | 198 | -19800 | -0.0198 | 48324 | 47768 | 556 | -55600 | -0.0556
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8200 | 8169 | 31 | -3100 | -0.0031 | 19037 | 19040 | -3 | 300 | 0.0003
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999695 | 999713 | -18 | 1800 | 0.0018 | 243 | 253 | -10 | 1000 | 0.001
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 1753 | 1309 | 444 | -44400 | -0.0444 | 60493 | 60014 | 479 | -47900 | -0.0479
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 3001 | 2510 | 491 | -49100 | -0.0491 | 52096 | 51861 | 235 | -23500 | -0.0235
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 3664 | 3036 | 628 | -62800 | -0.0628 | 74964 | 74513 | 451 | -45100 | -0.0451
[10 empty] | -3.4583 |  |  |  |  | -2.5992
AUGUST-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.8069 |  |  |  |  | -1.893
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -3.4583 |  |  |  |  | -2.5992
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4405 |  |  |  |  | 0.0561
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.0919 |  |  |  |  | -4.4361
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.203 |  |  |  |  | 7.999
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.1111 |  |  |  |  | 3.5629
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1111 | (REACTIVE MUs) |  |  |  | 3.5629 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.042572 | (REACTIVE MUs) |  |  |  | 0.45281 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1536 | (REACTIVE MUs) |  |  |  | 4.0157 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999243 | 999233 | 10 | 10000 | 0.01 | 11430 | 11474 | -44 | -44000 | -0.044
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 992257 | 993035 | -778 | -77800 | -0.0778 | 677716 | 677836 | -120 | -12000 | -0.012
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5369 | 5030 | 339 | 339000 | 0.339 | 45433 | 45240 | 193 | 193000 | 0.193
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10168 | 10178 | -10 | -10000 | -0.01 | 507 | 561 | -54 | -54000 | -0.054
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1508 | 97 | 29100 | 0.0291 | 112 | 33 | 79 | 23700 | 0.0237
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 6959 | 6943 | 16 | 1600 | 0.0016 | 85287 | 83350 | 1937 | 193700 | 0.1937
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 33662 | 34369 | -707 | -70700 | -0.0707 | 268750 | 268836 | -86 | -8600 | -0.0086
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 5217 | 4312 | 905 | 90500 | 0.0905 | 340887 | 338967 | 1920 | 192000 | 0.192
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999874 | 999882 | -8 | -8000 | -0.008 | 11797 | 11159 | 638 | 638000 | 0.638
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995313 | 995229 | 84 | -84000 | -0.084 | 963794 | 964151 | -357 | 357000 | 0.357
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993978 | 993886 | 92 | -92000 | -0.092 | 966178 | 966531 | -353 | 353000 | 0.353
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989543 | 989625 | -82 | 82000 | 0.082 | 950293 | 952277 | -1984 | 1984000 | 1.984
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999944 | 999881 | 63 | -63000 | -0.063 | 966032 | 966912 | -880 | 880000 | 0.88
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 429 | 282 | 147 | -147000 | -0.147 | 995027 | 996101 | -1074 | 1074000 | 1.074
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000438 | 999979 | 459 | -459000 | -0.459 | 996884 | 997401 | -517 | 517000 | 0.517 | ROLL OVER
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38820 | 38812 | 8 | -8000 | -0.008 | 28178 | 28279 | -101 | 101000 | 0.101
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4936 | 4638 | 298 | -298000 | -0.298 | 12648 | 12844 | -196 | 196000 | 0.196
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24106 | 24101 | 5 | -5000 | -0.005 | 14370 | 14649 | -279 | 279000 | 0.279
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12621 | 12116 | 505 | -505000 | -0.505 | 43002 | 42681 | 321 | -321000 | -0.321
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5742 | 5742 | 0 | 0 | 0 | 4039 | 3991 | 48 | 48000 | 0.048
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966415 | 968639 | -2224 | 2224000 | 2.224 | 906584 | 907339 | -755 | 755000 | 0.755
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993427 | 993700 | -273 | 273000 | 0.273 | 874657 | 875870 | -1213 | 1213000 | 1.213
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 306 | 306 | 0 | 0 | 0 | 2352 | 2469 | -117 | 117000 | 0.117
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 449 | 449 | 0 | 0 | 0 | 992263 | 993583 | -1320 | 1320000 | 1.32
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998583 | 998368 | 215 | -215000 | -0.215 | 958109 | 958350 | -241 | 241000 | 0.241
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 941096 | 943142 | -2046 | 2046000 | 2.046
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 930769 | 932963 | -2194 | 2194000 | 2.194
BRPL(+) continue | [14 empty] | AUGUST-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998873 | 998873 | 0 | 0 | 0 | 978867 | 978501 | 366 | -366000 | -0.366
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76 | 76 | 0 | 0 | 0 | 996351 | 995817 | 534 | -534000 | -0.534
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989964 | 989962 | 2 | -4000 | -0.004 | 974294 | 976142 | -1848 | 3696000 | 3.696
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998544 | 998544 | 0 | 0 | 0 | 940066 | 942977 | -2911 | 2911000 | 2.911
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1592 | 1599 | -7 | 7000 | 0.007 | 950517 | 952797 | -2280 | 2280000 | 2.28
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998746 | 998746 | 0 | 0 | 0 | 946319 | 949169 | -2850 | 2850000 | 2.85
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991610 | 991715 | -105 | 69999.93 | 0.07 | 976550 | 978121 | -1571 | 1047332.286 | 1.0473
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 187 | 187 | 0 | 0 | 0 | 1017 | 1005 | 12 | -24000 | -0.024
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996903 | 996903 | 0 | 0 | 0 | 298 | 286 | 12 | -24000 | -0.024
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996973 | 998439 | -1466 | 1466000 | 1.466 | 999915 | 999942 | -27 | 27000 | 0.027
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997005 | 998834 | -1829 | 1829000 | 1.829 | 999997 | 1000000 | -3 | 3000 | 0.003 | ROLL OVER
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 229 | 0 | 229 | 183200 | 0.1832 | 33 | 0 | 33 | 26400 | 0.0264 | LOADED ON 12/08/2011
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 999979 | 1000000 | -21 | -16800 | -0.0168 | 20 | 0 | 20 | 16000 | 0.016 | LOADED ON 03/08/2011, ROLL OVER
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 999879 | 999945 | -66 | -52800 | -0.0528 | 999988 | 999998 | -10 | -8000 | -0.008 | LOADED ON 28/08/2011
PARK STREET
45 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999589 | 999597 | -8 | -8000 | -0.008 | 36556 | 35659 | 897 | 897000 | 0.897
46 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999432 | 999515 | -83 | -110666.39 | -0.11067 | 260 | 118 | 142 | 189332.86 | 0.18933
SARITA VIHAR
47 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2672 | 2671 | 1 | -1000 | -0.001 | 982747 | 981686 | 1061 | -1061000 | -1.061
48 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999303 | 999303 | 0 | 0 | 0 | 990424 | 988204 | 2220 | -2220000 | -2.22
NARAINA
49 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4855 | 4610 | 245 | 24500 | 0.0245 | 8374 | 8139 | 235 | 23500 | 0.0235
SUDARSHAN PARK
50 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38078 | 38213 | -135 | -13500 | -0.0135 | 146870 | 146915 | -45 | -4500 | -0.0045
REWARI LINE
51 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
52 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981659 | 982126 | -467 | -467000 | -0.467 | 992726 | 992818 | -92 | -92000 | -0.092
A.I.I.M.S.
53 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999582 | 999578 | 4 | 400 | 0.0004 | 4578 | 4009 | 569 | 56900 | 0.0569
54 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3131 | 3118 | 13 | 1300 | 0.0013 | 10344 | 8956 | 1388 | 138800 | 0.1388
66KV GHEBRA
55 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998275 | 998321 | -46 | -57500 | -0.0575 | 428 | 375 | 53 | 66250 | 0.06625
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.8568 |  |  |  |  | 24.3708
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 975993 | 975305 | 688 | 68800 | 0.0688 | 857768 | 857574 | 194 | 19400 | 0.0194
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 86225 | 80780 | 5445 | -544500 | -0.5445 | 1744 | 1752 | -8 | 800 | 0.0008
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 53017 | 50624 | 2393 | -239300 | -0.2393 | 999430 | 999387 | 43 | -4300 | -0.0043
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 351 | 351 | 0 | 0 | 0 | 999997 | 999974 | 23 | -2300 | -0.0023
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 566 | 567 | -1 | 100 | 0.0001 | 1000003 | 999997 | 6 | -600 | -0.0006 | ROLL OVER
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 761016 | 754489 | 6527 | -652700 | -0.6527 | 44130 | 43953 | 177 | -17700 | -0.0177
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3057 | 3063 | -6 | 6000 | 0.006 | 1913 | 1754 | 159 | -159000 | -0.159
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 794896 | 783670 | 11226 | -1122600 | -1.1226 | 39225 | 39099 | 126 | -12600 | -0.0126
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 17959 | 16791 | 1168 | -116800 | -0.1168 | 50938 | 50610 | 328 | -32800 | -0.0328
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 15130 | 14771 | 359 | -35900 | -0.0359 | 51780 | 51086 | 694 | -69400 | -0.0694
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 43998 | 39908 | 4090 | -818000 | -0.818 | 103460 | 103303 | 157 | -31400 | -0.0314
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 18844 | 17776 | 1068 | -106800 | -0.1068 | 11169 | 9823 | 1346 | -134600 | -0.1346
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 18158 | 17507 | 651 | -65100 | -0.0651 | 619405 | 617466 | 1939 | -193900 | -0.1939
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 86052 | 86027 | 25 | -2500 | -0.0025 | 212851 | 208459 | 4392 | -439200 | -0.4392
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 160565 | 159459 | 1106 | 110600 | 0.1106 | 34230 | 33178 | 1052 | 105200 | 0.1052
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 898 | 854 | 44 | -4400 | -0.0044 | 12348 | 12103 | 245 | -24500 | -0.0245
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9214 | 9018 | 196 | -19600 | -0.0196 | 55699 | 53243 | 2456 | -245600 | -0.2456
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 7203 | 7231 | -28 | 2800 | 0.0028 | 10479 | 10335 | 144 | -14400 | -0.0144
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9251 | 9058 | 193 | -19300 | -0.0193 | 29973 | 29641 | 332 | -33200 | -0.0332
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35223 | 35231 | -8 | 800 | 0.0008
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 31326 | 31113 | 213 | -21300 | -0.0213 | 10118 | 9937 | 181 | -18100 | -0.0181
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14666 | 14613 | 53 | -5300 | -0.0053 | 9924 | 9462 | 462 | -46200 | -0.0462
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4567 | 3 | 1200 | 0.0012 | 12608 | 12606 | 2 | 800 | 0.0008
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.5846 |  |  |  |  | -1.3528
AUGUST-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.8568 |  |  |  |  | 24.3708
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.5846 |  |  |  |  | -1.3528
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.0809 |  |  |  |  | 1.66
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.18275 |  |  |  |  | -0.3834
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.0085835 |  |  |  |  | 24.2946
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0085835 | (REACTIVE MUs) |  |  |  | 24.2946 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.073914 | (REACTIVE MUs) |  |  |  | 0.78618 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.082498 | (REACTIVE MUs) |  |  |  | 25.0808 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 14914 | 11464 | 3450 | 345000 | 0.345 | 61705 | 61506 | 199 | 19900 | 0.0199
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 18632 | 16218 | 2414 | 241400 | 0.2414 | 120206 | 120024 | 182 | 18200 | 0.0182
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 994375 | 995028 | -653 | -65300 | -0.0653 | 4373 | 4406 | -33 | -3300 | -0.0033
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 24287 | 23752 | 535 | 53500 | 0.0535 | 79597 | 79529 | 68 | 6800 | 0.0068
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 56133 | 53409 | 2724 | 2724000 | 2.724 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000105 | 999822 | 283 | 283000 | 0.283 | 999994 | 999987 | 7 | 7000 | 0.007 | LOADED ON 14/08/2011, ROLL OVER
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 999810 | 999990 | -180 | -144000 | -0.144 | 999351 | 999623 | -272 | -217600 | -0.2176
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 997884 | 997791 | 93 | 9300 | 0.0093 | 277798 | 276539 | 1259 | 125900 | 0.1259
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 5556 | 5460 | 96 | 9600 | 0.0096 | 415404 | 412386 | 3018 | 301800 | 0.3018
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 10158 | 9979 | 179 | 17900 | 0.0179 | 190938 | 189516 | 1422 | 142200 | 0.1422
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5242 | 4877 | 365 | 36500 | 0.0365 | 299757 | 299557 | 200 | 20000 | 0.02
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998906 | 998935 | -29 | -2900 | -0.0029 | 221009 | 217956 | 3053 | 305300 | 0.3053
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999074 | 999031 | 43 | 4300 | 0.0043 | 125379 | 124671 | 708 | 70800 | 0.0708
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 9808 | 9579 | 229 | 22900 | 0.0229 | 181926 | 181710 | 216 | 21600 | 0.0216
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 9404 | 9167 | 237 | 23700 | 0.0237 | 223071 | 222112 | 959 | 95900 | 0.0959
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 58358 | 58050 | 308 | 338800 | 0.3388
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4880 | 4856 | 24 | 24000 | 0.024 | 36370 | 36306 | 64 | 64000 | 0.064
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 127398 | 124718 | 2680 | 2948000 | 2.948
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8326 | 8275 | 51 | 51000 | 0.051 | 48255 | 48237 | 18 | 18000 | 0.018
[10 empty] | 0.075 |  |  |  |  | 3.3688
RIDGE VALLEY
20 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 761016 | 754489 | 6527 | 652700 | 0.6527 | 44130 | 43953 | 177 | 17700 | 0.0177
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3057 | 3063 | -6 | -6000 | -0.006 | 1913 | 1754 | 159 | 159000 | 0.159
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 794896 | 783670 | 11226 | 1122600 | 1.1226 | 39225 | 39099 | 126 | 12600 | 0.0126
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 18844 | 17776 | 1068 | 106800 | 0.1068 | 11169 | 9823 | 1346 | 134600 | 0.1346
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 18158 | 17507 | 651 | 65100 | 0.0651 | 619405 | 617466 | 1939 | 193900 | 0.1939
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 86052 | 86027 | 25 | 2500 | 0.0025 | 212851 | 208459 | 4392 | 439200 | 0.4392
AUGUST-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 160565 | 159459 | 1106 | -110600 | -0.1106 | 34230 | 33178 | 1052 | -105200 | -0.1052
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 898 | 854 | 44 | 4400 | 0.0044 | 12348 | 12103 | 245 | 24500 | 0.0245
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 17959 | 16791 | 1168 | 116800 | 0.1168 | 50938 | 50610 | 328 | 32800 | 0.0328
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 15130 | 14771 | 359 | 35900 | 0.0359 | 51780 | 51086 | 694 | 69400 | 0.0694
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 43998 | 39908 | 4090 | 818000 | 0.818 | 103460 | 103303 | 157 | 31400 | 0.0314
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 975993 | 975305 | 688 | -68800 | -0.0688 | 857768 | 857574 | 194 | -19400 | -0.0194
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999582 | 999578 | 4 | -400 | -0.0004 | 4578 | 4009 | 569 | -56900 | -0.0569
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3131 | 3118 | 13 | -1300 | -0.0013 | 10344 | 8956 | 1388 | -138800 | -0.1388
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.3716 |  |  |  |  | 5.0781
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.3716 |  |  |  |  | 5.0781
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0090299 |  |  |  |  | 0.096045
| TOTAL ENERGY TO NDMC | [8 empty] | 6.3806 |  |  |  |  | 5.1741

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 549 | 549 | 0 | 0 | 0 | 13554 | 13146 | 408 | 408000 | 0.408
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 382 | 382 | 0 | 0 | 0 | 18173 | 17955 | 218 | 218000 | 0.218
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 669 | 669 | 0 | 0 | 0 | 25487 | 25287 | 200 | 200000 | 0.2
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 410 | 0 | 0 | 0 | 13436 | 13190 | 246 | 246000 | 0.246
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1295 | 1293 | 2 | 2000 | 0.002 | 6648 | 6543 | 105 | 105000 | 0.105
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 351 | 351 | 0 | 0 | 0 | 999997 | 999974 | 23 | 2300 | 0.0023
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 566 | 567 | -1 | -100 | -0.0001 | 1000003 | 999997 | 6 | 600 | 0.0006 | ROLL OVER
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0019 |  |  |  |  | 1.1799
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3272 | 3272 | 0 | 0 | 0 | 32916 | 32914 | 2 | 200 | 0.0002
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 24786 | 23949 | 837 | 83700 | 0.0837 | 57863 | 57246 | 617 | 61700 | 0.0617
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 64017 | 63855 | 162 | 16200 | 0.0162 | 6383 | 6269 | 114 | 11400 | 0.0114
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 15865 | 15351 | 514 | 51400 | 0.0514 | 43763 | 42897 | 866 | 86600 | 0.0866
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999790 | 999786 | 4 | 400 | 0.0004 | 15640 | 15250 | 390 | 39000 | 0.039
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 69843 | 69665 | 178 | 17800 | 0.0178 | 36002 | 34483 | 1519 | 151900 | 0.1519
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 837 | 711 | 126 | 12600 | 0.0126 | 3076 | 2751 | 325 | 32500 | 0.0325
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1821 |  |  |  |  | 0.3833
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7516 | 7529 | -13 | -650 | -0.00065 | 18953 | 18955 | -2 | -100 | -0.0001
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.00065 |  |  |  |  | -0.0001
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.18275 |  |  |  |  | 0.3834
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0019 |  |  |  |  | 1.1799
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.18465 |  |  |  |  | 1.5633
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.18465 | (REACTIVE MUs) |  |  |  | 1.5633 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0013203 | (REACTIVE MUs) |  |  |  | 0.014043 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.18597 | (REACTIVE MUs) |  |  |  | 1.5773 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 56564 | 58675 | -2111 | -211100 | -0.2111 | 77572 | 77269 | 303 | 30300 | 0.0303
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 12886 | 13633 | -747 | -74700 | -0.0747 | 999460 | 999600 | -140 | -14000 | -0.014
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 159810 | 159231 | 579 | 57900 | 0.0579 | 90488 | 88981 | 1507 | 150700 | 0.1507
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13482 | 13335 | 147 | 147000 | 0.147 | 17375 | 17317 | 58 | 58000 | 0.058
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993839 | 993839 | 0 | 0 | 0 | 949168 | 951809 | -2641 | 1320500 | 1.3205
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994432 | 994432 | 0 | 0 | 0 | 988893 | 989122 | -229 | 114500 | 0.1145
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999896 | 999896 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.0809 |  |  |  |  | 1.66
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 955580 | 956074 | -494 | -98800 | -0.0988 | 991681 | 991223 | 458 | 91600 | 0.0916
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 913761 | 917178 | -3417 | -341700 | -0.3417 | 929618 | 929973 | -355 | -35500 | -0.0355
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4405 |  |  |  |  | 0.0561
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 159924 | 159391 | 533 | 106600 | 0.1066 | 256592 | 254949 | 1643 | 328600 | 0.3286
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 43771 | 42999 | 772 | 154400 | 0.1544 | 40213 | 39875 | 338 | 67600 | 0.0676
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 54242 | 52743 | 1499 | 149900 | 0.1499 | 69979 | 69391 | 588 | 58800 | 0.0588
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986698 | 986984 | -286 | -286000 | -0.286 | 997698 | 997664 | 34 | 34000 | 0.034
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 983384 | 983731 | -347 | -34700 | -0.0347 | 7557 | 7621 | -64 | -6400 | -0.0064
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 138 | 138 | 0 | 0 | 0 | 1771 | 1184 | 587 | 550312.5 | 0.55031
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 993484 | 993576 | -92 | 46000 | 0.046 | 995775 | 995791 | -16 | 8000 | 0.008
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999896 | 999896 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.1362 |  |  |  |  | 1.0409
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.0809 |  |  |  |  | 1.66
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4405 |  |  |  |  | 0.0561
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.1362 |  |  |  |  | 1.0409

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7099 | 6795 | 304 | 608000 | 0.608 | 999982 | 999958 | 24 | 48000 | 0.048
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 5773 | 5994 | -221 | -442000 | -0.442 | 999709 | 999729 | -20 | -40000 | -0.04
[7 empty] | NET REACTIVE ENERGY |  |  | 0.166 |  | NET REACTIVE ENERGY |  |  | 0.008
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999647 | 999647 | 0 | 0 | 0 | 43618 | 43618 | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | RECORDING ABNORMAL DUE TO P.T. PROBLEM AT 33KV |  |  |  |  | RECORDING ABNORMAL DUE TO P.T. PROBLEM AT 33KV |  |  |  |  | Average of reactive energy recorded during April,May andJune 2011 is taken as assessment.
| IBT-2 |  |  |  |  | Assessment |  |  |  | -0.002 | Assessment |  |  |  | 1.572
[7 empty] | NET REACTIVE ENERGY |  |  | -0.002 |  | NET REACTIVE ENERGY |  |  | 1.572
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.164 |  |  |  |  | 1.58
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.4139 |  |  |  |  | -6.8091
[7 empty] | NDMC = |  |  | 0.075 |  |  |  |  | 3.3688
MES =
[7 empty] | 2)TOTAL |  |  | -0.3389 |  |  |  |  | -3.4403
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.1749 |  |  |  |  | -1.8603
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.4809 | % |  |  | -0.048064 |  |  |  |  | -0.51123
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.2607 | % |  |  | -0.073914 |  |  |  |  | -0.78618
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.3405 | % |  |  | -0.042572 |  |  |  |  | -0.45281
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.1629 | % |  |  | -0.0090299 |  |  |  |  | -0.096045
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7549 | % |  |  | -0.0013203 |  |  |  |  | -0.014043
Note :Sharing taken from wk-22 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2011 TO 31st AUGUST-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.68834 | + | 6.9282
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.082498 | + | 25.0808
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.1536 | + | 4.0157
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.3806 | + | 5.1741
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.18597 | + | 1.5773
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/11 | INTIAL READING 01/08/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 987431 | 988840 | -1409 | -2113500 | -2.1135 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 982001 | 983416 | -1415 | -2122500 | -2.1225 | 986950 | 986950 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 944024 | 946914 | -2890 | -4335000 | -4.335 | 970209 | 970209 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -8.571 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 996969 | 996973 | -4 | -20000 | -0.02 | 37495 | 37570 | -75 | -375000 | -0.375 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999467 | 999484 | -17 | -17000 | -0.017 | 8471 | 8566 | -95 | -95000 | -0.095 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976747 | 977882 | -1135 | -1135000 | -1.135 | 991463 | 991638 | -175 | -175000 | -0.175
[8 empty] | NET REACTIVE ENERGY |  | -1.172 |  |  | NET REACTIVE ENERGY |  | -0.645