## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990527 | 990411 | 116 | -116000 | -0.116 | 996506 | 997387 | -881 | 881000 | 0.881
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994146 | 994140 | 6 | -6000 | -0.006 | 997707 | 998094 | -387 | 387000 | 0.387
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4391 | 4361 | 30 | -30000 | -0.03 | 996182 | 996109 | 73 | -73000 | -0.073
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974290 | 974290 | 0 | 0 | 0 | 975034 | 975669 | -635 | 635000 | 0.635
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917253 | 917261 | -8 | 8000 | 0.008 | 937841 | 940849 | -3008 | 3008000 | 3.008
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22966 | 22966 | 0 | 0 | 0 | 17719 | 17141 | 578 | -578000 | -0.578
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12393 | 12394 | -1 | 1000 | 0.001 | 12210 | 12730 | -520 | 520000 | 0.52
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14241 | 14241 | 0 | 0 | 0 | 994977 | 995180 | -203 | 253750 | 0.25375
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6504 | 6503 | 1 | -1000 | -0.001 | 984378 | 984954 | -576 | 576000 | 0.576
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31196 | 31203 | -7 | 7000 | 0.007 | 9136 | 9084 | 52 | -52000 | -0.052
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992083 | 992090 | -7 | 7000 | 0.007 | 3466 | 3789 | -323 | 323000 | 0.323
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991819 | 991820 | -1 | 1000 | 0.001 | 998474 | 999178 | -704 | 704000 | 0.704
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 899123 | 899604 | -481 | -481000 | -0.481 | 920501 | 920513 | -12 | -12000 | -0.012
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987816 | 987817 | -1 | 1000 | 0.001 | 16832 | 16917 | -85 | 85000 | 0.085
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998448 | 998436 | 12 | -12000 | -0.012 | 19649 | 19634 | 15 | -15000 | -0.015
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2053 | 1989 | 64 | -64000 | -0.064 | 999976 | 999936 | 40 | -40000 | -0.04
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999926 | 0 | 0 | 0 | 992357 | 992578 | -221 | -44200 | -0.0442
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 661 | 0 | 0 | 0 | 29738 | 29386 | 352 | 352000 | 0.352
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4385 | 4385 | 0 | 0 | 0 | 158230 | 155523 | 2707 | 270700 | 0.2707
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 15712 | 15712 | 0 | 0 | 0 | 235108 | 231943 | 3165 | 316500 | 0.3165
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996347 | 996347 | 0 | 0 | 0 | 4003 | 4015 | -12 | -12000 | -0.012
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 321 | 321 | 0 | 0 | 0 | 8256 | 8155 | 101 | 101000 | 0.101
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640005 | 640006 | -1 | -1000 | -0.001 | 798123 | 798892 | -769 | -769000 | -0.769
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648467 | 648495 | -28 | -28000 | -0.028 | 831385 | 832019 | -634 | -634000 | -0.634
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1947 | 1947 | 0 | 0 | 0 | 412 | 171 | 241 | 96400 | 0.0964
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2596 | 2596 | 0 | 0 | 0 | 3964 | 2884 | 1080 | 540000 | 0.54
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15561 | 15531 | 30 | -30000 | -0.03 | 981243 | 981660 | -417 | 417000 | 0.417
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5949 | 5889 | 60 | -60000 | -0.06 | 999566 | 999729 | -163 | 163000 | 0.163
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996958 | 996938 | 20 | -20000 | -0.02 | 924865 | 925709 | -844 | 844000 | 0.844
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3441 | 3441 | 0 | 0 | 0 | 999565 | 999842 | -277 | 277000 | 0.277
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56944 | 56941 | 3 | -3000 | -0.003 | 1618 | 219 | 1399 | -1399000 | -1.399
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 289 | 302 | -13 | 13000 | 0.013 | 998735 | 999905 | -1170 | 1170000 | 1.17
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2438 | 2443 | -5 | 5000 | 0.005 | 999995 | 999999 | -4 | 4000 | 0.004
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 2 | 4 | -4000 | -0.004 | 999999 | 1000000 | -1 | 1000 | 0.001 | wef 24/6/14
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 1000000 | -2 | 2000 | 0.002 | 0 | 0 | 0 | 0 | 0 | wef 24/6/14
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1764 | 1764 | 0 | 0 | 0 | 21905 | 21674 | 231 | 231000 | 0.231
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 212 | 212 | 0 | 0 | 0 | 2101 | 1918 | 183 | 183000 | 0.183
| NDPL(+) continue | [14 empty] | JUNE-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1282 | 1282 | 0 | 0 | 0 | 61190 | 60947 | 243 | 243000 | 0.243
REWARI LINE
39 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 2172 | 2172 | 0 | 0 | 0 | 78553 | 78711 | -158 | -15800 | -0.0158
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9424 | 9435 | -11 | -1100 | -0.0011 | 29048 | 29071 | -23 | -2300 | -0.0023
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10882 | 10872 | 10 | 1000 | 0.001 | 54688 | 53228 | 1460 | 146000 | 0.146
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16995 | 16575 | 420 | 42000 | 0.042 | 57494 | 56643 | 851 | 85100 | 0.0851
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 43026 | 43012 | 14 | 1400 | 0.0014 | 21121 | 20088 | 1033 | 103300 | 0.1033
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0 | wef-13/5/14
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17428 | 17342 | 86 | 8600 | 0.0086 | 18480 | 17870 | 610 | 61000 | 0.061
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998213 | 998319 | -106 | -4710.64 | -0.0047106 | 293 | 324 | -31 | -1377.64 | -0.0013776
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5629 | 5629 | 0 | 0 | 0 | 29995 | 29272 | 723 | 361500 | 0.3615
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3786 | 3786 | 0 | 0 | 0 | 27632 | 27152 | 480 | 240000 | 0.24
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6037 | 6013 | 24 | 12000 | 0.012 | 14710 | 14601 | 109 | 54500 | 0.0545
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1032 | 1010 | 22 | 14666.6667 | 0.014667 | 754 | 579 | 175 | 116666.6667 | 0.11667
D.M.S.
54 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993037 | 993037 | 0 | 0 | 0 | 5873 | 5895 | -22 | -2200 | -0.0022
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7788 | 7788 | 0 | 0 | 0 | 15304 | 15331 | -27 | -2700 | -0.0027
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23520 | 23520 | 0 | 0 | 0 | 55607 | 54290 | 1317 | 131700 | 0.1317
57 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4503 | 4517 | -14 | -1400 | -0.0014 | 999979 | 999996 | -17 | -1700 | -0.0017
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998630 | 998630 | 0 | 0 | 0 | 102 | 126 | -24 | -2400 | -0.0024
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0424 |  |  |  |  | 0.00784 | Assessment
| TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 171015 | 170920 | 95 | 9500 | 0.0095 | 48852 | 48719 | 133 | 13300 | 0.0133 | wef 25/6/14
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 16055 | 15830 | 225 | 22500 | 0.0225 | 64119 | 62968 | 1151 | 115100 | 0.1151
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2729 | 2473 | 256 | 25600 | 0.0256 | 986 | 175 | 811 | 81100 | 0.0811
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 149356 | 149266 | 90 | 9000 | 0.009 | 21853 | 23639 | -1786 | -178600 | -0.1786
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21575 | 21574 | 1 | 100 | 0.0001 | 43391 | 42025 | 1366 | 136600 | 0.1366
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 238 | 238 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 48 | 2 | -800 | -0.0008
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999261 | 999261 | 0 | 0 | 0 | 999404 | 999404 | 0 | 0 | 0
| BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 999998 | 1000000 | -2 | -800 | -0.0008 | wef 25/6/14
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 992170 | 992420 | -250 | -200000 | -0.2 | 269 | 344 | -75 | -60000 | -0.06
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 989641 | 989525 | 116 | 92800 | 0.0928 | 1000068 | 999987 | 81 | 64800 | 0.0648
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.73664 |  |  |  |  | 10.404
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 16851 | 16736 | 115 | -11500 | -0.0115 | 15348 | 14522 | 826 | -82600 | -0.0826
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10527 | 10527 | 0 | 0 | 0 | 7405 | 7221 | 184 | -184000 | -0.184
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3903 | 3903 | 0 | 0 | 0 | 12251 | 12506 | -255 | 51000 | 0.051
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15809 | 15809 | 0 | 0 | 0 | 33157 | 31921 | 1236 | -1236000 | -1.236
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11039 | 11058 | -19 | 1900 | 0.0019 | 61492 | 61504 | -12 | 1200 | 0.0012
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944178 | 944327 | -149 | 149000 | 0.149 | 992061 | 992396 | -335 | 335000 | 0.335
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999423 | 7 | 14000 | 0.014 | 999958 | 999980 | -22 | -44000 | -0.044
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.1534 |  |  |  |  | -1.1594
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.73664 |  |  |  |  | 10.404
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.1534 |  |  |  |  | -1.1594
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.23199 |  |  |  |  | -0.16307
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.35126 |  |  |  |  | 9.0815
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.35126 | (REACTIVE MUs) |  |  |  | 9.0815 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10311 | (REACTIVE MUs) |  |  |  | -0.39056 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.24814 | (REACTIVE MUs) |  |  |  | 8.6909 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993194 | 993194 | 0 | 0 | 0 | 79972 | 74464 | 5508 | 550800 | 0.5508
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16821 | 16440 | 381 | 38100 | 0.0381 | 29010 | 11585 | 17425 | 1742500 | 1.7425
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999999 | 999999 | 0 | 0 | 0 | 5659 | 5659 | 0 | 0 | 0 | wef 27/5/14
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2031 | 2041 | -10 | -1000 | -0.001 | 2121 | 4684 | -2563 | -256300 | -0.2563
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10436 | 10400 | 36 | 3600 | 0.0036 | 152458 | 148131 | 4327 | 432700 | 0.4327
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 5393 | 4914 | 479 | 47900 | 0.0479 | 109468 | 69067 | 40401 | 4040100 | 4.0401
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993615 | 993611 | 4 | 4000 | 0.004 | 956 | 827 | 129 | 129000 | 0.129
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998708 | 998709 | -1 | -1000 | -0.001 | 1877 | 1964 | -87 | -87000 | -0.087
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 699 | 702 | -3 | -3000 | -0.003 | 1221 | 1343 | -122 | -122000 | -0.122
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998707 | 998713 | -6 | -6000 | -0.006 | 2648 | 2758 | -110 | -110000 | -0.11
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999100 | 999108 | -8 | -8000 | -0.008 | 4469 | 4094 | 375 | 375000 | 0.375
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 249 | 250 | -1 | -1000 | -0.001 | 1154 | 1134 | 20 | 20000 | 0.02
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999877 | 999878 | -1 | -1000 | -0.001 | 16418 | 16510 | -92 | -92000 | -0.092
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1551 | 1552 | -1 | -1000 | -0.001 | 37171 | 37132 | 39 | 39000 | 0.039
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 25492 | 24720 | 772 | 772000 | 0.772
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1471 | 1460 | 11 | 11000 | 0.011 | 8766 | 8402 | 364 | 364000 | 0.364
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 6859 | 6673 | 186 | 18600 | 0.0186 | 93 | 1 | 92 | 9200 | 0.0092
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998580 | 998581 | -1 | -1000 | -0.001 | 13184 | 12738 | 446 | 446000 | 0.446
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 733171 | 736329 | -3158 | -3473800 | -3.4738
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 773003 | 776101 | -3098 | -3407800 | -3.4078
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986651 | 986658 | -7 | -7000 | -0.007 | 9154 | 9024 | 130 | 130000 | 0.13
| KASHMIRI GATE | [8 empty] | 0.0046 |  |  |  |  | -5.0084
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958251 | 958251 | 0 | 0 | 0 | 955910 | 962759 | -6849 | 6849000 | 6.849
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968856 | 968860 | -4 | 4000 | 0.004 | 959011 | 961019 | -2008 | 2008000 | 2.008
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 238 | 238 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 140 | 140 | 0 | 0 | 0 | 4754 | 4004 | 750 | 750000 | 0.75
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44253 | 44253 | 0 | 0 | 0 | 973467 | 973152 | 315 | -315000 | -0.315
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23987 | 23987 | 0 | 0 | 0 | 968422 | 968107 | 315 | -315000 | -0.315
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995463 | 995446 | 17 | -17000 | -0.017 | 996390 | 996274 | 116 | -116000 | -0.116
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975588 | 975585 | 3 | -3000 | -0.003 | 992090 | 991937 | 153 | -153000 | -0.153
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3903 | 3903 | 0 | 0 | 0 | 12251 | 12506 | -255 | -51000 | -0.051
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15809 | 15809 | 0 | 0 | 0 | 33157 | 31921 | 1236 | 1236000 | 1.236
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 106037 | 106321 | -284 | -28400 | -0.0284 | 1610 | 1606 | 4 | 400 | 0.0004
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 128685 | 126583 | 2102 | 210200 | 0.2102 | 4032 | 2661 | 1371 | 137100 | 0.1371
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.259 |  |  |  |  | 11.5319
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.259 |  |  |  |  | 11.5319
JUNE-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991475 | 991477 | -2 | 2000 | 0.002 | 911212 | 916140 | -4928 | 4928000 | 4.928
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12363 | 12364 | -1 | 1000 | 0.001 | 931142 | 935998 | -4856 | 4856000 | 4.856
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992602 | 992604 | -2 | 2000 | 0.002 | 975636 | 980261 | -4625 | 4625000 | 4.625
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901233 | 901265 | -32 | 32000 | 0.032 | 991103 | 991957 | -854 | 854000 | 0.854
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 889725 | 889764 | -39 | 39000 | 0.039 | 989541 | 990378 | -837 | 837000 | 0.837
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4665 | 4665 | 0 | 0 | 0 | 993502 | 992731 | 771 | -771000 | -0.771
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999777 | 999777 | 0 | 0 | 0 | 981547 | 983712 | -2165 | 4330000 | 4.33
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999469 | 999469 | 0 | 0 | 0 | 959455 | 962826 | -3371 | 3371000 | 3.371
GEETA COLONY
10 | I/C-I | 4864919 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6623 | 6642 | -19 | 19000 | 0.019 | 897993 | 899164 | -1171 | 1171000 | 1.171 | Check meter Data
| I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999983 | 1000000 | -17 | 17000 | 0.017 | 998879 | 1000000 | -1121 | 1121000 | 1.121 | wef -27/6/14
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962278 | 962292 | -14 | 14000 | 0.014 | 865391 | 869197 | -3806 | 3806000 | 3.806
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20997 | 20642 | 355 | -355000 | -0.355 | 34930 | 34285 | 645 | -645000 | -0.645
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22229 | 22075 | 154 | -154000 | -0.154 | 45128 | 44107 | 1021 | -1021000 | -1.021
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.383 |  |  |  |  | 27.462
| (B) NET ENERGY TO EAST | [8 empty] | -0.383 |  |  |  |  | 27.462
JUNE-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1947 | 1947 | 0 | 0 | 0 | 412 | 171 | 241 | -96400 | -0.0964
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2596 | 2596 | 0 | 0 | 0 | 3964 | 2884 | 1080 | -540000 | -0.54
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 46071 | 46037 | 34 | -6800 | -0.0068 | 74341 | 72660 | 1681 | -336200 | -0.3362
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73724 | 73728 | -4 | 400 | 0.0004 | 139807 | 139958 | -151 | 15100 | 0.0151
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980950 | 980964 | -14 | 2800 | 0.0028 | 906 | 1722 | -816 | 163200 | 0.1632
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74462 | 74459 | 3 | -600 | -0.0006 | 90349 | 89171 | 1178 | -235600 | -0.2356
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7278 | 7268 | 10 | -8000 | -0.008 | 2634 | 1633 | 1001 | -800800 | -0.8008
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13727 | 13727 | 0 | 0 | 0 | 1401 | 1086 | 315 | -630000 | -0.63
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983109 | 983109 | 0 | 0 | 0 | 992144 | 992602 | -458 | 366400 | 0.3664
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987571 | 987571 | 0 | 0 | 0 | 992063 | 993498 | -1435 | 1148000 | 1.148
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993777 | 993777 | 0 | 0 | 0 | 996746 | 997023 | -277 | 221600 | 0.2216
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992428 | 992428 | 0 | 0 | 0 | 37666 | 37091 | 575 | -575000 | -0.575
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993104 | 993104 | 0 | 0 | 0 | 999153 | 999340 | -187 | 249332.71 | 0.24933
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1764 | 1764 | 0 | 0 | 0 | 21905 | 21674 | 231 | -231000 | -0.231
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 212 | 212 | 0 | 0 | 0 | 2101 | 1918 | 183 | -183000 | -0.183
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1282 | 1282 | 0 | 0 | 0 | 61190 | 60947 | 243 | -243000 | -0.243
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5629 | 5629 | 0 | 0 | 0 | 29995 | 29272 | 723 | -361500 | -0.3615
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3786 | 3786 | 0 | 0 | 0 | 27632 | 27152 | 480 | -240000 | -0.24
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6037 | 6013 | 24 | -12000 | -0.012 | 14710 | 14601 | 109 | -54500 | -0.0545
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1032 | 1010 | 22 | -14666.6667 | -0.014667 | 754 | 579 | 175 | -116666.6667 | -0.11667
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 149356 | 149266 | 90 | -9000 | -0.009 | 21853 | 23639 | -1786 | 178600 | 0.1786
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21575 | 21574 | 1 | -100 | -0.0001 | 43391 | 42025 | 1366 | -136600 | -0.1366
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993037 | 993037 | 0 | 0 | 0 | 5873 | 5895 | -22 | 2200 | 0.0022
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7788 | 7788 | 0 | 0 | 0 | 15304 | 15331 | -27 | 2700 | 0.0027
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23520 | 23520 | 0 | 0 | 0 | 55607 | 54290 | 1317 | -131700 | -0.1317
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4503 | 4517 | -14 | 1400 | 0.0014 | 999979 | 999996 | -17 | 1700 | 0.0017
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998630 | 998630 | 0 | 0 | 0 | 102 | 126 | -24 | 2400 | 0.0024
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  |  |  | 0.0424 |  |  |  |  | 0.00784 | Assessment
| TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 171015 | 170920 | 95 | -9500 | -0.0095 | 48852 | 48719 | 133 | -13300 | -0.0133 | wef 25/6/14
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 16055 | 15830 | 225 | -22500 | -0.0225 | 64119 | 62968 | 1151 | -115100 | -0.1151
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2729 | 2473 | 256 | -25600 | -0.0256 | 986 | 175 | 811 | -81100 | -0.0811
[10 empty] | -0.061767 |  |  |  |  | -2.7624
JUNE-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.259 |  |  |  |  | 11.5319
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.061767 |  |  |  |  | -2.7624
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1544 |  |  |  |  | 0.0244
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.042833 |  |  |  |  | 8.7939
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.383 |  |  |  |  | 27.462
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.34017 |  |  |  |  | 36.2559
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.34017 | (REACTIVE MUs) |  |  |  | 36.2559 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.087355 | (REACTIVE MUs) |  |  |  | -0.33087 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.25281 | (REACTIVE MUs) |  |  |  | 35.925 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999989 | 999990 | -1 | -5000 | -0.005 | 19 | 0 | 19 | 95000 | 0.095 | wef 17/5/14
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986115 | 986115 | 0 | 0 | 0 | 673666 | 673912 | -246 | -327999.18 | -0.328
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 7466 | 7474 | -8 | -4000 | -0.004 | 66391 | 65445 | 946 | 473000 | 0.473
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12567 | 0 | 0 | 0 | 999543 | 999604 | -61 | -61000 | -0.061
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10671 | 10653 | 18 | 1800 | 0.0018 | 127986 | 126354 | 1632 | 163200 | 0.1632
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 747719 | 747900 | -181 | -13575 | -0.013575 | 43503 | 48814 | -5311 | -398325 | -0.39832
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 20 | 5417 | 5458 | -41 | -820 | -0.00082 | 410354 | 392860 | 17494 | 349880 | 0.34988
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 424 | 67 | 357 | -178500 | -0.1785 | 997341 | 999707 | -2366 | 1183000 | 1.183
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987968 | 987791 | 177 | -177000 | -0.177 | 949489 | 950708 | -1219 | 1219000 | 1.219
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999926 | 999907 | 19 | -19000 | -0.019 | 997647 | 999379 | -1732 | 1732000 | 1.732
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992436 | 992417 | 19 | -19000 | -0.019 | 947398 | 949379 | -1981 | 1981000 | 1.981
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987203 | 987216 | -13 | 13000 | 0.013 | 976796 | 979599 | -2803 | 2803000 | 2.803
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25053 | 25050 | 3 | -3000 | -0.003 | 984562 | 985104 | -542 | 542000 | 0.542
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24939 | 24931 | 8 | -8000 | -0.008 | 998283 | 999413 | -1130 | 1130000 | 1.13
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1115 | 1081 | 34 | -34000 | -0.034 | 998314 | 999318 | -1004 | 1004000 | 1.004
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5677 | 5356 | 321 | -321000 | -0.321 | 998268 | 1000135 | -1867 | 1867000 | 1.867
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22257 | 22228 | 29 | -29000 | -0.029 | 4752 | 6045 | -1293 | 1293000 | 1.293
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2885 | 2384 | 501 | -501000 | -0.501 | 998849 | 999782 | -933 | 933000 | 0.933
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10527 | 10527 | 0 | 0 | 0 | 7405 | 7221 | 184 | 184000 | 0.184
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999124 | 999174 | -50 | 50000 | 0.05 | 995255 | 998488 | -3233 | 3233000 | 3.233
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953326 | 953334 | -8 | 8000 | 0.008 | 852275 | 854844 | -2569 | 2569000 | 2.569
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999418 | 999351 | 67 | -67000 | -0.067 | 969788 | 970941 | -1153 | 1153000 | 1.153
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995338 | 995263 | 75 | -75000 | -0.075 | 951260 | 953883 | -2623 | 2623000 | 2.623
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8165 | 8198 | -33 | 33000 | 0.033 | 39818 | 40584 | -766 | 766000 | 0.766
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998404 | 998404 | 0 | 0 | 0 | 889678 | 889678 | 0 | 0 | 0
| Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9 | 0 | 9 | -9000 | -0.009 | 999563 | 1000000 | -437 | 437000 | 0.437 | wef 2/6/14
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997071 | 997065 | 6 | -6000 | -0.006 | 868068 | 868679 | -611 | 611000 | 0.611
BRPL(+) continue | [14 empty] | JUNE-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996126 | 995622 | 504 | -504000 | -0.504 | 972595 | 972456 | 139 | -139000 | -0.139
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997685 | 997457 | 228 | -228000 | -0.228 | 989128 | 988625 | 503 | -503000 | -0.503
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997010 | 996885 | 125 | -250000 | -0.25 | 969930 | 970005 | -75 | 150000 | 0.15
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995000 | 994992 | 8 | -8000 | -0.008 | 913557 | 914349 | -792 | 792000 | 0.792
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995070 | 995070 | 0 | 0 | 0 | 927947 | 927980 | -33 | 33000 | 0.033
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998575 | 998567 | 8 | -8000 | -0.008 | 998369 | 999134 | -765 | 765000 | 0.765
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989807 | 989801 | 6 | -6000 | -0.006 | 994548 | 997572 | -3024 | 3024000 | 3.024
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 977520 | 977676 | -156 | 103999.896 | 0.104 | 981322 | 983985 | -2663 | 1775331.558 | 1.7753
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 975285 | 975373 | -88 | 58666.608 | 0.058667 | 971016 | 971752 | -736 | 490666.176 | 0.49067
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2287 | 2287 | 0 | 0 | 0 | 1679 | 1568 | 111 | -222000 | -0.222
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999289 | 999289 | 0 | 0 | 0 | 797 | 699 | 98 | -196000 | -0.196
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939250 | 939204 | 46 | -46000 | -0.046 | 992671 | 995000 | -2329 | 2329000 | 2.329
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949654 | 949660 | -6 | 6000 | 0.006 | 997003 | 995122 | 1881 | -1881000 | -1.881
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993920 | 994033 | -113 | -90400 | -0.0904 | 1416 | 1447 | -31 | -24800 | -0.0248
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25404 | 25228 | 176 | 140800 | 0.1408 | 1394 | 1104 | 290 | 232000 | 0.232
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 932316 | 932415 | -99 | -79200 | -0.0792 | 999651 | 999692 | -41 | -32800 | -0.0328
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999423 | 7 | -14000 | -0.014 | 999958 | 999980 | -22 | 44000 | 0.044
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992428 | 992428 | 0 | 0 | 0 | 37666 | 37091 | 575 | 575000 | 0.575
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993104 | 993104 | 0 | 0 | 0 | 999153 | 999340 | -187 | -249332.71 | -0.24933
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15596 | 15441 | 155 | -155000 | -0.155 | 974895 | 975024 | -129 | 129000 | 0.129
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9736 | 9516 | 220 | -220000 | -0.22 | 989334 | 989668 | -334 | 334000 | 0.334
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 16851 | 16736 | 115 | 11500 | 0.0115 | 15348 | 14522 | 826 | 82600 | 0.0826
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11039 | 11058 | -19 | -1900 | -0.0019 | 61492 | 61504 | -12 | -1200 | -0.0012
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944178 | 944327 | -149 | -149000 | -0.149 | 992061 | 992396 | -335 | -335000 | -0.335
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 394 | 394 | 0 | 0 | 0 | 817 | 817 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9914 | 9893 | 21 | 2100 | 0.0021 | 24587 | 22576 | 2011 | 201100 | 0.2011
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.8005 |  |  |  |  | 34.9293
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 41539 | 39051 | 2488 | -248800 | -0.2488 | 905753 | 902650 | 3103 | -310300 | -0.3103
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 106037 | 106321 | -284 | 28400 | 0.0284 | 1610 | 1606 | 4 | -400 | -0.0004
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 128685 | 126583 | 2102 | -210200 | -0.2102 | 4032 | 2661 | 1371 | -137100 | -0.1371
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996449 | 996508 | -59 | 5900 | 0.0059 | 999955 | 999977 | -22 | 2200 | 0.0022
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996649 | 996665 | -16 | 1600 | 0.0016 | 999913 | 999921 | -8 | 800 | 0.0008
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1783 | 1757 | 26 | -52000 | -0.052 | 73608 | 73347 | 261 | -522000 | -0.522
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9977 | 9712 | 265 | -265000 | -0.265 | 153 | 81 | 72 | -72000 | -0.072
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 902005 | 901893 | 112 | -56000 | -0.056 | 54637 | 54517 | 120 | -60000 | -0.06
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 15452 | 15452 | 0 | 0 | 0 | 3421 | 3307 | 114 | -45600 | -0.0456 | wef- 23/6/14
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 64966 | 64934 | 32 | -3200 | -0.0032 | 61643 | 59918 | 1725 | -172500 | -0.1725
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 63704 | 63622 | 82 | -8200 | -0.0082 | 58773 | 57488 | 1285 | -128500 | -0.1285
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85395 | 85367 | 28 | -5600 | -0.0056 | 114129 | 113825 | 304 | -60800 | -0.0608
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 187 | 190 | -3 | -1500 | -0.0015 | 17414 | 17556 | -142 | -71000 | -0.071
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3106 | 3150 | -44 | -3666.6667 | -0.0036667 | 979057 | 979490 | -433 | -36083.3333 | -0.036083
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 988765 | 989435 | -670 | -111666.6667 | -0.11167 | 993289 | 993684 | -395 | -65833.3333 | -0.065833
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 303094 | 302122 | 972 | -97200 | -0.0972 | 47236 | 46221 | 1015 | -101500 | -0.1015
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3891 | 3891 | 0 | 0 | 0 | 18730 | 18510 | 220 | -22000 | -0.022
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 2172 | 2172 | 0 | 0 | 0 | 78553 | 78741 | -188 | 18800 | 0.0188
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9424 | 9435 | -11 | 1100 | 0.0011 | 29048 | 29071 | -23 | 2300 | 0.0023
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10882 | 10872 | 10 | -1000 | -0.001 | 54688 | 53228 | 1460 | -146000 | -0.146
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16995 | 16575 | 420 | -42000 | -0.042 | 57494 | 56643 | 851 | -85100 | -0.0851
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 43026 | 43012 | 14 | -1400 | -0.0014 | 21121 | 20088 | 1033 | -103300 | -0.1033
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0 | wef-13/5/14
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17428 | 17342 | 86 | -8600 | -0.0086 | 18480 | 17870 | 610 | -61000 | -0.061
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998213 | 998319 | -106 | 4710.64 | 0.0047106 | 293 | 324 | -31 | 1377.64 | 0.0013776
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 48 | 2 | 800 | 0.0008
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999261 | 999261 | 0 | 0 | 0 | 999404 | 999404 | 0 | 0 | 0
| BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 999998 | 1000000 | -2 | 800 | 0.0008 | wef 25/6/14
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.0743 |  |  |  |  | -2.1739
JUNE-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.8005 |  |  |  |  | 34.9293
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.0743 |  |  |  |  | -2.1739
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.23929 |  |  |  |  | 1.5298
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0502 |  |  |  |  | -0.431
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.6858 |  |  |  |  | 33.8542
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.6858 | (REACTIVE MUs) |  |  |  | 33.8542 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.15258 | (REACTIVE MUs) |  |  |  | -0.57792 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.5332 | (REACTIVE MUs) |  |  |  | 33.2762 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 46071 | 46037 | 34 | 6800 | 0.0068 | 74341 | 72660 | 1681 | 336200 | 0.3362
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73724 | 73728 | -4 | -400 | -0.0004 | 139807 | 139958 | -151 | -15100 | -0.0151
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980950 | 980964 | -14 | -2800 | -0.0028 | 906 | 1722 | -816 | -163200 | -0.1632
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74462 | 74459 | 3 | 600 | 0.0006 | 90349 | 89171 | 1178 | 235600 | 0.2356
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7278 | 7268 | 10 | 8000 | 0.008 | 2634 | 1633 | 1001 | 800800 | 0.8008
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13727 | 13727 | 0 | 0 | 0 | 1401 | 1086 | 315 | 630000 | 0.63
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983109 | 983109 | 0 | 0 | 0 | 992144 | 992602 | -458 | -366400 | -0.3664
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987571 | 987571 | 0 | 0 | 0 | 992063 | 993498 | -1435 | -1148000 | -1.148
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993777 | 993777 | 0 | 0 | 0 | 996746 | 997023 | -277 | -221600 | -0.2216
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999009 | 999005 | 4 | 400 | 0.0004 | 372257 | 364911 | 7346 | 734600 | 0.7346
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12880 | 12879 | 1 | 100 | 0.0001 | 359166 | 355551 | 3615 | 361500 | 0.3615
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5279 | 5274 | 5 | 500 | 0.0005 | 356136 | 352128 | 4008 | 400800 | 0.4008
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997660 | 997660 | 0 | 0 | 0 | 301353 | 296881 | 4472 | 447200 | 0.4472
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 13 | 6 | 7 | 700 | 0.0007 | 182512 | 175856 | 6656 | 665600 | 0.6656
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
| Assessment | [8 empty] | 0.0438 |  |  |  |  | 0.0325
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 81351 | 79116 | 2235 | 2458500 | 2.4585
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2319 | 2315 | 4 | 4000 | 0.004 | 39004 | 38517 | 487 | 487000 | 0.487
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 150056 | 149489 | 567 | 623700 | 0.6237
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6646 | 6667 | -21 | -21000 | -0.021 | 53763 | 53567 | 196 | 196000 | 0.196
[10 empty] | -0.017 |  |  |  |  | 3.7652
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1783 | 1757 | 26 | 52000 | 0.052 | 73608 | 73347 | 261 | 522000 | 0.522
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9977 | 9712 | 265 | 265000 | 0.265 | 153 | 81 | 72 | 72000 | 0.072
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 902005 | 901893 | 112 | 56000 | 0.056 | 54637 | 54517 | 120 | 60000 | 0.06
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 15452 | 15452 | 0 | 0 | 0 | 3421 | 3307 | 114 | 45600 | 0.0456 | wef- 23/6/14
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 187 | 190 | -3 | 1500 | 0.0015 | 17414 | 17556 | -142 | 71000 | 0.071
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3106 | 3150 | -44 | 3666.6667 | 0.0036667 | 979057 | 979490 | -433 | 36083.3333 | 0.036083
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 988765 | 989435 | -670 | 111666.6667 | 0.11167 | 993289 | 993684 | -395 | 65833.3333 | 0.065833
JUNE-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982942 | 982942 | 0 | 0 | 0 | 983179 | 988459 | -5280 | 5280000 | 5.28
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000023 | 999999 | 24 | -24000 | -0.024 | 0 | 0 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980912 | 981006 | -94 | 94000 | 0.094 | 986750 | 989188 | -2438 | 2438000 | 2.438
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996507 | 996565 | -58 | 58000 | 0.058 | 998592 | 1000029 | -1437 | 1437000 | 1.437
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 303094 | 302122 | 972 | 97200 | 0.0972 | 47236 | 46221 | 1015 | 101500 | 0.1015
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3891 | 3891 | 0 | 0 | 0 | 18730 | 18510 | 220 | 22000 | 0.022
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 64966 | 64934 | 32 | 3200 | 0.0032 | 61643 | 59918 | 1725 | 172500 | 0.1725
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 63704 | 63622 | 82 | 8200 | 0.0082 | 58773 | 57488 | 1285 | 128500 | 0.1285
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85395 | 85367 | 28 | 5600 | 0.0056 | 114129 | 113825 | 304 | 60800 | 0.0608
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 41539 | 39051 | 2488 | 248800 | 0.2488 | 905753 | 902650 | 3103 | 310300 | 0.3103
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 394 | 394 | 0 | 0 | 0 | 817 | 817 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9914 | 9893 | 21 | -2100 | -0.0021 | 24587 | 22576 | 2011 | -201100 | -0.2011
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.0194 |  |  |  |  | 17.1177
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.0194 |  |  |  |  | 17.1177
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.017843 |  |  |  |  | -0.067585
| TOTAL ENERGY TO NDMC | [8 empty] | 1.0373 |  |  |  |  | 17.0501

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1357 | 0 | 0 | 0 | 25315 | 24072 | 1243 | 1243000 | 1.243
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 972 | 0 | 0 | 0 | 27559 | 26524 | 1035 | 1035000 | 1.035
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2280 | 0 | 0 | 0 | 35021 | 34096 | 925 | 925000 | 0.925
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 894 | 894 | 0 | 0 | 0 | 19226 | 18827 | 399 | 399000 | 0.399
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4178 | 4177 | 1 | 1000 | 0.001 | 10670 | 10242 | 428 | 428000 | 0.428
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11662 | 11662 | 0 | 0 | 0 | 58505 | 58528 | -23 | -11500 | -0.0115
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996449 | 996508 | -59 | -5900 | -0.0059 | 999955 | 999977 | -22 | -2200 | -0.0022
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996649 | 996665 | -16 | -1600 | -0.0016 | 999913 | 999921 | -8 | -800 | -0.0008
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0065 |  |  |  |  | 4.0155
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 47012 | 46635 | 377 | 37700 | 0.0377 | 75212 | 73601 | 1611 | 161100 | 0.1611
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73756 | 73744 | 12 | 1200 | 0.0012 | 12298 | 11824 | 474 | 47400 | 0.0474
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 46142 | 46029 | 113 | 11300 | 0.0113 | 65509 | 63754 | 1755 | 175500 | 0.1755
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84338 | 84338 | 0 | 0 | 0 | 59164 | 58694 | 470 | 47000 | 0.047
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 6958 | 6914 | 44 | 4400 | 0.0044 | 2917 | 2366 | 551 | 55100 | 0.0551
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0502 |  |  |  |  | 0.431
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0502 |  |  |  |  | 0.431
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0065 |  |  |  |  | 4.0155
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0437 |  |  |  |  | 4.4465
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0437 | (REACTIVE MUs) |  |  |  | 4.4465 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0027092 | (REACTIVE MUs) |  |  |  | -0.010262 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.046409 | (REACTIVE MUs) |  |  |  | 4.4362 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 838 | 1651 | -813 | -81300 | -0.0813 | 272 | 66 | 206 | 20600 | 0.0206 | wef 13/5/14
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 2434 | 2170 | 264 | 26400 | 0.0264 | 999152 | 999181 | -29 | -2900 | -0.0029
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 257025 | 256043 | 982 | 98200 | 0.0982 | 101323 | 98767 | 2556 | 255600 | 0.2556
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 33743 | 33538 | 205 | 192187.5 | 0.19219 | 18674 | 18520 | 154 | 144375 | 0.14438
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985209 | 985218 | -9 | 4500 | 0.0045 | 920191 | 922240 | -2049 | 1024500 | 1.0245
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989204 | 989211 | -7 | 3500 | 0.0035 | 978641 | 978791 | -150 | 75000 | 0.075
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 3 | 17 | -14 | -4200 | -0.0042 | 1000026 | 999984 | 42 | 12600 | 0.0126
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.23929 |  |  |  |  | 1.5298
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 927345 | 927221 | 124 | 24800 | 0.0248 | 992140 | 991799 | 341 | 68200 | 0.0682
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 975960 | 976856 | -896 | -179200 | -0.1792 | 999960 | 1000179 | -219 | -43800 | -0.0438
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1544 |  |  |  |  | 0.0244
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 244014 | 243412 | 602 | 120400 | 0.1204 | 264577 | 263993 | 584 | 116800 | 0.1168
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 112041 | 111933 | 108 | 21600 | 0.0216 | 42087 | 41648 | 439 | 87800 | 0.0878
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 184083 | 183881 | 202 | 20200 | 0.0202 | 73557 | 72681 | 876 | 87600 | 0.0876
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990433 | 990417 | 16 | 16000 | 0.016 | 998447 | 998457 | -10 | -10000 | -0.01
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 961776 | 961777 | -1 | -100 | -0.0001 | 7053 | 7111 | -58 | -5800 | -0.0058
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999181 | 1 | 937.5 | 0.0009375 | 998851 | 999327 | -476 | -446250 | -0.44625
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985972 | 986050 | -78 | 48750 | 0.04875 | 995503 | 995534 | -31 | 19375 | 0.019375
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 3 | 17 | -14 | 4200 | 0.0042 | 1000026 | 999984 | 42 | -12600 | -0.0126
| TOTAL NDPL | [8 empty] | 0.23199 |  |  |  |  | -0.16307
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.23929 |  |  |  |  | 1.5298
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1544 |  |  |  |  | 0.0244
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.23199 |  |  |  |  | -0.16307

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 6097 | 5939 | 158 | 316000 | 0.316 | 844 | 663 | 181 | 362000 | 0.362
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15172 | 15121 | 51 | 102000 | 0.102 | 2025 | 2100 | -75 | -150000 | -0.15
[7 empty] | NET REACTIVE ENERGY |  |  | 0.418 |  | NET REACTIVE ENERGY |  |  | 0.212
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992457 | 992459 | -2 | -2000 | -0.002 | 39090 | 39519 | -429 | -429000 | -0.429
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995084 | 995124 | -40 | -40000 | -0.04 | 994104 | 994021 | 83 | 83000 | 0.083
[7 empty] | NET REACTIVE ENERGY |  |  | -0.042 |  | NET REACTIVE ENERGY |  |  | -0.346
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.376 |  |  |  |  | -0.134
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0046 |  |  |  |  | -5.0084
[7 empty] | NDMC = |  |  | -0.017 |  |  |  |  | 3.7652
MES =
[7 empty] | 2)TOTAL |  |  | -0.0124 |  |  |  |  | -1.2432
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.3636 |  |  |  |  | -1.3772
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.3588 | % |  |  | 0.10311 |  |  |  |  | -0.39056
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9637 | % |  |  | 0.15258 |  |  |  |  | -0.57792
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.025 | % |  |  | 0.087355 |  |  |  |  | -0.33087
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9074 | % |  |  | 0.017843 |  |  |  |  | -0.067585
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7451 | % |  |  | 0.0027092 |  |  |  |  | -0.010262
Note :Sharing taken from wk-08 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2014 TO 30th JUNE-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.24814 | + | 8.6909
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.5332 | + | 33.2762
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.25281 | + | 35.925
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.0373 | + | 17.0501
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.046409 | + | 4.4362
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2014 | INTIAL READING 01/06/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953238 | 953238 | 0 | 0 | 0 | 980494 | 981015 | -521 | -781500 | -0.7815
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 995216 | 995294 | -78 | -117000 | -0.117 | 995750 | 995975 | -225 | -337500 | -0.3375
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 903766 | 904014 | -248 | -372000 | -0.372 | 964866 | 966238 | -1372 | -2058000 | -2.058
[8 empty] | NET REACTIVE ENERGY |  | -0.489 |  |  | NET REACTIVE ENERGY |  | -3.177
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997874 | 0 | 0 | 0 | 30556 | 30857 | -301 | -1505000 | -1.505
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999725 | 999725 | 0 | 0 | 0 | 2335 | 2761 | -426 | -426000 | -0.426
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974638 | 974628 | 10 | 10000 | 0.01 | 990537 | 989911 | 626 | 626000 | 0.626
[8 empty] | NET REACTIVE ENERGY |  | 0.01 |  |  | NET REACTIVE ENERGY |  | -1.305