## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1833 | 3269 | -1436 | 1436000 | 1.436 | 999721 | 999864 | -143 | 143000 | 0.143
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9444 | 9250 | 194 | -194000 | -0.194 | 998764 | 998832 | -68 | 68000 | 0.068
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967603 | 969162 | -1559 | 1559000 | 1.559 | 995723 | 995728 | -5 | 5000 | 0.005
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999008 | 998991 | 17 | -17000 | -0.017 | 973323 | 974077 | -754 | 754000 | 0.754
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2252 | 2016 | 236 | -236000 | -0.236 | 999159 | 999181 | -22 | 22000 | 0.022
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23717 | 24000 | -283 | 283000 | 0.283 | 17606 | 17613 | -7 | 7000 | 0.007
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77 | 398 | -321 | 321000 | 0.321 | 999713 | 999727 | -14 | 14000 | 0.014
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 11808 | 12136 | -328 | 410000 | 0.41 | 991918 | 992021 | -103 | 128750 | 0.12875
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994035 | 994914 | -879 | 879000 | 0.879 | 981193 | 981268 | -75 | 75000 | 0.075
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999469 | 999560 | -91 | 91000 | 0.091 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999518 | 999698 | -180 | 180000 | 0.18 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977885 | 978813 | -928 | 928000 | 0.928 | 997757 | 997757 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 954558 | 958220 | -3662 | -3662000 | -3.662 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982705 | 982768 | -63 | 63000 | 0.063 | 16908 | 16908 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6027 | 5666 | 361 | -361000 | -0.361 | 20578 | 20578 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12714 | 12208 | 506 | -506000 | -0.506 | 252 | 252 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 999996 | 999996 | 0 | 0 | 0 | 998566 | 998191 | 375 | 150000 | 0.15
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 783 | 783 | 0 | 0 | 0 | 27640 | 27636 | 4 | 4000 | 0.004
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 250 | 0 | 250 | 125000 | 0.125 | 24 | 6 | 18 | 9000 | 0.009 | w.e.f 23/09/16
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 122359 | 119720 | 2639 | 263900 | 0.2639 | 253916 | 253879 | 37 | 3700 | 0.0037
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996376 | 996454 | -78 | -78000 | -0.078 | 992861 | 992911 | -50 | -50000 | -0.05
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 564 | 539 | 25 | 25000 | 0.025 | 1265 | 1286 | -21 | -21000 | -0.021
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 65201 | 59183 | 6018 | 601800 | 0.6018 | 7135 | 7062 | 73 | 7300 | 0.0073
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 633773 | 634168 | -395 | -395000 | -0.395 | 796080 | 796112 | -32 | -32000 | -0.032
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 626243 | 627159 | -916 | -916000 | -0.916 | 829250 | 829263 | -13 | -13000 | -0.013
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 1000 | 698 | 419 | 279 | 279000 | 0.279 | 99053 | 99075 | -22 | -22000 | -0.022
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5502 | 5450 | 52 | 26000 | 0.026 | 2305 | 2373 | -68 | -34000 | -0.034
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23706 | 24584 | -878 | 878000 | 0.878 | 980859 | 980859 | 0 | 0 | 0
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11894 | 12237 | -343 | 343000 | 0.343 | 996746 | 996747 | -1 | 1000 | 0.001
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992815 | 994140 | -1325 | 1325000 | 1.325 | 999835 | 999835 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6824 | 5592 | 1232 | -1232000 | -1.232 | 999560 | 999569 | -9 | 9000 | 0.009
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30889 | 26440 | 4449 | -4449000 | -4.449 | 12 | 12 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13160 | 11445 | 1715 | -1715000 | -1.715 | 998816 | 998816 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26725 | 23493 | 3232 | -3232000 | -3.232 | 1594 | 1594 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6623 | 5634 | 989 | -989000 | -0.989 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 248 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993354 | 0 | 0 | 0 | 998727 | 998733 | -6 | 6000 | 0.006 | Data till 17/10
|  | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993176 | 993176 | 0 | 0 | 0 | 998743 | 998743 | 0 | 0 | 0 | Check Meter Data
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9246 | 9129 | 117 | -117000 | -0.117 | 1402 | 1413 | -11 | 11000 | 0.011
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2073 | 2074 | -1 | -1000 | -0.001 | 27126 | 26913 | 213 | 213000 | 0.213
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 290 | 40 | 250 | 25000 | 0.025 | 26050 | 24079 | 1971 | 197100 | 0.1971
| NDPL(+) continue | [14 empty] | OCTOBER-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998115 | 999029 | -914 | -380827.24 | -0.38083 | 255 | 296 | -41 | -17083.06 | -0.017083
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9135 | 9137 | -2 | -200 | -0.0002 | 37478 | 37478 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12240 | 11988 | 252 | 25200 | 0.0252 | 72152 | 71300 | 852 | 85200 | 0.0852
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 724 | 724 | 0 | 0 | 0 | 12346 | 12160 | 186 | 18600 | 0.0186
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 13681 | 13147 | 534 | 53400 | 0.0534 | 11825 | 11384 | 441 | 44100 | 0.0441
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999949 | 999999 | -50 | -5000 | -0.005 | 4165 | 3076 | 1089 | 108900 | 0.1089
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989745 | 989990 | -245 | -10887.8 | -0.010888 | 390 | 234 | 156 | 6932.64 | 0.0069326
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5652 | 5654 | -2 | -1000 | -0.001 | 34425 | 34422 | 3 | 1500 | 0.0015
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999993 | 999969 | 24 | 12000 | 0.012 | 544 | 542 | 2 | 1000 | 0.001
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 203 | 129 | 74 | 49333.58 | 0.049334 | 107 | 107 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2821 | 2677 | 144 | 96000 | 0.096 | 1331 | 1329 | 2 | 1333.3333 | 0.0013333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998366 | 998401 | -35 | -3500 | -0.0035 | 1116 | 953 | 163 | 16300 | 0.0163
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999755 | 999736 | 19 | 1900 | 0.0019 | 1000005 | 999921 | 84 | 8400 | 0.0084
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23956 | 23972 | -16 | -1600 | -0.0016 | 57841 | 57849 | -8 | -800 | -0.0008
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1983 | 1926 | 57 | 5700 | 0.0057 | 6401 | 6143 | 258 | 25800 | 0.0258
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 28256 | 28012 | 244 | 24400 | 0.0244 | 67790 | 67770 | 20 | 2000 | 0.002
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7089 | 6412 | 677 | 67700 | 0.0677 | 2296 | 2255 | 41 | 4100 | 0.0041
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 195852 | 193644 | 2208 | 220800 | 0.2208 | 19852 | 19830 | 22 | 2200 | 0.0022
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24537 | 24477 | 60 | 6000 | 0.006 | 51014 | 50872 | 142 | 14200 | 0.0142
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 462 | 462 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995610 | 995610 | 0 | 0 | 0 | 69 | 67 | 2 | -800 | -0.0008
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 9 | 3 | 6 | 2400 | 0.0024
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972849 | 972919 | -70 | -56000 | -0.056 | 996608 | 996609 | -1 | -800 | -0.0008
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2073 | 2076 | -3 | -6000 | -0.006 | 1097 | 1098 | -1 | -2000 | -0.002
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999739 | 0 | 0 | 0 | 999865 | 999872 | -7 | -700 | -0.0007
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.9609 |  |  |  |  | 1.9766
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 3549 | 2495 | 1054 | -105400 | -0.1054 | 5585 | 569 | 5016 | -501600 | -0.5016
[5 empty] | -100 | 2495 | 2256 | 239 | -23900 | -0.0239 | 569 | 344 | 225 | -22500 | -0.0225 | Assessment for last month
MANGOLPURI
2 | NANGLOI-2 EXP | 4864959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14929 | 14933 | -4 | 4000 | 0.004 | 7132 | 7098 | 34 | -34000 | -0.034 | Check Meter Data
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 12272 | 11920 | 352 | -70400 | -0.0704 | 20956 | 21017 | -61 | 12200 | 0.0122
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86185 | 86111 | 74 | -74000 | -0.074 | 123262 | 123227 | 35 | -35000 | -0.035
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19335 | 19667 | -332 | 33200 | 0.0332 | 143180 | 143333 | -153 | 15300 | 0.0153 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | -1000 | -0.001
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 996201 | 997468 | -1267 | 1013600 | 1.0136 | 999999 | 999999 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.7771 |  |  |  |  | -0.5666
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.9609 |  |  |  |  | 1.9766
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.7771 |  |  |  |  | -0.5666
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.5726 |  |  |  |  | 0.065975
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.6112 |  |  |  |  | 1.476
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.6112 | (REACTIVE MUs) |  |  |  | 1.476 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.62437 | (REACTIVE MUs) |  |  |  | -2.1716 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.9868 | (REACTIVE MUs) |  |  |  | -0.69555 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 15607 | 16670 | -1063 | -106300 | -0.1063 | 2147 | 2108 | 39 | 3900 | 0.0039
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8164 | 7644 | 520 | 156000 | 0.156 | 1502 | 1436 | 66 | 19800 | 0.0198
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 17898 | 5209 | 12689 | 951675 | 0.95168 | 9777 | 6640 | 3137 | 235275 | 0.23528
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999794 | 1000070 | -276 | -82800 | -0.0828 | 5271 | 5276 | -5 | -1500 | -0.0015
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1761 | 1671 | 90 | 119997 | 0.12 | 2678 | 2689 | -11 | -14666.3 | -0.014666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35885 | 34322 | 1563 | 156300 | 0.1563 | 171767 | 171620 | 147 | 14700 | 0.0147
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 994387 | 994363 | 24 | 1800 | 0.0018 | 1190 | 238 | 952 | 71400 | 0.0714
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989317 | 989280 | 37 | 37000 | 0.037 | 1888 | 1864 | 24 | 24000 | 0.024
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997548 | 997563 | -15 | -15000 | -0.015 | 3367 | 3338 | 29 | 29000 | 0.029
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 44 | 194 | -150 | -150000 | -0.15 | 771 | 786 | -15 | -15000 | -0.015
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996959 | 997174 | -215 | -215000 | -0.215 | 1691 | 1704 | -13 | -13000 | -0.013
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994931 | 994998 | -67 | -67000 | -0.067 | 5249 | 5240 | 9 | 9000 | 0.009
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998328 | 998380 | -52 | -52000 | -0.052 | 999138 | 999148 | -10 | -10000 | -0.01
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999293 | 999329 | -36 | -36000 | -0.036 | 17363 | 17385 | -22 | -22000 | -0.022
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999814 | 999919 | -105 | -84000 | -0.084 | 1249 | 1255 | -6 | -4800 | -0.0048
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999736 | 999728 | 8 | 8000 | 0.008 | 29610 | 29482 | 128 | 128000 | 0.128
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1252 | 1312 | -60 | -60000 | -0.06 | 9721 | 9673 | 48 | 48000 | 0.048
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12086 | 12046 | 40 | 4000 | 0.004 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998643 | 998169 | 474 | 474000 | 0.474 | 15632 | 15630 | 2 | 2000 | 0.002
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 960015 | 962502 | -2487 | -3419625 | -3.4196
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 661206 | 665241 | -4035 | -4438500 | -4.4385
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980324 | 980562 | -238 | -238000 | -0.238 | 7821 | 7852 | -31 | -31000 | -0.031
| KASHMIRI GATE | [8 empty] | -0.394 |  |  |  |  | -7.7139
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949978 | 950099 | -121 | 121000 | 0.121 | 941599 | 941793 | -194 | 194000 | 0.194
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961647 | 961641 | 6 | -6000 | -0.006 | 954786 | 954802 | -16 | 16000 | 0.016
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 462 | 462 | 0 | 0 | 0
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 1244 | 238 | 1006 | 1006000 | 1.006 | w.e.f 23/09/16
PARK STREET
27 | TX.-1 (66KV) | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4821 | 419 | 4402 | -4402000 | -4.402 | 997404 | 997469 | -65 | 65000 | 0.065
28 | TX.-2(66KV) | 4865155 | ELSTER | Kvarh(Lead/Lag) | -2500 | 5357 | 5155 | 202 | -505000 | -0.505 | 118 | 136 | -18 | 45000 | 0.045 | Check Meter Data
|  | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 0 | 592 | -592000 | -0.592 | 999996 | 1000000 | -4 | 4000 | 0.004 | w.e.f 26/10/16
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994116 | 994305 | -189 | 189000 | 0.189 | 993744 | 993750 | -6 | 6000 | 0.006
30 | TX.-2(33KV) | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999510 | 999677 | -167 | 167000 | 0.167 | 30 | 30 | 0 | 0 | 0
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6664 | 6115 | 549 | -1098000 | -1.098 | 999043 | 999051 | -8 | 16000 | 0.016
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1650 | 53 | 1597 | -1597000 | -1.597 | 999998 | 999999 | -1 | 1000 | 0.001 | w.e.f 06/09/16
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999740 | 997561 | 2179 | -2179000 | -2.179 | 999855 | 999855 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 12272 | 11920 | 352 | 70400 | 0.0704 | 20956 | 21017 | -61 | -12200 | -0.0122
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86185 | 86111 | 74 | 74000 | 0.074 | 123262 | 123227 | 35 | 35000 | 0.035
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 999628 | 999998 | -370 | -37000 | -0.037 | 1001155 | 999769 | 1386 | 138600 | 0.1386
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151736 | 151772 | -36 | -3600 | -0.0036 | 52048 | 49547 | 2501 | 250100 | 0.2501
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -8.9955 |  |  |  |  | -5.6205
| (A) NET ENERGY TO CENTRAL | [8 empty] | -8.9955 |  |  |  |  | -5.6205
OCTOBER-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981173 | 981307 | -134 | 134000 | 0.134 | 883123 | 883401 | -278 | 278000 | 0.278
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999966 | 1000001 | -35 | 35000 | 0.035 | 974060 | 974335 | -275 | 275000 | 0.275
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979910 | 980132 | -222 | 222000 | 0.222 | 949023 | 949263 | -240 | 240000 | 0.24
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995985 | 996306 | -321 | 642000 | 0.642 | 975410 | 975911 | -501 | 1002000 | 1.002
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997287 | 997003 | 284 | -284000 | -0.284 | 634 | 519 | 115 | -115000 | -0.115
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993962 | 993746 | 216 | -216000 | -0.216 | 999971 | 999880 | 91 | -91000 | -0.091
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8222 | 8422 | -200 | 200000 | 0.2 | 983384 | 983386 | -2 | 2000 | 0.002
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996417 | 997270 | -853 | 853000 | 0.853 | 979033 | 979033 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991034 | 991878 | -844 | 844000 | 0.844 | 996316 | 996323 | -7 | 7000 | 0.007
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980922 | 980608 | 314 | -314000 | -0.314 | 968542 | 968799 | -257 | 257000 | 0.257
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959669 | 959546 | 123 | -123000 | -0.123 | 833466 | 833744 | -278 | 278000 | 0.278
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15199 | 15173 | 26 | -26000 | -0.026 | 33776 | 33797 | -21 | 21000 | 0.021
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 707 | 396 | 311 | -311000 | -0.311 | 999772 | 999812 | -40 | 40000 | 0.04
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972233 | 973362 | -1129 | 1129000 | 1.129 | 920017 | 920017 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 2.785 |  |  |  |  | 2.194
| (B) NET ENERGY TO EAST | [8 empty] | 2.785 |  |  |  |  | 2.194
OCTOBER-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -1000 | 698 | 419 | 279 | -279000 | -0.279 | 99053 | 99075 | -22 | 22000 | 0.022
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5502 | 5450 | 52 | -26000 | -0.026 | 2305 | 2373 | -68 | 34000 | 0.034
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54692 | 54440 | 252 | -50400 | -0.0504 | 85479 | 85384 | 95 | -19000 | -0.019
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72269 | 72434 | -165 | 16500 | 0.0165 | 139310 | 139330 | -20 | 2000 | 0.002
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976547 | 976826 | -279 | 55800 | 0.0558 | 996542 | 996655 | -113 | 22600 | 0.0226
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 1142 | 26 | 1116 | -223200 | -0.2232 | 729 | 421 | 308 | -61600 | -0.0616
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14952 | 14764 | 188 | -150400 | -0.1504 | 10513 | 10343 | 170 | -136000 | -0.136
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14268 | 14200 | 68 | -136000 | -0.136 | 3801 | 3761 | 40 | -80000 | -0.08
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977396 | 977666 | -270 | 216000 | 0.216 | 988212 | 988298 | -86 | 68800 | 0.0688
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 996434 | 997594 | -1160 | 928000 | 0.928 | 993858 | 994237 | -379 | 303200 | 0.3032
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 997456 | 998071 | -615 | 492000 | 0.492 | 997716 | 997911 | -195 | 156000 | 0.156
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 983792 | 984175 | -383 | 306400 | 0.3064 | 994073 | 994161 | -88 | 70400 | 0.0704
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983196 | 983742 | -546 | 546000 | 0.546 | 34260 | 34431 | -171 | 171000 | 0.171
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2073 | 2074 | -1 | 1000 | 0.001 | 27126 | 26913 | 213 | -213000 | -0.213
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 290 | 40 | 250 | -25000 | -0.025 | 26050 | 24079 | 1971 | -197100 | -0.1971
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5652 | 5654 | -2 | 1000 | 0.001 | 34425 | 34422 | 3 | -1500 | -0.0015
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999993 | 999969 | 24 | -12000 | -0.012 | 544 | 542 | 2 | -1000 | -0.001
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 203 | 129 | 74 | -49333.58 | -0.049334 | 107 | 107 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2821 | 2677 | 144 | -96000 | -0.096 | 1331 | 1329 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 195852 | 193644 | 2208 | -220800 | -0.2208 | 19852 | 19830 | 22 | -2200 | -0.0022
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24537 | 24477 | 60 | -6000 | -0.006 | 51014 | 50872 | 142 | -14200 | -0.0142
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998366 | 998401 | -35 | 3500 | 0.0035 | 1116 | 953 | 163 | -16300 | -0.0163
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999755 | 999736 | 19 | -1900 | -0.0019 | 1000005 | 999921 | 84 | -8400 | -0.0084
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23956 | 23972 | -16 | 1600 | 0.0016 | 57841 | 57849 | -8 | 800 | 0.0008
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1983 | 1926 | 57 | -5700 | -0.0057 | 6401 | 6143 | 258 | -25800 | -0.0258
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 28256 | 28012 | 244 | -24400 | -0.0244 | 67790 | 67770 | 20 | -2000 | -0.002
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7089 | 6412 | 677 | -67700 | -0.0677 | 2296 | 2255 | 41 | -4100 | -0.0041
[10 empty] | 1.194 |  |  |  |  | 0.067267
OCTOBER-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -8.9955 |  |  |  |  | -5.6205
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.194 |  |  |  |  | 0.067267
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.14483 |  |  |  |  | 0.01855
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -7.9464 |  |  |  |  | -5.5347
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 2.785 |  |  |  |  | 2.194
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -5.1614 |  |  |  |  | -3.3407
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.1614 | (REACTIVE MUs) |  |  |  | -3.3407 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.47556 | (REACTIVE MUs) |  |  |  | -1.654 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.6858 | (REACTIVE MUs) |  |  |  | -4.9947 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999660 | 999702 | -42 | -210000 | -0.21 | 999833 | 999835 | -2 | -10000 | -0.01
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985019 | 984931 | 88 | 117333.04 | 0.11733 | 673058 | 673058 | 0 | 0 | 0
3 | BAY-13 | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 290 | 40 | 250 | 25000 | 0.025 | 26050 | 24079 | 1971 | 197100 | 0.1971
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16980 | 16529 | 451 | 451000 | 0.451 | 408 | 384 | 24 | 24000 | 0.024
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 16335 | 14344 | 1991 | 199100 | 0.1991 | 4096 | 4057 | 39 | 3900 | 0.0039
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 730627 | 728860 | 1767 | 132525 | 0.13253 | 23423 | 23484 | -61 | -4575 | -0.004575
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 985439 | 986253 | -814 | -61050 | -0.06105 | 997421 | 997318 | 103 | 7725 | 0.007725
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997710 | 998168 | -458 | -412200 | -0.4122 | 998438 | 998491 | -53 | -47700 | -0.0477
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 3422 | 2862 | 560 | -280000 | -0.28 | 988853 | 988860 | -7 | 3500 | 0.0035
11 | Tx.2 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990124 | 990051 | 73 | -73000 | -0.073 | 945752 | 945752 | 0 | 0 | 0 | Check Meter Data
|  | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999840 | 1000000 | -160 | 160000 | 0.16 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/10/16
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1549 | 1928 | -379 | 379000 | 0.379 | 999899 | 999923 | -24 | 24000 | 0.024
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998291 | 998407 | -116 | 116000 | 0.116 | 968074 | 968022 | 52 | -52000 | -0.052
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981863 | 981807 | 56 | -56000 | -0.056 | 967119 | 967122 | -3 | 3000 | 0.003
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45624 | 44186 | 1438 | -1438000 | -1.438 | 13308 | 13297 | 11 | -11000 | -0.011
[5 empty] | -100 | 42094 | 41189 | 905 | -90500 | -0.0905
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36300 | 36366 | -66 | 66000 | 0.066 | 984850 | 984895 | -45 | 45000 | 0.045
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998304 | 998909 | -605 | 605000 | 0.605 | 954095 | 954117 | -22 | 22000 | 0.022
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 10 | 759 | -749 | 374500 | 0.3745 | 991822 | 991832 | -10 | 5000 | 0.005
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998767 | 998629 | 138 | -138000 | -0.138 | 994937 | 994925 | 12 | -12000 | -0.012
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19412 | 20004 | -592 | 592000 | 0.592 | 997368 | 997388 | -20 | 20000 | 0.02
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14683 | 14564 | 119 | -119000 | -0.119 | 999135 | 999127 | 8 | -8000 | -0.008
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864959 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14929 | 14933 | -4 | -4000 | -0.004 | 7132 | 7098 | 34 | 34000 | 0.034 | Check Meter Data
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982722 | 984344 | -1622 | 1622000 | 1.622 | 986217 | 986326 | -109 | 109000 | 0.109
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992130 | 992983 | -853 | 853000 | 0.853 | 986112 | 986177 | -65 | 65000 | 0.065
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994779 | 995501 | -722 | 722000 | 0.722 | 991587 | 991602 | -15 | 15000 | 0.015
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989536 | 990769 | -1233 | 1233000 | 1.233 | 932657 | 932701 | -44 | 44000 | 0.044
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 1000479 | -481 | 481000 | 0.481 | 34429 | 34451 | -22 | 22000 | 0.022
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997943 | 998651 | -708 | 708000 | 0.708 | 996852 | 996859 | -7 | 7000 | 0.007
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995807 | 996159 | -352 | 352000 | 0.352 | 862125 | 862183 | -58 | 58000 | 0.058
BRPL(+) continue | [14 empty] | OCTOBER-2016
VASANT KUNJ
31 | Tx.1 | 4865013 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996496 | 999664 | -3168 | 3168000 | 3.168 | 981382 | 981381 | 1 | -1000 | -0.001 | Check Meter Data
|  | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999660 | 1000000 | -340 | 340000 | 0.34 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/10/16
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 998715 | 999885 | -1170 | 585000 | 0.585 | 998139 | 998139 | 0 | 0 | 0
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8960 | 8051 | 909 | -1818000 | -1.818 | 969503 | 969504 | -1 | 2000 | 0.002
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993668 | 994003 | -335 | 335000 | 0.335 | 900327 | 900415 | -88 | 88000 | 0.088
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994405 | 994489 | -84 | 84000 | 0.084 | 927475 | 927478 | -3 | 3000 | 0.003
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997538 | 997890 | -352 | 352000 | 0.352 | 985487 | 985568 | -81 | 81000 | 0.081
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999265 | 999926 | -661 | 661000 | 0.661 | 6140 | 6354 | -214 | 214000 | 0.214
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969575 | 969890 | -315 | 209999.79 | 0.21 | 967292 | 967322 | -30 | 19999.98 | 0.02
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 991696 | 992033 | -337 | 842500 | 0.8425 | 999814 | 999831 | -17 | 42500 | 0.0425
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4866 | 4749 | 117 | -234000 | -0.234 | 1923 | 1924 | -1 | 2000 | 0.002
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1797 | 1664 | 133 | -266000 | -0.266 | 974 | 975 | -1 | 2000 | 0.002
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920148 | 921147 | -999 | 999000 | 0.999 | 983904 | 983924 | -20 | 20000 | 0.02
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928805 | 929387 | -582 | 582000 | 0.582 | 987336 | 987398 | -62 | 62000 | 0.062
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30581 | 30613 | -32 | -25600 | -0.0256 | 6349 | 6348 | 1 | 800 | 0.0008
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905624 | 905811 | -187 | -149600 | -0.1496 | 997110 | 997121 | -11 | -8800 | -0.0088
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999899 | 999891 | 8 | 6400 | 0.0064 | 999790 | 999789 | 1 | 800 | 0.0008
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999941 | 999945 | -4 | -4000 | -0.004 | 617 | 615 | 2 | 2000 | 0.002
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983196 | 983742 | -546 | -546000 | -0.546 | 34260 | 34431 | -171 | -171000 | -0.171
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3145 | 627 | 2518 | -2518000 | -2.518 | 999976 | 999979 | -3 | 3000 | 0.003
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2259 | 2721 | -462 | 462000 | 0.462 | 999236 | 999240 | -4 | 4000 | 0.004
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21109 | 20703 | 406 | -406000 | -0.406 | 999917 | 999924 | -7 | 7000 | 0.007
[5 empty] | -1000 | 16021 | 15048 | 973 | -973000 | -0.973
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 3549 | 2495 | 1054 | 105400 | 0.1054 | 5585 | 569 | 5016 | 501600 | 0.5016
[5 empty] | 100 | 2495 | 2256 | 239 | 23900 | 0.0239 | 569 | 344 | 225 | 22500 | 0.0225 | Assessment for last month
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19335 | 19667 | -332 | -33200 | -0.0332 | 143180 | 143333 | -153 | -15300 | -0.0153 | Check Meter Data
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 999773 | 999622 | 151 | 60400 | 0.0604 | 402 | 403 | -1 | -400 | -0.0004
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 1168 | 528 | 640 | 256000 | 0.256 | 577 | 578 | -1 | -400 | -0.0004
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1000 | 0.001
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 996201 | 997468 | -1267 | -1013600 | -1.0136 | 999999 | 999999 | 0 | 0 | 0
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 119633 | 105902 | 13731 | 1373100 | 1.3731 | 259 | 251 | 8 | 800 | 0.0008
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 609 | 304 | 305 | 30500 | 0.0305 | 160 | 149 | 11 | 1100 | 0.0011
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 4363 | 4000 | 363 | 27225 | 0.027225 | 11805 | 11616 | 189 | 14175 | 0.014175
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1531 | 1321 | 210 | 21000 | 0.021 | 4218 | 4095 | 123 | 12300 | 0.0123
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000082 | 999953 | 129 | 129000 | 0.129 | 2633 | 2622 | 11 | 11000 | 0.011
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 3592 | 3586 | 6 | 6000 | 0.006
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998333 | 998409 | -76 | -76000 | -0.076 | 1232 | 1211 | 21 | 21000 | 0.021
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1246 | 0 | 0 | 0 | 6126 | 6110 | 16 | 16000 | 0.016
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998883 | 0 | 0 | 0 | 42320 | 42177 | 143 | 14300 | 0.0143
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 518 | 520 | -2 | -2000 | -0.002 | 4886 | 4797 | 89 | 89000 | 0.089
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 8.8951 |  |  |  |  | 1.6319
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 159177 | 157413 | 1764 | -176400 | -0.1764 | 912835 | 912835 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 999628 | 999998 | -370 | 37000 | 0.037 | 1001155 | 999769 | 1386 | -138600 | -0.1386
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151736 | 151772 | -36 | 3600 | 0.0036 | 52048 | 49547 | 2501 | -250100 | -0.2501
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 838 | 839 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6373 | 6329 | 44 | -88000 | -0.088 | 74966 | 74941 | 25 | -50000 | -0.05
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14866 | 14789 | 77 | -77000 | -0.077 | 741 | 694 | 47 | -47000 | -0.047
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906656 | 906634 | 22 | -11000 | -0.011 | 61324 | 61066 | 258 | -129000 | -0.129
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79612 | 79612 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 89229 | 88164 | 1065 | -106500 | -0.1065 | 71213 | 71160 | 53 | -5300 | -0.0053
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 20645 | 18803 | 1842 | -184200 | -0.1842 | 21831 | 21774 | 57 | -5700 | -0.0057
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999369 | 999377 | -8 | -4000 | -0.004 | 17069 | 17069 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999599 | -19 | -15833.27 | -0.015833
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 371540 | 369058 | 2482 | -248200 | -0.2482 | 49059 | 49058 | 1 | -100 | -0.0001
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4927 | 4561 | 366 | -36600 | -0.0366 | 26584 | 26424 | 160 | -16000 | -0.016
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998115 | 999029 | -914 | 380827.24 | 0.38083 | 255 | 296 | -41 | 17083.06 | 0.017083
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9135 | 9137 | -2 | 200 | 0.0002 | 37478 | 37478 | 0 | 0 | 0
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12240 | 11988 | 252 | -25200 | -0.0252 | 72152 | 71300 | 852 | -85200 | -0.0852
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 724 | 724 | 0 | 0 | 0 | 12346 | 12160 | 186 | -18600 | -0.0186
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 13681 | 13147 | 534 | -53400 | -0.0534 | 11825 | 11384 | 441 | -44100 | -0.0441
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999949 | 999999 | -50 | 5000 | 0.005 | 4165 | 3076 | 1089 | -108900 | -0.1089
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989745 | 989990 | -245 | 10887.8 | 0.010888 | 390 | 234 | 156 | -6932.64 | -0.0069326
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995610 | 995610 | 0 | 0 | 0 | 69 | 67 | 2 | 800 | 0.0008
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 9 | 3 | 6 | -2400 | -0.0024
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.57298 |  |  |  |  | -0.90578
OCTOBER-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 8.8951 |  |  |  |  | 1.6319
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.57298 |  |  |  |  | -0.90578
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.70376 |  |  |  |  | -0.24633
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2016 |  |  |  |  | -0.0323
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 8.8243 |  |  |  |  | 0.44751
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 8.8243 | (REACTIVE MUs) |  |  |  | 0.44751 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.8185 | (REACTIVE MUs) |  |  |  | -2.8467 | (REACTIVE MUs)
[9 empty] | TOTAL | 9.6428 | (REACTIVE MUs) |  |  |  | -2.3992 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54692 | 54440 | 252 | 50400 | 0.0504 | 85479 | 85384 | 95 | 19000 | 0.019
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72269 | 72434 | -165 | -16500 | -0.0165 | 139310 | 139330 | -20 | -2000 | -0.002
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976547 | 976826 | -279 | -55800 | -0.0558 | 996542 | 996655 | -113 | -22600 | -0.0226
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 1142 | 26 | 1116 | 223200 | 0.2232 | 729 | 421 | 308 | 61600 | 0.0616
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14952 | 14764 | 188 | 150400 | 0.1504 | 10513 | 10343 | 170 | 136000 | 0.136
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14268 | 14200 | 68 | 136000 | 0.136 | 3801 | 3761 | 40 | 80000 | 0.08
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977396 | 977666 | -270 | -216000 | -0.216 | 988212 | 988298 | -86 | -68800 | -0.0688
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 996434 | 997594 | -1160 | -928000 | -0.928 | 993858 | 994237 | -379 | -303200 | -0.3032
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 997456 | 998071 | -615 | -492000 | -0.492 | 997716 | 997911 | -195 | -156000 | -0.156
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 983792 | 984175 | -383 | -306400 | -0.3064 | 994073 | 994161 | -88 | -70400 | -0.0704
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 4616 | 5625 | -1009 | -100900 | -0.1009 | 406295 | 406241 | 54 | 5400 | 0.0054
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 995794 | 996763 | -969 | -72675 | -0.072675 | 6010 | 5904 | 106 | 7950 | 0.00795
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 29013 | 28849 | 164 | 16400 | 0.0164 | 383330 | 383136 | 194 | 19400 | 0.0194
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998640 | 998266 | 374 | 140250 | 0.14025 | 999957 | 999844 | 113 | 42375 | 0.042375
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 990547 | 990728 | -181 | -18100 | -0.0181 | 318489 | 318190 | 299 | 29900 | 0.0299
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 3608 | 4416 | -808 | -80800 | -0.0808 | 200167 | 200247 | -80 | -8000 | -0.008
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3706 | 4763 | -1057 | -105700 | -0.1057 | 257987 | 258021 | -34 | -3400 | -0.0034
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 78770 | 74203 | 4567 | 456700 | 0.4567 | 715891 | 715612 | 279 | 27900 | 0.0279
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 104774 | 103930 | 844 | 928400 | 0.9284
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999845 | 999972 | -127 | -127000 | -0.127 | 44269 | 44186 | 83 | 83000 | 0.083
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 145641 | 146080 | -439 | -482900 | -0.4829
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3024 | 2913 | 111 | 111000 | 0.111 | 58516 | 58384 | 132 | 132000 | 0.132
[10 empty] | -0.016 |  |  |  |  | 0.6605
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6373 | 6329 | 44 | 88000 | 0.088 | 74966 | 74941 | 25 | 50000 | 0.05
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14866 | 14789 | 77 | 77000 | 0.077 | 741 | 694 | 47 | 47000 | 0.047
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906656 | 906634 | 22 | 11000 | 0.011 | 61324 | 61066 | 258 | 129000 | 0.129
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999369 | 999377 | -8 | 4000 | 0.004 | 17069 | 17069 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999599 | -19 | -15833.27 | -0.015833
OCTOBER-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948271 | 949800 | -1529 | 1529000 | 1.529 | 971331 | 971357 | -26 | 26000 | 0.026
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984113 | 985602 | -1489 | 1489000 | 1.489 | 995308 | 995335 | -27 | 27000 | 0.027
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962719 | 963560 | -841 | 841000 | 0.841 | 978688 | 978707 | -19 | 19000 | 0.019
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977545 | 978418 | -873 | 873000 | 0.873 | 990447 | 990466 | -19 | 19000 | 0.019
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 371540 | 369058 | 2482 | 248200 | 0.2482 | 49059 | 49058 | 1 | 100 | 0.0001
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4927 | 4561 | 366 | 36600 | 0.0366 | 26584 | 26424 | 160 | 16000 | 0.016
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79612 | 79612 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 89229 | 88164 | 1065 | 106500 | 0.1065 | 71213 | 71160 | 53 | 5300 | 0.0053
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 20645 | 18803 | 1842 | 184200 | 0.1842 | 21831 | 21774 | 57 | 5700 | 0.0057
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 159177 | 157413 | 1764 | 176400 | 0.1764 | 912835 | 912835 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 119633 | 105902 | 13731 | -1373100 | -1.3731 | 259 | 251 | 8 | -800 | -0.0008
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 609 | 304 | 305 | -30500 | -0.0305 | 160 | 149 | 11 | -1100 | -0.0011
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 4363 | 4000 | 363 | -27225 | -0.027225 | 11805 | 11616 | 189 | -14175 | -0.014175
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1531 | 1321 | 210 | -21000 | -0.021 | 4218 | 4095 | 123 | -12300 | -0.0123
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.3802 |  |  |  |  | 0.75742
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.3802 |  |  |  |  | 0.75742
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.091541 |  |  |  |  | -0.31838
| TOTAL ENERGY TO NDMC | [8 empty] | 4.4717 |  |  |  |  | 0.43904

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 3752 | 1601 | 2151 | 430200 | 0.4302 | w.e.f 14/09/2016
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 38637 | 38009 | 628 | 628000 | 0.628
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 47437 | 46649 | 788 | 788000 | 0.788
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 38607 | 38907 | -300 | -39999.9 | -0.04
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5873 | 5698 | 175 | 175000 | 0.175 | 11445 | 11438 | 7 | 7000 | 0.007
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12564 | 12639 | -75 | -37500 | -0.0375 | 61601 | 61661 | -60 | -30000 | -0.03
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 838 | 839 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1375 |  |  |  |  | 1.7831
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56159 | 55953 | 206 | 20600 | 0.0206 | 87687 | 87539 | 148 | 14800 | 0.0148
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77529 | 77371 | 158 | 15800 | 0.0158 | 14916 | 14890 | 26 | 2600 | 0.0026
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 58002 | 56350 | 1652 | 165200 | 0.1652 | 98941 | 98792 | 149 | 14900 | 0.0149
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10083 | 9882 | 201 | 20100 | 0.0201 | 3212 | 3210 | 2 | 200 | 0.0002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2016 |  |  |  |  | 0.0323
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2016 |  |  |  |  | 0.0323
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1375 |  |  |  |  | 1.7831
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3391 |  |  |  |  | 1.8154
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3391 | (REACTIVE MUs) |  |  |  | 1.8154 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.014014 | (REACTIVE MUs) |  |  |  | -0.048741 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.35311 | (REACTIVE MUs) |  |  |  | 1.7667 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 2553 | 3902 | -1349 | -134900 | -0.1349 | 2192 | 2117 | 75 | 7500 | 0.0075
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 27880 | 24470 | 3410 | 341000 | 0.341 | 2863 | 2566 | 297 | 29700 | 0.0297
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 4154 | 3359 | 795 | 397500 | 0.3975 | 1396 | 1380 | 16 | 8000 | 0.008
4 | O/G MADI PUR | 4864879 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 36481 | 36546 | -65 | -6093.75 | -0.0060938 | 19052 | 19055 | -3 | -281.25 | -0.00028125 | Check Meter Data
|  | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 24 | 0 | 24 | 22500 | 0.0225 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/10/16
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 999970 | 999973 | -3 | -750 | -0.00075 | 990997 | 992164 | -1167 | -291750 | -0.29175
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983808 | 983977 | -169 | 84500 | 0.0845 | 976561 | 976562 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999964 | 999964 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.70376 |  |  |  |  | -0.24633
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 993521 | 994472 | -951 | -190200 | -0.1902 | 999738 | 999739 | -1 | -200 | -0.0002
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 923880 | 923759 | 121 | 45375 | 0.045375 | 997279 | 997229 | 50 | 18750 | 0.01875
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.14483 |  |  |  |  | 0.01855
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 283134 | 281548 | 1586 | 317200 | 0.3172 | 267744 | 267392 | 352 | 70400 | 0.0704
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 156530 | 152452 | 4078 | 407800 | 0.4078 | 998984 | 999001 | -17 | -1700 | -0.0017
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 45812 | 31481 | 14331 | 895687.5 | 0.89569 | 986827 | 986873 | -46 | -2875 | -0.002875
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 140 | 45 | 95 | 76000 | 0.076 | 343 | 276 | 67 | 53600 | 0.0536
[10 empty] | -0.0054 |  |  |  |  | -0.0276 | Assessment last month
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 995764 | 996501 | -737 | -73700 | -0.0737 | 999638 | 999677 | -39 | -3900 | -0.0039
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999090 | 999090 | 0 | 0 | 0 | 994692 | 994805 | -113 | -16950 | -0.01695
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999313 | 999295 | 18 | -45000 | -0.045 | 3073 | 3071 | 2 | -5000 | -0.005
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999964 | 999964 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.5726 |  |  |  |  | 0.065975
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.70376 |  |  |  |  | -0.24633
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.14483 |  |  |  |  | 0.01855
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.5726 |  |  |  |  | 0.065975

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 27622 | 27090 | 532 | 1064000 | 1.064 | 1806 | 1804 | 2 | 4000 | 0.004
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2639 | 2365 | 274 | 1370000 | 1.37 | 157 | 155 | 2 | 10000 | 0.01
[7 empty] | NET REACTIVE ENERGY |  |  | 2.434 |  | NET REACTIVE ENERGY |  |  | 0.014
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.434 |  |  |  |  | 0.014
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.394 |  |  |  |  | -7.7139
[7 empty] | NDMC = |  |  | -0.016 |  |  |  |  | 0.6605
MES =
[7 empty] | 2)TOTAL |  |  | -0.41 |  |  |  |  | -7.0534
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.024 |  |  |  |  | -7.0394
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.8485 | % |  |  | 0.62437 |  |  |  |  | -2.1716
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.4397 | % |  |  | 0.8185 |  |  |  |  | -2.8467
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4962 | % |  |  | 0.47556 |  |  |  |  | -1.654
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.5228 | % |  |  | 0.091541 |  |  |  |  | -0.31838
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6924 | % |  |  | 0.014014 |  |  |  |  | -0.048741
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2016 TO 1st NOVEMBER-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -4.9868 |  | -0.69555
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 9.6428 |  | -2.3992
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -4.6858 |  | -4.9947
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.4717 | + | 0.43904
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.35311 | + | 1.7667
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2016 | INTIAL READING 01/10/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954884 | 954884 | 0 | 0 | 0 | 979114 | 979114 | 0 | 0 | 0
[10 empty] | 0.2215 |  |  |  |  | 0 | Assessment
|  | 5100238 | ELSTER | kvarh (lag) | 750 | 409 | 0 | 409 | 306750 | 0.30675 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992633 | 992344 | 289 | 433500 | 0.4335 | 991971 | 991972 | -1 | -1500 | -0.0015
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 887098 | 890589 | -3491 | -2618250 | -2.6183 | 999022 | 999148 | -126 | -94500 | -0.0945
[8 empty] | NET REACTIVE ENERGY |  | -1.6565 |  |  | NET REACTIVE ENERGY |  | -0.096
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 2000 | 999464 | 999464 | 0 | 0 | 0 | 9281 | 8910 | 371 | 742000 | 0.742
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 959474 | 961335 | -1861 | -1861000 | -1.861
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 972242 | 972934 | -692 | -692000 | -0.692 | 991870 | 991867 | 3 | 3000 | 0.003
[8 empty] | NET REACTIVE ENERGY |  | -0.692 |  |  | NET REACTIVE ENERGY |  | -1.116