## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990562 | 990540 | 22 | -22000 | -0.022 | 995966 | 996132 | -166 | 166000 | 0.166
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994141 | 994141 | 0 | 0 | 0 | 996317 | 996606 | -289 | 289000 | 0.289
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4592 | 4527 | 65 | -65000 | -0.065 | 996181 | 996183 | -2 | 2000 | 0.002
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974290 | 974290 | 0 | 0 | 0 | 972144 | 973176 | -1032 | 1032000 | 1.032
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917253 | 917253 | 0 | 0 | 0 | 934141 | 935472 | -1331 | 1331000 | 1.331
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22972 | 22966 | 6 | -6000 | -0.006 | 17974 | 17908 | 66 | -66000 | -0.066
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12397 | 12393 | 4 | -4000 | -0.004 | 11675 | 11935 | -260 | 260000 | 0.26
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14241 | 14241 | 0 | 0 | 0 | 994588 | 994666 | -78 | 97500 | 0.0975
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6506 | 6504 | 2 | -2000 | -0.002 | 983911 | 983977 | -66 | 66000 | 0.066
SHALIMAR BAGH
10 | Tx.-1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31195 | 31195 | 0 | 0 | 0 | 9032 | 9060 | -28 | 28000 | 0.028
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992049 | 992062 | -13 | 13000 | 0.013 | 3213 | 3290 | -77 | 77000 | 0.077
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991815 | 991817 | -2 | 2000 | 0.002 | 998019 | 998140 | -121 | 121000 | 0.121
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 898335 | 898923 | -588 | -588000 | -0.588 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987829 | 987808 | 21 | -21000 | -0.021 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998531 | 998488 | 43 | -43000 | -0.043 | 20152 | 19654 | 498 | -498000 | -0.498
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2148 | 2110 | 38 | -38000 | -0.038 | 999980 | 999979 | 1 | -1000 | -0.001
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999926 | 0 | 0 | 0 | 988128 | 990923 | -2795 | -559000 | -0.559
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 661 | 0 | 0 | 0 | 29651 | 29768 | -117 | -117000 | -0.117
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4386 | 4386 | 0 | 0 | 0 | 161077 | 160030 | 1047 | 104700 | 0.1047
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 15713 | 15713 | 0 | 0 | 0 | 238997 | 237521 | 1476 | 147600 | 0.1476
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996347 | 996347 | 0 | 0 | 0 | 3765 | 3860 | -95 | -95000 | -0.095
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 321 | 321 | 0 | 0 | 0 | 8442 | 8355 | 87 | 87000 | 0.087
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640005 | 640005 | 0 | 0 | 0 | 797675 | 797826 | -151 | -151000 | -0.151
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648467 | 648467 | 0 | 0 | 0 | 830711 | 830890 | -179 | -179000 | -0.179
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1947 | 1947 | 0 | 0 | 0 | 999733 | 1000055 | -322 | -128800 | -0.1288
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2596 | 2596 | 0 | 0 | 0 | 4283 | 3958 | 325 | 162500 | 0.1625
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15607 | 15571 | 36 | -36000 | -0.036 | 981109 | 981140 | -31 | 31000 | 0.031
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6026 | 5964 | 62 | -62000 | -0.062 | 999481 | 999516 | -35 | 35000 | 0.035
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997031 | 996976 | 55 | -55000 | -0.055 | 924249 | 924319 | -70 | 70000 | 0.07
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3441 | 3441 | 0 | 0 | 0 | 999361 | 999453 | -92 | 92000 | 0.092
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56953 | 56953 | 0 | 0 | 0 | 2504 | 2218 | 286 | -286000 | -0.286
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 199 | 289 | -90 | 90000 | 0.09 | 998731 | 998736 | -5 | 5000 | 0.005
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2438 | 2438 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999975 | 1000006 | -31 | 31000 | 0.031 | 999993 | 999999 | -6 | 6000 | 0.006
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999976 | 999998 | -22 | 22000 | 0.022 | 999995 | 1000001 | -6 | 6000 | 0.006
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1764 | 1764 | 0 | 0 | 0 | 22824 | 22295 | 529 | 529000 | 0.529
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 212 | 212 | 0 | 0 | 0 | 2550 | 2376 | 174 | 174000 | 0.174
| NDPL(+) continue | [14 empty] | AUGUST-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1277 | 1278 | -1 | -1000 | -0.001 | 61304 | 61198 | 106 | 106000 | 0.106
REWARI LINE
39 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 2207 | 2173 | 34 | 3400 | 0.0034 | 77830 | 78022 | -192 | -19200 | -0.0192
| 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 168402 | 168336 | 66 | 8250 | 0.00825 | 260399 | 260349 | 50 | 6250 | 0.00625 | w.e.f 06/08/2014
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9384 | 9412 | -28 | -2800 | -0.0028 | 28975 | 28965 | 10 | 1000 | 0.001
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11043 | 10928 | 115 | 11500 | 0.0115 | 56538 | 55609 | 929 | 92900 | 0.0929
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17219 | 17141 | 78 | 7800 | 0.0078 | 58961 | 58119 | 842 | 84200 | 0.0842
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 43026 | 43026 | 0 | 0 | 0 | 21223 | 21223 | 0 | 0 | 0
| MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 3801 | 3785 | 16 | 1600 | 0.0016 | 3223 | 2368 | 855 | 85500 | 0.0855 | w.e.f 02/08/2014
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17514 | 17503 | 11 | 1100 | 0.0011 | 18857 | 18617 | 240 | 24000 | 0.024
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998200 | 998207 | -7 | -311.08 | -0.00031108 | 312 | 287 | 25 | 1111 | 0.001111
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5629 | 5629 | 0 | 0 | 0 | 30768 | 30462 | 306 | 153000 | 0.153
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3786 | 3786 | 0 | 0 | 0 | 28675 | 28190 | 485 | 242500 | 0.2425
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6077 | 6063 | 14 | 7000 | 0.007 | 14885 | 14818 | 67 | 33500 | 0.0335
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1057 | 1048 | 9 | 6000 | 0.006 | 926 | 848 | 78 | 52000 | 0.052
D.M.S.
54 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993037 | 993037 | 0 | 0 | 0 | 5873 | 5873 | 0 | 0 | 0
| PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 999996 | 1000000 | -4 | -400 | -0.0004 | 19 | 0 | 19 | 1900 | 0.0019 | w.e.f 21/08/2014
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7787 | 7788 | -1 | -100 | -0.0001 | 15276 | 15293 | -17 | -1700 | -0.0017
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23542 | 23529 | 13 | 1300 | 0.0013 | 56878 | 56117 | 761 | 76100 | 0.0761
57 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998627 | 998627 | 0 | 0 | 0 | 69 | 88 | -19 | -1900 | -0.0019
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 173287 | 172081 | 1206 | 120600 | 0.1206 | 49581 | 49130 | 451 | 45100 | 0.0451
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 16478 | 16252 | 226 | 22600 | 0.0226 | 64442 | 64393 | 49 | 4900 | 0.0049
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3767 | 2729 | 1038 | 103800 | 0.1038 | 1559 | 1473 | 86 | 8600 | 0.0086
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 149431 | 149356 | 75 | 7500 | 0.0075 | 20611 | 21386 | -775 | -77500 | -0.0775
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21630 | 21595 | 35 | 3500 | 0.0035 | 44380 | 44049 | 331 | 33100 | 0.0331
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 7 | 16 | -4800 | -0.0048 | 382 | 302 | 80 | -24000 | -0.024
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 991906 | 992085 | -179 | -143200 | -0.1432 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 990145 | 989711 | 434 | 347200 | 0.3472 | 72 | 72 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.28346 |  |  |  |  | 3.7659
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 16955 | 16927 | 28 | -2800 | -0.0028 | 15759 | 15614 | 145 | -14500 | -0.0145
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10526 | 10527 | -1 | 1000 | 0.001 | 7579 | 7403 | 176 | -176000 | -0.176
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3903 | 3903 | 0 | 0 | 0 | 15097 | 14137 | 960 | -192000 | -0.192
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15809 | 15809 | 0 | 0 | 0 | 34821 | 34218 | 603 | -603000 | -0.603
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11021 | 11033 | -12 | 1200 | 0.0012 | 61484 | 61500 | -16 | 1600 | 0.0016
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943844 | 944062 | -218 | 218000 | 0.218 | 991947 | 992013 | -66 | 66000 | 0.066
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2174 |  |  |  |  | -0.9179
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.28346 |  |  |  |  | 3.7659
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2174 |  |  |  |  | -0.9179
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.10988 |  |  |  |  | -0.37097
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.043814 |  |  |  |  | 2.477
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.043814 | (REACTIVE MUs) |  |  |  | 2.477 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.30958 | (REACTIVE MUs) |  |  |  | -1.128 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.3534 | (REACTIVE MUs) |  |  |  | 1.349 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993194 | 993194 | 0 | 0 | 0 | 83059 | 81241 | 1818 | 181800 | 0.1818
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16821 | 16821 | 0 | 0 | 0 | 35845 | 40984 | -5139 | -513900 | -0.5139
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999999 | 999999 | 0 | 0 | 0 | 5493 | 5659 | -166 | -99600 | -0.0996
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2031 | 2031 | 0 | 0 | 0 | 2292 | 2292 | 0 | 0 | 0 | Metering not in order
[10 empty] | 0 |  |  |  |  | 0.0171 | Assessmaent
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10436 | 10436 | 0 | 0 | 0 | 160188 | 157734 | 2454 | 245400 | 0.2454
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 5393 | 5393 | 0 | 0 | 0 | 119176 | 116807 | 2369 | 236900 | 0.2369
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993615 | 993615 | 0 | 0 | 0 | 1038 | 1023 | 15 | 15000 | 0.015
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998708 | 998708 | 0 | 0 | 0 | 1876 | 1819 | 57 | 57000 | 0.057
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 699 | 699 | 0 | 0 | 0 | 1465 | 1385 | 80 | 80000 | 0.08
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998707 | 998707 | 0 | 0 | 0 | 2570 | 2618 | -48 | -48000 | -0.048
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999088 | 999091 | -3 | -3000 | -0.003 | 4431 | 4437 | -6 | -6000 | -0.006
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 248 | 248 | 0 | 0 | 0 | 1702 | 1583 | 119 | 119000 | 0.119
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999877 | 999877 | 0 | 0 | 0 | 16619 | 16636 | -17 | -17000 | -0.017
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1551 | 1551 | 0 | 0 | 0 | 37381 | 37396 | -15 | -15000 | -0.015
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 27185 | 26640 | 545 | 545000 | 0.545
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1471 | 1471 | 0 | 0 | 0 | 9228 | 9063 | 165 | 165000 | 0.165
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 6865 | 6860 | 5 | 500 | 0.0005 | 187 | 182 | 5 | 500 | 0.0005
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998580 | 998580 | 0 | 0 | 0 | 13834 | 13711 | 123 | 123000 | 0.123
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 726586 | 730094 | -3508 | -3858800 | -3.8588
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 766214 | 769651 | -3437 | -3780700 | -3.7807
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986563 | 986584 | -21 | -21000 | -0.021 | 9099 | 9112 | -13 | -13000 | -0.013
| KASHMIRI GATE | [8 empty] | -0.0235 |  |  |  |  | -6.634
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958251 | 958251 | 0 | 0 | 0 | 949767 | 952631 | -2864 | 2864000 | 2.864
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968863 | 968856 | 7 | -7000 | -0.007 | 955926 | 957247 | -1321 | 1321000 | 1.321
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 7 | 16 | 4800 | 0.0048 | 382 | 302 | 80 | 24000 | 0.024
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 140 | 140 | 0 | 0 | 0 | 5717 | 5267 | 450 | 450000 | 0.45
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44254 | 44254 | 0 | 0 | 0 | 973685 | 973470 | 215 | -215000 | -0.215
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23987 | 23987 | 0 | 0 | 0 | 969191 | 968426 | 765 | -765000 | -0.765
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995496 | 995475 | 21 | -21000 | -0.021 | 996463 | 996584 | -121 | 121000 | 0.121
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975611 | 975610 | 1 | -1000 | -0.001 | 992628 | 992345 | 283 | -283000 | -0.283
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 37 | 0 | 37 | 74000 | 0.074 | 999851 | 1000000 | -149 | -298000 | -0.298
IMPORTS
SUBZI MANDI
32 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3903 | 3903 | 0 | 0 | 0 | 15097 | 14137 | 960 | 192000 | 0.192
33 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15809 | 15809 | 0 | 0 | 0 | 34821 | 34218 | 603 | 603000 | 0.603
RIDGE VALLEY
34 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 105011 | 105567 | -556 | -55600 | -0.0556 | 1595 | 1602 | -7 | -700 | -0.0007
35 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 141939 | 133281 | 8658 | 865800 | 0.8658 | 4522 | 4298 | 224 | 22400 | 0.0224
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.8365 |  |  |  |  | -2.5306
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.8365 |  |  |  |  | -2.5306
AUGUST-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991462 | 991468 | -6 | 6000 | 0.006 | 908618 | 909910 | -1292 | 1292000 | 1.292
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12365 | 12366 | -1 | 1000 | 0.001 | 928118 | 929674 | -1556 | 1556000 | 1.556
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992565 | 992584 | -19 | 19000 | 0.019 | 973344 | 974442 | -1098 | 1098000 | 1.098
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 900654 | 901066 | -412 | 412000 | 0.412 | 990326 | 990386 | -60 | 60000 | 0.06
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 889094 | 889546 | -452 | 452000 | 0.452 | 988831 | 988879 | -48 | 48000 | 0.048
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4665 | 4665 | 0 | 0 | 0 | 988514 | 991361 | -2847 | 2847000 | 2.847
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999777 | 999777 | 0 | 0 | 0 | 978961 | 980749 | -1788 | 3576000 | 3.576
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999469 | 999469 | 0 | 0 | 0 | 951581 | 955879 | -4298 | 4298000 | 4.298
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999817 | 999895 | -78 | 78000 | 0.078 | 991722 | 994271 | -2549 | 2549000 | 2.549
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962268 | 962262 | 6 | -6000 | -0.006 | 863249 | 863776 | -527 | 527000 | 0.527
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21979 | 20997 | 982 | -982000 | -0.982 | 34933 | 34977 | -44 | 44000 | 0.044
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22469 | 22229 | 240 | -240000 | -0.24 | 45054 | 45144 | -90 | 90000 | 0.09
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.26 |  |  |  |  | 17.985
| (B) NET ENERGY TO EAST | [8 empty] | -0.26 |  |  |  |  | 17.985
AUGUST-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1947 | 1947 | 0 | 0 | 0 | 999733 | 1000055 | -322 | 128800 | 0.1288
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2596 | 2596 | 0 | 0 | 0 | 4283 | 3958 | 325 | -162500 | -0.1625
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 46112 | 46092 | 20 | -4000 | -0.004 | 76888 | 75501 | 1387 | -277400 | -0.2774
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73718 | 73722 | -4 | 400 | 0.0004 | 139538 | 139706 | -168 | 16800 | 0.0168
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980944 | 980948 | -4 | 800 | 0.0008 | 999652 | 1000431 | -779 | 155800 | 0.1558
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74506 | 74477 | 29 | -5800 | -0.0058 | 94009 | 91970 | 2039 | -407800 | -0.4078
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7317 | 7309 | 8 | -6400 | -0.0064 | 3450 | 3107 | 343 | -274400 | -0.2744
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13727 | 13727 | 0 | 0 | 0 | 2066 | 1733 | 333 | -666000 | -0.666
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983109 | 983109 | 0 | 0 | 0 | 991322 | 991783 | -461 | 368800 | 0.3688
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987571 | 987571 | 0 | 0 | 0 | 989549 | 991003 | -1454 | 1163200 | 1.1632
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993777 | 993777 | 0 | 0 | 0 | 995481 | 996358 | -877 | 701600 | 0.7016
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992427 | 992427 | 0 | 0 | 0 | 36949 | 37420 | -471 | 471000 | 0.471
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993103 | 993103 | 0 | 0 | 0 | 998707 | 998783 | -76 | 101333.08 | 0.10133
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1764 | 1764 | 0 | 0 | 0 | 22824 | 22295 | 529 | -529000 | -0.529
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 212 | 212 | 0 | 0 | 0 | 2550 | 2376 | 174 | -174000 | -0.174
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1277 | 1278 | -1 | 1000 | 0.001 | 61304 | 61198 | 106 | -106000 | -0.106
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5629 | 5629 | 0 | 0 | 0 | 30768 | 30462 | 306 | -153000 | -0.153
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3786 | 3786 | 0 | 0 | 0 | 28675 | 28190 | 485 | -242500 | -0.2425
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6077 | 6063 | 14 | -7000 | -0.007 | 14885 | 14818 | 67 | -33500 | -0.0335
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1057 | 1048 | 9 | -6000 | -0.006 | 926 | 848 | 78 | -52000 | -0.052
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 149431 | 149356 | 75 | -7500 | -0.0075 | 20611 | 21386 | -775 | 77500 | 0.0775
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21630 | 21595 | 35 | -3500 | -0.0035 | 44380 | 44049 | 331 | -33100 | -0.0331
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993037 | 993037 | 0 | 0 | 0 | 5873 | 5873 | 0 | 0 | 0
| PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) |  | 999996 | 1000000 | -4 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | w.e.f 21/08/2014
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7787 | 7788 | -1 | 100 | 0.0001 | 15276 | 15293 | -17 | 1700 | 0.0017
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23542 | 23529 | 13 | -1300 | -0.0013 | 56878 | 56117 | 761 | -76100 | -0.0761
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998627 | 998627 | 0 | 0 | 0 | 69 | 88 | -19 | 1900 | 0.0019
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 173287 | 172081 | 1206 | -120600 | -0.1206 | 49581 | 49130 | 451 | -45100 | -0.0451
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 16478 | 16252 | 226 | -22600 | -0.0226 | 64442 | 64393 | 49 | -4900 | -0.0049
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3767 | 2729 | 1038 | -103800 | -0.1038 | 1559 | 1473 | 86 | -8600 | -0.0086
[10 empty] | -0.2862 |  |  |  |  | -0.057467
AUGUST-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.8365 |  |  |  |  | -2.5306
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.2862 |  |  |  |  | -0.057467
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1076 |  |  |  |  | -0.017
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.4427 |  |  |  |  | -2.6051
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.26 |  |  |  |  | 17.985
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.1827 |  |  |  |  | 15.3799
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1827 | (REACTIVE MUs) |  |  |  | 15.3799 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.25237 | (REACTIVE MUs) |  |  |  | -0.91952 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.43507 | (REACTIVE MUs) |  |  |  | 14.4604 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999989 | 999989 | 0 | 0 | 0 | 999978 | 1000025 | -47 | -235000 | -0.235
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986115 | 986115 | 0 | 0 | 0 | 672976 | 673203 | -227 | -302665.91 | -0.30267
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 7466 | 7466 | 0 | 0 | 0 | 68831 | 67599 | 1232 | 616000 | 0.616
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12567 | 0 | 0 | 0 | 999386 | 999448 | -62 | -62000 | -0.062
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10671 | 10671 | 0 | 0 | 0 | 132525 | 130296 | 2229 | 222900 | 0.2229
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 747563 | 747693 | -130 | -9750 | -0.00975 | 29868 | 38057 | -8189 | -614175 | -0.61418
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 999719 | 1000631 | -912 | -68400 | -0.0684
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 1460 | 798 | 662 | -331000 | -0.331 | 996396 | 996496 | -100 | 50000 | 0.05
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988480 | 988152 | 328 | -328000 | -0.328 | 948994 | 949049 | -55 | 55000 | 0.055
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000068 | 999948 | 120 | -120000 | -0.12 | 996617 | 996795 | -178 | 178000 | 0.178
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992553 | 992449 | 104 | -104000 | -0.104 | 946175 | 946365 | -190 | 190000 | 0.19
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987201 | 987201 | 0 | 0 | 0 | 973654 | 975210 | -1556 | 1556000 | 1.556
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25054 | 25054 | 0 | 0 | 0 | 983891 | 984351 | -460 | 460000 | 0.46
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24959 | 24953 | 6 | -6000 | -0.006 | 996380 | 996708 | -328 | 328000 | 0.328
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1219 | 1197 | 22 | -22000 | -0.022 | 997090 | 997777 | -687 | 687000 | 0.687
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7168 | 5966 | 1202 | -1202000 | -1.202 | 997784 | 997899 | -115 | 115000 | 0.115
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22356 | 22332 | 24 | -24000 | -0.024 | 3346 | 4099 | -753 | 753000 | 0.753
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5221 | 3369 | 1852 | -1852000 | -1.852 | 999280 | 999191 | 89 | -89000 | -0.089
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10526 | 10527 | -1 | -1000 | -0.001 | 7579 | 7403 | 176 | 176000 | 0.176
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999025 | 999042 | -17 | 17000 | 0.017 | 989792 | 992748 | -2956 | 2956000 | 2.956
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953332 | 953332 | 0 | 0 | 0 | 845680 | 847904 | -2224 | 2224000 | 2.224
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999444 | 999438 | 6 | -6000 | -0.006 | 968454 | 969004 | -550 | 550000 | 0.55
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995319 | 995332 | -13 | 13000 | 0.013 | 948744 | 949797 | -1053 | 1053000 | 1.053
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8136 | 8149 | -13 | 13000 | 0.013 | 39298 | 39516 | -218 | 218000 | 0.218
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999954 | 999997 | -43 | 43000 | 0.043 | 999181 | 999352 | -171 | 171000 | 0.171
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997038 | 997066 | -28 | 28000 | 0.028 | 867286 | 867699 | -413 | 413000 | 0.413
BRPL(+) continue | [14 empty] | AUGUST-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996443 | 996300 | 143 | -143000 | -0.143 | 972496 | 972576 | -80 | 80000 | 0.08
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997780 | 997754 | 26 | -26000 | -0.026 | 989127 | 989204 | -77 | 77000 | 0.077
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997394 | 997256 | 138 | -276000 | -0.276 | 969884 | 969894 | -10 | 20000 | 0.02
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995001 | 995001 | 0 | 0 | 0 | 910891 | 912405 | -1514 | 1514000 | 1.514
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995069 | 995069 | 0 | 0 | 0 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998576 | 998576 | 0 | 0 | 0 | 995820 | 997326 | -1506 | 1506000 | 1.506
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989763 | 989778 | -15 | 15000 | 0.015 | 992150 | 993803 | -1653 | 1653000 | 1.653
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 976252 | 976874 | -622 | 414666.252 | 0.41467 | 979299 | 980363 | -1064 | 709332.624 | 0.70933
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999303 | 999849 | -546 | 1365000 | 1.365 | 501 | 548 | -47 | 117500 | 0.1175
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2287 | 2287 | 0 | 0 | 0 | 1889 | 1802 | 87 | -174000 | -0.174
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999289 | 999289 | 0 | 0 | 0 | 975 | 903 | 72 | -144000 | -0.144
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939249 | 939248 | 1 | -1000 | -0.001 | 991471 | 991730 | -259 | 259000 | 0.259
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949610 | 949602 | 8 | -8000 | -0.008 | 996297 | 997232 | -935 | 935000 | 0.935
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993474 | 993818 | -344 | -275200 | -0.2752 | 1442 | 1441 | 1 | 800 | 0.0008
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25818 | 25788 | 30 | 24000 | 0.024 | 1518 | 1518 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 931729 | 932157 | -428 | -342400 | -0.3424 | 999637 | 999637 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992427 | 992427 | 0 | 0 | 0 | 36949 | 37420 | -471 | -471000 | -0.471
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993103 | 993103 | 0 | 0 | 0 | 998707 | 998783 | -76 | -101333.08 | -0.10133
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15812 | 15785 | 27 | -27000 | -0.027 | 973882 | 974337 | -455 | 455000 | 0.455
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9969 | 9805 | 164 | -164000 | -0.164 | 989279 | 989266 | 13 | -13000 | -0.013
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 16955 | 16927 | 28 | 2800 | 0.0028 | 15759 | 15614 | 145 | 14500 | 0.0145
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11021 | 11033 | -12 | -1200 | -0.0012 | 61484 | 61500 | -16 | -1600 | -0.0016
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 943844 | 944062 | -218 | -218000 | -0.218 | 991947 | 992013 | -66 | -66000 | -0.066
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 394 | 394 | 0 | 0 | 0 | 1830 | 952 | 878 | 65850 | 0.06585
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9930 | 9930 | 0 | 0 | 0 | 26502 | 25829 | 673 | 67300 | 0.0673
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.5521 |  |  |  |  | 18.104
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 42601 | 42222 | 379 | -37900 | -0.0379 | 909054 | 908524 | 530 | -53000 | -0.053
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 105011 | 105567 | -556 | 55600 | 0.0556 | 1595 | 1602 | -7 | 700 | 0.0007
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 141939 | 133281 | 8658 | -865800 | -0.8658 | 4522 | 4298 | 224 | -22400 | -0.0224
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996208 | 996357 | -149 | 14900 | 0.0149 | 999946 | 999951 | -5 | 500 | 0.0005
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996571 | 996615 | -44 | 4400 | 0.0044 | 999911 | 999912 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1890 | 1836 | 54 | -54000 | -0.054 | 73742 | 73682 | 60 | -60000 | -0.06
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11648 | 10798 | 850 | -850000 | -0.85 | 170 | 160 | 10 | -10000 | -0.01
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 902714 | 902005 | 709 | -354500 | -0.3545 | 54657 | 54637 | 20 | -10000 | -0.01
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 15220 | 15366 | -146 | 58400 | 0.0584 | 3151 | 3270 | -119 | 47600 | 0.0476 | wef- 23/6/14
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 65072 | 65070 | 2 | -200 | -0.0002 | 64103 | 62771 | 1332 | -133200 | -0.1332
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 63734 | 63734 | 0 | 0 | 0 | 62321 | 60569 | 1752 | -175200 | -0.1752
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85464 | 85451 | 13 | -2600 | -0.0026 | 116247 | 115853 | 394 | -78800 | -0.0788
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 183 | 187 | -4 | -2000 | -0.002 | 17120 | 17206 | -86 | -43000 | -0.043
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978967 | -46 | -3833.18 | -0.0038332
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 988458 | -840 | -140000 | -0.14 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 304892 | 303587 | 1305 | -130500 | -0.1305 | 48557 | 47699 | 858 | -85800 | -0.0858
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3892 | 3892 | 0 | 0 | 0 | 20032 | 19390 | 642 | -64200 | -0.0642
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 2207 | 2173 | 34 | -3400 | -0.0034 | 78830 | 78022 | 808 | -80800 | -0.0808
| 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 168402 | 168336 | 66 | -8250 | -0.00825 | 260399 | 260349 | 50 | -6250 | -0.00625 | w.e.f 06/08/2014
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9384 | 9412 | -28 | 2800 | 0.0028 | 28975 | 28965 | 10 | -1000 | -0.001
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11043 | 10928 | 115 | -11500 | -0.0115 | 56538 | 55609 | 929 | -92900 | -0.0929
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17219 | 17141 | 78 | -7800 | -0.0078 | 58961 | 58119 | 842 | -84200 | -0.0842
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 43026 | 43026 | 0 | 0 | 0 | 21223 | 21223 | 0 | 0 | 0
| MOTI NAGAR KIOSK | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 3801 | 3785 | 16 | -1600 | -0.0016 | 3223 | 2368 | 855 | -85500 | -0.0855 | W.E.F 02/08/2014
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17514 | 17503 | 11 | -1100 | -0.0011 | 18857 | 18617 | 240 | -24000 | -0.024
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998200 | 998207 | -7 | 311.08 | 0.00031108 | 312 | 287 | 25 | -1111 | -0.001111
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.3347 |  |  |  |  | -1.0663
AUGUST-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.5521 |  |  |  |  | 18.104
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.3347 |  |  |  |  | -1.0663
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.26038 |  |  |  |  | 0.98818
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1595 |  |  |  |  | -0.1889
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -5.7859 |  |  |  |  | 17.837
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.7859 | (REACTIVE MUs) |  |  |  | 17.837 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.45486 | (REACTIVE MUs) |  |  |  | -1.6573 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.3311 | (REACTIVE MUs) |  |  |  | 16.1797 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 46112 | 46092 | 20 | 4000 | 0.004 | 76888 | 75501 | 1387 | 277400 | 0.2774
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73718 | 73722 | -4 | -400 | -0.0004 | 139538 | 139706 | -168 | -16800 | -0.0168
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980944 | 980948 | -4 | -800 | -0.0008 | 999652 | 1000431 | -779 | -155800 | -0.1558
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74506 | 74477 | 29 | 5800 | 0.0058 | 94009 | 91970 | 2039 | 407800 | 0.4078
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7317 | 7309 | 8 | 6400 | 0.0064 | 3450 | 3107 | 343 | 274400 | 0.2744
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13727 | 13727 | 0 | 0 | 0 | 2066 | 1733 | 333 | 666000 | 0.666
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983109 | 983109 | 0 | 0 | 0 | 991322 | 991783 | -461 | -368800 | -0.3688
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987571 | 987571 | 0 | 0 | 0 | 989549 | 991003 | -1454 | -1163200 | -1.1632
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993777 | 993777 | 0 | 0 | 0 | 995481 | 996358 | -877 | -701600 | -0.7016
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999009 | 999009 | 0 | 0 | 0 | 382105 | 378572 | 3533 | 353300 | 0.3533
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12880 | 12880 | 0 | 0 | 0 | 365430 | 361824 | 3606 | 360600 | 0.3606
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5279 | 5279 | 0 | 0 | 0 | 364168 | 361054 | 3114 | 311400 | 0.3114
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997660 | 997660 | 0 | 0 | 0 | 306882 | 304844 | 2038 | 203800 | 0.2038
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 13 | 13 | 0 | 0 | 0 | 189888 | 189390 | 498 | 49800 | 0.0498
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259656 | 259759 | -103 | -10300 | -0.0103
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 705628 | 704427 | 1201 | 120100 | 0.1201
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 86727 | 84057 | 2670 | 2937000 | 2.937
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2428 | 2323 | 105 | 105000 | 0.105 | 39658 | 39501 | 157 | 157000 | 0.157
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 149617 | 150102 | -485 | -533500 | -0.5335
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6592 | 6621 | -29 | -29000 | -0.029 | 53995 | 53930 | 65 | 65000 | 0.065
[10 empty] | 0.076 |  |  |  |  | 2.6255
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1890 | 1836 | 54 | 54000 | 0.054 | 73742 | 73682 | 60 | 60000 | 0.06
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11648 | 10798 | 850 | 850000 | 0.85 | 170 | 160 | 10 | 10000 | 0.01
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 902714 | 902005 | 709 | 354500 | 0.3545 | 54657 | 54637 | 20 | 10000 | 0.01
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 15220 | 15366 | -146 | -58400 | -0.0584 | 3151 | 3270 | -119 | -47600 | -0.0476
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 183 | 187 | -4 | 2000 | 0.002 | 17120 | 17206 | -86 | 43000 | 0.043
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978967 | -46 | 3833.3333 | 0.0038333
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 988458 | -840 | 140000 | 0.14 | 993182 | 993182 | 0 | 0 | 0
AUGUST-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982808 | 982834 | -26 | 26000 | 0.026 | 978985 | 980443 | -1458 | 1458000 | 1.458
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980591 | 980744 | -153 | 153000 | 0.153 | 984637 | 985533 | -896 | 896000 | 0.896
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996169 | 996332 | -163 | 163000 | 0.163 | 996449 | 997350 | -901 | 901000 | 0.901
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 304892 | 303587 | 1305 | 130500 | 0.1305 | 48557 | 47699 | 858 | 85800 | 0.0858
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3892 | 3892 | 0 | 0 | 0 | 20032 | 19390 | 642 | 64200 | 0.0642
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 65072 | 65070 | 2 | 200 | 0.0002 | 64103 | 62771 | 1332 | 133200 | 0.1332
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 63734 | 63734 | 0 | 0 | 0 | 62321 | 60569 | 1752 | 175200 | 0.1752
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85464 | 85451 | 13 | 2600 | 0.0026 | 116247 | 115853 | 394 | 78800 | 0.0788
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 42601 | 42222 | 379 | 37900 | 0.0379 | 909054 | 908524 | 530 | 53000 | 0.053
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 394 | 394 | 0 | 0 | 0 | 1830 | 952 | 878 | -65850 | -0.06585
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9930 | 9930 | 0 | 0 | 0 | 26502 | 25829 | 673 | -67300 | -0.0673
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.9463 |  |  |  |  | 7.0249
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.9463 |  |  |  |  | 7.0249
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.053423 |  |  |  |  | -0.19465
| TOTAL ENERGY TO NDMC | [8 empty] | 1.9997 |  |  |  |  | 6.8302

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1357 | 0 | 0 | 0 | 26832 | 26221 | 611 | 611000 | 0.611
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 972 | 0 | 0 | 0 | 28677 | 28385 | 292 | 292000 | 0.292
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2280 | 0 | 0 | 0 | 35723 | 35532 | 191 | 191000 | 0.191
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 894 | 894 | 0 | 0 | 0 | 19873 | 19445 | 428 | 428000 | 0.428
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4180 | 4179 | 1 | 1000 | 0.001 | 10851 | 10755 | 96 | 96000 | 0.096
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11662 | 11662 | 0 | 0 | 0 | 58846 | 58664 | 182 | 91000 | 0.091
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996208 | 996357 | -149 | -14900 | -0.0149 | 999946 | 999951 | -5 | -500 | -0.0005
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996571 | 996615 | -44 | -4400 | -0.0044 | 999911 | 999912 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0183 |  |  |  |  | 1.7084
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 48778 | 48057 | 721 | 72100 | 0.0721 | 75906 | 75528 | 378 | 37800 | 0.0378
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73777 | 73756 | 21 | 2100 | 0.0021 | 12916 | 12414 | 502 | 50200 | 0.0502
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 47377 | 46524 | 853 | 85300 | 0.0853 | 67047 | 66586 | 461 | 46100 | 0.0461
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84338 | 84338 | 0 | 0 | 0 | 60073 | 59525 | 548 | 54800 | 0.0548
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 7242 | 7016 | 226 | 22600 | 0.0226 | 3033 | 2974 | 59 | 5900 | 0.0059
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1595 |  |  |  |  | 0.1889
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1595 |  |  |  |  | 0.1889
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0183 |  |  |  |  | 1.7084
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1412 |  |  |  |  | 1.8973
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1412 | (REACTIVE MUs) |  |  |  | 1.8973 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0082613 | (REACTIVE MUs) |  |  |  | -0.0301 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.14946 | (REACTIVE MUs) |  |  |  | 1.8672 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 1906 | 1288 | 618 | 61800 | 0.0618 | 1469 | 1024 | 445 | 44500 | 0.0445
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 2253 | 2419 | -166 | -16600 | -0.0166 | 999201 | 999288 | -87 | -8700 | -0.0087
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 258455 | 257888 | 567 | 56700 | 0.0567 | 102683 | 102450 | 233 | 23300 | 0.0233
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 34016 | 33846 | 170 | 159375 | 0.15937 | 19025 | 18895 | 130 | 121875 | 0.12187
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985209 | 985209 | 0 | 0 | 0 | 916416 | 918025 | -1609 | 804500 | 0.8045
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989204 | 989204 | 0 | 0 | 0 | 978691 | 978697 | -6 | 3000 | 0.003
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999992 | -3 | -900 | -0.0009 | 1 | 2 | -1 | -300 | -0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.26038 |  |  |  |  | 0.98818
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 927080 | 927204 | -124 | -24800 | -0.0248 | 992222 | 992244 | -22 | -4400 | -0.0044
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 975293 | 975707 | -414 | -82800 | -0.0828 | 999624 | 999687 | -63 | -12600 | -0.0126
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1076 |  |  |  |  | -0.017
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 245663 | 244844 | 819 | 163800 | 0.1638 | 265436 | 265230 | 206 | 41200 | 0.0412
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 111784 | 111942 | -158 | -31600 | -0.0316 | 42384 | 42290 | 94 | 18800 | 0.0188
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 183516 | 183872 | -356 | -35600 | -0.0356 | 74146 | 73961 | 185 | 18500 | 0.0185
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990445 | 990441 | 4 | 4000 | 0.004 | 998435 | 998421 | 14 | 14000 | 0.014
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 961676 | 961761 | -85 | -8500 | -0.0085 | 6957 | 7026 | -69 | -6900 | -0.0069
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999182 | 0 | 0 | 0 | 997734 | 998236 | -502 | -470625 | -0.47063
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985886 | 985913 | -27 | 16875 | 0.016875 | 995396 | 995418 | -22 | 13750 | 0.01375
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999992 | -3 | 900 | 0.0009 | 1 | 2 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | 0.10988 |  |  |  |  | -0.37097
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.26038 |  |  |  |  | 0.98818
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1076 |  |  |  |  | -0.017
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.10988 |  |  |  |  | -0.37097

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 6539 | 6163 | 376 | 752000 | 0.752 | 819 | 800 | 19 | 38000 | 0.038
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15357 | 15220 | 137 | 274000 | 0.274 | 2255 | 2233 | 22 | 44000 | 0.044
[7 empty] | NET REACTIVE ENERGY |  |  | 1.026 |  | NET REACTIVE ENERGY |  |  | 0.082
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992457 | 992457 | 0 | 0 | 0 | 38710 | 38676 | 34 | 34000 | 0.034
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995084 | 995084 | 0 | 0 | 0 | 994154 | 994191 | -37 | -37000 | -0.037
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -0.003
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.026 |  |  |  |  | 0.079
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0235 |  |  |  |  | -6.634
[7 empty] | NDMC = |  |  | 0.076 |  |  |  |  | 2.6255
MES =
[7 empty] | 2)TOTAL |  |  | 0.0525 |  |  |  |  | -4.0085
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.0785 |  |  |  |  | -3.9295
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.7051 | % |  |  | 0.30958 |  |  |  |  | -1.128
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.175 | % |  |  | 0.45486 |  |  |  |  | -1.6573
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4004 | % |  |  | 0.25237 |  |  |  |  | -0.91952
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9535 | % |  |  | 0.053423 |  |  |  |  | -0.19465
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.766 | % |  |  | 0.0082613 |  |  |  |  | -0.0301
Note :Sharing taken from wk-18 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2014 TO 31st AUGUST-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.3534 | + | 1.349
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -5.3311 | + | 16.1797
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.43507 | + | 14.4604
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.9997 | + | 6.8302
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.14946 | + | 1.8672
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2014 | INTIAL READING 01/08/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953235 | 953235 | 0 | 0 | 0 | 979567 | 979909 | -342 | -513000 | -0.513
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 994840 | 995042 | -202 | -303000 | -0.303 | 995426 | 995612 | -186 | -279000 | -0.279
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 0 | 0 | 0 | 0 | 0 | 999353 | 999998 | -645 | -483750 | -0.48375
[8 empty] | NET REACTIVE ENERGY |  | -0.303 |  |  | NET REACTIVE ENERGY |  | -1.2757
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997874 | 0 | 0 | 0 | 29836 | 30151 | -315 | -1575000 | -1.575
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999725 | 999725 | 0 | 0 | 0 | 1638 | 2024 | -386 | -386000 | -0.386
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974638 | 974638 | 0 | 0 | 0 | 992007 | 992089 | -82 | -82000 | -0.082
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | -2.043