## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15291 | 15630 | -339 | 339000 | 0.339 | 978138 | 978138 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17 | 6 | 11 | -11000 | -0.011 | 999418 | 999420 | -2 | 2000 | 0.002
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17185 | 17158 | 27 | -27000 | -0.027 | 996385 | 996385 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974703 | 974288 | 415 | -415000 | -0.415 | 977886 | 977886 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921433 | 921674 | -241 | 241000 | 0.241 | 946577 | 946610 | -33 | 33000 | 0.033
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18645 | 18700 | -55 | 55000 | 0.055 | 17386 | 17384 | 2 | -2000 | -0.002
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19530 | 19615 | -85 | 85000 | 0.085 | 13351 | 13350 | 1 | -1000 | -0.001
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16669 | 16705 | -36 | 45000 | 0.045 | 996521 | 996523 | -2 | 2500 | 0.0025
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15149 | 15490 | -341 | 341000 | 0.341 | 986581 | 986582 | -1 | 1000 | 0.001
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32817 | 33314 | -497 | 497000 | 0.497 | 9657 | 9657 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999056 | 999738 | -682 | 682000 | 0.682 | 4077 | 4077 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996853 | 997113 | -260 | 260000 | 0.26 | 999744 | 999745 | -1 | 1000 | 0.001
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 942433 | 944909 | -2476 | -2476000 | -2.476 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996925 | 997157 | -232 | 232000 | 0.232 | 16941 | 16941 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999658 | 999758 | -100 | 100000 | 0.1 | 19631 | 19631 | 0 | 0 | 0
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 717 | 764 | -47 | 47000 | 0.047 | 20158 | 20184 | -26 | 26000 | 0.026
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999527 | 999545 | -18 | -18000 | -0.018 | 26930 | 27011 | -81 | -81000 | -0.081
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 230 | 218 | 12 | 12000 | 0.012 | 27804 | 27733 | 71 | 71000 | 0.071
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2340 | 2339 | 1 | 100 | 0.0001 | 135827 | 135603 | 224 | 22400 | 0.0224
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4257 | 4219 | 38 | 3800 | 0.0038 | 202200 | 201669 | 531 | 53100 | 0.0531
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996024 | 996022 | 2 | 2000 | 0.002 | 999202 | 999182 | 20 | 20000 | 0.02
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999913 | 999910 | 3 | 3000 | 0.003 | 5927 | 5857 | 70 | 70000 | 0.07
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652258 | 652713 | -455 | -455000 | -0.455 | 800179 | 800179 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659555 | 659766 | -211 | -211000 | -0.211 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991685 | 991630 | 55 | 55000 | 0.055 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 178 | 114 | 64 | 32000 | 0.032 | 163 | 161 | 2 | 1000 | 0.001
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9222 | 8417 | 805 | -805000 | -0.805 | 981957 | 981957 | 0 | 0 | 0
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1159 | 524 | 635 | -635000 | -0.635 | 948166 | 948166 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991472 | 991574 | -102 | 102000 | 0.102 | 928056 | 928067 | -11 | 11000 | 0.011
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999136 | 999318 | -182 | 182000 | 0.182 | 999958 | 999958 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21588 | 18964 | 2624 | -2624000 | -2.624 | 999924 | 999924 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1174 | 1007 | 167 | 167000 | 0.167 | 17746 | 17719 | 27 | 27000 | 0.027
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000080 | 999910 | 170 | 170000 | 0.17 | 3116 | 3113 | 3 | 3000 | 0.003 | ROLL OVER
| NDPL(+) continue | [14 empty] | OCTOBER-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1358 | 1362 | -4 | -4000 | -0.004 | 59782 | 59781 | 1 | 1000 | 0.001
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 10968 | 14240 | -3272 | -327200 | -0.3272 | 67622 | 66274 | 1348 | 134800 | 0.1348
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8940 | 8863 | 77 | 7700 | 0.0077 | 23662 | 22823 | 839 | 83900 | 0.0839
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9711 | 9691 | 20 | 2000 | 0.002 | 35603 | 35420 | 183 | 18300 | 0.0183
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13951 | 13865 | 86 | 8600 | 0.0086 | 47939 | 47105 | 834 | 83400 | 0.0834
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 36055 | 35032 | 1023 | 102300 | 0.1023 | 12835 | 12817 | 18 | 1800 | 0.0018
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17033 | 16953 | 80 | 8000 | 0.008 | 12205 | 12120 | 85 | 8500 | 0.0085
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997600 | 997544 | 56 | 5600 | 0.0056 | 2622 | 2613 | 9 | 900 | 0.0009
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5137 | 5132 | 5 | 2500 | 0.0025 | 25792 | 25542 | 250 | 125000 | 0.125
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3318 | 3313 | 5 | 2500 | 0.0025 | 23827 | 23570 | 257 | 128500 | 0.1285
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3859 | 3747 | 112 | 56000 | 0.056 | 14083 | 14076 | 7 | 3500 | 0.0035
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 4060 | 3959 | 101 | 50500 | 0.0505 | 16778 | 16766 | 12 | 6000 | 0.006
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 998192 | 998408 | -216 | -21600 | -0.0216 | 6047 | 6046 | 1 | 100 | 0.0001
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7661 | 7729 | -68 | -6800 | -0.0068 | 14932 | 14932 | 0 | 0 | 0
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 16183 | 16159 | 24 | 2400 | 0.0024 | 50656 | 50656 | 0 | 0 | 0
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 10772 | 10288 | 484 | 48400 | 0.0484 | 19037 | 19037 | 0 | 0 | 0 | data available upto 09/10/12
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999235 | 999261 | -26 | -2600 | -0.0026 | 217 | 217 | 0 | 0 | 0
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 7600 | 7392 | 208 | 20800 | 0.0208 | 68152 | 67722 | 430 | 43000 | 0.043
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 6636 | 6242 | 394 | 39400 | 0.0394 | 58526 | 58335 | 191 | 19100 | 0.0191
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 7703 | 7289 | 414 | 41400 | 0.0414 | 84264 | 84071 | 193 | 19300 | 0.0193
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 117297 | 116195 | 1102 | 110200 | 0.1102 | 28824 | 28822 | 2 | 200 | 0.0002
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16974 | 16649 | 325 | 32500 | 0.0325 | 38506 | 38470 | 36 | 3600 | 0.0036
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995564 | 995564 | 0 | 0 | 0 | 22 | 22 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999289 | 999289 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 2114 | 1800 | 314 | 251200 | 0.2512 | 337 | 317 | 20 | 16000 | 0.016
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -3.5943 |  |  |  |  | 0.9569
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 8619 | 8417 | 202 | -20200 | -0.0202 | 11973 | 11969 | 4 | -400 | -0.0004
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6989 | 6598 | 391 | -391000 | -0.391 | 6850 | 6850 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3654 | 3502 | 152 | -30400 | -0.0304 | 2215 | 1605 | 610 | -122000 | -0.122
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13384 | 13350 | 34 | -34000 | -0.034 | 27563 | 27432 | 131 | -131000 | -0.131
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 37699 | 37972 | -273 | 27300 | 0.0273 | 146952 | 146953 | -1 | 100 | 0.0001
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969274 | 971981 | -2707 | 2707000 | 2.707 | 992481 | 992481 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.2587 |  |  |  |  | -0.2533
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -3.5943 |  |  |  |  | 0.9569
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.2587 |  |  |  |  | -0.2533
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.281 |  |  |  |  | -0.01865
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.05465 |  |  |  |  | 0.68495
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.05465 | (REACTIVE MUs) |  |  |  | 0.68495 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10861 | (REACTIVE MUs) |  |  |  | -1.7095 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.053957 | (REACTIVE MUs) |  |  |  | -1.0245 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988335 | 988335 | 0 | 0 | 0 | 58063 | 59375 | -1312 | -131200 | -0.1312
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17416 | 17396 | 20 | 2000 | 0.002 | 9468 | 9883 | -415 | -41500 | -0.0415
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22750 | 22948 | -198 | -19800 | -0.0198 | 17032 | 15350 | 1682 | 168200 | 0.1682
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998511 | 998633 | -122 | -12200 | -0.0122 | 5293 | 5232 | 61 | 6100 | 0.0061
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8991 | 8928 | 63 | 6300 | 0.0063 | 100077 | 96608 | 3469 | 346900 | 0.3469
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 780 | 780 | 0 | 0 | 0 | 44792 | 46114 | -1322 | -132200 | -0.1322
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999535 | 999599 | -64 | -64000 | -0.064 | 375 | 378 | -3 | -3000 | -0.003
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999777 | 999782 | -5 | -5000 | -0.005 | 2185 | 2175 | 10 | 10000 | 0.01
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 517 | 461 | 56 | 56000 | 0.056 | 1462 | 1460 | 2 | 2000 | 0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 96 | 93 | 3 | 3000 | 0.003 | 2859 | 2849 | 10 | 10000 | 0.01
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999624 | 999728 | -104 | -104000 | -0.104 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 475 | 473 | 2 | 2000 | 0.002 | 111 | 131 | -20 | -20000 | -0.02
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 171 | 149 | 22 | 22000 | 0.022 | 15113 | 15112 | 1 | 1000 | 0.001
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 313 | 294 | 19 | 19000 | 0.019 | 35889 | 35889 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 261 | 258 | 3 | 3000 | 0.003 | 17269 | 16914 | 355 | 355000 | 0.355
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 313 | 297 | 16 | 16000 | 0.016 | 6204 | 6145 | 59 | 59000 | 0.059
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 34133 | 33193 | 940 | 94000 | 0.094 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998546 | 998550 | -4 | -4000 | -0.004 | 10463 | 10490 | -27 | -27000 | -0.027
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 803545 | 806780 | -3235 | -3558500 | -3.5585
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 845369 | 848398 | -3029 | -3331900 | -3.3319
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990749 | 991294 | -545 | -545000 | -0.545 | 9653 | 9653 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.507 |  |  |  |  | -6.5034
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964686 | 964847 | -161 | 161000 | 0.161 | 974433 | 974437 | -4 | 4000 | 0.004
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980548 | 981028 | -480 | 480000 | 0.48 | 973421 | 973429 | -8 | 8000 | 0.008
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1237 | 0 | 0 | 0 | 62230 | 62220 | 10 | 10000 | 0.01 | 01/10/12 to 08/10/12
26 | DMS | 4864853 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1137 | 1137 | 0 | 0 | 0 | 60683 | 60664 | 19 | 19000 | 0.019 | 08/10/12 to 25/10/12
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 20 | 0 | 20 | 20000 | 0.02 | 53 | 0 | 53 | 53000 | 0.053 | New meter installed on 25/10/12
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14584 | 12076 | 2508 | -2508000 | -2.508 | 972751 | 972764 | -13 | 13000 | 0.013
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7090 | 7138 | -48 | 48000 | 0.048 | 972951 | 973648 | -697 | 697000 | 0.697
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999296 | 999632 | -336 | 336000 | 0.336 | 999726 | 999739 | -13 | 13000 | 0.013
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985868 | 988313 | -2445 | 2445000 | 2.445 | 994831 | 994852 | -21 | 21000 | 0.021
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3502 | 152 | 30400 | 0.0304 | 2215 | 1605 | 610 | 122000 | 0.122
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13384 | 13350 | 34 | 34000 | 0.034 | 27563 | 27432 | 131 | 131000 | 0.131
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 99658 | 97323 | 2335 | 233500 | 0.2335 | 1623 | 1620 | 3 | 300 | 0.0003
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 64874 | 64666 | 208 | 20800 | 0.0208 | 131 | 95 | 36 | 3600 | 0.0036
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.77 |  |  |  |  | -5.1922
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.77 |  |  |  |  | -5.1922
OCTOBER-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996751 | 996835 | -84 | 84000 | 0.084 | 932165 | 932459 | -294 | 294000 | 0.294
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15121 | 15174 | -53 | 53000 | 0.053 | 951486 | 951768 | -282 | 282000 | 0.282
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999897 | 1000009 | -112 | 112000 | 0.112 | 995908 | 996153 | -245 | 245000 | 0.245 | ROLL OVER
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943742 | 946442 | -2700 | 2700000 | 2.7 | 993117 | 993117 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934166 | 936861 | -2695 | 2695000 | 2.695 | 991449 | 991449 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 246 | 171 | 75 | -75000 | -0.075 | 993140 | 993278 | -138 | 138000 | 0.138
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998572 | 998622 | -50 | 100000 | 0.1 | 988192 | 988314 | -122 | 244000 | 0.244
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999724 | 999728 | -4 | 4000 | 0.004 | 971240 | 972197 | -957 | 957000 | 0.957
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12332 | 12635 | -303 | 303000 | 0.303 | 948960 | 949336 | -376 | 376000 | 0.376
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965904 | 966097 | -193 | 193000 | 0.193 | 878504 | 878607 | -103 | 103000 | 0.103
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21522 | 21507 | 15 | -15000 | -0.015 | 31586 | 31598 | -12 | 12000 | 0.012
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19326 | 19326 | 0 | 0 | 0 | 40488 | 40433 | 55 | -55000 | -0.055
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 6.154 |  |  |  |  | 2.596
| (B) NET ENERGY TO EAST | [8 empty] | 6.154 |  |  |  |  | 2.596
OCTOBER-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991685 | 991630 | 55 | -55000 | -0.055 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 178 | 114 | 64 | -32000 | -0.032 | 163 | 161 | 2 | -1000 | -0.001
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 33595 | 31225 | 2370 | -474000 | -0.474 | 65245 | 65244 | 1 | -200 | -0.0002
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 57387 | 55480 | 1907 | -190700 | -0.1907 | 126731 | 126728 | 3 | -300 | -0.0003
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 986846 | 987310 | -464 | 92800 | 0.0928 | 3930 | 3930 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 57439 | 54216 | 3223 | -644600 | -0.6446 | 82235 | 82235 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72795 | 71742 | 1053 | -1053000 | -1.053 | 737 | 737 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11974 | 11042 | 932 | -932000 | -0.932 | 367 | 367 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 990819 | 992167 | -1348 | 1078400 | 1.0784 | 997507 | 997528 | -21 | 16800 | 0.0168
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 998492 | 999350 | -858 | 686400 | 0.6864 | 999508 | 999526 | -18 | 14400 | 0.0144
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 2569 | 3248 | -679 | 543200 | 0.5432 | 397 | 405 | -8 | 6400 | 0.0064
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996847 | 996783 | 64 | -64000 | -0.064 | 37872 | 37625 | 247 | -247000 | -0.247
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996673 | 996701 | -28 | 37333.24 | 0.037333 | 338 | 268 | 70 | -93333.1 | -0.093333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1174 | 1007 | 167 | -167000 | -0.167 | 17746 | 17719 | 27 | -27000 | -0.027
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000080 | 999910 | 170 | -170000 | -0.17 | 3116 | 3113 | 3 | -3000 | -0.003 | ROLL OVER
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1358 | 1362 | -4 | 4000 | 0.004 | 59782 | 59781 | 1 | -1000 | -0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5137 | 5132 | 5 | -2500 | -0.0025 | 25792 | 25542 | 250 | -125000 | -0.125
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3318 | 3313 | 5 | -2500 | -0.0025 | 23827 | 23570 | 257 | -128500 | -0.1285
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3859 | 3747 | 112 | -56000 | -0.056 | 14083 | 14076 | 7 | -3500 | -0.0035
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 4060 | 3959 | 101 | -50500 | -0.0505 | 16778 | 16766 | 12 | -6000 | -0.006
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 117297 | 116195 | 1102 | -110200 | -0.1102 | 28824 | 28822 | 2 | -200 | -0.0002
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16974 | 16649 | 325 | -32500 | -0.0325 | 38506 | 38470 | 36 | -3600 | -0.0036
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 998192 | 998408 | -216 | 21600 | 0.0216 | 6047 | 6046 | 1 | -100 | -0.0001
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7661 | 7729 | -68 | 6800 | 0.0068 | 14932 | 14932 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 16183 | 16159 | 24 | -2400 | -0.0024 | 50656 | 50656 | 0 | 0 | 0
26 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 10772 | 10288 | 484 | -48400 | -0.0484 | 19037 | 19037 | 0 | 0 | 0 | data available upto 09/10/12
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999235 | 999261 | -26 | 2600 | 0.0026 | 217 | 217 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 7600 | 7392 | 208 | -20800 | -0.0208 | 68152 | 67722 | 430 | -43000 | -0.043
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 6636 | 6242 | 394 | -39400 | -0.0394 | 58526 | 58335 | 191 | -19100 | -0.0191
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 7703 | 7289 | 414 | -41400 | -0.0414 | 84264 | 84071 | 193 | -19300 | -0.0193
[10 empty] | -1.7158 |  |  |  |  | -0.68353
OCTOBER-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.77 |  |  |  |  | -5.1922
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.7158 |  |  |  |  | -0.68353
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.6493 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.5951 |  |  |  |  | -5.8757
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 6.154 |  |  |  |  | 2.596
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 4.5589 |  |  |  |  | -3.2797
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.5589 | (REACTIVE MUs) |  |  |  | -3.2797 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.090218 | (REACTIVE MUs) |  |  |  | -1.42 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.6492 | (REACTIVE MUs) |  |  |  | -4.6998 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998178 | 998178 | 0 | 0 | 0 | 9697 | 9876 | -179 | -179000 | -0.179
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990255 | 990413 | -158 | -210666.14 | -0.21067 | 674733 | 674677 | 56 | 74666.48 | 0.074666
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6662 | 6687 | -25 | -25000 | -0.025 | 58535 | 57730 | 805 | 805000 | 0.805
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10896 | 10861 | 35 | 35000 | 0.035 | 998854 | 999154 | -300 | -300000 | -0.3
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7795 | 7706 | 89 | 8900 | 0.0089 | 113941 | 112440 | 1501 | 150100 | 0.1501
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 38493 | 39314 | -821 | -82100 | -0.0821 | 244864 | 244101 | 763 | 76300 | 0.0763
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8313 | 8545 | -232 | -23200 | -0.0232 | 394983 | 389773 | 5210 | 521000 | 0.521
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999911 | 999952 | -41 | -36900 | -0.0369 | 999398 | 999596 | -198 | -178200 | -0.1782
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992705 | 992903 | -198 | 198000 | 0.198 | 951931 | 952224 | -293 | 293000 | 0.293
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990855 | 991218 | -363 | 363000 | 0.363 | 955549 | 955677 | -128 | 128000 | 0.128
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987331 | 987609 | -278 | 278000 | 0.278 | 940332 | 940616 | -284 | 284000 | 0.284
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997994 | 998218 | -224 | 224000 | 0.224 | 956339 | 956630 | -291 | 291000 | 0.291
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995816 | 996081 | -265 | 265000 | 0.265 | 987159 | 987162 | -3 | 3000 | 0.003
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6698 | 6841 | -143 | 143000 | 0.143 | 988667 | 988732 | -65 | 65000 | 0.065
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43814 | 43676 | 138 | -138000 | -0.138 | 21769 | 21821 | -52 | 52000 | 0.052
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8243 | 6611 | 1632 | -1632000 | -1.632 | 8503 | 8503 | 0 | 0 | 0
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27171 | 27270 | -99 | 99000 | 0.099 | 7495 | 7541 | -46 | 46000 | 0.046
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25539 | 22084 | 3455 | -3455000 | -3.455 | 44244 | 44244 | 0 | 0 | 0
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6989 | 6598 | 391 | 391000 | 0.391 | 6850 | 6850 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 932028 | 937383 | -5355 | 5355000 | 5.355 | 901678 | 901679 | -1 | 1000 | 0.001
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974740 | 978099 | -3359 | 3359000 | 3.359 | 864363 | 864363 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 418 | 444 | -26 | 26000 | 0.026 | 984798 | 985960 | -1162 | 1162000 | 1.162
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 497 | 500 | -3 | 3000 | 0.003 | 965986 | 966789 | -803 | 803000 | 0.803
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1031 | 1489 | -458 | 458000 | 0.458 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999600 | 999630 | -30 | 30000 | 0.03 | 894098 | 894558 | -460 | 460000 | 0.46
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999010 | 999027 | -17 | 17000 | 0.017 | 874660 | 875273 | -613 | 613000 | 0.613
BRPL(+) continue | [14 empty] | OCTOBER-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999162 | 999157 | 5 | -5000 | -0.005 | 973950 | 974011 | -61 | 61000 | 0.061
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 291 | 287 | 4 | -4000 | -0.004 | 991034 | 991177 | -143 | 143000 | 0.143
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990775 | 990736 | 39 | -78000 | -0.078 | 970970 | 971144 | -174 | 348000 | 0.348
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997346 | 997517 | -171 | 171000 | 0.171 | 926782 | 926959 | -177 | 177000 | 0.177
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 813 | 1527 | -714 | 714000 | 0.714 | 938055 | 938274 | -219 | 219000 | 0.219
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997241 | 997418 | -177 | 177000 | 0.177 | 933534 | 933747 | -213 | 213000 | 0.213
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997540 | 997490 | 50 | -33333.3 | -0.033333 | 991417 | 991411 | 6 | -3999.996 | -0.004
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973237 | 973191 | 46 | -30666.636 | -0.030667 | 971808 | 971807 | 1 | -666.666 | -0.00066667
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 584 | 558 | 26 | -52000 | -0.052 | 1249 | 1248 | 1 | -2000 | -0.002
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997379 | 997341 | 38 | -76000 | -0.076 | 455 | 455 | 0 | 0 | 0
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967836 | 971374 | -3538 | 3538000 | 3.538 | 997480 | 997499 | -19 | 19000 | 0.019
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971339 | 974184 | -2845 | 2845000 | 2.845 | 998476 | 998479 | -3 | 3000 | 0.003
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999440 | 999393 | 47 | 37600 | 0.0376 | 1180 | 1116 | 64 | 51200 | 0.0512
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 4591 | 3590 | 1001 | 800800 | 0.8008 | 831 | 826 | 5 | 4000 | 0.004
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 987726 | 988408 | -682 | -545600 | -0.5456 | 999698 | 999702 | -4 | -3200 | -0.0032
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996847 | 996783 | 64 | 64000 | 0.064 | 37872 | 37625 | 247 | 247000 | 0.247
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996673 | 996701 | -28 | -37333.24 | -0.037333 | 338 | 268 | 70 | 93333.1 | 0.093333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3417 | 3736 | -319 | 319000 | 0.319 | 978230 | 978234 | -4 | 4000 | 0.004
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998913 | 999049 | -136 | 136000 | 0.136 | 987364 | 987938 | -574 | 574000 | 0.574
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 8619 | 8417 | 202 | 20200 | 0.0202 | 11973 | 11969 | 4 | 400 | 0.0004
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 37699 | 37972 | -273 | -27300 | -0.0273 | 146952 | 146953 | -1 | -100 | -0.0001
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969274 | 971981 | -2707 | -2707000 | -2.707 | 992481 | 992481 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 10.8764 |  |  |  |  | 7.3178
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 11567 | 9962 | 1605 | -160500 | -0.1605 | 890709 | 887476 | 3233 | -323300 | -0.3233
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 99658 | 97323 | 2335 | -233500 | -0.2335 | 1623 | 1620 | 3 | -300 | -0.0003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 64874 | 64666 | 208 | -20800 | -0.0208 | 131 | 95 | 36 | -3600 | -0.0036
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998819 | 998936 | -117 | 11700 | 0.0117 | 999959 | 999890 | 69 | -6900 | -0.0069
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 998557 | 998718 | -161 | 16100 | 0.0161 | 999920 | 999926 | -6 | 600 | 0.0006
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 684 | 677 | 7 | -7000 | -0.007 | 72514 | 72531 | -17 | 17000 | 0.017
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7996 | 7956 | 40 | -40000 | -0.04 | 2235 | 2209 | 26 | -26000 | -0.026
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 861453 | 856361 | 5092 | -509200 | -0.5092 | 54401 | 53877 | 524 | -52400 | -0.0524
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 43712 | 40865 | 2847 | -284700 | -0.2847 | 54002 | 53892 | 110 | -11000 | -0.011
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 35170 | 32495 | 2675 | -267500 | -0.2675 | 54640 | 54631 | 9 | -900 | -0.0009
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 71637 | 69728 | 1909 | -381800 | -0.3818 | 105390 | 105390 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 5221 | 5252 | -31 | 3100 | 0.0031 | 763 | 763 | 0 | 0 | 0
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 43906 | 39096 | 4810 | -481000 | -0.481 | 683143 | 682462 | 681 | -68100 | -0.0681
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 113149 | 111427 | 1722 | -172200 | -0.1722 | 240787 | 236134 | 4653 | -465300 | -0.4653
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 246397 | 241123 | 5274 | -527400 | -0.5274 | 39706 | 39582 | 124 | -12400 | -0.0124
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1147 | 1140 | 7 | -700 | -0.0007 | 14981 | 14962 | 19 | -1900 | -0.0019
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 10968 | 14240 | -3272 | 327200 | 0.3272 | 67622 | 66274 | 1348 | -134800 | -0.1348
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8940 | 8863 | 77 | -7700 | -0.0077 | 23662 | 22823 | 839 | -83900 | -0.0839
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9711 | 9691 | 20 | -2000 | -0.002 | 35603 | 35420 | 183 | -18300 | -0.0183
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13951 | 13865 | 86 | -8600 | -0.0086 | 47939 | 47105 | 834 | -83400 | -0.0834
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 36055 | 35032 | 1023 | -102300 | -0.1023 | 12835 | 12817 | 18 | -1800 | -0.0018
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17033 | 16953 | 80 | -8000 | -0.008 | 12205 | 12120 | 85 | -8500 | -0.0085
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997600 | 997544 | 56 | -5600 | -0.0056 | 2622 | 2613 | 9 | -900 | -0.0009
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995564 | 995564 | 0 | 0 | 0 | 22 | 22 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999289 | 999289 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.8624 |  |  |  |  | -1.2861
OCTOBER-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 10.8764 |  |  |  |  | 7.3178
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.8624 |  |  |  |  | -1.2861
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.76976 |  |  |  |  | 0.58051
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2917 |  |  |  |  | -0.1434
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 8.4921 |  |  |  |  | 6.4688
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 8.4921 | (REACTIVE MUs) |  |  |  | 6.4688 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.15157 | (REACTIVE MUs) |  |  |  | -2.3857 | (REACTIVE MUs)
[9 empty] | TOTAL | 8.6436 | (REACTIVE MUs) |  |  |  | 4.0831 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 33595 | 31225 | 2370 | 474000 | 0.474 | 65245 | 65244 | 1 | 200 | 0.0002
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 57387 | 55480 | 1907 | 190700 | 0.1907 | 126731 | 126728 | 3 | 300 | 0.0003
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 986846 | 987310 | -464 | -92800 | -0.0928 | 3930 | 3930 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 57439 | 54216 | 3223 | 644600 | 0.6446 | 82235 | 82235 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 72795 | 71742 | 1053 | 1053000 | 1.053 | 737 | 737 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11974 | 11042 | 932 | 932000 | 0.932 | 367 | 367 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 990819 | 992167 | -1348 | -1078400 | -1.0784 | 997507 | 997528 | -21 | -16800 | -0.0168
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 998492 | 999350 | -858 | -686400 | -0.6864 | 999508 | 999526 | -18 | -14400 | -0.0144
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 2569 | 3248 | -679 | -543200 | -0.5432 | 397 | 405 | -8 | -6400 | -0.0064
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998466 | 998436 | 30 | 3000 | 0.003 | 331760 | 328923 | 2837 | 283700 | 0.2837
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 469414 | 463243 | 6171 | 617100 | 0.6171
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11303 | 11300 | 3 | 300 | 0.0003 | 264848 | 259372 | 5476 | 547600 | 0.5476
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5146 | 5391 | -245 | -24500 | -0.0245 | 333900 | 334089 | -189 | -18900 | -0.0189
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998654 | 998654 | 0 | 0 | 0 | 268595 | 266025 | 2570 | 257000 | 0.257
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 340 | 340 | 0 | 0 | 0 | 163976 | 158055 | 5921 | 592100 | 0.5921
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13120 | 13120 | 0 | 0 | 0 | 240762 | 239342 | 1420 | 142000 | 0.142
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 15176 | 13831 | 1345 | 134500 | 0.1345 | 278908 | 275334 | 3574 | 357400 | 0.3574
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 62118 | 61635 | 483 | 531300 | 0.5313
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4293 | 4737 | -444 | -444000 | -0.444 | 36431 | 36431 | 0 | 0 | 0
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 140772 | 140596 | 176 | 193600 | 0.1936
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9256 | 9314 | -58 | -58000 | -0.058 | 50445 | 50427 | 18 | 18000 | 0.018
[10 empty] | -0.502 |  |  |  |  | 0.7429
RIDGE VALLEY
22 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 684 | 677 | 7 | 7000 | 0.007 | 72514 | 72531 | -17 | -17000 | -0.017
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7996 | 7956 | 40 | 40000 | 0.04 | 2235 | 2209 | 26 | 26000 | 0.026
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 861453 | 856361 | 5092 | 509200 | 0.5092 | 54401 | 53877 | 524 | 52400 | 0.0524
25 | A.I.I.M.S.
26 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 5221 | 5252 | -31 | -3100 | -0.0031 | 763 | 763 | 0 | 0 | 0
27 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 43906 | 39096 | 4810 | 481000 | 0.481 | 683143 | 682462 | 681 | 68100 | 0.0681
28 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 113149 | 111427 | 1722 | 172200 | 0.1722 | 240787 | 236134 | 4653 | 465300 | 0.4653
OCTOBER-2012
NDMC(+) Continue…
TRAUMA CENTRE
29 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990450 | 993813 | -3363 | 3363000 | 3.363 | 999947 | 999947 | 0 | 0 | 0
ELECTRIC LANE
30 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998011 | 999817 | -1806 | 1806000 | 1.806 | 999999 | 1000000 | -1 | 1000 | 0.001 | ROLL OVER
KIDWAI NAGAR
31 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 246397 | 241123 | 5274 | 527400 | 0.5274 | 39706 | 39582 | 124 | 12400 | 0.0124
EXHIBITION I
32 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1147 | 1140 | 7 | 700 | 0.0007 | 14981 | 14962 | 19 | 1900 | 0.0019
33 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
34 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 43712 | 40865 | 2847 | 284700 | 0.2847 | 54002 | 53892 | 110 | 11000 | 0.011
35 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 35170 | 32495 | 2675 | 267500 | 0.2675 | 54640 | 54631 | 9 | 900 | 0.0009
36 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 71637 | 69728 | 1909 | 381800 | 0.3818 | 105390 | 105390 | 0 | 0 | 0
TILAK MARG
37 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 11567 | 9962 | 1605 | 160500 | 0.1605 | 890709 | 887476 | 3233 | 323300 | 0.3233
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 8.5027 |  |  |  |  | 4.4291
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 8.5027 |  |  |  |  | 4.4291
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.017735 |  |  |  |  | -0.27914
| TOTAL ENERGY TO NDMC | [8 empty] | 8.5204 |  |  |  |  | 4.15

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2012
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 649 | 645 | 4 | 4000 | 0.004 | 17660 | 17522 | 138 | 138000 | 0.138
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 453 | 453 | 0 | 0 | 0 | 22286 | 22262 | 24 | 24000 | 0.024
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 828 | 825 | 3 | 3000 | 0.003 | 31191 | 31086 | 105 | 105000 | 0.105
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 465 | 464 | 1 | 1000 | 0.001 | 15477 | 15422 | 55 | 55000 | 0.055
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2249 | 2207 | 42 | 42000 | 0.042 | 8377 | 8375 | 2 | 2000 | 0.002
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998819 | 998936 | -117 | -11700 | -0.0117 | 999959 | 999890 | 69 | 6900 | 0.0069
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 998557 | 998718 | -161 | -16100 | -0.0161 | 999920 | 999926 | -6 | -600 | -0.0006
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0222 |  |  |  |  | 0.3303
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3431 | 1 | 100 | 0.0001 | 34359 | 34359 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 34821 | 34233 | 588 | 58800 | 0.0588 | 64525 | 64208 | 317 | 31700 | 0.0317
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 67401 | 67328 | 73 | 7300 | 0.0073 | 9588 | 9386 | 202 | 20200 | 0.0202
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 25695 | 24241 | 1454 | 145400 | 0.1454 | 52971 | 52769 | 202 | 20200 | 0.0202
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 78050 | 77249 | 801 | 80100 | 0.0801 | 53112 | 52399 | 713 | 71300 | 0.0713
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 1288 | 15 | 1273 | 127300 | 0.1273 | 454 | 215 | 239 | 23900 | 0.0239
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2917 |  |  |  |  | 0.1434
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2917 |  |  |  |  | 0.1434
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0222 |  |  |  |  | 0.3303
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3139 |  |  |  |  | 0.4737
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3139 | (REACTIVE MUs) |  |  |  | 0.4737 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0028667 | (REACTIVE MUs) |  |  |  | -0.045122 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.31677 | (REACTIVE MUs) |  |  |  | 0.42858 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2012
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 55038 | 55442 | -404 | -40400 | -0.0404 | 79764 | 79764 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 7811 | 9106 | -1295 | -129500 | -0.1295 | 999426 | 999429 | -3 | -300 | -0.0003
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 174340 | 171624 | 2716 | 271600 | 0.2716 | 96599 | 96599 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 18267 | 17908 | 359 | 336562.5 | 0.33656 | 18202 | 18199 | 3 | 2812.5 | 0.0028125
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992736 | 992774 | -38 | 19000 | 0.019 | 930605 | 931761 | -1156 | 578000 | 0.578
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 992369 | 992994 | -625 | 312500 | 0.3125 | 986100 | 986100 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.76976 |  |  |  |  | 0.58051
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 948794 | 949668 | -874 | -174800 | -0.1748 | 991783 | 991783 | 0 | 0 | 0
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 852824 | 857569 | -4745 | -474500 | -0.4745 | 928134 | 928134 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.6493 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 182084 | 179605 | 2479 | 495800 | 0.4958 | 263302 | 263301 | 1 | 200 | 0.0002
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 68316 | 66542 | 1774 | 354800 | 0.3548 | 41144 | 41144 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 99928 | 96497 | 3431 | 343100 | 0.3431 | 71702 | 71702 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987750 | 987697 | 53 | 53000 | 0.053 | 998301 | 998301 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 979801 | 980396 | -595 | -59500 | -0.0595 | 7273 | 7274 | -1 | -100 | -0.0001
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999999 | 1000009 | -10 | -9375 | -0.009375 | 1579 | 1599 | -20 | -18750 | -0.01875 | ROLL OVER
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991114 | 991279 | -165 | 103125 | 0.10312 | 995561 | 995561 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.281 |  |  |  |  | -0.01865
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.76976 |  |  |  |  | 0.58051
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.6493 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.281 |  |  |  |  | -0.01865

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6867 | 6367 | 500 | 1000000 | 1 | 223 | 223 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 10100 | 9749 | 351 | 702000 | 0.702 | 1002 | 1006 | -4 | -8000 | -0.008
[7 empty] | NET REACTIVE ENERGY |  |  | 1.702 |  | NET REACTIVE ENERGY |  |  | -0.008
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 998964 | 999076 | -112 | -112000 | -0.112 | 42462 | 42462 | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 984826 | 985036 | -210 | -210000 | -0.21 | 980755 | 980826 | -71 | -71000 | -0.071
[7 empty] | NET REACTIVE ENERGY |  |  | -0.322 |  | NET REACTIVE ENERGY |  |  | -0.071
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.38 |  |  |  |  | -0.079
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.507 |  |  |  |  | -6.5034
[7 empty] | NDMC = |  |  | -0.502 |  |  |  |  | 0.7429
MES =
[7 empty] | 2)TOTAL |  |  | -1.009 |  |  |  |  | -5.7605
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.371 |  |  |  |  | -5.8395
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.2742 | % |  |  | 0.10861 |  |  |  |  | -1.7095
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.8553 | % |  |  | 0.15157 |  |  |  |  | -2.3857
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.3176 | % |  |  | 0.090218 |  |  |  |  | -1.42
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.7802 | % |  |  | 0.017735 |  |  |  |  | -0.27914
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7727 | % |  |  | 0.0028667 |  |  |  |  | -0.045122
Note :Sharing taken from wk-30 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2012 TO 31st OCTOBER-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.053957 |  | -1.0245
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 8.6436 | + | 4.0831
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 4.6492 |  | -4.6998
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 8.5204 | + | 4.15
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.31677 | + | 0.42858
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/12 | INTIAL READING 01/10/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 967271 | 967948 | -677 | -1015500 | -1.0155 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999610 | 999803 | -193 | -289500 | -0.2895 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 927425 | 928467 | -1042 | -1563000 | -1.563 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -2.868 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997246 | 997246 | 0 | 0 | 0 | 33379 | 33911 | -532 | -2660000 | -2.66
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999388 | 999388 | 0 | 0 | 0 | 4489 | 5260 | -771 | -771000 | -0.771
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | -3.431