## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
| GOPAL PUR | [5 empty] | .
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965330 | 965327 | 3 | -3000 | -0.003 | 998208 | 998216 | -8 | 8000 | 0.008
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 80171 | 78358 | 1813 | -3626000 | -3.626 | 2282 | 2239 | 43 | -86000 | -0.086
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 524 | 281 | 243 | -243000 | -0.243 | 4 | 4 | 0 | 0 | 0 | w.e.f 3/12/19
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997795 | 997334 | 461 | -461000 | -0.461 | 993142 | 993157 | -15 | 15000 | 0.015
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 887377 | 886734 | 643 | -643000 | -0.643 | 987797 | 987720 | 77 | -77000 | -0.077
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31350 | 30597 | 753 | -753000 | -0.753 | 16122 | 16128 | -6 | 6000 | 0.006
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6123 | 5486 | 637 | -637000 | -0.637 | 998094 | 998100 | -6 | 6000 | 0.006
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2578 | 1995 | 583 | -583000 | -0.583 | 998255 | 998255 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965005 | 965234 | -229 | 114500 | 0.1145 | 843888 | 843889 | -1 | 500 | 0.0005
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2414 | 1990 | 424 | -424000 | -0.424 | 998306 | 998310 | -4 | 4000 | 0.004
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46577 | 44441 | 2136 | -2136000 | -2.136 | 998379 | 998379 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22378 | 20403 | 1975 | -1975000 | -1.975 | 996893 | 996893 | 0 | 0 | 0
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 6545 | 4996 | 1549 | -1549 | -1.549 | 99999952 | 99999952 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 817950 | 820478 | -2528 | -2528000 | -2.528 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912773 | 925590 | -12817 | -12817000 | -12.817 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4214 | 3387 | 827 | -827000 | -0.827 | 999999 | 999999 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 39748 | 37299 | 2449 | -1224500 | -1.2245 | 999961 | 999947 | 14 | -7000 | -0.007
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43775 | 42626 | 1149 | -1149000 | -1.149 | 98 | 111 | -13 | 13000 | 0.013
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999938 | 0 | 0 | 0 | 991989 | 991979 | 10 | 10000 | 0.01
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 582 | 598 | -16 | -16000 | -0.016 | 21893 | 21938 | -45 | -45000 | -0.045
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1354 | 1354 | 0 | 0 | 0 | 12157 | 12080 | 77 | 38500 | 0.0385
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 1089 | 881 | 208 | 10400 | 0.0104 | 53283 | 51525 | 1758 | 87900 | 0.0879
[5 empty] | 50 | [5 empty] | 34229 | 32658 | 1571 | 78550 | 0.07855
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995344 | 995363 | -19 | -19000 | -0.019 | 983613 | 983886 | -273 | -273000 | -0.273
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999754 | 999799 | -45 | -45000 | -0.045 | 298 | 390 | -92 | -92000 | -0.092
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 57459 | 58549 | -1090 | -109000 | -0.109 | 189840 | 189917 | -77 | -7700 | -0.0077
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966283 | 968394 | -2111 | -2111000 | -2.111 | 999810 | 999810 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 978727 | 984038 | -5311 | -2655500 | -2.6555 | 999999 | 999999 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 997796 | 998456 | -660 | -176002.2 | -0.176 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1523 | 1407 | 116 | 58000 | 0.058 | 999915 | 999915 | 0 | 0 | 0
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33579 | 30847 | 2732 | -2732000 | -2.732 | 996473 | 996474 | -1 | 1000 | 0.001
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 151798 | 151123 | 675 | -337500 | -0.3375 | 14691 | 14690 | 1 | -500 | -0.0005
[5 empty] | -500 | 145505 | 139146 | 6359 | -3179500 | -3.1795
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1001235 | 999566 | 1669 | -3338000 | -3.338 | 999975 | 999976 | -1 | 2000 | 0.002
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24462 | 21995 | 2467 | -2467000 | -2.467 | 999958 | 999958 | 0 | 0 | 0
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 66784 | 63593 | 3191 | -6382000 | -6.382 | 280 | 280 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74877 | 72007 | 2870 | -2870000 | -2.87 | 998486 | 998486 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141478 | 136434 | 5044 | -5044000 | -5.044 | 2795 | 2795 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3852 | 2084 | 1768 | -3536000 | -3.536 | 1 | 1 | 0 | 0 | 0
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43782 | 40095 | 3687 | -3687000 | -3.687 | 1179 | 1179 | 0 | 0 | 0
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998445 | 997226 | 1219 | -1219000 | -1.219 | 998536 | 998536 | 0 | 0 | 0
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37384 | 35814 | 1570 | -1570000 | -1.57 | 1639 | 1639 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 118 | 210 | -92 | -92000 | -0.092 | 28058 | 28072 | -14 | -14000 | -0.014
| NDPL(+) continue | [14 empty] | JANUARY-2020
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1052 | 1069 | -17 | -17000 | -0.017 | 61255 | 61256 | -1 | -1000 | -0.001
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999500 | 999502 | -2 | -200 | -0.0002 | 999432 | 999618 | -186 | -18600 | -0.0186
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2758 | 2765 | -7 | -700 | -0.0007 | 28788 | 28742 | 46 | 4600 | 0.0046
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 768 | 762 | 6 | 7998 | 0.007998 | 488 | 485 | 3 | 3999 | 0.003999
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1594 | -2 | -200 | -0.0002
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2033 | 2099 | -66 | -6600 | -0.0066 | 1404 | 1349 | 55 | 5500 | 0.0055
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1661 | 1621 | 40 | 20000 | 0.02
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2257 | 2260 | -3 | -2000.01 | -0.002 | 303 | 287 | 16 | 10666.72 | 0.010667
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 545 | 533 | 12 | 6000 | 0.006 | 146 | 118 | 28 | 14000 | 0.014
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996669 | 996732 | -63 | -6300 | -0.0063 | 4070 | 4071 | -1 | -100 | -0.0001
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 223 | 225 | -2 | -200 | -0.0002 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7721 | 8009 | -288 | -28800 | -0.0288 | 11810 | 11784 | 26 | 2600 | 0.0026
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9272 | 9185 | 87 | 8700 | 0.0087 | 1855 | 1832 | 23 | 2300 | 0.0023
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28474 | 28351 | 123 | 12300 | 0.0123 | 7298 | 7256 | 42 | 4200 | 0.0042
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53402 | 53118 | 284 | 28400 | 0.0284 | 1503 | 1503 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 68 | 51 | 17 | 2266.61 | 0.0022666 | 254 | 254 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999909 | 999979 | -70 | -28000 | -0.028 | 999506 | 999531 | -25 | -10000 | -0.01
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 975055 | 977288 | -2233 | -1786400 | -1.7864 | 999760 | 999760 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997159 | 997417 | -258 | -516000 | -0.516 | 1060 | 1060 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 983915 | 985676 | -1761 | -352200 | -0.3522 | 379 | 378 | 1 | 200 | 0.0002
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999834 | 1000657 | -823 | -205750 | -0.20575 | 323 | 322 | 1 | 250 | 0.00025
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995662 | 996839 | -1177 | -1177000 | -1.177 | 2405 | 2432 | -27 | -27000 | -0.027
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1751 | 1670 | 81 | 60750 | 0.06075 | 3283 | 3279 | 4 | 3000 | 0.003
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -76.9818 |  |  |  |  | -0.31733
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15755 | 15831 | -76 | 7600 | 0.0076 | 119631 | 119393 | 238 | -23800 | -0.0238
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 999906 | 999953 | -47 | 37600 | 0.0376 | 319 | 205 | 114 | -91200 | -0.0912
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 704 | 619 | 85 | -85000 | -0.085 | 60 | 37 | 23 | -23000 | -0.023
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6283 | 6812 | -529 | 70531.57 | 0.070532 | 274 | 271 | 3 | -399.99 | -0.00039999
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998027 | 998117 | -90 | 16875 | 0.016875 | 999960 | 999961 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 931727 | 936637 | -4910 | 3928000 | 3.928 | 998176 | 998176 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990635 | 990793 | -158 | 98750 | 0.09875 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 991244 | 992092 | -848 | 530000 | 0.53 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 998210 | 998442 | -232 | 46400 | 0.0464 | 14155 | 14111 | 44 | -8800 | -0.0088
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995169 | 995484 | -315 | 59062.5 | 0.059062 | 5503 | 5537 | -34 | 6375 | 0.006375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995149 | 995935 | -786 | 147375 | 0.14738 | 4301 | 4305 | -4 | 750 | 0.00075
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3052 | 3052 | 0 | 0 | 0 | 7764 | 7764 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 997412 | 998480 | -1068 | 106800 | 0.1068 | 28355 | 28316 | 39 | -3900 | -0.0039
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 4.964 |  |  |  |  | -0.14379
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -76.9818 |  |  |  |  | -0.31733
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 4.964 |  |  |  |  | -0.14379
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.50019 |  |  |  |  | 0.012125
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -72.518 |  |  |  |  | -0.449
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -72.518 | (REACTIVE MUs) |  |  |  | -0.449 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.8344 | (REACTIVE MUs) |  |  |  | -0.012746 | (REACTIVE MUs)
[9 empty] | TOTAL | -79.3524 | (REACTIVE MUs) |  |  |  | -0.46174 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 28240 | 29682 | -1442 | -144200 | -0.1442 | 994163 | 994300 | -137 | -13700 | -0.0137
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11538 | 12466 | -928 | -278400 | -0.2784 | 4224 | 4585 | -361 | -108300 | -0.1083
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 79290 | 80226 | -936 | -70200 | -0.0702 | 393010 | 393861 | -851 | -63825 | -0.063825
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995313 | 995454 | -141 | -42300 | -0.0423 | 6031 | 6018 | 13 | 3900 | 0.0039
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1674 | 1724 | -50 | -66665 | -0.066665 | 3616 | 3629 | -13 | -17332.9 | -0.017333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 8513 | 8713 | -200 | -20000 | -0.02 | 1219 | 962 | 257 | 25700 | 0.0257
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 95848 | 96023 | -175 | -13125 | -0.013125 | 42312 | 42112 | 200 | 15000 | 0.015
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981679 | 982087 | -408 | -408000 | -0.408 | 2277 | 2277 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 992895 | 993675 | -780 | -390000 | -0.39 | 180 | 180 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997924 | 998311 | -387 | -387000 | -0.387 | 1624 | 1624 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989067 | 989477 | -410 | -410000 | -0.41 | 1353 | 1354 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992160 | 992140 | 20 | 20000 | 0.02 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998308 | 998723 | -415 | -415000 | -0.415 | 998667 | 998671 | -4 | -4000 | -0.004
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996888 | 997125 | -237 | -237000 | -0.237 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 997264 | 996791 | 473 | 378400 | 0.3784 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6903 | 3933 | 2970 | 395990.1 | 0.39599 | 3656 | 3656 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1095 | 1161 | -66 | -66000 | -0.066 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1866 | 1979 | -113 | -113000 | -0.113 | 17472 | 17472 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 972522 | 972756 | -234 | -292500 | -0.2925 | 950755 | 950872 | -117 | -146250 | -0.14625
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 987020 | 987767 | -747 | -821700 | -0.8217 | 936593 | 936730 | -137 | -150700 | -0.1507
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956811 | 957085 | -274 | -274000 | -0.274 | 6225 | 6261 | -36 | -36000 | -0.036
| KASHMIRI GATE | [8 empty] | -1.3882 |  |  |  |  | -0.33295
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990285 | 990596 | -311 | 311000 | 0.311 | 998807 | 998807 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986583 | 986673 | -90 | 90000 | 0.09 | 999035 | 999035 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 13634 | 13721 | -87 | -87000 | -0.087
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 135387 | 134133 | 1254 | -1254000 | -1.254 | 8284 | 8283 | 1 | -1000 | -0.001
[5 empty] | -1000 | 130761 | 126155 | 4606 | -4606000 | -4.606
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35669 | 33476 | 2193 | -2193000 | -2.193 | 999909 | 999914 | -5 | 5000 | 0.005
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999564 | 998429 | 1135 | -1135000 | -1.135 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998357 | 997392 | 965 | -965000 | -0.965 | 998960 | 998960 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20254 | 17133 | 3121 | -3121000 | -3.121 | 983031 | 983031 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34298 | 30739 | 3559 | -3559000 | -3.559 | 287 | 287 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24065 | 21779 | 2286 | -4572000 | -4.572 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 704 | 619 | 85 | 85000 | 0.085 | 60 | 37 | 23 | 23000 | 0.023
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) |  | 6283 | 6812 | -529 | 0 | 0 | 274 | 271 | 3 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 994355 | 994601 | -246 | -32718 | -0.032718 | 10125 | 10176 | -51 | -6783 | -0.006783
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955038 | 955038 | 0 | 0 | 0 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981071 | 981071 | 0 | 0 | 0 | 999926 | 999926 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -24.6064 |  |  |  |  | -0.56329
| (A) NET ENERGY TO CENTRAL | [8 empty] | -24.6064 |  |  |  |  | -0.56329
JANUARY-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989941 | 989365 | 576 | -576000 | -0.576 | 997665 | 997673 | -8 | 8000 | 0.008
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988306 | 987662 | 644 | -644000 | -0.644 | 963319 | 963310 | 9 | -9000 | -0.009
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993931 | 993674 | 257 | -257000 | -0.257 | 998529 | 998547 | -18 | 18000 | 0.018
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990438 | 988570 | 1868 | -1868000 | -1.868 | 999304 | 999311 | -7 | 7000 | 0.007
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21592 | 20226 | 1366 | -1366000 | -1.366 | 997464 | 997410 | 54 | -54000 | -0.054
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8369 | 6730 | 1639 | -1639000 | -1.639 | 996379 | 996355 | 24 | -24000 | -0.024
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7436 | 7192 | 244 | -244000 | -0.244 | 999505 | 999511 | -6 | 6000 | 0.006
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 100MVA Tx.3 (33 KV) | 4864919 | ELSTER | Kvarh(Lead/Lag) | -1000 | 364 | 0 | 364 | -364000 | -0.364 | 3 | 0 | 3 | -3000 | -0.003 | w.e.f 01/01/20
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960004 | 958998 | 1006 | -1006000 | -1.006 | 979053 | 979006 | 47 | -47000 | -0.047
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970742 | 970343 | 399 | -399000 | -0.399 | 976326 | 976371 | -45 | 45000 | 0.045
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960459 | 959640 | 819 | -819000 | -0.819 | 825362 | 825376 | -14 | 14000 | 0.014
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48960 | 45025 | 3935 | -3935000 | -3.935 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10373 | 4505 | 5868 | -5868000 | -5.868 | 0 | 0 | 0 | 0 | 0 | w.e.f 02/12/119
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -18.985 |  |  |  |  | -0.039
| (B) NET ENERGY TO EAST | [8 empty] | -18.985 |  |  |  |  | -0.039
JANUARY-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 997796 | 998456 | -660 | 176002.2 | 0.176 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1523 | 1407 | 116 | -58000 | -0.058 | 999915 | 999915 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2014 | 2188 | -174 | 46398.84 | 0.046399 | 2150 | 2150 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 101772 | 100284 | 1488 | -148800 | -0.1488 | 152234 | 152233 | 1 | -100 | -0.0001
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 991149 | 992118 | -969 | 193800 | 0.1938 | 999322 | 999322 | 0 | 0 | 0
6 | H.LANE | 4865145 | ELSTER | Kvarh(Lead/Lag) | -200 | 25894 | 25735 | 159 | -31800 | -0.0318 | 18226 | 18226 | 0 | 0 | 0 | Data till 22/1
|  | 4865172 | ELSTER | Kvarh(Lead/Lag) | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.w.f 27/1/20
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1106 | 961 | 145 | -116000 | -0.116 | 2558 | 2558 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3593 | 3380 | 213 | -170400 | -0.1704 | 1309 | 1309 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 997849 | 998921 | -1072 | 857600 | 0.8576 | 999015 | 999015 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 963633 | 965209 | -1576 | 1260800 | 1.2608 | 981200 | 981204 | -4 | 3200 | 0.0032
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 969486 | 971266 | -1780 | 1424000 | 1.424 | 990089 | 990089 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998637 | 999014 | -377 | 754000 | 0.754 | 999597 | 999597 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997297 | 997701 | -404 | 808000 | 0.808 | 999540 | 999540 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 118 | 210 | -92 | 92000 | 0.092 | 28058 | 28072 | -14 | 14000 | 0.014
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1052 | 1069 | -17 | 17000 | 0.017 | 61255 | 61256 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1661 | 1621 | 40 | -20000 | -0.02
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2257 | 2260 | -3 | 2000.01 | 0.002 | 303 | 287 | 16 | -10666.72 | -0.010667
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 545 | 533 | 12 | -6000 | -0.006 | 146 | 118 | 28 | -14000 | -0.014
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53402 | 53118 | 284 | -28400 | -0.0284 | 1503 | 1503 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 68 | 51 | 17 | -2266.61 | -0.0022666 | 254 | 254 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996669 | 996732 | -63 | 6300 | 0.0063 | 4070 | 4071 | -1 | 100 | 0.0001
24 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 223 | 225 | -2 | 200 | 0.0002 | 999991 | 999991 | 0 | 0 | 0
26 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7721 | 8009 | -288 | 28800 | 0.0288 | 11810 | 11784 | 26 | -2600 | -0.0026
28 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9272 | 9185 | 87 | -8700 | -0.0087 | 1855 | 1832 | 23 | -2300 | -0.0023
29 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28474 | 28351 | 123 | -12300 | -0.0123 | 7298 | 7256 | 42 | -4200 | -0.0042
[10 empty] | 5.0842 |  |  |  |  | -0.035567
JANUARY-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -24.6064 |  |  |  |  | -0.56329
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 5.0842 |  |  |  |  | -0.035567
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.55065 |  |  |  |  | 0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -20.0728 |  |  |  |  | -0.59866
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -18.985 |  |  |  |  | -0.039
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -39.0578 |  |  |  |  | -0.63766
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -39.0578 | (REACTIVE MUs) |  |  |  | -0.63766 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.531 | (REACTIVE MUs) |  |  |  | -0.0084503 | (REACTIVE MUs)
[9 empty] | TOTAL | -43.5889 | (REACTIVE MUs) |  |  |  | -0.64611 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999072 | 999133 | -61 | -305000 | -0.305 | 998841 | 998853 | -12 | -60000 | -0.06
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980391 | 980419 | -28 | -37333.24 | -0.037333 | 670375 | 670348 | 27 | 35999.91 | 0.036
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 993008 | 994212 | -1204 | -240800 | -0.2408 | 2249 | 2494 | -245 | -49000 | -0.049
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999989 | 1000038 | -49 | -65333.17 | -0.065333 | 999734 | 999712 | 22 | 29333.26 | 0.029333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999172 | 999323 | -151 | -226500 | -0.2265 | 999966 | 999978 | -12 | -18000 | -0.018
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17089 | 17370 | -281 | -28100 | -0.0281 | 22507 | 22579 | -72 | -7200 | -0.0072
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 645395 | 650331 | -4936 | -370200 | -0.3702 | 980536 | 980738 | -202 | -15150 | -0.01515
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 983508 | 985007 | -1499 | -112425 | -0.11242 | 18409 | 18598 | -189 | -14175 | -0.014175
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 995532 | 995532 | 0 | 0 | 0 | 995279 | 995279 | 0 | 0 | 0
|  | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 999700 | 1000000 | -300 | -270000 | -0.27 | 999959 | 1000000 | -41 | -36900 | -0.0369 | w.e.f 01/01/20
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 997734 | 998412 | -678 | -67800 | -0.0678 | 265479 | 265565 | -86 | -8600 | -0.0086
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11610 | 10790 | 820 | -820000 | -0.82 | 996559 | 996529 | 30 | -30000 | -0.03
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2182 | 1848 | 334 | -668000 | -0.668 | 997715 | 997732 | -17 | 34000 | 0.034
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14936 | 14486 | 450 | -450000 | -0.45 | 996683 | 996692 | -9 | 9000 | 0.009
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976550 | 976540 | 10 | -10000 | -0.01 | 990290 | 989688 | 602 | -602000 | -0.602
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65479 | 64493 | 986 | -986000 | -0.986 | 998895 | 998846 | 49 | -49000 | -0.049
[5 empty] | -1000 | 57512 | 57005 | 507 | -507000 | -0.507
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 64201 | 61841 | 2360 | -1180000 | -1.18 | 33914 | 33392 | 522 | -261000 | -0.261
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13722 | 12717 | 1005 | -2010000 | -2.01 | 998223 | 998163 | 60 | -120000 | -0.12
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19882 | 20483 | -601 | 601000 | 0.601 | 815262 | 815498 | -236 | 236000 | 0.236
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5514 | 3069 | 2445 | -2445000 | -2.445 | 989 | 1018 | -29 | 29000 | 0.029
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 53499 | 50514 | 2985 | -2388000 | -2.388 | 998203 | 998018 | 185 | -148000 | -0.148
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971 | 923 | 48 | -48000 | -0.048 | 961463 | 961803 | -340 | 340000 | 0.34
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985613 | 987412 | -1799 | 1799000 | 1.799 | 992671 | 992808 | -137 | 137000 | 0.137
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941851 | 941851 | 0 | 0 | 0 | 984032 | 984032 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3929 | 2217 | 1712 | -1712000 | -1.712 | 997317 | 997357 | -40 | 40000 | 0.04
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4492 | 4272 | 220 | -220000 | -0.22 | 999950 | 999950 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 790 | 517 | 273 | -273000 | -0.273 | 29 | 29 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 134400 | 126473 | 7927 | -7927000 | -7.927 | 12009 | 12006 | 3 | -3000 | -0.003
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2709 | 3144 | -435 | 1449998.55 | 1.45 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 999906 | 999953 | -47 | -37600 | -0.0376 | 319 | 205 | 114 | 91200 | 0.0912
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964815 | 966424 | -1609 | 1609000 | 1.609 | 966000 | 966003 | -3 | 3000 | 0.003
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985879 | 986325 | -446 | 446000 | 0.446 | 984112 | 984112 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31430 | 26616 | 4814 | -4814000 | -4.814 | 985511 | 985508 | 3 | -3000 | -0.003
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 12361 | 10033 | 2328 | -1862400 | -1.8624 | 999083 | 999085 | -2 | 1600 | 0.0016
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 6676 | 5412 | 1264 | -2022400 | -2.0224 | 999899 | 999900 | -1 | 1600 | 0.0016
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996081 | 996006 | 75 | -75000 | -0.075 | 985069 | 985070 | -1 | 1000 | 0.001
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4443 | 3832 | 611 | -305500 | -0.3055 | 991848 | 991927 | -79 | 39500 | 0.0395
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20641 | 19814 | 827 | -827000 | -0.827 | 32593 | 32615 | -22 | 22000 | 0.022
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999157 | 998844 | 313 | -313000 | -0.313 | 996055 | 996083 | -28 | 28000 | 0.028
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999541 | 999489 | 52 | -52000 | -0.052 | 999121 | 999208 | -87 | 87000 | 0.087
BRPL(+) continue | [14 empty] | JANUARY-2020
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39785 | 39378 | 407 | -407000 | -0.407 | 999163 | 999371 | -208 | 208000 | 0.208
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13238 | 12120 | 1118 | -1118000 | -1.118 | 999079 | 999052 | 27 | -27000 | -0.027
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
|  | 5128448 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 24/1/20
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20132 | 17540 | 2592 | -2592000 | -2.592 | 998958 | 998959 | -1 | 1000 | 0.001
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999452 | 998097 | 1355 | -1355000 | -1.355 | 925477 | 925478 | -1 | 1000 | 0.001
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33928 | 31272 | 2656 | -2656000 | -2.656 | 7990 | 7985 | 5 | -5000 | -0.005
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 461 | 206 | 255 | -510000 | -0.51 | 994242 | 994246 | -4 | 8000 | 0.008
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46402 | 44303 | 2099 | -2099000 | -2.099 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25519 | 24201 | 1318 | -2636000 | -2.636 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8333 | 8238 | 95 | -190000 | -0.19 | 2420 | 2385 | 35 | -70000 | -0.07
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6013 | 5815 | 198 | -396000 | -0.396 | 1351 | 1338 | 13 | -26000 | -0.026
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919632 | 919678 | -46 | 46000 | 0.046 | 979412 | 979450 | -38 | 38000 | 0.038
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2026 | 2130 | -104 | 104000 | 0.104 | 994945 | 994981 | -36 | 36000 | 0.036
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1855 | 1812 | 43 | -43000 | -0.043 | 987527 | 987543 | -16 | 16000 | 0.016
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 984468 | 995498 | -11030 | -8824000 | -8.824 | 611 | 611 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 955134 | 956088 | -954 | -763200 | -0.7632 | 999588 | 999588 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 11 | 452 | -441 | -352800 | -0.3528 | 999824 | 999824 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997056 | 997345 | -289 | -231200 | -0.2312 | 34 | 34 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997297 | 997701 | -404 | -808000 | -0.808 | 999540 | 999540 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69609 | 65158 | 4451 | -4451000 | -4.451 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5981 | 1727 | 4254 | -4254000 | -4.254 | 1 | 0 | 1 | -1000 | -0.001 | w.e.f 04/12/19
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 104556 | 97479 | 7077 | -7077000 | -7.077 | 708 | 708 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15755 | 15831 | -76 | -7600 | -0.0076 | 119631 | 119393 | 238 | 23800 | 0.0238
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998027 | 998117 | -90 | -16875 | -0.016875 | 999960 | 999961 | -1 | -187.5 | -0.0001875
NARAINA
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 952086 | 952798 | -712 | -284800 | -0.2848 | 995622 | 995604 | 18 | 7200 | 0.0072
[10 empty] | 0.801 |  |  |  |  | 0 | Assessment Nov 2019
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 12535 | 13215 | -680 | -272000 | -0.272 | 72097 | 72112 | -15 | -6000 | -0.006
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 931727 | 936637 | -4910 | -3928000 | -3.928 | 998176 | 998176 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 418831 | 416099 | 2732 | 273200 | 0.2732 | 84604 | 84601 | 3 | 300 | 0.0003
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5222 | 5324 | -102 | -102000 | -0.102 | 1888 | 1888 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10812 | 0 | 0 | 0 | 21992 | 21999 | -7 | -525 | -0.000525
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5305 | 0 | 0 | 0 | 13929 | 13887 | 42 | 4200 | 0.0042
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10037 | 10834 | -797 | -398500 | -0.3985 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999996 | 1000173 | -177 | -177000 | -0.177 | 4077 | 4079 | -2 | -2000 | -0.002
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988344 | 989311 | -967 | -967000 | -0.967 | 1109 | 1105 | 4 | 4000 | 0.004
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6208 | 6286 | -78 | -78000 | -0.078 | 6497 | 6498 | -1 | -1000 | -0.001
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 6010 | 7568 | -1558 | -249280 | -0.24928 | 999804 | 999795 | 9 | 1440 | 0.00144
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 196564 | 195088 | 1476 | 147600 | 0.1476 | 53709 | 53709 | 0 | 0 | 0
[5 empty] | 100 | [5 empty] | 49019 | 48931 | 88 | 8800 | 0.0088
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3915 | 3857 | 58 | 58000 | 0.058 | 709 | 709 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4164 | 4143 | 21 | 21000 | 0.021 | 6908 | 6908 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 998210 | 998442 | -232 | -46400 | -0.0464 | 14155 | 14111 | 44 | 8800 | 0.0088
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995169 | 995484 | -315 | -59062.5 | -0.059062 | 5503 | 5537 | -34 | -6375 | -0.006375
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995149 | 995935 | -786 | -147375 | -0.14738 | 4301 | 4305 | -4 | -750 | -0.00075
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3052 | 3052 | 0 | 0 | 0 | 7764 | 7764 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 997412 | 998480 | -1068 | -106800 | -0.1068 | 28355 | 28316 | 39 | 3900 | 0.0039
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -73.9245 |  |  |  |  | -0.035189
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22146 | 22236 | -90 | 9000 | 0.009 | 4890 | 4890 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 994355 | 994601 | -246 | 32799.18 | 0.032799 | 10125 | 10176 | -51 | 6799.83 | 0.0067998
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1288 | 1385 | -97 | 97000 | 0.097 | 998464 | 998468 | -4 | 4000 | 0.004
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997539 | 997693 | -154 | 154000 | 0.154 | 2241 | 2242 | -1 | 1000 | 0.001
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9860 | 9861 | -1 | 160 | 0.00016 | 26128 | 26039 | 89 | -14240 | -0.01424
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3912 | 3889 | 23 | -4600 | -0.0046 | 7626 | 7631 | -5 | 1000 | 0.001
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986117 | 986959 | -842 | 842000 | 0.842 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102130 | 101967 | 163 | -16300 | -0.0163 | 75497 | 75513 | -16 | 1600 | 0.0016
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4476 | 4476 | 0 | 0 | 0 | 1182 | 1182 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 25308 | 25858 | -550 | 55000 | 0.055 | 70288 | 70289 | -1 | 100 | 0.0001
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999500 | 999502 | -2 | 200 | 0.0002 | 999432 | 999618 | -186 | 18600 | 0.0186
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2758 | 2765 | -7 | 700 | 0.0007 | 28788 | 28742 | 46 | -4600 | -0.0046
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 768 | 762 | 6 | -7998 | -0.007998 | 488 | 485 | 3 | -3999 | -0.003999
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1594 | -2 | 200 | 0.0002
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2033 | 2099 | -66 | 6600 | 0.0066 | 1404 | 1349 | 55 | -5500 | -0.0055
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999909 | 999979 | -70 | 28000 | 0.028 | 999506 | 999531 | -25 | 10000 | 0.01
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 8420 | 6733 | 1687 | -674800 | -0.6748 | 5995 | 5995 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995662 | 996839 | -1177 | 1177000 | 1.177 | 2405 | 2432 | -27 | 27000 | 0.027
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1751 | 1670 | 81 | -60750 | -0.06075 | 3283 | 3279 | 4 | -3000 | -0.003
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.638 |  |  |  |  | 0.038961
JANUARY-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -73.9245 |  |  |  |  | -0.035189
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.638 |  |  |  |  | 0.038961
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.20016 |  |  |  |  | -0.012
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0117 |  |  |  |  | -0.06145
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -72.4983 |  |  |  |  | -0.069679
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -72.4983 | (REACTIVE MUs) |  |  |  | -0.069679 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.9836 | (REACTIVE MUs) |  |  |  | -0.016754 | (REACTIVE MUs)
[9 empty] | TOTAL | -81.482 | (REACTIVE MUs) |  |  |  | -0.086433 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2014 | 2188 | -174 | -46400.58 | -0.046401 | 2150 | 2150 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 101772 | 100284 | 1488 | 148800 | 0.1488 | 152234 | 152233 | 1 | 100 | 0.0001
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 991149 | 992118 | -969 | -193800 | -0.1938 | 999322 | 999322 | 0 | 0 | 0
4 | H.LANE | 4865145 | ELSTER | Kvarh(Lead/Lag) | 200 | 25894 | 25735 | 159 | 31800 | 0.0318 | 18226 | 18226 | 0 | 0 | 0 | Data till 22/1
|  | 4865172 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.w.f 27/1/20
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1106 | 961 | 145 | 116000 | 0.116 | 2558 | 2558 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3593 | 3380 | 213 | 170400 | 0.1704 | 1309 | 1309 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 997849 | 998921 | -1072 | -857600 | -0.8576 | 999015 | 999015 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 963633 | 965209 | -1576 | -1260800 | -1.2608 | 981200 | 981204 | -4 | -3200 | -0.0032
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 969486 | 971266 | -1780 | -1424000 | -1.424 | 990089 | 990089 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998637 | 999014 | -377 | -754000 | -0.754 | 999597 | 999597 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 976049 | 978133 | -2084 | -104200 | -0.1042 | 20920 | 21354 | -434 | -21700 | -0.0217
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 980547 | 981804 | -1257 | -94275 | -0.094275 | 23203 | 23332 | -129 | -9675 | -0.009675
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999055 | 999179 | -124 | -62000 | -0.062 | 5530 | 5532 | -2 | -1000 | -0.001
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997918 | 998129 | -211 | -79125 | -0.079125 | 7608 | 7631 | -23 | -8625 | -0.008625
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 995592 | 996819 | -1227 | -122700 | -0.1227 | 1025 | 1345 | -320 | -32000 | -0.032
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 10028 | 9632 | 396 | 29700 | 0.0297 | 40189 | 40038 | 151 | 11325 | 0.011325
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11756 | 11942 | -186 | -18600 | -0.0186 | 2005 | 1876 | 129 | 12900 | 0.0129
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996072 | 996155 | -83 | -83000 | -0.083 | 104871 | 104957 | -86 | -86000 | -0.086
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994871 | 995026 | -155 | -155000 | -0.155 | 2544 | 2605 | -61 | -61000 | -0.061
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985352 | 985384 | -32 | -32000 | -0.032 | 144881 | 144895 | -14 | -14000 | -0.014
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999545 | 999654 | -109 | -272500 | -0.2725 | 829 | 862 | -33 | -82500 | -0.0825
[10 empty] | -0.5425 |  |  |  |  | -0.2435
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997539 | 997693 | -154 | -154000 | -0.154 | 2241 | 2242 | -1 | -1000 | -0.001
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9860 | 9861 | -1 | -160 | -0.00016 | 26128 | 26039 | 89 | 14240 | 0.01424
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3912 | 3889 | 23 | 4600 | 0.0046 | 7626 | 7631 | -5 | -1000 | -0.001
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986117 | 986959 | -842 | -842000 | -0.842 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JANUARY-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996831 | 997018 | -187 | 187000 | 0.187 | 990250 | 990250 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998288 | 998488 | -200 | 200000 | 0.2 | 995996 | 995997 | -1 | 1000 | 0.001 | w.e.f 16/04/19
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997421 | 997393 | 28 | -56000 | -0.056 | 996928 | 996928 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998876 | 998828 | 48 | -48000 | -0.048 | 996231 | 996231 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102130 | 101967 | 163 | 16300 | 0.0163 | 75497 | 75513 | -16 | -1600 | -0.0016
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4476 | 4476 | 0 | 0 | 0 | 1182 | 1182 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 25308 | 25858 | -550 | -55000 | -0.055 | 70288 | 70289 | -1 | -100 | -0.0001
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22146 | 22236 | -90 | -9000 | -0.009 | 4890 | 4890 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 418831 | 416099 | 2732 | -273200 | -0.2732 | 84604 | 84601 | 3 | -300 | -0.0003
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5222 | 5324 | -102 | 102000 | 0.102 | 1888 | 1888 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10812 | 0 | 0 | 0 | 21992 | 21999 | -7 | 525 | 0.000525
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5305 | 0 | 0 | 0 | 13929 | 13887 | 42 | -4200 | -0.0042
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.9908 |  |  |  |  | -0.28781
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.9908 |  |  |  |  | -0.28781
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -1.0054 |  |  |  |  | -0.001875
| TOTAL ENERGY TO NDMC | [8 empty] | -6.9961 |  |  |  |  | -0.28969

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3779 | 3779 | 0 | 0 | 0 | 65188 | 64594 | 594 | 118800 | 0.1188
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 0 | 0 | 0 | 0 | 0 | 4373 | 2398 | 1975 | 316000 | 0.316
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4474 | 4474 | 0 | 0 | 0 | 55696 | 55572 | 124 | 124000 | 0.124
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 161 | 162 | -1 | -400 | -0.0004 | 16755 | 16785 | -30 | -12000 | -0.012
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 35 | 49 | -14 | -11200 | -0.0112 | 474 | 482 | -8 | -6400 | -0.0064
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1410 | 1424 | -14 | -5600 | -0.0056 | 4693 | 4670 | 23 | 9200 | 0.0092
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1288 | 1385 | -97 | -97000 | -0.097 | 998464 | 998468 | -4 | -4000 | -0.004
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.1142 |  |  |  |  | 0.5456
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66728 | 66612 | 116 | 11600 | 0.0116 | 102278 | 102006 | 272 | 27200 | 0.0272
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 3 | 0 | 0 | 0 | 71 | 71 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 608 | 607 | 1 | 100 | 0.0001 | 18836 | 18495 | 341 | 34100 | 0.0341
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1666 | 1664 | 2 | 150 | 0.00015
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4364 | 4364 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0117 |  |  |  |  | 0.06145
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.1142 |  |  |  |  | 0.5456
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.1025 |  |  |  |  | 0.60705
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.1025 | (REACTIVE MUs) |  |  |  | 0.60705 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.22899 | (REACTIVE MUs) |  |  |  | -0.00042707 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.33149 | (REACTIVE MUs) |  |  |  | 0.60662 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990635 | 990793 | -158 | -98750 | -0.09875 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 991244 | 992092 | -848 | -530000 | -0.53 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 8420 | 6733 | 1687 | 674800 | 0.6748 | 5995 | 5995 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.04605 |  |  |  |  | 0
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10573 |  |  |  |  | -0.00019719
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.059685 |  |  |  |  | -0.00019719

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 964111 | 966339 | -2228 | -222800 | -0.2228 | 2033 | 2033 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 59934 | 62069 | -2135 | -213500 | -0.2135 | 6263 | 6263 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 14926 | 15146 | -220 | -110000 | -0.11 | 3870 | 3870 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998502 | 998301 | 201 | 188437.5 | 0.18844 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 994414 | 994596 | -182 | 91000 | 0.091 | 999825 | 999825 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993570 | 993680 | -110 | 55000 | 0.055 | 999852 | 999852 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 224 | 185 | 39 | 11700 | 0.0117 | 36 | 76 | -40 | -12000 | -0.012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.20016 |  |  |  |  | -0.012
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 975720 | 976692 | -972 | -194400 | -0.1944 | 999796 | 999795 | 1 | 200 | 0.0002
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 989284 | 989664 | -380 | -356250 | -0.35625 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.55065 |  |  |  |  | 0.0002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1754 | 1799 | -45 | -56250 | -0.05625 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 371472 | 370906 | 566 | 56600 | 0.0566 | 179814 | 179814 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 318663 | 317650 | 1013 | 63312.5 | 0.063312 | 104173 | 104171 | 2 | 125 | 0.000125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2570 | 2841 | -271 | -216800 | -0.2168 | 1733 | 1733 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 958923 | 960440 | -1517 | -151700 | -0.1517 | 999097 | 999097 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995969 | 997310 | -1341 | -201150 | -0.20115 | 990474 | 990474 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997375 | 997382 | -7 | 17500 | 0.0175 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 224 | 185 | 39 | -11700 | -0.0117 | 36 | 76 | -40 | 12000 | 0.012
| TOTAL NDPL | [8 empty] | -0.50019 |  |  |  |  | 0.012125
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.20016 |  |  |  |  | -0.012
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.55065 |  |  |  |  | 0.0002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.50019 |  |  |  |  | 0.012125

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 87407 | 85753 | 1654 | 1654000 | 1.654 | 23828 | 23532 | 296 | 296000 | 0.296
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 3626 | 3033 | 593 | 1186000 | 1.186 | 999657 | 999537 | 120 | 240000 | 0.24
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 953023 | 954611 | -1588 | 794000 | 0.794 | 998674 | 998674 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 593696 | 600296 | -6600 | 660000 | 0.66 | 997094 | 997094 | 0 | 0 | 0
[5 empty] | -100 | 607441 | 607761 | -320 | 32000 | 0.032
[5 empty] | -100 | 610055 | 610200 | -145 | 14500 | 0.0145
[7 empty] | NET REACTIVE ENERGY |  |  | 4.3405 |  | NET REACTIVE ENERGY |  |  | 0.536
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.3405 |  |  |  |  | 0.536
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -14.296 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -11.1912 |  |  |  |  | -0.33295
[7 empty] | NDMC = |  |  | -0.5425 |  |  |  |  | -0.2435
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -26.0297 |  |  |  |  | -0.57645
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -21.6892 |  |  |  |  | -0.04045
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.5107 | % |  |  | -6.8344 |  |  |  |  | -0.012746
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.4199 | % |  |  | -8.9836 |  |  |  |  | -0.016754
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.8907 | % |  |  | -4.531 |  |  |  |  | -0.0084503
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6354 | % |  |  | -1.0054 |  |  |  |  | -0.001875
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0558 | % |  |  | -0.22899 |  |  |  |  | -0.00042707
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4875 | % |  |  | -0.10573 |  |  |  |  | -0.00019719
Note :Sharing taken from wk-44 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st January 2020 TO 31st JANUARY-2020
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -79.3524 |  | -0.46174
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -81.482 |  | -0.086433
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -43.5889 |  | -0.64611
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -6.9961 |  | -0.28969
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.33149 | + | 0.60662
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.059685 |  | -0.00019719
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2020 | INTIAL READING 01/01/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 81377 | 79839 | 1538 | 1153500 | 1.1535 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 807080 | 810396 | -3316 | -2487000 | -2.487 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1411 | 1571 | -160 | -800000 | -0.8 | 13230 | 13229 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863409 | 862424 | 985 | 985000 | 0.985
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981242 | 980228 | 1014 | 1014000 | 1.014 | 1995 | 466 | 1529 | 1529000 | 1.529
[8 empty] | NET REACTIVE ENERGY |  | 0.214 |  |  | NET REACTIVE ENERGY |  | 2.519