## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965360 | 965753 | -393 | 393000 | 0.393 | 998262 | 998278 | -16 | 16000 | 0.016
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 76945 | 75208 | 1737 | -3474000 | -3.474 | 2178 | 2167 | 11 | -22000 | -0.022
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927304 | 927607 | -303 | 303000 | 0.303 | 990549 | 990548 | 1 | -1000 | -0.001 | Data till 25/11
|  | 4865007 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998126 | 998112 | 14 | -14000 | -0.014 | 995196 | 995196 | 0 | 0 | 0 | Check Meter Data
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996767 | 996371 | 396 | -396000 | -0.396 | 993125 | 993120 | 5 | -5000 | -0.005
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 885848 | 885015 | 833 | -833000 | -0.833 | 987665 | 987633 | 32 | -32000 | -0.032
[5 empty] | -1000 | 876718 | 876718 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29676 | 29079 | 597 | -597000 | -0.597 | 16151 | 16151 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4649 | 4133 | 516 | -516000 | -0.516 | 998125 | 998124 | 1 | -1000 | -0.001
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1419 | 1092 | 327 | -327000 | -0.327 | 998249 | 998249 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965246 | 965706 | -460 | 230000 | 0.23 | 843893 | 843893 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1668 | 1944 | -276 | 276000 | 0.276 | 998339 | 998340 | -1 | 1000 | 0.001
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41982 | 39704 | 2278 | -2278000 | -2.278 | 998364 | 998364 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18727 | 16554 | 2173 | -2173000 | -2.173 | 996886 | 996886 | 0 | 0 | 0
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 3557 | 2232 | 1325 | -1325 | -1.325 | 99999952 | 99999952 | 0 | 0 | 0
[10 empty] | 0.182 | [5 empty] | Sept Assessment
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 824988 | 828693 | -3705 | -3705000 | -3.705 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 934428 | 939788 | -5360 | -5360000 | -5.36 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2376 | 1280 | 1096 | -1096000 | -1.096 | 0 | 0 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 33473 | 29597 | 3876 | -1938000 | -1.938 | 999936 | 999935 | 1 | -500 | -0.0005
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41768 | 40944 | 824 | -824000 | -0.824 | 136 | 146 | -10 | 10000 | 0.01
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999940 | -2 | -2000 | -0.002 | 991942 | 991898 | 44 | 44000 | 0.044
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 598 | 614 | -16 | -16000 | -0.016 | 21962 | 21968 | -6 | -6000 | -0.006
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1354 | 1354 | 0 | 0 | 0 | 11946 | 11753 | 193 | 96500 | 0.0965
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 859 | 843 | 16 | 800 | 0.0008 | 29014 | 27726 | 1288 | 64400 | 0.0644
[5 empty] | 50 | [5 empty] | 5018 | 4157 | 861 | 43050 | 0.04305
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995365 | 995495 | -130 | -130000 | -0.13 | 984234 | 984280 | -46 | -46000 | -0.046
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999859 | 999998 | -139 | -139000 | -0.139 | 531 | 538 | -7 | -7000 | -0.007
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 58747 | 58539 | 208 | 20800 | 0.0208 | 189885 | 189866 | 19 | 1900 | 0.0019
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969341 | 970790 | -1449 | -1449000 | -1.449 | 999814 | 999814 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 990302 | 998226 | -7924 | -3962000 | -3.962 | 999999 | 1000000 | -1 | -500 | -0.0005
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999155 | 1000194 | -1039 | -277070.13 | -0.27707 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1248 | 1192 | 56 | 28000 | 0.028 | 999914 | 999913 | 1 | 500 | 0.0005
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28479 | 26060 | 2419 | -2419000 | -2.419 | 996470 | 996470 | 0 | 0 | 0
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 132599 | 125993 | 6606 | -3303000 | -3.303 | 14662 | 14662 | 0 | 0 | 0
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999281 | 999475 | -194 | 388000 | 0.388 | 999999 | 1000000 | -1 | 2000 | 0.002
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19202 | 15637 | 3565 | -3565000 | -3.565 | 999961 | 999961 | 0 | 0 | 0
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 60698 | 57820 | 2878 | -5756000 | -5.756 | 287 | 287 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69346 | 66632 | 2714 | -2714000 | -2.714 | 998491 | 998491 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 131553 | 126465 | 5088 | -5088000 | -5.088 | 2788 | 2788 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46586 | 44565 | 2021 | -2021000 | -2.021 | 999370 | 999370 | 0 | 0 | 0 | Check Meter Data
|  | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 449 | 0 | 449 | -898000 | -0.898 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/11/19
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36670 | 33525 | 3145 | -3145000 | -3.145 | 1177 | 1177 | 0 | 0 | 0
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997084 | 997062 | 22 | -22000 | -0.022 | 998540 | 998540 | 0 | 0 | 0
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33133 | 31271 | 1862 | -1862000 | -1.862 | 1622 | 1622 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 534 | 750 | -216 | -216000 | -0.216 | 28109 | 28109 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | NOVEMBER-2019
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1088 | 1116 | -28 | -28000 | -0.028 | 61257 | 61258 | -1 | -1000 | -0.001
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999551 | 999553 | -2 | -200 | -0.0002 | 999839 | 999988 | -149 | -14900 | -0.0149
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2740 | 2739 | 1 | 100 | 0.0001 | 28652 | 28636 | 16 | 1600 | 0.0016
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 749 | 718 | 31 | 41323 | 0.041323 | 482 | 482 | 0 | 0 | 0
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1594 | 1594 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2059 | 1624 | 435 | 43500 | 0.0435 | 1323 | 1312 | 11 | 1100 | 0.0011
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999907 | -8 | -4000 | -0.004 | 1552 | 1545 | 7 | 3500 | 0.0035
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2257 | 2236 | 21 | 14000.07 | 0.014 | 262 | 259 | 3 | 2000.01 | 0.002
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 517 | 461 | 56 | 28000 | 0.028 | 80 | 75 | 5 | 2500 | 0.0025
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996807 | 996837 | -30 | -3000 | -0.003 | 4073 | 4082 | -9 | -900 | -0.0009
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8139 | 8211 | -72 | -7200 | -0.0072 | 11714 | 11693 | 21 | 2100 | 0.0021
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9083 | 8975 | 108 | 10800 | 0.0108 | 1801 | 1764 | 37 | 3700 | 0.0037
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28253 | 28154 | 99 | 9900 | 0.0099 | 7222 | 7190 | 32 | 3200 | 0.0032
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53320 | 50580 | 2740 | 274000 | 0.274 | 1500 | 1500 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 37 | 8 | 29 | 3866.57 | 0.0038666 | 339 | 323 | 16 | 2133.28 | 0.0021333
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 17 | 59 | -17700 | -0.0177 | 663 | 622 | 41 | -12300 | -0.0123
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999969 | 999972 | -3 | -1200 | -0.0012 | 999637 | 999695 | -58 | -23200 | -0.0232
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 979926 | 982224 | -2298 | -1838400 | -1.8384 | 999760 | 999760 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997721 | 998015 | -294 | -588000 | -0.588 | 1061 | 1061 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 987363 | 988871 | -1508 | -301600 | -0.3016 | 378 | 378 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 977 | 764 | 213 | 53250 | 0.05325 | 322 | 322 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997881 | 999057 | -1176 | -1176000 | -1.176 | 2396 | 2396 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1564 | 1446 | 118 | 88500 | 0.0885 | 3270 | 3270 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -63.4165 |  |  |  |  | 0.12788
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15641 | 15051 | 590 | -59000 | -0.059 | 119259 | 119251 | 8 | -800 | -0.0008
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 211 | 206 | 5 | -4000 | -0.004 | 39 | 24 | 15 | -12000 | -0.012
[10 empty] | 0 |  |  |  |  | -0.228 | Sept Month Assessment
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 661 | 668 | -7 | 7000 | 0.007 | 37 | 37 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6501 | 5751 | 750 | -99997.5 | -0.099998 | 220 | 218 | 2 | -266.66 | -0.00026666
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998202 | 998409 | -207 | 38812.5 | 0.038812 | 999962 | 999962 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 938312 | 941119 | -2807 | 2245600 | 2.2456 | 998182 | 998182 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991197 | 991676 | -479 | 299375 | 0.29938 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 992485 | 993058 | -573 | 358125 | 0.35813 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 998916 | 999272 | -356 | 71200 | 0.0712 | 14066 | 14061 | 5 | -1000 | -0.001
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995611 | 996238 | -627 | 117562.5 | 0.11756 | 5606 | 5607 | -1 | 187.5 | 0.0001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996631 | 997687 | -1056 | 198000 | 0.198 | 4321 | 4318 | 3 | -562.5 | -0.0005625
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3052 | 2866 | 186 | -46500 | -0.0465 | 7764 | 7762 | 2 | -500 | -0.0005
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999554 | 1000043 | -489 | 48900 | 0.0489 | 28242 | 28225 | 17 | -1700 | -0.0017
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.1751 |  |  |  |  | -0.24464
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -63.4165 |  |  |  |  | 0.12788
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.1751 |  |  |  |  | -0.24464
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.3111 |  |  |  |  | 0.0006
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -58.9304 |  |  |  |  | -0.11616
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -58.9304 | (REACTIVE MUs) |  |  |  | -0.11616 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.4709 | (REACTIVE MUs) |  |  |  | -0.0056218 | (REACTIVE MUs)
[9 empty] | TOTAL | -65.4013 | (REACTIVE MUs) |  |  |  | -0.12178 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 31052 | 30083 | 969 | 96900 | 0.0969 | 994375 | 994371 | 4 | 400 | 0.0004
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 13137 | 12929 | 208 | 62400 | 0.0624 | 4721 | 4728 | -7 | -2100 | -0.0021
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 81249 | 77403 | 3846 | 288450 | 0.28845 | 394362 | 394370 | -8 | -600 | -0.0006
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995514 | 995372 | 142 | 42600 | 0.0426 | 6019 | 6019 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1724 | 1758 | -34 | -45332.2 | -0.045332 | 3629 | 3630 | -1 | -1333.3 | -0.0013333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 9209 | 6900 | 2309 | 230900 | 0.2309 | 972 | 970 | 2 | 200 | 0.0002
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 98200 | 93570 | 4630 | 347250 | 0.34725 | 42045 | 42046 | -1 | -75 | -7.5e-05
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982385 | 982752 | -367 | -367000 | -0.367 | 2313 | 2313 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 994462 | 995437 | -975 | -487500 | -0.4875 | 249 | 249 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998122 | 998172 | -50 | -50000 | -0.05 | 1585 | 1585 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989859 | 990485 | -626 | -626000 | -0.626 | 1399 | 1399 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992597 | 992966 | -369 | -369000 | -0.369 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999125 | 999426 | -301 | -301000 | -0.301 | 998671 | 998671 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997167 | 997087 | 80 | 80000 | 0.08 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996404 | 996831 | -427 | -341600 | -0.3416 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 1667 | 1643 | 24 | 3199.92 | 0.0031999 | 3294 | 3294 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1273 | 1368 | -95 | -95000 | -0.095 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1994 | 2356 | -362 | -362000 | -0.362 | 17369 | 17369 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 973104 | 973706 | -602 | -752500 | -0.7525 | 950983 | 950995 | -12 | -15000 | -0.015
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 988678 | 989980 | -1302 | -1432200 | -1.4322 | 936855 | 936878 | -23 | -25300 | -0.0253
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957359 | 957850 | -491 | -491000 | -0.491 | 6295 | 6302 | -7 | -7000 | -0.007
| KASHMIRI GATE | [8 empty] | -2.6757 |  |  |  |  | -0.0473
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990796 | 991472 | -676 | 676000 | 0.676 | 998807 | 998807 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986840 | 987935 | -1095 | 1095000 | 1.095 | 999038 | 999038 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 17 | 59 | 17700 | 0.0177 | 663 | 622 | 41 | 12300 | 0.0123
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 13758 | 13739 | 19 | 19000 | 0.019
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 122840 | 122288 | 552 | -552000 | -0.552 | 8282 | 8280 | 2 | -2000 | -0.002
[5 empty] | -1000 | 114892 | 111135 | 3757 | -3757000 | -3.757
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31181 | 29581 | 1600 | -1600000 | -1.6 | 999908 | 999904 | 4 | -4000 | -0.004
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997774 | 997423 | 351 | -351000 | -0.351 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996639 | 996611 | 28 | -28000 | -0.028 | 998959 | 998961 | -2 | 2000 | 0.002
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998374 | 996500 | 1874 | -1874000 | -1.874 | 983031 | 983031 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26634 | 23190 | 3444 | -3444000 | -3.444 | 287 | 287 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 19250 | 17172 | 2078 | -4156000 | -4.156 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 668 | -7 | -7000 | -0.007 | 37 | 37 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6501 | 5751 | 750 | 99997.5 | 0.099998 | 220 | 218 | 2 | 266.66 | 0.00026666
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 994825 | 995168 | -343 | -45619 | -0.045619 | 10252 | 10322 | -70 | -9310 | -0.00931
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955038 | 955113 | -75 | 75000 | 0.075 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981071 | 981162 | -91 | 91000 | 0.091 | 999936 | 999926 | 10 | -10000 | -0.01
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -18.3284 |  |  |  |  | -0.042552
| (A) NET ENERGY TO CENTRAL | [8 empty] | -18.3284 |  |  |  |  | -0.042552
NOVEMBER-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988786 | 989138 | -352 | 352000 | 0.352 | 997669 | 997670 | -1 | 1000 | 0.001
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987141 | 987076 | 65 | -65000 | -0.065 | 963296 | 963289 | 7 | -7000 | -0.007
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993421 | 994167 | -746 | 746000 | 0.746 | 998550 | 998551 | -1 | 1000 | 0.001
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987136 | 986570 | 566 | -566000 | -0.566 | 999310 | 999310 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18260 | 17012 | 1248 | -1248000 | -1.248 | 997376 | 997375 | 1 | -1000 | -0.001
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4626 | 3114 | 1512 | -1512000 | -1.512 | 996309 | 996311 | -2 | 2000 | 0.002
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10141 | 8363 | 1778 | -1778000 | -1.778 | 951808 | 951787 | 21 | -21000 | -0.021
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957554 | 956439 | 1115 | -1115000 | -1.115 | 978929 | 978929 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 993488 | 993488 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969768 | 970409 | -641 | 641000 | 0.641 | 977713 | 977717 | -4 | 4000 | 0.004
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959085 | 958729 | 356 | -356000 | -0.356 | 825392 | 825393 | -1 | 1000 | 0.001
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41370 | 37550 | 3820 | -3820000 | -3.82 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5508 | 3098 | 2410 | -4820000 | -4.82 | 999979 | 999979 | 0 | 0 | 0 | Check Meter Data
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -13.541 |  |  |  |  | -0.02
| (B) NET ENERGY TO EAST | [8 empty] | -13.541 |  |  |  |  | -0.02
NOVEMBER-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999155 | 1000194 | -1039 | 277070.13 | 0.27707 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1248 | 1192 | 56 | -28000 | -0.028 | 999914 | 999913 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2437 | 2617 | -180 | 47998.8 | 0.047999 | 2150 | 2150 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 98674 | 97727 | 947 | -94700 | -0.0947 | 152230 | 152230 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 992850 | 993584 | -734 | 146800 | 0.1468 | 999322 | 999322 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 69672 | 68941 | 731 | -146200 | -0.1462 | 132702 | 132702 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 847 | 801 | 46 | -36800 | -0.0368 | 2557 | 2557 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3390 | 3154 | 236 | -188800 | -0.1888 | 1309 | 1308 | 1 | -800 | -0.0008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 999319 | 999732 | -413 | 330400 | 0.3304 | 999018 | 999019 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966028 | 966251 | -223 | 178400 | 0.1784 | 981283 | 981396 | -113 | 90400 | 0.0904
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 971715 | 972679 | -964 | 771200 | 0.7712 | 990090 | 990096 | -6 | 4800 | 0.0048
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999331 | 999652 | -321 | 642000 | 0.642 | 999597 | 999598 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997861 | 997861 | 0 | 0 | 0 | 999540 | 999540 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 534 | 750 | -216 | 216000 | 0.216 | 28109 | 28109 | 0 | 0 | 0
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1088 | 1116 | -28 | 28000 | 0.028 | 61257 | 61258 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999907 | -8 | 4000 | 0.004 | 1552 | 1545 | 7 | -3500 | -0.0035
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2257 | 2236 | 21 | -14000.07 | -0.014 | 262 | 259 | 3 | -2000.01 | -0.002
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 517 | 461 | 56 | -28000 | -0.028 | 80 | 75 | 5 | -2500 | -0.0025
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53320 | 50580 | 2740 | -274000 | -0.274 | 1500 | 1500 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 37 | 8 | 29 | -3866.57 | -0.0038666 | 339 | 323 | 16 | -2133.28 | -0.0021333
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996807 | 996837 | -30 | 3000 | 0.003 | 4073 | 4082 | -9 | 900 | 0.0009
24 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
26 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8139 | 8211 | -72 | 7200 | 0.0072 | 11714 | 11693 | 21 | -2100 | -0.0021
28 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9083 | 8975 | 108 | -10800 | -0.0108 | 1801 | 1764 | 37 | -3700 | -0.0037
29 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28253 | 28154 | 99 | -9900 | -0.0099 | 7222 | 7190 | 32 | -3200 | -0.0032
[10 empty] | 1.817 |  |  |  |  | 0.079467
NOVEMBER-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -18.3284 |  |  |  |  | -0.042552
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.817 |  |  |  |  | 0.079467
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.75439 |  |  |  |  | -0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -17.2657 |  |  |  |  | 0.036715
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -13.541 |  |  |  |  | -0.02
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -30.8067 |  |  |  |  | 0.016715
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -30.8067 | (REACTIVE MUs) |  |  |  | 0.016715 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.2007 | (REACTIVE MUs) |  |  |  | -0.0036495 | (REACTIVE MUs)
[9 empty] | TOTAL | -35.0075 | (REACTIVE MUs) |  |  |  | 0.013066 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999180 | 999211 | -31 | -155000 | -0.155 | 998859 | 998860 | -1 | -5000 | -0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980593 | 980931 | -338 | -450665.54 | -0.45067 | 670360 | 670361 | -1 | -1333.33 | -0.0013333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 995298 | 996872 | -1574 | -314800 | -0.3148 | 2620 | 2629 | -9 | -1800 | -0.0018
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 88 | 102 | -14 | -18666.62 | -0.018667 | 999697 | 999697 | 0 | 0 | 0
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) |  | 999501 | 999730 | -229 | 0 | 0 | 999981 | 999981 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17691 | 18161 | -470 | -47000 | -0.047 | 22618 | 22621 | -3 | -300 | -0.0003
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 656294 | 665616 | -9322 | -699150 | -0.69915 | 980809 | 980809 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 986843 | 989352 | -2509 | -188175 | -0.18818 | 18648 | 18652 | -4 | -300 | -0.0003
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 995623 | 995995 | -372 | -334800 | -0.3348 | 995280 | 995282 | -2 | -1800 | -0.0018
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 999272 | 1000477 | -1205 | -120500 | -0.1205 | 265583 | 265584 | -1 | -100 | -0.0001
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9678 | 8691 | 987 | -987000 | -0.987 | 996514 | 996511 | 3 | -3000 | -0.003
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1356 | 1049 | 307 | -614000 | -0.614 | 997775 | 997774 | 1 | -2000 | -0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13816 | 13326 | 490 | -490000 | -0.49 | 996724 | 996723 | 1 | -1000 | -0.001
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975815 | 975583 | 232 | -232000 | -0.232 | 989402 | 989301 | 101 | -101000 | -0.101
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54932 | 52993 | 1939 | -1939000 | -1.939 | 998797 | 998795 | 2 | -2000 | -0.002
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 59464 | 57371 | 2093 | -1046500 | -1.0465 | 32994 | 32945 | 49 | -24500 | -0.0245
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 11667 | 10652 | 1015 | -2030000 | -2.03 | 998110 | 998105 | 5 | -10000 | -0.01
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20546 | 21760 | -1214 | 1214000 | 1.214 | 815697 | 815710 | -13 | 13000 | 0.013
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1172 | 61 | 1111 | -1111000 | -1.111 | 1037 | 1031 | 6 | -6000 | -0.006
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 47589 | 39742 | 7847 | -6277600 | -6.2776 | 997833 | 997830 | 3 | -2400 | -0.0024
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 174 | 281 | -107 | 107000 | 0.107 | 962042 | 962043 | -1 | 1000 | 0.001
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990317 | 994166 | -3849 | 3849000 | 3.849 | 993060 | 993063 | -3 | 3000 | 0.003
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941851 | 941851 | 0 | 0 | 0 | 984032 | 984032 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1627 | 1649 | -22 | 22000 | 0.022 | 997438 | 997440 | -2 | 2000 | 0.002
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4164 | 3933 | 231 | -231000 | -0.231 | 999950 | 999950 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 485 | 265 | 220 | -220000 | -0.22 | 18 | 18 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119390 | 111532 | 7858 | -7858000 | -7.858 | 12004 | 12004 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 3866 | 4495 | -629 | 2096664.57 | 2.0967 | 37 | 37 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 211 | 206 | 5 | 4000 | 0.004 | 39 | 24 | 15 | 12000 | 0.012
[10 empty] | 0 |  |  |  |  | 0.228 | Sept Month Assessment
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967823 | 969694 | -1871 | 1871000 | 1.871 | 966012 | 966013 | -1 | 1000 | 0.001
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986609 | 987383 | -774 | 774000 | 0.774 | 984113 | 984113 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9426 | 7948 | 1478 | -1478000 | -1.478 | 985500 | 985500 | 0 | 0 | 0
[5 empty] | -1000 | 1527 | 10 | 1517 | -1517000 | -1.517
[5 empty] | -1000 | 994870 | 994001 | 869 | -869000 | -0.869
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 7418 | 5756 | 1662 | -1329600 | -1.3296 | 999087 | 999088 | -1 | 800 | 0.0008
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 4034 | 3199 | 835 | -1336000 | -1.336 | 999899 | 999899 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 3188 | 1540 | 1648 | -824000 | -0.824 | 992047 | 992104 | -57 | 28500 | 0.0285
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19031 | 18429 | 602 | -602000 | -0.602 | 32662 | 32663 | -1 | 1000 | 0.001
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998455 | 998135 | 320 | -320000 | -0.32 | 996110 | 996109 | 1 | -1000 | -0.001
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999365 | 999131 | 234 | -234000 | -0.234 | 999254 | 999254 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | NOVEMBER-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38190 | 36006 | 2184 | -2184000 | -2.184 | 999656 | 999655 | 1 | -1000 | -0.001
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10734 | 9230 | 1504 | -1504000 | -1.504 | 999008 | 999008 | 0 | 0 | 0
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15343 | 12833 | 2510 | -2510000 | -2.51 | 998963 | 998963 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997583 | 996987 | 596 | -596000 | -0.596 | 925479 | 925479 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28995 | 26323 | 2672 | -2672000 | -2.672 | 7984 | 7984 | 0 | 0 | 0
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 478 | 1355 | -877 | 1754000 | 1.754 | 994270 | 994270 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42728 | 42232 | 496 | -496000 | -0.496 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 21392 | 18987 | 2405 | -4810000 | -4.81 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8071 | 7906 | 165 | -330000 | -0.33 | 2356 | 2354 | 2 | -4000 | -0.004
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5599 | 5316 | 283 | -566000 | -0.566 | 1314 | 1314 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919684 | 919713 | -29 | 29000 | 0.029 | 979540 | 979556 | -16 | 16000 | 0.016
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2165 | 2220 | -55 | 55000 | 0.055 | 995065 | 995070 | -5 | 5000 | 0.005
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1806 | 1850 | -44 | 44000 | 0.044 | 987570 | 987571 | -1 | 1000 | 0.001
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 987117 | 988756 | -1639 | -1311200 | -1.3112 | 611 | 611 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 959626 | 962927 | -3301 | -2640800 | -2.6408 | 999590 | 999590 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 917 | 1103 | -186 | -148800 | -0.1488 | 999823 | 999823 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997438 | 997672 | -234 | -187200 | -0.1872 | 34 | 34 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997861 | 997861 | 0 | 0 | 0 | 999540 | 999540 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57502 | 51034 | 6468 | -6468000 | -6.468 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86324 | 83134 | 3190 | -3190000 | -3.19 | 722 | 722 | 0 | 0 | 0 | Data till 25/11
|  | 4865014 | ELSTER | Kvarh(Lead/Lag) | -1000 | 79183 | 78510 | 673 | -673000 | -0.673 | 1460 | 1459 | 1 | -1000 | -0.001 | Check Meter Data
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90991 | 85125 | 5866 | -5866000 | -5.866 | 708 | 708 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15641 | 15051 | 590 | 59000 | 0.059 | 119259 | 119251 | 8 | 800 | 0.0008
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998202 | 998409 | -207 | -38812.5 | -0.038812 | 999962 | 999962 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 953634 | 956538 | -2904 | -1161600 | -1.1616 | 995619 | 995624 | -5 | -2000 | -0.002
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 13728 | 14359 | -631 | -252400 | -0.2524 | 72077 | 72077 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 938312 | 941119 | -2807 | -2245600 | -2.2456 | 998182 | 998182 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 411697 | 402248 | 9449 | 944900 | 0.9449 | 84596 | 84596 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5604 | 5722 | -118 | -118000 | -0.118 | 1888 | 1888 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10812 | 0 | 0 | 0 | 21965 | 21819 | 146 | 10950 | 0.01095
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5305 | 0 | 0 | 0 | 13829 | 13761 | 68 | 6800 | 0.0068
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10518 | 10027 | 491 | 245500 | 0.2455 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 507 | 1191 | -684 | -684000 | -0.684 | 4082 | 4082 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990078 | 990625 | -547 | -547000 | -0.547 | 1098 | 1098 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6306 | 5883 | 423 | 423000 | 0.423 | 6499 | 6499 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 7521 | 6271 | 1250 | 200000 | 0.2 | 999793 | 999793 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 194334 | 195056 | -722 | -72200 | -0.0722 | 47062 | 47062 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3716 | 3451 | 265 | 265000 | 0.265 | 707 | 707 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4054 | 3985 | 69 | 69000 | 0.069 | 6908 | 6908 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 998916 | 999272 | -356 | -71200 | -0.0712 | 14066 | 14061 | 5 | 1000 | 0.001
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995611 | 996238 | -627 | -117562.5 | -0.11756 | 5606 | 5607 | -1 | -187.5 | -0.0001875
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996631 | 997687 | -1056 | -198000 | -0.198 | 4321 | 4318 | 3 | 562.5 | 0.0005625
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3052 | 2866 | 186 | 46500 | 0.0465 | 7764 | 7762 | 2 | 500 | 0.0005
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999554 | 1000043 | -489 | -48900 | -0.0489 | 28242 | 28225 | 17 | 1700 | 0.0017
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -61.5102 |  |  |  |  | 0.16289
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22260 | 22260 | 0 | 0 | 0 | 4890 | 4890 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 994825 | 995168 | -343 | 45732.19 | 0.045732 | 10252 | 10322 | -70 | 9333.1 | 0.0093331
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1464 | 1569 | -105 | 105000 | 0.105 | 998474 | 998475 | -1 | 1000 | 0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998043 | 997984 | 59 | -59000 | -0.059 | 2242 | 2242 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 10048 | 10088 | -40 | 6400 | 0.0064 | 25986 | 25991 | -5 | 800 | 0.0008
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3919 | 3919 | 0 | 0 | 0 | 7650 | 7650 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987844 | 988553 | -709 | 709000 | 0.709 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101853 | 101549 | 304 | -30400 | -0.0304 | 75522 | 75510 | 12 | -1200 | -0.0012
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4476 | 4271 | 205 | -20500 | -0.0205 | 1182 | 1182 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27335 | 28428 | -1093 | 109300 | 0.1093 | 70288 | 70288 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999551 | 999553 | -2 | 200 | 0.0002 | 999839 | 999988 | -149 | 14900 | 0.0149
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2740 | 2739 | 1 | -100 | -0.0001 | 28652 | 28636 | 16 | -1600 | -0.0016
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 749 | 718 | 31 | -41323 | -0.041323 | 482 | 482 | 0 | 0 | 0
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1594 | 1594 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2059 | 1624 | 435 | -43500 | -0.0435 | 1323 | 1312 | 11 | -1100 | -0.0011
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999969 | 999972 | -3 | 1200 | 0.0012 | 999637 | 999695 | -58 | 23200 | 0.0232
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 4491 | 3611 | 880 | -352000 | -0.352 | 5995 | 5995 | 0 | 0 | 0
[5 empty] | -400 | 1360 | 255 | 1105 | -442000 | -0.442
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997881 | 999057 | -1176 | 1176000 | 1.176 | 2396 | 2396 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1564 | 1446 | 118 | -88500 | -0.0885 | 3270 | 3270 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.0755 |  |  |  |  | 0.045333
NOVEMBER-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -61.5102 |  |  |  |  | 0.16289
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.0755 |  |  |  |  | 0.045333
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.24359 |  |  |  |  | -0.0006
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0012 |  |  |  |  | -0.12158
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -60.677 |  |  |  |  | 0.08605
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -60.677 | (REACTIVE MUs) |  |  |  | 0.08605 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.0967 | (REACTIVE MUs) |  |  |  | -0.0070342 | (REACTIVE MUs)
[9 empty] | TOTAL | -68.7738 | (REACTIVE MUs) |  |  |  | 0.079016 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2437 | 2617 | -180 | -48000.6 | -0.048001 | 2150 | 2150 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 98674 | 97727 | 947 | 94700 | 0.0947 | 152230 | 152230 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 992850 | 993584 | -734 | -146800 | -0.1468 | 999322 | 999322 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 69672 | 68941 | 731 | 146200 | 0.1462 | 132702 | 132702 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 847 | 801 | 46 | 36800 | 0.0368 | 2557 | 2557 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3390 | 3154 | 236 | 188800 | 0.1888 | 1309 | 1308 | 1 | 800 | 0.0008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 999319 | 999732 | -413 | -330400 | -0.3304 | 999018 | 999019 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966028 | 966251 | -223 | -178400 | -0.1784 | 981283 | 981396 | -113 | -90400 | -0.0904
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 971715 | 972679 | -964 | -771200 | -0.7712 | 990090 | 990096 | -6 | -4800 | -0.0048
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999331 | 999652 | -321 | -642000 | -0.642 | 999597 | 999598 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 980528 | 984044 | -3516 | -175800 | -0.1758 | 21458 | 21479 | -21 | -1050 | -0.00105
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 984039 | 985481 | -1442 | -108150 | -0.10815 | 23390 | 23390 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999323 | 999485 | -162 | -81000 | -0.081 | 5547 | 5547 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998295 | 998576 | -281 | -105375 | -0.10537 | 7646 | 7647 | -1 | -375 | -0.000375
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 998004 | 999528 | -1524 | -152400 | -0.1524 | 1496 | 1508 | -12 | -1200 | -0.0012
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 9456 | 8810 | 646 | 48450 | 0.04845 | 40047 | 40040 | 7 | 525 | 0.000525
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11903 | 10047 | 1856 | 185600 | 0.1856 | 1862 | 1859 | 3 | 300 | 0.0003
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996358 | 996564 | -206 | -206000 | -0.206 | 104998 | 105018 | -20 | -20000 | -0.02
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995232 | 995804 | -572 | -572000 | -0.572 | 2705 | 2730 | -25 | -25000 | -0.025
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985473 | 985698 | -225 | -225000 | -0.225 | 144909 | 144903 | 6 | 6000 | 0.006
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999773 | 999915 | -142 | -355000 | -0.355 | 888 | 894 | -6 | -15000 | -0.015
[10 empty] | -1.358 |  |  |  |  | -0.054
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998043 | 997984 | 59 | 59000 | 0.059 | 2242 | 2242 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 10048 | 10088 | -40 | -6400 | -0.0064 | 25986 | 25991 | -5 | -800 | -0.0008
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3919 | 3919 | 0 | 0 | 0 | 7650 | 7650 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987844 | 988553 | -709 | -709000 | -0.709 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
NOVEMBER-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997149 | 997675 | -526 | 526000 | 0.526 | 990251 | 990251 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998622 | 999164 | -542 | 542000 | 0.542 | 995997 | 995997 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997373 | 997404 | -31 | 62000 | 0.062 | 996928 | 996928 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998788 | 998855 | -67 | 67000 | 0.067 | 996231 | 996231 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101853 | 101549 | 304 | 30400 | 0.0304 | 75522 | 75510 | 12 | 1200 | 0.0012
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4476 | 4271 | 205 | 20500 | 0.0205 | 1182 | 1182 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27335 | 28428 | -1093 | -109300 | -0.1093 | 70288 | 70288 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22260 | 22260 | 0 | 0 | 0 | 4890 | 4890 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 411697 | 402248 | 9449 | -944900 | -0.9449 | 84596 | 84596 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5604 | 5722 | -118 | 118000 | 0.118 | 1888 | 1888 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10812 | 0 | 0 | 0 | 21965 | 21819 | 146 | -10950 | -0.01095
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5305 | 0 | 0 | 0 | 13829 | 13761 | 68 | -6800 | -0.0068
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.7417 |  |  |  |  | -0.17035
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -3.7417 |  |  |  |  | -0.17035
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.86688 |  |  |  |  | -0.00075312
| TOTAL ENERGY TO NDMC | [8 empty] | -4.6086 |  |  |  |  | -0.1711

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3779 | 3779 | 0 | 0 | 0 | 63383 | 62974 | 409 | 81800 | 0.0818
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 0 | 0 | 0 | 0 | 0 | 1504 | 817 | 687 | 109920 | 0.10992 | w.e.f 18/10
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4475 | 4462 | 13 | 13000 | 0.013 | 55521 | 55502 | 19 | 19000 | 0.019
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 16810 | 16888 | -78 | -31200 | -0.0312
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 55 | 59 | -4 | -3200 | -0.0032 | 427 | 427 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1455 | 1420 | 35 | 14000 | 0.014 | 4674 | 4670 | 4 | 1600 | 0.0016
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1464 | 1569 | -105 | -105000 | -0.105 | 998474 | 998475 | -1 | -1000 | -0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0812 |  |  |  |  | 0.18012
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66594 | 66606 | -12 | -1200 | -0.0012 | 101959 | 101809 | 150 | 15000 | 0.015
11 | DEFENCE CLUB | 4865070 | ELSTER | Kvarh(Lead/Lag) | 100 | 58764 | 58764 | 0 | 0 | 0 | 18386 | 18386 | 0 | 0 | 0 | Check meter data till 14/11
|  | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 34 | 1275 | 0.001275 | w.e.f 15/11
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 586 | 586 | 0 | 0 | 0 | 17379 | 16342 | 1037 | 103700 | 0.1037
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1667 | 1667 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4364 | 4348 | 16 | 1600 | 0.0016
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.0012 |  |  |  |  | 0.12158
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0812 |  |  |  |  | 0.18012
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.0824 |  |  |  |  | 0.30169
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.0824 | (REACTIVE MUs) |  |  |  | 0.30169 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.17012 | (REACTIVE MUs) |  |  |  | -0.00014779 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.25252 | (REACTIVE MUs) |  |  |  | 0.30155 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991197 | 991676 | -479 | -299375 | -0.29938 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 992485 | 993058 | -573 | -358125 | -0.35813 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 4491 | 3611 | 880 | 352000 | 0.352 | 5995 | 5995 | 0 | 0 | 0
[5 empty] | 400 | 1360 | 255 | 1105 | 442000 | 0.442
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.3055 |  |  |  |  | 0
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10777 |  |  |  |  | -9.3628e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.41327 |  |  |  |  | -9.3628e-05

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 967116 | 964865 | 2251 | 225100 | 0.2251 | 2033 | 2033 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 65319 | 69357 | -4038 | -403800 | -0.4038 | 6263 | 6263 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15266 | 15365 | -99 | -49500 | -0.0495 | 3870 | 3870 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997956 | 998305 | -349 | -327187.5 | -0.32719 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 994836 | 995228 | -392 | 196000 | 0.196 | 999825 | 999825 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993758 | 993989 | -231 | 115500 | 0.1155 | 999852 | 999852 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 154 | 153 | 1 | 300 | 0.0003 | 112 | 114 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.24359 |  |  |  |  | -0.0006
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 978687 | 979548 | -861 | -172200 | -0.1722 | 999795 | 999796 | -1 | -200 | -0.0002
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990250 | 990871 | -621 | -582187.5 | -0.58219 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.75439 |  |  |  |  | -0.0002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1883 | 2045 | -162 | -202500 | -0.2025 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 365935 | 359126 | 6809 | 680900 | 0.6809 | 179814 | 179814 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 309602 | 298642 | 10960 | 685000 | 0.685 | 104171 | 104171 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 3145 | 2969 | 176 | 140800 | 0.1408 | 1733 | 1733 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 962038 | 963925 | -1887 | -188700 | -0.1887 | 999097 | 999097 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998126 | 997937 | 189 | 28350 | 0.02835 | 990473 | 990473 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997395 | 997462 | -67 | 167500 | 0.1675 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 154 | 153 | 1 | -300 | -0.0003 | 112 | 114 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 1.3111 |  |  |  |  | 0.0006
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.24359 |  |  |  |  | -0.0006
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.75439 |  |  |  |  | -0.0002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.3111 |  |  |  |  | 0.0006

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 84015 | 81659 | 2356 | 2356000 | 2.356 | 22399 | 22355 | 44 | 44000 | 0.044
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 2255 | 1201 | 1054 | 2108000 | 2.108 | 999433 | 999413 | 20 | 40000 | 0.04
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 956490 | 959094 | -2604 | 1302000 | 1.302 | 998675 | 998675 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 616129 | 617615 | -1486 | 148600 | 0.1486 | 997094 | 997094 | 0 | 0 | 0
[5 empty] | -100 | 619905 | 623944 | -4039 | 403900 | 0.4039
[7 empty] | NET REACTIVE ENERGY |  |  | 6.3185 |  | NET REACTIVE ENERGY |  |  | 0.084
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.3185 |  |  |  |  | 0.084
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -13.558 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -11.3157 |  |  |  |  | -0.0473
[7 empty] | NDMC = |  |  | -1.358 |  |  |  |  | -0.054
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -26.2317 |  |  |  |  | -0.1013
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.9132 |  |  |  |  | -0.0173
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.4957 | % |  |  | -6.4709 |  |  |  |  | -0.0056218
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.6602 | % |  |  | -8.0967 |  |  |  |  | -0.0070342
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.0953 | % |  |  | -4.2007 |  |  |  |  | -0.0036495
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.3533 | % |  |  | -0.86688 |  |  |  |  | -0.00075312
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8543 | % |  |  | -0.17012 |  |  |  |  | -0.00014779
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5412 | % |  |  | -0.10777 |  |  |  |  | -9.3628e-05
Note :Sharing taken from wk-36 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2019 TO 30th NOVEMBER-2019
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -65.4013 |  | -0.12178
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -68.7738 | + | 0.079016
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -35.0075 | + | 0.013066
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -4.6086 |  | -0.1711
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.25252 | + | 0.30155
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.41327 |  | -9.3628e-05
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2019 | INTIAL READING 01/11/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 70850 | 61799 | 9051 | 6788250 | 6.7882 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | 997863 | #N/A | #N/A | #N/A | #N/A | 28 | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 814103 | 817823 | -3720 | -2790000 | -2.79 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1774 | 1829 | -55 | -275000 | -0.275 | 13228 | 13228 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 861296 | 861817 | -521 | -521000 | -0.521
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978798 | 977037 | 1761 | 1761000 | 1.761 | 272 | 235 | 37 | 37000 | 0.037
[8 empty] | NET REACTIVE ENERGY |  | 1.486 |  |  | NET REACTIVE ENERGY |  | -0.484