## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964983 | 964983 | 0 | 0 | 0 | 994603 | 996384 | -1781 | 1781000 | 1.781
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85578 | 85368 | 210 | -420000 | -0.42 | 4967 | 4840 | 127 | -254000 | -0.254
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2672 | 2679 | -7 | 7000 | 0.007 | 435 | 258 | 177 | -177000 | -0.177
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31340 | 31236 | 104 | -104000 | -0.104 | 96852 | 96543 | 309 | -309000 | -0.309
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 988567 | 991085 | -2518 | 2518000 | 2.518
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898574 | 898574 | 0 | 0 | 0 | 27186 | 26928 | 258 | -258000 | -0.258
[5 empty] | -1000 | [5 empty] | 26749 | 26585 | 164 | -164000 | -0.164
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9568 | 9484 | 84 | -84000 | -0.084 | 999994 | 1000006 | -12 | 12000 | 0.012
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21413 | 21362 | 51 | -51000 | -0.051 | 998205 | 998223 | -18 | 18000 | 0.018
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14040 | 14048 | -8 | 8000 | 0.008 | 997537 | 997676 | -139 | 139000 | 0.139
10 | Tx.-4 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -500 | 975414 | 975469 | -55 | 27500 | 0.0275 | 838374 | 838711 | -337 | 168500 | 0.1685
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942 | 948 | -6 | 6000 | 0.006 | 998686 | 998782 | -96 | 96000 | 0.096
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9630 | 9507 | 123 | -123000 | -0.123 | 999804 | 999895 | -91 | 91000 | 0.091
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52189 | 52035 | 154 | -154000 | -0.154 | 996709 | 996716 | -7 | 7000 | 0.007
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 20964 | 20770 | 194 | -194 | -0.194 | 99999732 | 99999724 | 8 | -8 | -0.008
[10 empty] | 2 | [5 empty] | Assessment last month
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 754744 | 756224 | -1480 | -1480000 | -1.48 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 859803 | 861549 | -1746 | -873000 | -0.873 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12433 | 12427 | 6 | -6000 | -0.006 | 999906 | 999908 | -2 | 2000 | 0.002
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 62771 | 62608 | 163 | -81500 | -0.0815 | 738 | 396 | 342 | -171000 | -0.171
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54083 | 53968 | 115 | -115000 | -0.115 | 998757 | 998691 | 66 | -66000 | -0.066
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999860 | 999861 | -1 | -1000 | -0.001 | 988432 | 988497 | -65 | -65000 | -0.065
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999933 | 999935 | -2 | -8000 | -0.008 | 999823 | 999836 | -13 | -52000 | -0.052
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1373 | 1355 | 18 | 9000 | 0.009 | 14853 | 14642 | 211 | 105500 | 0.1055
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 39314 | 37387 | 1927 | 96350 | 0.09635 | 211803 | 204176 | 7627 | 381350 | 0.38135
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999769 | 0 | 0 | 0 | 997984 | 998658 | -674 | -674000 | -0.674
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999848 | 999615 | 233 | 233000 | 0.233
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 44114 | 43567 | 547 | 54700 | 0.0547 | 193219 | 191865 | 1354 | 135400 | 0.1354
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994305 | 994380 | -75 | -75000 | -0.075 | 998727 | 999346 | -619 | -619000 | -0.619
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 929497 | 929619 | -122 | -61000 | -0.061 | 999760 | 999897 | -137 | -68500 | -0.0685
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995182 | 995086 | 96 | 25600.32 | 0.0256 | 999964 | 999905 | 59 | 15733.53 | 0.015734
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2227 | 2224 | 3 | 1500 | 0.0015 | 681 | 389 | 292 | 146000 | 0.146
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46617 | 46617 | 0 | 0 | 0 | 996528 | 996528 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 245695 | 244167 | 1528 | -764000 | -0.764 | 17626 | 17616 | 10 | -5000 | -0.005
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7542 | 7539 | 3 | -6000 | -0.006 | 999642 | 999640 | 2 | -4000 | -0.004
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57395 | 56942 | 453 | -453000 | -0.453 | 998772 | 998916 | -144 | 144000 | 0.144
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 131417 | 129650 | 1767 | -3534000 | -3.534 | 293 | 292 | 1 | -2000 | -0.002
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 123751 | 121710 | 2041 | -2041000 | -2.041 | 998448 | 998442 | 6 | -6000 | -0.006
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 165385 | 156017 | 9368 | -3122635.44 | -3.1226 | 204 | 176 | 28 | -9333.24 | -0.0093332
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000569 | 999729 | 840 | -1680000 | -1.68 | 0 | 0 | 0 | 0 | 0 | Polarity corrected 14/6
[5 empty] | 2000 | 999769 | 1000000 | -231 | -462000 | -0.462 | [5 empty] | from 10/6 to 14/6
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22010 | 21809 | 201 | -402000 | -0.402 | 286 | 249 | 37 | -74000 | -0.074
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81798 | 81367 | 431 | -431000 | -0.431 | 1746 | 1673 | 73 | -73000 | -0.073
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1882000 | 1876000 | 6000 | 6000 | 0.006 | 244000 | 0 | 244000 | 244000 | 0.244
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 10955000 | 10911000 | 44000 | 44000 | 0.044 | 376000 | -6000 | 382000 | 382000 | 0.382
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7070 | 7074 | -4 | 4000 | 0.004 | 997833 | 997836 | -3 | 3000 | 0.003
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52864 | 53114 | -250 | 250000 | 0.25 | 1477 | 1621 | -144 | 144000 | 0.144
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998462 | 998520 | -58 | -58000 | -0.058 | 26373 | 26393 | -20 | -20000 | -0.02
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JUNE-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999709 | 999715 | -6 | -600 | -0.0006 | 999901 | 999971 | -70 | -7000 | -0.007
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3140 | 3064 | 76 | 7600 | 0.0076 | 30990 | 30960 | 30 | 3000 | 0.003
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 765 | 765 | 0 | 0 | 0 | 572 | 562 | 10 | 13330 | 0.01333
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3197 | 3198 | -1 | -100 | -0.0001 | 2138 | 2138 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2012 | 2014 | -2 | -200 | -0.0002 | 3612 | 3449 | 163 | 16300 | 0.0163
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999801 | 999798 | 3 | 1500 | 0.0015 | 2208 | 2147 | 61 | 30500 | 0.0305
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 81 | 37 | 44 | 22000 | 0.022
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1017 | 1017 | 0 | 0 | 0 | 822 | 713 | 109 | 54500 | 0.0545
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994473 | 994746 | -273 | -27300 | -0.0273 | 2671 | 2958 | -287 | -28700 | -0.0287
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8031 | 8021 | 10 | 1000 | 0.001 | 14432 | 13741 | 691 | 69100 | 0.0691
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10842 | 10820 | 22 | 2200 | 0.0022 | 5124 | 4377 | 747 | 74700 | 0.0747
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29857 | 29839 | 18 | 1800 | 0.0018 | 10506 | 9886 | 620 | 62000 | 0.062
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60086 | 59963 | 123 | 12300 | 0.0123 | 2073 | 1779 | 294 | 29400 | 0.0294
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999789 | 999700 | 89 | 11866.37 | 0.011866 | 451 | 414 | 37 | 4933.21 | 0.0049332
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999880 | -1 | -400 | -0.0004 | 999432 | 999433 | -1 | -400 | -0.0004
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 961261 | 961475 | -214 | -171200 | -0.1712 | 999703 | 999707 | -4 | -3200 | -0.0032
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994979 | 995052 | -73 | -146000 | -0.146 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 973009 | 972879 | 130 | 26000 | 0.026 | 1710 | 1489 | 221 | 44200 | 0.0442
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996298 | 996229 | 69 | 17250 | 0.01725 | 728 | 597 | 131 | 32750 | 0.03275
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988386 | 988344 | 42 | 42000 | 0.042 | 2028 | 1831 | 197 | 197000 | 0.197
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1489 | 1517 | -28 | -21000 | -0.021 | 3337 | 3338 | -1 | -750 | -0.00075
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -14.4878 |  |  |  |  | 4.3013
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 19362 | 18477 | 885 | -88500 | -0.0885 | 149560 | 147796 | 1764 | -176400 | -0.1764
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 812 | 812 | 0 | 0 | 0 | 362 | 228 | 134 | -134000 | -0.134
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4218 | 4213 | 5 | -666.65 | -0.00066665 | 6576 | 6735 | -159 | 21199.47 | 0.021199
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997236 | 997236 | 0 | 0 | 0 | 999248 | 999353 | -105 | 19687.5 | 0.019688
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 904641 | 905222 | -581 | 464800 | 0.4648 | 997831 | 997848 | -17 | 13600 | 0.0136
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990084 | 990079 | 5 | -3125 | -0.003125 | 77 | 46 | 31 | -19375 | -0.019375
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990477 | 990484 | -7 | 4375 | 0.004375 | 999898 | 999865 | 33 | -20625 | -0.020625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994815 | 994884 | -69 | 13800 | 0.0138 | 14756 | 14756 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990521 | 990525 | -4 | 750 | 0.00075 | 5044 | 5298 | -254 | 47625 | 0.047625
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987602 | 987606 | -4 | 750 | 0.00075 | 3974 | 4048 | -74 | 13875 | 0.013875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4518 | 4510 | 8 | -2000 | -0.002 | 8079 | 8050 | 29 | -7250 | -0.00725
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994581 | 994619 | -38 | 3800 | 0.0038 | 29757 | 29783 | -26 | 2600 | 0.0026
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.39398 |  |  |  |  | -0.23906
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -14.4878 |  |  |  |  | 4.3013
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.39398 |  |  |  |  | -0.23906
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.010719 |  |  |  |  | -1.4393
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.1045 |  |  |  |  | 2.623
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.1045 | (REACTIVE MUs) |  |  |  | 2.623 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.1258 | (REACTIVE MUs) |  |  |  | -0.056015 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.2303 | (REACTIVE MUs) |  |  |  | 2.567 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36113 | 35913 | 200 | 53400 | 0.0534 | 994492 | 994404 | 88 | 23496 | 0.023496
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10994 | 10850 | 144 | 43200 | 0.0432 | 3013 | 2895 | 118 | 35400 | 0.0354
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 352182 | 351990 | 192 | 14400 | 0.0144 | 405154 | 404026 | 1128 | 84600 | 0.0846
4 | IG STD- BAY-29 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 998468 | 998777 | -309 | -30900 | -0.0309 | 999988 | 999903 | 85 | 8500 | 0.0085
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1574 | 1574 | 0 | 0 | 0 | 3618 | 3618 | 0 | 0 | 0
|  | 4865165 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999520 | 999521 | -1 | -666.667 | -0.00066667 | 1480 | 1479 | 1 | 666.667 | 0.00066667 | check meter data
|  | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 999998 | 1000000 | -2 | -3200 | -0.0032 | 4 | 0 | 4 | 6400 | 0.0064 | w.e.f 11/6/2021
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 17587 | 16650 | 937 | 93700 | 0.0937 | 4733 | 4444 | 289 | 28900 | 0.0289
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 176495 | 171208 | 5287 | 396525 | 0.39653 | 896019 | 894972 | 1047 | 78525 | 0.078525
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976145 | 976396 | -251 | -251000 | -0.251 | 2275 | 2276 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984460 | 984556 | -96 | -48000 | -0.048 | 183 | 178 | 5 | 2500 | 0.0025
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997765 | 997955 | -190 | -190000 | -0.19 | 999996 | 999996 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983931 | 984038 | -107 | -107000 | -0.107 | 1349 | 1348 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986690 | 986580 | 110 | 110000 | 0.11 | 6264 | 6231 | 33 | 33000 | 0.033
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993908 | 993956 | -48 | -48000 | -0.048 | 998583 | 998609 | -26 | -26000 | -0.026
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992964 | 992958 | 6 | 6000 | 0.006 | 351 | 352 | -1 | -1000 | -0.001
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994651 | 994332 | 319 | 255200 | 0.2552 | 5216 | 5189 | 27 | 21600 | 0.0216
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14852 | 12524 | 2328 | 310392.24 | 0.31039 | 3652 | 3650 | 2 | 266.66 | 0.00026666
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999944 | 999957 | -13 | -13000 | -0.013 | 9730 | 9732 | -2 | -2000 | -0.002 | data till 21/6
|  | 4864943 | ELSTER | Kvarh(Lead/Lag) | 400 | 998444 | 998442 | 2 | 800 | 0.0008 | 1000023 | 999996 | 27 | 10800 | 0.0108 | Check meter data
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 931 | 1167 | -236 | -236000 | -0.236 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 969491 | 969499 | -8 | -10000 | -0.01 | 947379 | 947888 | -509 | -636250 | -0.63625
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977747 | 977761 | -14 | -14000 | -0.014 | 934000 | 934559 | -559 | -559000 | -0.559
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998263 | 998270 | -7 | -7000 | -0.007 | 998759 | 999162 | -403 | -403000 | -0.403
| KASHMIRI GATE | [8 empty] | -0.031 |  |  |  |  | -1.5982
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984851 | 984856 | -5 | 5000 | 0.005 | 997380 | 997811 | -431 | 431000 | 0.431
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982643 | 982638 | 5 | -5000 | -0.005 | 998130 | 998334 | -204 | 204000 | 0.204
[5 empty] | -1000 | 983517 | 983602 | -85 | 85000 | 0.085 | 998773 | 998773 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/4
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13470 | 13224 | 246 | 246000 | 0.246
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 238611 | 235230 | 3381 | -3381000 | -3.381 | 9243 | 9207 | 36 | -36000 | -0.036
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57321 | 56921 | 400 | -400000 | -0.4 | 384 | 417 | -33 | 33000 | 0.033
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5155 | 4883 | 272 | -272000 | -0.272 | 999279 | 999276 | 3 | -3000 | -0.003
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4656 | 4779 | -123 | 123000 | 0.123 | 998356 | 998447 | -91 | 91000 | 0.091
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82217 | 82214 | 3 | -3000 | -0.003 | 982832 | 982841 | -9 | 9000 | 0.009
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65477 | 64556 | 921 | -921000 | -0.921 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 47432 | 46565 | 867 | -1734000 | -1.734 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 812 | 812 | 0 | 0 | 0 | 362 | 228 | 134 | 134000 | 0.134
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4218 | 4213 | 5 | 666.65 | 0.00066665 | 6576 | 6735 | -159 | -21199.47 | -0.021199
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993250 | 993251 | -1 | -133 | -0.000133 | 11924 | 8588 | 3336 | 443688 | 0.44369
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950415 | 950731 | -316 | 316000 | 0.316 | 990152 | 990178 | -26 | 26000 | 0.026
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970722 | 971025 | -303 | 303000 | 0.303 | 981161 | 981161 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 999913 | 999919 | -6 | 6000 | 0.006
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -5.5586 |  |  |  |  | 0.27089
| (A) NET ENERGY TO CENTRAL | [8 empty] | -5.5586 |  |  |  |  | 0.27089
JUNE-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990359 | 990363 | -4 | 4000 | 0.004 | 995486 | 996777 | -1291 | 1291000 | 1.291
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979030 | 979030 | 0 | 0 | 0 | 932088 | 932185 | -97 | 97000 | 0.097
[5 empty] | -1000 | [5 empty] | 947357 | 948347 | -990 | 990000 | 0.99
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992370 | 992372 | -2 | 2000 | 0.002 | 995511 | 997091 | -1580 | 1580000 | 1.58
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993816 | 993881 | -65 | 65000 | 0.065 | 997176 | 998294 | -1118 | 1118000 | 1.118
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34609 | 34583 | 26 | -26000 | -0.026 | 997740 | 997611 | 129 | -129000 | -0.129
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 2584 | 2526 | 58 | -29000 | -0.029 | 1000255 | 999907 | 348 | -174000 | -0.174
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9094 | 9691 | -597 | 597000 | 0.597 | 11996 | 12060 | -64 | 64000 | 0.064
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2281 | 2738 | -457 | 457000 | 0.457 | 999815 | 999899 | -84 | 84000 | 0.084
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934304 | 934266 | 38 | -38000 | -0.038 | 978574 | 978694 | -120 | 120000 | 0.12 | under s/dn w.e.f 20/10
-1000
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985892 | 985934 | -42 | 42000 | 0.042 | 955483 | 955546 | -63 | 63000 | 0.063
[5 empty] | -1000 | [5 empty] | 965426 | 966020 | -594 | 594000 | 0.594
[5 empty] | -1000 | [5 empty] | 974725 | 974753 | -28 | 28000 | 0.028
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966382 | 966356 | 26 | -26000 | -0.026 | 824753 | 825275 | -522 | 522000 | 0.522
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9741 | 9495 | 246 | -492000 | -0.492 | 34 | 8 | 26 | -52000 | -0.052
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6089 | 5493 | 596 | -596000 | -0.596 | 77 | 78 | -1 | 1000 | 0.001
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9507 | 9600 | -93 | 93000 | 0.093 | 199 | 215 | -16 | 16000 | 0.016
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.053 |  |  |  |  | 6.213
| (B) NET ENERGY TO EAST | [8 empty] | 0.053 |  |  |  |  | 6.213
JUNE-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995182 | 995086 | 96 | -25600.32 | -0.0256 | 999964 | 999905 | 59 | -15733.53 | -0.015734
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2227 | 2224 | 3 | -1500 | -0.0015 | 681 | 389 | 292 | -146000 | -0.146
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2344 | 2412 | -68 | 18132.88 | 0.018133 | 2222 | 2222 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112598 | 112789 | -191 | 19100 | 0.0191 | 152449 | 152455 | -6 | 600 | 0.0006
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 983495 | 983816 | -321 | 64200 | 0.0642 | 999327 | 999329 | -2 | 400 | 0.0004
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 802 | 743 | 59 | -59000 | -0.059 | 23 | 22 | 1 | -1000 | -0.001
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2934 | 2557 | 377 | -301600 | -0.3016 | 2694 | 2661 | 33 | -26400 | -0.0264
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3132 | 3287 | -155 | 124000 | 0.124 | 1322 | 1325 | -3 | 2400 | 0.0024
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 984287 | 984954 | -667 | 533600 | 0.5336 | 998663 | 998684 | -21 | 16800 | 0.0168
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 953004 | 953270 | -266 | 212800 | 0.2128 | 979638 | 979788 | -150 | 120000 | 0.12
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 954359 | 955307 | -948 | 758400 | 0.7584 | 989705 | 989747 | -42 | 33600 | 0.0336
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994250 | 994495 | -245 | 490000 | 0.49 | 999529 | 999537 | -8 | 16000 | 0.016
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990163 | 990640 | -477 | 954000 | 0.954 | 999481 | 999488 | -7 | 14000 | 0.014
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998462 | 998520 | -58 | 58000 | 0.058 | 26373 | 26393 | -20 | 20000 | 0.02
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999709 | 999715 | -6 | 600 | 0.0006 | 999901 | 999971 | -70 | 7000 | 0.007
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999801 | 999798 | 3 | -1500 | -0.0015 | 2208 | 2147 | 61 | -30500 | -0.0305
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 81 | 37 | 44 | -22000 | -0.022 | w.e.f 5/4
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1017 | 1017 | 0 | 0 | 0 | 822 | 713 | 109 | -54500 | -0.0545
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60086 | 59963 | 123 | -12300 | -0.0123 | 2073 | 1779 | 294 | -29400 | -0.0294
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999789 | 999700 | 89 | -11866.37 | -0.011866 | 451 | 414 | 37 | -4933.21 | -0.0049332
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994473 | 994746 | -273 | 27300 | 0.0273 | 2671 | 2958 | -287 | 28700 | 0.0287
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8031 | 8021 | 10 | -1000 | -0.001 | 14432 | 13741 | 691 | -69100 | -0.0691
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10842 | 10820 | 22 | -2200 | -0.0022 | 5124 | 4377 | 747 | -74700 | -0.0747
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29857 | 29839 | 18 | -1800 | -0.0018 | 10506 | 9886 | 620 | -62000 | -0.062
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 29170 | 27860 | 1310 | 1310 | 0.00131 | 178290 | 154980 | 23310 | 23310 | 0.02331
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 19390 | 18930 | 460 | 460 | 0.00046 | 315209 | 301400 | 13809 | 13809 | 0.013809
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 73100 | 67000 | 6100 | 6100 | 0.0061 | 935299 | 870099 | 65200 | 65200 | 0.0652
[10 empty] | 2.8496 |  |  |  |  | -0.17445
JUNE-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -5.5586 |  |  |  |  | 0.27089
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.8496 |  |  |  |  | -0.17445
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.069187 |  |  |  |  | -0.23772
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.6398 |  |  |  |  | -0.14128
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.053 |  |  |  |  | 6.213
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -2.5868 |  |  |  |  | 6.0717
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.5868 | (REACTIVE MUs) |  |  |  | 6.0717 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.3934 | (REACTIVE MUs) |  |  |  | -0.04289 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.9802 | (REACTIVE MUs) |  |  |  | 6.0288 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998191 | 998190 | 1 | 1000 | 0.001 | 998507 | 998604 | -97 | -97000 | -0.097
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999108 | 999116 | -8 | -8000 | -0.008 | 999844 | 999826 | 18 | 18000 | 0.018
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 983773 | 983811 | -38 | -7600 | -0.0076 | 999150 | 999092 | 58 | 11600 | 0.0116
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999854 | 999838 | 16 | 21333.28 | 0.021333 | 999782 | 999744 | 38 | 50666.54 | 0.050667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998009 | 997977 | 32 | 48000 | 0.048 | 999946 | 999937 | 9 | 13500 | 0.0135
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11329 | 11409 | -80 | -8000 | -0.008 | 21632 | 21372 | 260 | 26000 | 0.026
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 977279 | 977238 | 41 | 3075 | 0.003075 | 998661 | 998649 | 12 | 900 | 0.0009
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 996578 | 996719 | -141 | -10575 | -0.010575 | 999153 | 999435 | -282 | -21150 | -0.02115
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997147 | 997174 | -27 | -21600 | -0.0216 | 999665 | 999692 | -27 | -21600 | -0.0216
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 989307 | 989452 | -145 | -14500 | -0.0145 | 265004 | 264984 | 20 | 2000 | 0.002
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 310 | 307 | 0 | 0 | 0 | 31 | 14 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18558 | 18517 | 41 | -41000 | -0.041 | 996613 | 996571 | 42 | -42000 | -0.042
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3231 | 3231 | 0 | 0 | 0 | 996708 | 996881 | -173 | 346000 | 0.346
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16932 | 16937 | -5 | 5000 | 0.005 | 996359 | 996330 | 29 | -29000 | -0.029
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 999518 | 998937 | 581 | -581000 | -0.581
[5 empty] | -1000 | [5 empty] | 998440 | 997913 | 527 | -527000 | -0.527
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119562 | 119368 | 194 | -194000 | -0.194 | 19306 | 19199 | 107 | -107000 | -0.107
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 102 | 90 | 12 | -12000 | -0.012 | 999910 | 999932 | -22 | 22000 | 0.022
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24871 | 24828 | 43 | -86000 | -0.086 | 998728 | 998607 | 121 | -242000 | -0.242
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940738 | 940781 | -43 | 43000 | 0.043 | 813601 | 813761 | -160 | 160000 | 0.16
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 48077 | 46317 | 1760 | -1408000 | -1.408 | 1886 | 1403 | 483 | -386400 | -0.3864
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 83588 | 82784 | 804 | -643200 | -0.6432 | 998843 | 998466 | 377 | -301600 | -0.3016
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951492 | 951471 | 21 | -21000 | -0.021 | 960211 | 960654 | -443 | 443000 | 0.443
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 961388 | 961500 | -112 | 224000 | 0.224 | 992045 | 992231 | -186 | 372000 | 0.372
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 914510 | 914519 | -9 | 18000 | 0.018 | 979332 | 979610 | -278 | 556000 | 0.556
[5 empty] | -2000 | [5 empty] | 983586 | 983665 | -79 | 158000 | 0.158
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9679 | 9689 | -10 | 10000 | 0.01 | 996822 | 997043 | -221 | 221000 | 0.221
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4928 | 5085 | -157 | 157000 | 0.157 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980585 | 980711 | -126 | 126000 | 0.126 | 999939 | 999980 | -41 | 41000 | 0.041
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 241272 | 239873 | 1399 | -1399000 | -1.399 | 81685 | 81671 | 14 | -14000 | -0.014
[5 empty] | -1000 | 239575 | 239320 | 255 | -255000 | -0.255
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2954 | 2817 | 137 | -274000 | -0.274 | 8 | 1 | 7 | -14000 | -0.014
[10 empty] | -2.78 | [5 empty] | Assessment due to MF
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943605 | 944700 | -1095 | 1095000 | 1.095 | 965473 | 965525 | -52 | 52000 | 0.052
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977208 | 978004 | -796 | 796000 | 0.796 | 983983 | 984009 | -26 | 26000 | 0.026
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90667 | 89850 | 817 | -817000 | -0.817 | 985624 | 985610 | 14 | -14000 | -0.014
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 28948 | 28973 | -25 | 20000 | 0.02 | 999184 | 999068 | 116 | -92800 | -0.0928
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 48162 | 48173 | -11 | 17600 | 0.0176 | 978935 | 978867 | 68 | -108800 | -0.1088
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997419 | 997419 | 0 | 0 | 0 | 984229 | 984226 | 3 | -6000 | -0.006
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6211 | 6215 | -4 | 2000 | 0.002 | 990709 | 989096 | 1613 | -806500 | -0.8065
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22634 | 22627 | 7 | -7000 | -0.007 | 31739 | 31730 | 9 | -9000 | -0.009
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2726 | 2705 | 21 | -21000 | -0.021 | 996457 | 996426 | 31 | -31000 | -0.031
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 847 | 848 | -1 | 1000 | 0.001 | 1000410 | 999778 | 632 | -632000 | -0.632
BRPL(+) continue | [14 empty] | JUNE-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51459 | 51432 | 27 | -27000 | -0.027 | 999581 | 999537 | 44 | -44000 | -0.044
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12260 | 12238 | 22 | -22000 | -0.022 | 321 | 107 | 214 | -214000 | -0.214
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7156 | 7172 | -16 | 16000 | 0.016 | 998178 | 998749 | -571 | 571000 | 0.571
[5 empty] | -1000 | [5 empty] | 999081 | 999155 | -74 | 74000 | 0.074
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6070 | 6033 | 37 | -37000 | -0.037 | 336 | 250 | 86 | -86000 | -0.086
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7323 | 7313 | 10 | -10000 | -0.01 | 924938 | 924890 | 48 | -48000 | -0.048
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61966 | 61901 | 65 | -65000 | -0.065 | 16817 | 16678 | 139 | -139000 | -0.139
[5 empty] | -1000 | [5 empty] | 9873 | 9863 | 10 | -10000 | -0.01
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3780 | 3771 | 9 | -18000 | -0.018 | 999560 | 999574 | -14 | 28000 | 0.028
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74546 | 74315 | 231 | -231000 | -0.231 | 997190 | 997176 | 14 | -14000 | -0.014
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50555 | 50159 | 396 | -792000 | -0.792 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10566 | 10532 | 34 | -68000 | -0.068 | 2592 | 2695 | -103 | 206000 | 0.206
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9031 | 8976 | 55 | -110000 | -0.11 | 1652 | 1529 | 123 | -246000 | -0.246
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999464 | 999974 | -510 | 510000 | 0.51 | 999989 | 999979 | 10 | -10000 | -0.01
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994014 | 994635 | -621 | 621000 | 0.621 | 994643 | 994639 | 4 | -4000 | -0.004
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996699 | 997489 | -790 | 790000 | 0.79 | 987076 | 987059 | 17 | -17000 | -0.017
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997691 | 997676 | 15 | 60000 | 0.06 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977255 | 977463 | -208 | -166400 | -0.1664 | 607 | 610 | -3 | -2400 | -0.0024
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 934359 | 935097 | -738 | -590400 | -0.5904 | 999475 | 999478 | -3 | -2400 | -0.0024
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997811 | 997790 | 21 | 16800 | 0.0168 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995504 | 995430 | 74 | 59200 | 0.0592 | 40 | 39 | 1 | 800 | 0.0008
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 990163 | 990640 | -477 | -954000 | -0.954 | 999481 | 999488 | -7 | -14000 | -0.014
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 89846 | 89042 | 804 | -1608000 | -1.608 | 1786 | 1396 | 390 | -780000 | -0.78
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 11888 | 10345 | 1543 | -1543000 | -1.543 | data till 21/6
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 118239 | 117632 | 607 | -607000 | -0.607 | 1949 | 1736 | 213 | -213000 | -0.213
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 19362 | 18477 | 885 | 88500 | 0.0885 | 149560 | 147796 | 1764 | 176400 | 0.1764
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997236 | 997236 | 0 | 0 | 0 | 999248 | 999353 | -105 | -19687.5 | -0.019688
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943697 | 943743 | -46 | -18400 | -0.0184 | 994471 | 994451 | 20 | 8000 | 0.008
[5 empty] | 400 | [5 empty] | 992929 | 992958 | -29 | -11600 | -0.0116
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980394 | 980414 | -20 | -8000 | -0.008 | 73922 | 73909 | 13 | 5200 | 0.0052
[5 empty] | 400 | [5 empty] | 73140 | 73167 | -27 | -10800 | -0.0108
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 904641 | 905222 | -581 | -464800 | -0.4648 | 997831 | 997848 | -17 | -13600 | -0.0136
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 488198 | 486842 | 1356 | 135600 | 0.1356 | 86269 | 86248 | 21 | 2100 | 0.0021
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2057 | 2125 | -68 | -68000 | -0.068 | 1823 | 1880 | -57 | -57000 | -0.057
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 24109 | 23521 | 588 | 44100 | 0.0441
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 17667 | 17114 | 553 | 55300 | 0.0553
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8912 | 8724 | 188 | 94000 | 0.094 | 3258 | 3230 | 28 | 14000 | 0.014
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997501 | 997429 | 72 | 72000 | 0.072 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984373 | 984458 | -85 | -85000 | -0.085 | 914 | 938 | -24 | -24000 | -0.024
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6825 | 6743 | 82 | 82000 | 0.082 | 6739 | 6709 | 30 | 30000 | 0.03
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999776 | 999970 | -194 | -194000 | -0.194 | 18 | 9 | 9 | 9000 | 0.009
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 978131 | 976299 | 1832 | 183200 | 0.1832 | 910413 | 910200 | 213 | 21300 | 0.0213
[5 empty] | 100 | 975872 | 975557 | 315 | 31500 | 0.0315
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4839 | 4644 | 195 | 195000 | 0.195 | 1125 | 1127 | -2 | -2000 | -0.002
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4760 | 4574 | 186 | 186000 | 0.186 | 7449 | 7442 | 7 | 7000 | 0.007
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994815 | 994884 | -69 | -13800 | -0.0138 | 14756 | 14756 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990521 | 990525 | -4 | -750 | -0.00075 | 5044 | 5298 | -254 | -47625 | -0.047625
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987602 | 987606 | -4 | -750 | -0.00075 | 3974 | 4048 | -74 | -13875 | -0.013875
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4518 | 4510 | 8 | 2000 | 0.002 | 8079 | 8050 | 29 | 7250 | 0.00725
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994581 | 994619 | -38 | -3800 | -0.0038 | 29757 | 29783 | -26 | -2600 | -0.0026
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.4608 |  |  |  |  | -3.8943
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21497 | 21447 | 50 | -25000 | -0.025 | 4921 | 4881 | 40 | -20000 | -0.02
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993250 | 993251 | -1 | 133.33 | 0.00013333 | 11924 | 8588 | 3336 | -444788.88 | -0.44479
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1133 | -3 | 3000 | 0.003 | 999084 | 999098 | -14 | 14000 | 0.014
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992901 | 992910 | -9 | 9000 | 0.009 | 2254 | 2251 | 3 | -3000 | -0.003
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6781 | 6777 | 4 | -640 | -0.00064 | 30306 | 29877 | 429 | -68640 | -0.06864
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3556 | 3557 | -1 | 200 | 0.0002 | 8815 | 8216 | 599 | -119800 | -0.1198
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977209 | 977354 | -145 | 145000 | 0.145 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102665 | 102654 | 11 | -1100 | -0.0011 | 76217 | 76017 | 200 | -20000 | -0.02
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4302 | 4319 | -17 | 1700 | 0.0017 | 1442 | 1365 | 77 | -7700 | -0.0077
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 5655 | 5521 | 134 | -13400 | -0.0134 | 70830 | 70813 | 17 | -1700 | -0.0017
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 239 | 234 | 5 | -3125 | -0.003125 | 1534 | 1458 | 76 | -47500 | -0.0475
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3140 | 3064 | 76 | -7600 | -0.0076 | 30990 | 30960 | 30 | -3000 | -0.003
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 765 | 765 | 0 | 0 | 0 | 572 | 562 | 10 | -13330 | -0.01333
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3197 | 3198 | -1 | 100 | 0.0001 | 2138 | 2138 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2012 | 2014 | -2 | 200 | 0.0002 | 3612 | 3449 | 163 | -16300 | -0.0163
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999880 | -1 | 400 | 0.0004 | 999432 | 999433 | -1 | 400 | 0.0004
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996101 | 996152 | -51 | 40800 | 0.0408 | 6138 | 6137 | 1 | -800 | -0.0008
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988386 | 988344 | 42 | -42000 | -0.042 | 2028 | 1831 | 197 | -197000 | -0.197
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1489 | 1517 | -28 | 21000 | 0.021 | 3337 | 3338 | -1 | 750 | 0.00075
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.12867 |  |  |  |  | -0.94841
JUNE-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -8.4608 |  |  |  |  | -3.8943
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.12867 |  |  |  |  | -0.94841
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.12204 |  |  |  |  | 0.43231
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0028875 |  |  |  |  | -0.28021
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -8.2129 |  |  |  |  | -4.6906
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.2129 | (REACTIVE MUs) |  |  |  | -4.6906 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.5268 | (REACTIVE MUs) |  |  |  | -0.081122 | (REACTIVE MUs)
[9 empty] | TOTAL | -12.7397 | (REACTIVE MUs) |  |  |  | -4.7718 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2344 | 2412 | -68 | -18133.56 | -0.018134 | 2222 | 2222 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112598 | 112789 | -191 | -19100 | -0.0191 | 152449 | 152455 | -6 | -600 | -0.0006
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 983495 | 983816 | -321 | -64200 | -0.0642 | 999327 | 999329 | -2 | -400 | -0.0004
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 802 | 743 | 59 | 59000 | 0.059 | 23 | 22 | 1 | 1000 | 0.001
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2934 | 2557 | 377 | 301600 | 0.3016 | 2694 | 2661 | 33 | 26400 | 0.0264
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3132 | 3287 | -155 | -124000 | -0.124 | 1322 | 1325 | -3 | -2400 | -0.0024
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 984287 | 984954 | -667 | -533600 | -0.5336 | 998663 | 998684 | -21 | -16800 | -0.0168
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 953004 | 953270 | -266 | -212800 | -0.2128 | 979638 | 979788 | -150 | -120000 | -0.12
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 954359 | 955307 | -948 | -758400 | -0.7584 | 989705 | 989747 | -42 | -33600 | -0.0336
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994250 | 994495 | -245 | -490000 | -0.49 | 999529 | 999537 | -8 | -16000 | -0.016
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 957588 | 957712 | -124 | -6200 | -0.0062 | 20187 | 18890 | 1297 | 64850 | 0.06485
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 970301 | 970601 | -300 | -22500 | -0.0225 | 22408 | 22294 | 114 | 8550 | 0.00855
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998014 | 998020 | -6 | -3000 | -0.003 | 5398 | 5377 | 21 | 10500 | 0.0105
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996258 | 996241 | 17 | 6375 | 0.006375 | 7463 | 7264 | 199 | 74625 | 0.074625
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 982542 | 982542 | 0 | 0 | 0 | 998470 | 998470 | 0 | 0 | 0
|  | 4865116 | ELSTER | Kvarh(Lead/Lag) | 100 | 983407 | 983449 | -42 | -4200 | -0.0042 | 997095 | 996868 | 227 | 22700 | 0.0227 | check meter
|  | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 36 | 3600 | 0.0036 | w.e.f 28/6/2021
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 10890 | 10890 | 0 | 0 | 0 | 40659 | 40659 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 4654 | 4860 | -206 | -20600 | -0.0206 | 1958 | 1910 | 48 | 4800 | 0.0048
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999940 | -2 | -2000 | -0.002 | 999992 | 999837 | 155 | 155000 | 0.155
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992127 | 992133 | -6 | -6000 | -0.006 | 2249 | 1930 | 319 | 319000 | 0.319
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984396 | 984398 | -2 | -2000 | -0.002 | 145006 | 144906 | 100 | 100000 | 0.1 | Meter faulty
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998350 | 998351 | -1 | -2500 | -0.0025 | 383 | 241 | 142 | 355000 | 0.355
[10 empty] | -0.0125 |  |  |  |  | 0.929
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992901 | 992910 | -9 | -9000 | -0.009 | 2254 | 2251 | 3 | 3000 | 0.003
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6781 | 6777 | 4 | 640 | 0.00064 | 30306 | 29877 | 429 | 68640 | 0.06864
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3556 | 3557 | -1 | -200 | -0.0002 | 8815 | 8216 | 599 | 119800 | 0.1198
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977209 | 977354 | -145 | -145000 | -0.145 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JUNE-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996828 | 996865 | -37 | 37000 | 0.037 | 989961 | 990011 | -50 | 50000 | 0.05
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998172 | -44 | 44000 | 0.044 | 995774 | 995810 | -36 | 36000 | 0.036
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997827 | 997839 | -12 | 24000 | 0.024 | 996677 | 996808 | -131 | 262000 | 0.262
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999552 | 999574 | -22 | 22000 | 0.022 | 995639 | 995930 | -291 | 291000 | 0.291
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 239 | 234 | 5 | 3125 | 0.003125 | 1534 | 1458 | 76 | 47500 | 0.0475
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102665 | 102654 | 11 | 1100 | 0.0011 | 76217 | 76017 | 200 | 20000 | 0.02
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4302 | 4319 | -17 | -1700 | -0.0017 | 1442 | 1365 | 77 | 7700 | 0.0077
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 5655 | 5521 | 134 | 13400 | 0.0134 | 70830 | 70813 | 17 | 1700 | 0.0017
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21497 | 21447 | 50 | 25000 | 0.025 | 4921 | 4881 | 40 | 20000 | 0.02
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 488198 | 486842 | 1356 | -135600 | -0.1356 | 86269 | 86248 | 21 | -2100 | -0.0021
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2057 | 2125 | -68 | 68000 | 0.068 | 1823 | 1880 | -57 | 57000 | 0.057
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 24109 | 23521 | 588 | -44100 | -0.0441
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 17667 | 17114 | 553 | -55300 | -0.0553
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.9755 |  |  |  |  | 1.8391
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -1.9755 |  |  |  |  | 1.8391
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.37855 |  |  |  |  | -0.0067837
| TOTAL ENERGY TO NDMC | [8 empty] | -2.354 |  |  |  |  | 1.8323

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 76016 | 72436 | 3580 | 716000 | 0.716
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 1111 | 0 | 0 | 0 | 27611 | 27134 | 477 | 76320 | 0.07632
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4655 | 4634 | 21 | 21000 | 0.021 | 58758 | 58479 | 279 | 279000 | 0.279
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 280 | 0 | 0 | 0 | 19081 | 18971 | 110 | 44000 | 0.044
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999700 | 999725 | -25 | -20000 | -0.02 | 665 | 593 | 72 | 57600 | 0.0576
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1813 | 1664 | 149 | 59600 | 0.0596 | 5711 | 5441 | 270 | 108000 | 0.108
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1133 | -3 | -3000 | -0.003 | 999084 | 999098 | -14 | -14000 | -0.014
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0576 |  |  |  |  | 1.2669
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 1039 | 964 | 75 | 2812.5 | 0.0028125 | 5715 | 2212 | 3503 | 131362.5 | 0.13136
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 75 | 7500 | 0.0075 | w.e.f 28/5
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3658 | 3657 | 1 | 75 | 7.5e-05 | 32120 | 30250 | 1870 | 140250 | 0.14025
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4379 | 4368 | 11 | 1100 | 0.0011
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0028875 |  |  |  |  | 0.28021
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0576 |  |  |  |  | 1.2669
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.060487 |  |  |  |  | 1.5471
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.060487 | (REACTIVE MUs) |  |  |  | 1.5471 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.069307 | (REACTIVE MUs) |  |  |  | -0.001242 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.0088198 | (REACTIVE MUs) |  |  |  | 1.5459 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990084 | 990079 | 5 | 3125 | 0.003125 | 77 | 46 | 31 | 19375 | 0.019375
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990477 | 990484 | -7 | -4375 | -0.004375 | 999898 | 999865 | 33 | 20625 | 0.020625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996101 | 996152 | -51 | -40800 | -0.0408 | 6138 | 6137 | 1 | 800 | 0.0008
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 29170 | 27860 | 1310 | -1310 | -0.00131 | 178290 | 154980 | 23310 | -23310 | -0.02331
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 19390 | 18930 | 460 | -460 | -0.00046 | 315209 | 301400 | 13809 | -13809 | -0.013809
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 73100 | 67000 | 6100 | -6100 | -0.0061 | 935299 | 870099 | 65200 | -65200 | -0.0652
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.04992 |  |  |  |  | -0.061519
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.029634 |  |  |  |  | -0.00053105
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.079554 |  |  |  |  | -0.06205

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 933354 | 933389 | -35 | -3500 | -0.0035 | 1737 | 1866 | -129 | -12900 | -0.0129
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44994 | 45163 | -169 | -16900 | -0.0169 | 6080 | 6080 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16721 | 16701 | 20 | 10000 | 0.01 | 4690 | 3873 | 817 | 408500 | 0.4085
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997855 | 997822 | 33 | 30937.5 | 0.030937 | 999802 | 999807 | -5 | -4687.5 | -0.0046875
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999927 | 999989 | -62 | 62000 | 0.062 | 999976 | 999993 | -17 | 17000 | 0.017
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993098 | 993177 | -79 | 39500 | 0.0395 | 999855 | 999902 | -47 | 23500 | 0.0235
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 9 | 6 | 3 | 900 | 0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.12204 |  |  |  |  | 0.43231
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968177 | 968192 | -15 | -3000 | -0.003 | 995301 | 996424 | -1123 | -224600 | -0.2246
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986835 | 986758 | 77 | 72187.5 | 0.072188 | 999580 | 999594 | -14 | -13125 | -0.013125
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.069187 |  |  |  |  | -0.23772
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1748 | 1746 | 2 | 2500 | 0.0025 | 998847 | 999194 | -347 | -433750 | -0.43375
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 354208 | 354197 | 11 | 1031.25 | 0.0010313 | 231920 | 236692 | -4772 | -447375 | -0.44738
[5 empty] | 93.75 | [5 empty] | 263566 | 263732 | -166 | -15562.5 | -0.015562
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 292500 | 292484 | 16 | 1000 | 0.001 | 53859 | 61658 | -7799 | -487437.5 | -0.48744
[5 empty] | 62.5 | [5 empty] | 63442 | 63796 | -354 | -22125 | -0.022125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 944 | 945 | -1 | -3750 | -0.00375 | 518 | 494 | 24 | 90000 | 0.09
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 948788 | 948949 | -161 | -32200 | -0.0322 | 998361 | 998400 | -39 | -7800 | -0.0078
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987185 | 987172 | 13 | 1950 | 0.00195 | 987855 | 988638 | -783 | -117450 | -0.11745
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997044 | 997044 | 0 | 0 | 0 | 3041 | 3041 | 0 | 0 | 0
[10 empty] | 0.015 |  |  |  |  | 0.0025 | Assessment
|  | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999994 | 1000000 | -6 | 3750 | 0.00375 | 999999 | 1000000 | -1 | 625 | 0.000625 | w.e.f 25/6/2021
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 9 | 6 | 3 | -900 | -0.0009
| TOTAL NDPL | [8 empty] | -0.010719 |  |  |  |  | -1.4393
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.12204 |  |  |  |  | 0.43231
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.069187 |  |  |  |  | -0.23772
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.010719 |  |  |  |  | -1.4393

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 124848 | 124821 | 27 | 27000 | 0.027 | 28863 | 28752 | 111 | 111000 | 0.111
[5 empty] | 1000 | [5 empty] | 28390 | 28145 | 245 | 245000 | 0.245
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 9820 | 9806 | 14 | 28000 | 0.028 | 1729 | 1643 | 86 | 172000 | 0.172
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 904130 | 905733 | -1603 | 801500 | 0.8015 | 998005 | 998015 | -10 | 5000 | 0.005
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 430559 | 433607 | -3048 | 304800 | 0.3048 | 984122 | 984122 | 0 | 0 | 0
[5 empty] | -100 | 438685 | 440619 | -1934 | 193400 | 0.1934
[7 empty] | NET REACTIVE ENERGY |  |  | 1.3547 |  | NET REACTIVE ENERGY |  |  | 0.533
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.3547 |  |  |  |  | 0.533
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -10.8396 |  |  |  |  | -0.017333
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.026 |  |  |  |  | -1.6333
[7 empty] | NDMC = |  |  | -0.0125 |  |  |  |  | 0.929
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -11.8781 |  |  |  |  | -0.72158
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -10.5234 |  |  |  |  | -0.18858
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.7028 | % |  |  | -3.1258 |  |  |  |  | -0.056015
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.0163 | % |  |  | -4.5268 |  |  |  |  | -0.081122
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.7435 | % |  |  | -2.3934 |  |  |  |  | -0.04289
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.5972 | % |  |  | -0.37855 |  |  |  |  | -0.0067837
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6586 | % |  |  | -0.069307 |  |  |  |  | -0.001242
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2816 | % |  |  | -0.029634 |  |  |  |  | -0.00053105
Note :Sharing taken from wk-13 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2021 TO 30th JUNE-2021
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -17.2303 | + | 2.567
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -12.7397 |  | -4.7718
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -4.9802 | + | 6.0288
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -2.354 | + | 1.8323
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.0088198 | + | 1.5459
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.079554 |  | -0.06205
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2021 | INTIAL READING 01/06/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83