## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963291 | 963282 | 9 | -9000 | -0.009 | 993297 | 993296 | 1 | -1000 | -0.001
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 91727 | 91250 | 477 | -954000 | -0.954 | 5004 | 5003 | 1 | -2000 | -0.002
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14179 | 14116 | 63 | -63000 | -0.063 | 435 | 428 | 7 | -7000 | -0.007
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63951 | 61366 | 2585 | -2585000 | -2.585 | 97718 | 97695 | 23 | -23000 | -0.023
[15 empty] | -0.652 | Assessment last month
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999342 | 999176 | 166 | -166000 | -0.166 | 986431 | 986432 | -1 | 1000 | 0.001
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917699 | 917376 | 323 | -323000 | -0.323 | 28035 | 28017 | 18 | -18000 | -0.018
[5 empty] | -1000 | [5 empty] | 27029 | 27023 | 6 | -6000 | -0.006
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19932 | 19082 | 850 | -850000 | -0.85 | 999815 | 999812 | 3 | -3000 | -0.003
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30407 | 28744 | 1663 | -1663000 | -1.663 | 997986 | 997984 | 2 | -2000 | -0.002
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20748 | 19774 | 974 | -974000 | -0.974 | 997008 | 997001 | 7 | -7000 | -0.007
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 46104 | 44925 | 1179 | -589500 | -0.5895 | 814595 | 814598 | -3 | 1500 | 0.0015
[15 empty] | -0.0035 | Assessment last month
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4069 | 3155 | 914 | -914000 | -0.914 | 998415 | 998414 | 1 | -1000 | -0.001
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14470 | 13167 | 1303 | -1303000 | -1.303 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54499 | 54405 | 94 | -94000 | -0.094 | 996582 | 996582 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30249 | 28383 | 1866 | -1866 | -1.866 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 731372 | 733914 | -2542 | -2542000 | -2.542 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 802269 | 813689 | -11420 | -5710000 | -5.71 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14877 | 14727 | 150 | -150000 | -0.15 | 999386 | 999346 | 40 | -40000 | -0.04
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 76677 | 75390 | 1287 | -643500 | -0.6435 | 479 | 459 | 20 | -10000 | -0.01
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60008 | 59468 | 540 | -540000 | -0.54 | 998912 | 998876 | 36 | -36000 | -0.036
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998644 | 998806 | -162 | -162000 | -0.162 | 988734 | 988741 | -7 | -7000 | -0.007
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999592 | 999630 | -38 | -152000 | -0.152 | 999837 | 999839 | -2 | -8000 | -0.008
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1988 | 2003 | -15 | -7500 | -0.0075 | 15072 | 15064 | 8 | 4000 | 0.004
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91084 | 89331 | 1753 | 87650 | 0.08765 | 214362 | 214264 | 98 | 4900 | 0.0049
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998594 | 998670 | -76 | -76000 | -0.076 | 996155 | 996229 | -74 | -74000 | -0.074
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999155 | 999164 | -9 | -9000 | -0.009 | 999307 | 999560 | -253 | -253000 | -0.253
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 29778 | 30740 | -962 | -96200 | -0.0962 | 193647 | 193647 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987785 | 989202 | -1417 | -1417000 | -1.417 | 997984 | 997984 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 906766 | 910734 | -3968 | -1984000 | -1.984 | 999477 | 999477 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993481 | 993880 | -399 | -106401.33 | -0.1064 | 83 | 83 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2182 | 2199 | -17 | -8500 | -0.0085 | 1166 | 1165 | 1 | 500 | 0.0005
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54392 | 52866 | 1526 | -1526000 | -1.526 | 996515 | 996514 | 1 | -1000 | -0.001
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 301493 | 296682 | 4811 | -2405500 | -2.4055 | 17482 | 17481 | 1 | -500 | -0.0005
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 19377 | 16006 | 3371 | -6742000 | -6.742 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70467 | 68061 | 2406 | -2406000 | -2.406 | 997306 | 997322 | -16 | 16000 | 0.016
DSIDC BAWANA
35 | 66KV TX.1 | 5295573 | ELSTER | Kvarh(Lead/Lag) | -1000 | 889878 | 889588 | 290 | -290000 | -0.29 | 1290 | 1290 | 0 | 0 | 0 | Check meter data
|  | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 845 | 0 | 845 | -3380000 | -3.38 | 0 | 0 | 0 | 0 | 0 | w.e.f 03/02/2022
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 145960 | 144217 | 1743 | -1743000 | -1.743 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 241694 | 233885 | 7809 | -2602973.97 | -2.603 | 234 | 231 | 3 | -999.99 | -0.00099999
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 17703 | 15985 | 1718 | -3436000 | -3.436 | 1 | 2 | -1 | 2000 | 0.002
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 33997 | 30913 | 3084 | -6168000 | -6.168 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107028 | 100585 | 6443 | -6443000 | -6.443 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7111000 | 6166000 | 945000 | -945000 | -0.945 | 1135000 | 1124000 | 11000 | -11000 | -0.011
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 18746000 | 17314000 | 1432000 | -1432000 | -1.432 | 1199000 | 1188000 | 11000 | -11000 | -0.011
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18964 | 16156 | 2808 | -2808000 | -2.808 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53578 | 52865 | 713 | -713000 | -0.713 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998128 | 998128 | 0 | 0 | 0 | 25270 | 25482 | -212 | -212000 | -0.212
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | FEBRUARY-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998142 | -93 | -9300 | -0.0093 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3182 | 3184 | -2 | -200 | -0.0002 | 32907 | 32929 | -22 | -2200 | -0.0022
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 755 | 757 | -2 | -2666 | -0.002666 | 597 | 598 | -1 | -1333 | -0.001333
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1929 | 1998 | -69 | -6900 | -0.0069 | 5194 | 5167 | 27 | 2700 | 0.0027
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999768 | 999766 | 2 | 1000 | 0.001 | 2259 | 2259 | 0 | 0 | 0
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 24 | 24 | 0 | 0 | 0 | 153 | 160 | -7 | -3500 | -0.0035
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1093 | 1093 | 0 | 0 | 0 | 1126 | 1086 | 40 | 20000 | 0.02
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992970 | 993143 | -173 | -17300 | -0.0173 | 2630 | 2687 | -57 | -5700 | -0.0057
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8691 | 8852 | -161 | -16100 | -0.0161 | 14879 | 14868 | 11 | 1100 | 0.0011
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12966 | 12887 | 79 | 7900 | 0.0079 | 5720 | 5701 | 19 | 1900 | 0.0019
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31506 | 31450 | 56 | 5600 | 0.0056 | 10970 | 10951 | 19 | 1900 | 0.0019
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60430 | 60915 | -485 | -48500 | -0.0485 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 133 | 156 | -23 | -3066.59 | -0.0030666 | 790 | 790 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999881 | 999881 | 0 | 0 | 0 | 999432 | 999431 | 1 | 400 | 0.0004
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 948098 | 950095 | -1997 | -1597600 | -1.5976 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993150 | 993408 | -258 | -516000 | -0.516 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 968236 | 970162 | -1926 | -385200 | -0.3852 | 1723 | 1723 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 993134 | 993755 | -621 | -155250 | -0.15525 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981978 | 983077 | -1099 | -1099000 | -1.099 | 2358 | 2358 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1232 | 1382 | -150 | -112500 | -0.1125 | 3417 | 3410 | 7 | 5250 | 0.00525
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -72.8655 |  |  |  |  | -1.3396
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 168 | 196 | -28 | 2800 | 0.0028 | 228 | 128 | 100 | -10000 | -0.01
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1305 | 1298 | 7 | -7000 | -0.007 | 518 | 517 | 1 | -1000 | -0.001
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4436 | 4418 | 18 | -2399.94 | -0.0023999 | 7304 | 7303 | 1 | -133.33 | -0.00013333
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998780 | 998850 | -70 | 13125 | 0.013125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 900093 | 902010 | -1917 | 1533600 | 1.5336 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991331 | 991194 | 137 | -85625 | -0.085625 | 274 | 271 | 3 | -1875 | -0.001875
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999797 | 999759 | 38 | -19000 | -0.019 | 57 | 48 | 9 | -4500 | -0.0045
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992138 | 992635 | -497 | 99400 | 0.0994 | 15237 | 15248 | -11 | 2200 | 0.0022
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987984 | 988033 | -49 | 9187.5 | 0.0091875 | 4781 | 4781 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 982215 | 983142 | -927 | 173812.5 | 0.17381 | 3911 | 3876 | 35 | -6562.5 | -0.0065625
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3953 | 4049 | -96 | 24000 | 0.024 | 8122 | 8122 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993378 | 993515 | -137 | 13700 | 0.0137 | 29811 | 29815 | -4 | 400 | 0.0004
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.7425 |  |  |  |  | -0.0083458
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -72.8655 |  |  |  |  | -1.3396
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.7425 |  |  |  |  | -0.0083458
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.505 |  |  |  |  | -0.0060635
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -72.6281 |  |  |  |  | -1.354
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -72.6281 | (REACTIVE MUs) |  |  |  | -1.354 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.2038 | (REACTIVE MUs) |  |  |  | -0.0060944 | (REACTIVE MUs)
[9 empty] | TOTAL | -76.8318 | (REACTIVE MUs) |  |  |  | -1.3601 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36164 | 36520 | -356 | -95052 | -0.095052 | 994183 | 994186 | -3 | -801 | -0.000801
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11228 | 11295 | -67 | -20100 | -0.0201 | 1845 | 1871 | -26 | -7800 | -0.0078
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 24920 | 24902 | 18 | 1350 | 0.00135 | 33976 | 33968 | 8 | 600 | 0.0006
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999876 | -38 | -38000 | -0.038 | 999806 | 999806 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 94 | 99 | -5 | -8000 | -0.008 | 49 | 51 | -2 | -3200 | -0.0032
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18459 | 18487 | -28 | -37333.24 | -0.037333 | 5016 | 5015 | 1 | 1333.33 | 0.0013333
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | -1000 | 295194 | 295232 | -38 | 38000 | 0.038 | 904587 | 904587 | 0 | 0 | 0 | Check meter data
|  | 4864795 | ELSTER | Kvarh(Lead/Lag) | -200 | 999878 | 1000000 | -122 | 24400 | 0.0244 | 999999 | 1000000 | -1 | 200 | 0.0002 | w.e.f 18/2/22
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975415 | 975456 | -41 | -41000 | -0.041 | 2269 | 2269 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983690 | 983921 | -231 | -115500 | -0.1155 | 8 | 8 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997564 | 997602 | -38 | -38000 | -0.038 | 999978 | 999980 | -2 | -2000 | -0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983104 | 983135 | -31 | -31000 | -0.031 | 1332 | 1333 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999924 | 999946 | -22 | -22000 | -0.022 | 58 | 63 | -5 | -5000 | -0.005
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993618 | 993667 | -49 | -49000 | -0.049 | 998355 | 998355 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992608 | 992607 | 1 | 1000 | 0.001 | 299 | 291 | 8 | 8000 | 0.008
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994307 | 994340 | -33 | -26400 | -0.0264 | 5268 | 5268 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 11818 | 12184 | -366 | -48798.78 | -0.048799 | 3684 | 3685 | -1 | -133.33 | -0.00013333
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999989 | -28 | -28000 | -0.028 | 999995 | 999996 | -1 | -1000 | -0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 546 | 587 | -41 | -41000 | -0.041 | 17465 | 17465 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 959411 | 961172 | -1761 | -2201250 | -2.2012 | 947192 | 947192 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956262 | 959716 | -3454 | -3454000 | -3.454 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995178 | 995233 | -55 | -55000 | -0.055 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -5.7103 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999380 | 999305 | 75 | -75000 | -0.075 | 999968 | 999968 | 0 | 0 | 0 | Check meter
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978632 | 978562 | 70 | -70000 | -0.07 | 997942 | 997942 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998922 | 998986 | -64 | -64000 | -0.064 | 13897 | 13910 | -13 | -13000 | -0.013
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 262361 | 260611 | 1750 | -1750000 | -1.75 | 25336 | 25215 | 121 | -121000 | -0.121
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66721 | 65565 | 1156 | -1156000 | -1.156 | 686 | 651 | 35 | -35000 | -0.035
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7756 | 7152 | 604 | -604000 | -0.604 | 999038 | 999038 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6988 | 6542 | 446 | -446000 | -0.446 | 998139 | 998141 | -2 | 2000 | 0.002
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100202 | 99780 | 422 | -422000 | -0.422 | 982834 | 982834 | 0 | 0 | 0
[5 empty] | -1000 | 98897 | 98831 | 66 | -66000 | -0.066
[5 empty] | -1000 | 98071 | 97947 | 124 | -124000 | -0.124
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90541 | 87586 | 2955 | -2955000 | -2.955 | 325 | 325 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 64073 | 62048 | 2025 | -4050000 | -4.05 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1305 | 1298 | 7 | 7000 | 0.007 | 518 | 517 | 1 | 1000 | 0.001
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4436 | 4418 | 18 | 2399.94 | 0.0023999 | 7304 | 7303 | 1 | 133.33 | 0.00013333
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992640 | -7 | -931 | -0.000931 | 12504 | 12526 | -22 | -2926 | -0.002926
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954532 | 953906 | 626 | -626000 | -0.626 | 990131 | 990131 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974663 | 973954 | 709 | -709000 | -0.709 | 981175 | 981175 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -19.3932 |  |  |  |  | -0.17959
| (A) NET ENERGY TO CENTRAL | [8 empty] | -19.3932 |  |  |  |  | -0.17959
FEBRUARY-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992311 | 991907 | 404 | -404000 | -0.404 | 993731 | 993727 | 4 | -4000 | -0.004
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980992 | 980632 | 360 | -360000 | -0.36 | 930133 | 930112 | 21 | -21000 | -0.021
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993218 | 993000 | 218 | -218000 | -0.218 | 993384 | 993389 | -5 | 5000 | 0.005
4 | Tx.4 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1272 | 995 | 277 | -554000 | -0.554 | 999988 | 999989 | -1 | 2000 | 0.002
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38861 | 38193 | 668 | -668000 | -0.668 | 997969 | 997887 | 82 | -82000 | -0.082
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 14865 | 12300 | 2565 | -1282500 | -1.2825 | 472 | 439 | 33 | -16500 | -0.0165
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999404 | 999309 | 95 | -95000 | -0.095 | 999469 | 999476 | -7 | 7000 | 0.007
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3561 | 3424 | 137 | -137000 | -0.137 | 999497 | 999490 | 7 | -7000 | -0.007
[5 empty] | -1000 | 2264 | 2218 | 46 | -46000 | -0.046
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 796 | 591 | 205 | -205000 | -0.205 | 30 | 26 | 4 | -4000 | -0.004
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991278 | 991093 | 185 | -185000 | -0.185 | 955659 | 955662 | -3 | 3000 | 0.003
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968692 | 968343 | 349 | -349000 | -0.349 | 823928 | 823900 | 28 | -28000 | -0.028
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12664 | 12447 | 217 | -1085000 | -1.085 | 44 | 40 | 4 | -20000 | -0.02
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19117 | 17913 | 1204 | -1204000 | -1.204 | 80 | 80 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4989 | 4395 | 594 | -594000 | -0.594 | 999991 | 999991 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -7.3865 |  |  |  |  | -0.1655
| (B) NET ENERGY TO EAST | [8 empty] | -7.3865 |  |  |  |  | -0.1655
FEBRUARY-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993481 | 993880 | -399 | 106401.33 | 0.1064 | 83 | 83 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2182 | 2199 | -17 | 8500 | 0.0085 | 1166 | 1165 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1540 | 1634 | -94 | 25066.04 | 0.025066 | 2321 | 2321 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 7392 | 6065 | 1327 | -132700 | -0.1327 | 24 | 24 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 979996 | 980533 | -537 | 107400 | 0.1074 | 999382 | 999382 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1347 | 1331 | 16 | -16000 | -0.016 | 82 | 82 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3622 | 3697 | -75 | 60000 | 0.06 | 2723 | 2724 | -1 | 800 | 0.0008
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2193 | 2291 | -98 | 78400 | 0.0784 | 1328 | 1327 | 1 | -800 | -0.0008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946669 | 947655 | -986 | 788800 | 0.7888 | 989401 | 989409 | -8 | 6400 | 0.0064
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992581 | 992715 | -134 | 268000 | 0.268 | 999478 | 999482 | -4 | 8000 | 0.008
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987108 | 987369 | -261 | 522000 | 0.522 | 999387 | 999390 | -3 | 6000 | 0.006
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998128 | 0 | 0 | 0 | 25270 | 25482 | -212 | 212000 | 0.212
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998142 | -93 | 9300 | 0.0093 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999768 | 999766 | 2 | -1000 | -0.001 | 2259 | 2259 | 0 | 0 | 0
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 24 | 24 | 0 | 0 | 0 | 153 | 160 | -7 | 3500 | 0.0035
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1093 | 1093 | 0 | 0 | 0 | 1126 | 1086 | 40 | -20000 | -0.02
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60430 | 60915 | -485 | 48500 | 0.0485 | 2406 | 2406 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 133 | 156 | -23 | 3066.59 | 0.0030666 | 790 | 790 | 0 | 0 | 0
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992970 | 993143 | -173 | 17300 | 0.0173 | 2630 | 2687 | -57 | 5700 | 0.0057
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8691 | 8852 | -161 | 16100 | 0.0161 | 14879 | 14868 | 11 | -1100 | -0.0011
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12966 | 12887 | 79 | -7900 | -0.0079 | 5720 | 5701 | 19 | -1900 | -0.0019
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31506 | 31450 | 56 | -5600 | -0.0056 | 10970 | 10951 | 19 | -1900 | -0.0019
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 58690 | 58690 | 0 | 0 | 0 | 238180 | 234430 | 3750 | 3750 | 0.00375
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 32580 | 32310 | 270 | 270 | 0.00027 | 428720 | 421460 | 7260 | 7260 | 0.00726
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 131900 | 130900 | 1000 | 1000 | 0.001 | 1326499 | 1297400 | 29099 | 29099 | 0.029099
[10 empty] | 1.8969 |  |  |  |  | 0.25631
FEBRUARY-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -19.3932 |  |  |  |  | -0.17959
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.8969 |  |  |  |  | 0.25631
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.53031 |  |  |  |  | 0.0004
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -18.0266 |  |  |  |  | 0.077115
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -7.3865 |  |  |  |  | -0.1655
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -25.4131 |  |  |  |  | -0.088385
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -25.4131 | (REACTIVE MUs) |  |  |  | -0.088385 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.6169 | (REACTIVE MUs) |  |  |  | -0.0037939 | (REACTIVE MUs)
[9 empty] | TOTAL | -28.03 | (REACTIVE MUs) |  |  |  | -0.092179 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997891 | 997970 | -79 | -79000 | -0.079 | 997331 | 997344 | -13 | -13000 | -0.013
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998574 | 998670 | -96 | -96000 | -0.096 | 999397 | 999416 | -19 | -19000 | -0.019
3 | BAY-13 | 4864878 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997038 | 997073 | -35 | -35000 | -0.035 | 999044 | 999064 | -20 | -20000 | -0.02 | Check meter data
|  | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999810 | 1000000 | -190 | -38000 | -0.038 | 999977 | 1000000 | -23 | -4600 | -0.0046 | w.e.f 18/2/22
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999787 | 999825 | -38 | -50666.54 | -0.050667 | 999786 | 999785 | 1 | 1333.33 | 0.0013333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997591 | 997736 | -145 | -217500 | -0.2175 | 999668 | 999668 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10565 | 10880 | -315 | -31500 | -0.0315 | 21463 | 21576 | -113 | -11300 | -0.0113
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 75 | 995071 | 995461 | -390 | -29250 | -0.02925 | 996279 | 996282 | -3 | -225 | -0.000225 | Data till 4/2/2022
|  | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994916 | 995071 | -155 | -155000 | -0.155 | 996279 | 996279 | 0 | 0 | 0 | Yard CTR changed to 800/1 wef 5/2/22
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991865 | 993009 | -1144 | -85800 | -0.0858 | 993803 | 994021 | -218 | -16350 | -0.01635
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996799 | 996915 | -116 | -92800 | -0.0928 | 999182 | 999208 | -26 | -20800 | -0.0208
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988633 | 988668 | -35 | -46666.55 | -0.046667 | 265042 | 265042 | 0 | 0 | 0
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1004 | 851 | 153 | -1019999.898 | -1.02 | 35 | 35 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27894 | 26735 | 1159 | -1159000 | -1.159 | 996590 | 996590 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5215 | 5137 | 78 | -156000 | -0.156 | 996422 | 996425 | -3 | 6000 | 0.006
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17375 | 16949 | 426 | -426000 | -0.426 | 996291 | 996291 | 0 | 0 | 0
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2955 | 2261 | 694 | -694000 | -0.694 | 999898 | 999892 | 6 | -6000 | -0.006
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138047 | 137522 | 525 | -525000 | -0.525 | 19346 | 19346 | 0 | 0 | 0
[5 empty] | -1000 | 136995 | 134187 | 2808 | -2808000 | -2.808
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5809 | 4639 | 1170 | -1170000 | -1.17 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 36542 | 34307 | 2235 | -4470000 | -4.47 | 998799 | 998799 | 0 | 0 | 0
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1799 | 1470 | 329 | -658000 | -0.658 | 999999 | 999999 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 121481 | 115570 | 5911 | -4728800 | -4.7288 | 1991 | 1966 | 25 | -20000 | -0.02
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121123 | 118280 | 2843 | -2274400 | -2.2744 | 998948 | 998922 | 26 | -20800 | -0.0208
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951832 | 951619 | 213 | -213000 | -0.213 | 959349 | 959349 | 0 | 0 | 0
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 958037 | 958427 | -390 | 780000 | 0.78 | 991341 | 991341 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 911236 | 911619 | -383 | 766000 | 0.766 | 971813 | 971814 | -1 | 2000 | 0.002
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12328 | 11795 | 533 | -533000 | -0.533 | 996090 | 996092 | -2 | 2000 | 0.002
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997482 | 997398 | 84 | -84000 | -0.084 | 999995 | 999995 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981161 | 981091 | 70 | -70000 | -0.07 | 999863 | 999863 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277103 | 276719 | 384 | -384000 | -0.384 | 121414 | 121107 | 307 | -307000 | -0.307
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7451 | 7361 | 90 | -180000 | -0.18 | 129 | 87 | 42 | -84000 | -0.084
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935699 | 935478 | 221 | -221000 | -0.221 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972479 | 972203 | 276 | -276000 | -0.276 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 39656 | 38156 | 1500 | -1200000 | -1.2 | 999229 | 999228 | 1 | -800 | -0.0008
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62227 | 61487 | 740 | -1184000 | -1.184 | 978993 | 978993 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996275 | 996269 | 6 | -12000 | -0.012 | 984696 | 984565 | 131 | -262000 | -0.262
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4540 | 4540 | 0 | 0 | 0 | 989961 | 990174 | -213 | 106500 | 0.1065
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23568 | 23409 | 159 | -159000 | -0.159 | 31801 | 31842 | -41 | 41000 | 0.041
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2584 | 2575 | 9 | -9000 | -0.009 | 996839 | 996741 | 98 | -98000 | -0.098
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 856 | 0 | 0 | 0 | 1472 | 1472 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | FEBRUARY-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3346 | 2055 | 1291 | -1291000 | -1.291 | 1 | 0 | 1 | -1000 | -0.001
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19535 | 15775 | 3760 | -3760000 | -3.76 | 405 | 403 | 2 | -2000 | -0.002
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14588 | 12707 | 1881 | -1881000 | -1.881 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 450 | 0 | 450 | -450000 | -0.45 | 1 | 0 | 1 | -1000 | -0.001
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9615 | 9615 | 0 | 0 | 0 | 925064 | 925064 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71590 | 71590 | 0 | 0 | 0 | 17550 | 17550 | 0 | 0 | 0
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 110 | 0 | 110 | -220000 | -0.22 | 999998 | 1000000 | -2 | 4000 | 0.004
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 84317 | 82353 | 1964 | -1964000 | -1.964 | 997153 | 997153 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 56216 | 54627 | 1589 | -3178000 | -3.178 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 4331 | 3152 | 1179 | -1768500 | -1.7685 | 0 | 0 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6688 | 4847 | 1841 | -1841000 | -1.841 | 0 | 0 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996566 | 996440 | 126 | -126000 | -0.126 | 999960 | 999978 | -18 | 18000 | 0.018
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991288 | 991187 | 101 | -101000 | -0.101 | 994639 | 994640 | -1 | 1000 | 0.001
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991202 | 991229 | -27 | 27000 | 0.027 | 987073 | 987074 | -1 | 1000 | 0.001
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995567 | 995980 | 0 | 0 | 0 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 971143 | 972464 | -1321 | -1056800 | -1.0568 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 917548 | 919140 | -1592 | -1273600 | -1.2736 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997166 | 997455 | -289 | -231200 | -0.2312 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994852 | 995036 | -184 | -147200 | -0.1472 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 987108 | 987369 | -261 | -522000 | -0.522 | 999387 | 999390 | -3 | -6000 | -0.006
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 108905 | 107695 | 1210 | -2420000 | -2.42 | 1930 | 1919 | 11 | -22000 | -0.022
63 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9379 | 6495 | 2884 | -2884000 | -2.884 | 55 | 55 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 135965 | 133112 | 2853 | -2853000 | -2.853 | 1949 | 1949 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 168 | 196 | -28 | -2800 | -0.0028 | 228 | 128 | 100 | 10000 | 0.01
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998780 | 998850 | -70 | -13125 | -0.013125
67 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998798 | 998966 | -168 | -168000 | -0.168 | 3 | 0 | 3 | 3000 | 0.003
68 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998822 | 999012 | -190 | -190000 | -0.19 | 2 | 0 | 2 | 2000 | 0.002
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 900093 | 902010 | -1917 | -1533600 | -1.5336 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 511 | 511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998822 | 999012 | -190 | -190000 | -0.19 | 2 | 0 | 2 | 2000 | 0.002
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10737 | 10737 | 0 | 0 | 0 | 25894 | 25871 | 23 | 1725 | 0.001725
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5406 | 5406 | 0 | 0 | 0 | 19237 | 19201 | 36 | 3600 | 0.0036
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9630 | 9853 | -223 | -111500 | -0.1115 | 3257 | 3257 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996758 | 997104 | -346 | -346000 | -0.346 | 4220 | 4221 | -1 | -1000 | -0.001
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981810 | 982042 | -232 | -232000 | -0.232 | 914 | 914 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7653 | 7674 | -21 | -21000 | -0.021 | 6740 | 6740 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999700 | 999816 | -116 | -116000 | -0.116 | 18 | 18 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4772 | 5576 | -804 | -80400 | -0.0804 | 910414 | 910413 | 1 | 100 | 0.0001
[5 empty] | 100 | 993293 | 993325 | -32 | -3200 | -0.0032
[5 empty] | 100 | 989818 | 989907 | -89 | -8900 | -0.0089
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6693 | 6624 | 69 | 69000 | 0.069 | 1125 | 1125 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5539 | 5593 | -54 | -54000 | -0.054 | 7455 | 7454 | 1 | 1000 | 0.001
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992138 | 992635 | -497 | -99400 | -0.0994 | 15237 | 15248 | -11 | -2200 | -0.0022
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987984 | 988033 | -49 | -9187.5 | -0.0091875 | 4781 | 4781 | 0 | 0 | 0
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 982215 | 983142 | -927 | -173812.5 | -0.17381 | 3911 | 3876 | 35 | 6562.5 | 0.0065625
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3953 | 4049 | -96 | -24000 | -0.024 | 8122 | 8122 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993378 | 993515 | -137 | -13700 | -0.0137 | 29811 | 29815 | -4 | -400 | -0.0004
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -55.2752 |  |  |  |  | -0.73978
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21961 | 21981 | -20 | 10000 | 0.01 | 4936 | 4943 | -7 | 3500 | 0.0035
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992640 | -7 | 933.31 | 0.00093331 | 12504 | 12526 | -22 | 2933.26 | 0.0029333
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1291 | 1303 | -12 | 12000 | 0.012 | 999335 | 999336 | -1 | 1000 | 0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991039 | 991349 | -310 | 310000 | 0.31 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3183 | 3492 | -309 | 49440 | 0.04944 | 31975 | 31997 | -22 | 3520 | 0.00352
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3814 | 3834 | -20 | 4000 | 0.004 | 10967 | 10970 | -3 | 600 | 0.0006
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972576 | 973338 | -762 | 762000 | 0.762 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999863 | 999920 | -57 | 5700 | 0.0057 | 999996 | 1000000 | -4 | 400 | 0.0004 | w.e.f 13/12/2021
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3836 | 3966 | -130 | 13000 | 0.013 | 1595 | 1602 | -7 | 700 | 0.0007
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 422 | 421 | 1 | -625 | -0.000625 | 1290 | 1289 | 1 | -625 | -0.000625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3182 | 3184 | -2 | 200 | 0.0002 | 32907 | 32929 | -22 | 2200 | 0.0022
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 755 | 757 | -2 | 2666 | 0.002666 | 597 | 598 | -1 | 1333 | 0.001333
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1929 | 1998 | -69 | 6900 | 0.0069 | 5194 | 5167 | 27 | -2700 | -0.0027
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999881 | 999881 | 0 | 0 | 0 | 999432 | 999431 | 1 | -400 | -0.0004
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 5718 | 4871 | 847 | -677600 | -0.6776 | 6224 | 6224 | 0 | 0 | 0
[5 empty] | -800 | 4401 | 4054 | 347 | -277600 | -0.2776
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981978 | 983077 | -1099 | 1099000 | 1.099 | 2358 | 2358 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1232 | 1382 | -150 | 112500 | 0.1125 | 3417 | 3410 | 7 | -5250 | -0.00525
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.4325 |  |  |  |  | 0.0072113
FEBRUARY-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -55.2752 |  |  |  |  | -0.73978
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.4325 |  |  |  |  | 0.0072113
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -1.0034 |  |  |  |  | -0.0012
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.0281
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -54.846 |  |  |  |  | -0.76187
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -54.846 | (REACTIVE MUs) |  |  |  | -0.76187 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.2332 | (REACTIVE MUs) |  |  |  | -0.0075868 | (REACTIVE MUs)
[9 empty] | TOTAL | -60.0792 | (REACTIVE MUs) |  |  |  | -0.76945 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1540 | 1634 | -94 | -25066.98 | -0.025067 | 2321 | 2321 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 7392 | 6065 | 1327 | 132700 | 0.1327 | 24 | 24 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 979996 | 980533 | -537 | -107400 | -0.1074 | 999382 | 999382 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1347 | 1331 | 16 | 16000 | 0.016 | 82 | 82 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3622 | 3697 | -75 | -60000 | -0.06 | 2723 | 2724 | -1 | -800 | -0.0008
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2193 | 2291 | -98 | -78400 | -0.0784 | 1328 | 1327 | 1 | 800 | 0.0008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0 | UNDER S/DN
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0 | UNDER S/DN
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946669 | 947655 | -986 | -788800 | -0.7888 | 989401 | 989409 | -8 | -6400 | -0.0064
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992581 | 992715 | -134 | -268000 | -0.268 | 999478 | 999482 | -4 | -8000 | -0.008
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953414 | 954216 | -802 | -40100 | -0.0401 | 19253 | 19425 | -172 | -8600 | -0.0086
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 962569 | 963926 | -1357 | -101775 | -0.10178 | 20630 | 20658 | -28 | -2100 | -0.0021
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997791 | 997870 | -79 | -39500 | -0.0395 | 5414 | 5428 | -14 | -7000 | -0.007
14 | BAY-10 (E LANE) | 4865113 | ELSTER | Kvarh(Lead/Lag) | 100 | 998919 | 998989 | -70 | -7000 | -0.007 | 999509 | 999549 | -40 | -4000 | -0.004 | Check meter data
|  | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999898 | 1000000 | -102 | -10200 | -0.0102 | 999982 | 1000000 | -18 | -1800 | -0.0018 | w.e.f 17/2/22
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998730 | 999159 | -429 | -42900 | -0.0429 | 998757 | 998855 | -98 | -9800 | -0.0098
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11064 | 11128 | -64 | -4800 | -0.0048 | 41222 | 41259 | -37 | -2775 | -0.002775
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1298 | 2091 | -793 | -79300 | -0.0793 | 1187 | 1196 | -9 | -900 | -0.0009
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995513 | 996290 | -777 | -777000 | -0.777 | 281 | 281 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984124 | 985810 | -1686 | -1686000 | -1.686 | 2709 | 2709 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998769 | 999016 | -247 | -617500 | -0.6175 | 34 | 34 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996587 | 996885 | -298 | -745000 | -0.745 | 461 | 461 | 0 | 0 | 0
[10 empty] | -3.8255 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991039 | 991349 | -310 | -310000 | -0.31 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3183 | 3492 | -309 | -49440 | -0.04944 | 31975 | 31997 | -22 | -3520 | -0.00352
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3814 | 3834 | -20 | -4000 | -0.004 | 10967 | 10970 | -3 | -600 | -0.0006
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972576 | 973338 | -762 | -762000 | -0.762 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
FEBRUARY-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996836 | 996636 | 200 | -200000 | -0.2 | 989799 | 989799 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999063 | 998847 | 216 | -216000 | -0.216 | 995612 | 995612 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998082 | 997995 | 87 | -174000 | -0.174 | 996394 | 996394 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000019 | 999854 | 165 | -165000 | -0.165 | 995020 | 995020 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 422 | 421 | 1 | 625 | 0.000625 | 1290 | 1289 | 1 | 625 | 0.000625
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999863 | 999920 | -57 | -5700 | -0.0057 | 999996 | 1000000 | -4 | -400 | -0.0004 | w.e.f 13/12/2021
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3836 | 3966 | -130 | -13000 | -0.013 | 1595 | 1602 | -7 | -700 | -0.0007
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21961 | 21981 | -20 | -10000 | -0.01 | 4936 | 4943 | -7 | -3500 | -0.0035
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 511 | 511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999561 | 999563 | -2 | 2000 | 0.002 | 999999 | 999999 | 0 | 0 | 0 | w.e.f 25/11/21
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10737 | 10737 | 0 | 0 | 0 | 25894 | 25871 | 23 | -1725 | -0.001725
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5406 | 5406 | 0 | 0 | 0 | 19237 | 19201 | 36 | -3600 | -0.0036
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.2366 |  |  |  |  | -0.064795
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -7.2366 |  |  |  |  | -0.064795
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.54619 |  |  |  |  | -0.00079184
| TOTAL ENERGY TO NDMC | [8 empty] | -7.7827 |  |  |  |  | -0.065587

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 77437 | 77437 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999876 | 1000041 | -165 | -26400 | -0.0264 | 30580 | 30570 | 10 | 1600 | 0.0016
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4588 | 4624 | -36 | -36000 | -0.036 | 59188 | 59190 | -2 | -2000 | -0.002
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999900 | -14 | -5600 | -0.0056 | 19465 | 19469 | -4 | -1600 | -0.0016
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999481 | 999438 | 43 | 34400 | 0.0344 | 724 | 724 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2673 | 2851 | -178 | -71200 | -0.0712 | 6027 | 6044 | -17 | -6800 | -0.0068
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1291 | 1303 | -12 | -12000 | -0.012 | 999335 | 999336 | -1 | -1000 | -0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.1168 |  |  |  |  | -0.0098
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4040 | 4040 | 0 | 0 | 0 | 10485 | 10751 | -266 | -9975 | -0.009975
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 87 | 87 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 37914 | 37524 | 390 | 29250 | 0.02925
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1935 | 1948 | -13 | -975 | -0.000975
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 5008 | 4910 | 98 | 9800 | 0.0098
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.0281
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.1168 |  |  |  |  | -0.0098
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.1168 |  |  |  |  | 0.0183
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.1168 | (REACTIVE MUs) |  |  |  | 0.0183 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.09594 | (REACTIVE MUs) |  |  |  | -0.00013909 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.21274 | (REACTIVE MUs) |  |  |  | 0.018161 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991331 | 991194 | 137 | 85625 | 0.085625 | 274 | 271 | 3 | 1875 | 0.001875
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999797 | 999759 | 38 | 19000 | 0.019 | 57 | 48 | 9 | 4500 | 0.0045
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 5718 | 4871 | 847 | 677600 | 0.6776 | 6224 | 6224 | 0 | 0 | 0
[5 empty] | 800 | 4401 | 4054 | 347 | 277600 | 0.2776
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 58690 | 58690 | 0 | 0 | 0 | 238180 | 234430 | 3750 | -3750 | -0.00375
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 32580 | 32310 | 270 | -270 | -0.00027 | 428720 | 421460 | 7260 | -7260 | -0.00726
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 131900 | 130900 | 1000 | -1000 | -0.001 | 1326499 | 1297400 | 29099 | -29099 | -0.029099
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.0586 |  |  |  |  | -0.033734
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.064749 |  |  |  |  | -9.3871e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.99381 |  |  |  |  | -0.033828

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996607 | 997266 | -659 | -329500 | -0.3295 | 999998 | 999998 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 31399 | 34524 | -3125 | -312500 | -0.3125 | 998566 | 998567 | -1 | -100 | -0.0001
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16206 | 16465 | -259 | -129500 | -0.1295 | 5311 | 5312 | -1 | -500 | -0.0005
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997469 | 997711 | -242 | -226875 | -0.22687 | 999704 | 999704 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999503 | 999584 | -81 | 81000 | 0.081 | 999721 | 999721 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993768 | 993596 | 172 | -86000 | -0.086 | 163 | 163 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 1 | 3 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -1.0034 |  |  |  |  | -0.0012
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 962175 | 963650 | -1475 | -295000 | -0.295 | 993667 | 993665 | 2 | 400 | 0.0004
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986069 | 986320 | -251 | -235312.5 | -0.23531 | 999443 | 999443 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.53031 |  |  |  |  | 0.0004
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1398 | 1476 | -78 | -97500 | -0.0975 | 998650 | 998650 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 55896 | 58389 | -2493 | -350578.125 | -0.35058 | 987188 | 987199 | -11 | -1546.875 | -0.0015469
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 38502 | 40393 | -1891 | -315167.297 | -0.31517 | 988386 | 988396 | -10 | -1666.67 | -0.0016667
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 707 | 734 | -27 | -101250 | -0.10125 | 152 | 153 | -1 | -3750 | -0.00375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999301 | 999522 | -221 | -221000 | -0.221 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 3/12/2021
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 980543 | 981940 | -1397 | -209550 | -0.20955 | 988330 | 988328 | 2 | 300 | 0.0003
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 497 | 161 | 336 | -210000 | -0.21 | 999915 | 999915 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 1 | 3 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | -1.505 |  |  |  |  | -0.0060635
| E) NET EXPORT TO BSES RPL | [8 empty] | -1.0034 |  |  |  |  | -0.0012
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.53031 |  |  |  |  | 0.0004
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.505 |  |  |  |  | -0.0060635

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 166361 | 163456 | 2905 | 2905000 | 2.905 | 47829 | 47829 | 0 | 0 | 0
[5 empty] | 1000 | 155479 | 153226 | 2253 | 2253000 | 2.253
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 24073 | 21665 | 2408 | 4816000 | 4.816 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 881170 | 883223 | -2053 | 1026500 | 1.0265 | 998000 | 998001 | -1 | 500 | 0.0005
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 421625 | 422720 | -1095 | 109500 | 0.1095 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 11.11 |  | NET REACTIVE ENERGY |  |  | 0.0005
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 11.11 |  |  |  |  | 0.0005
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -11.452 |  |  |  |  | 0.001
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -8.5932 |  |  |  |  | -0.02
[7 empty] | NDMC = |  |  | -3.8255 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -23.8707 |  |  |  |  | -0.019
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -12.7607 |  |  |  |  | -0.0185
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.943 | % |  |  | -4.2038 |  |  |  |  | -0.0060944
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.01 | % |  |  | -5.2332 |  |  |  |  | -0.0075868
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.5076 | % |  |  | -2.6169 |  |  |  |  | -0.0037939
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.2802 | % |  |  | -0.54619 |  |  |  |  | -0.00079184
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.75183 | % |  |  | -0.09594 |  |  |  |  | -0.00013909
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.50741 | % |  |  | -0.064749 |  |  |  |  | -9.3871e-05
Note :Sharing taken from wk-48 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2022 TO 28th FEBRUARY-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -76.8318 |  | -1.3601
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -60.0792 |  | -0.76945
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -28.03 |  | -0.092179
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -7.7827 |  | -0.065587
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.21274 | + | 0.018161
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.99381 |  | -0.033828
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2022 | INTIAL READING 01/01/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83