## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92 | 301 | -209 | 209000 | 0.209 | 999304 | 999303 | 1 | -1000 | -0.001
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 93436 | 93084 | 352 | -704000 | -0.704 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16703 | 15469 | 1234 | -1234000 | -1.234 | 999733 | 999733 | 0 | 0 | 0
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87202 | 86414 | 788 | -788000 | -0.788 | 112114 | 112091 | 23 | -23000 | -0.023
[5 empty] | -1000 | 71701 | 69647 | 2054 | -2054000 | -2.054
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 118 | 10 | 108 | -108000 | -0.108 | 984391 | 984438 | -47 | 47000 | 0.047
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917817 | 917808 | 9 | -9000 | -0.009 | 35177 | 34830 | 347 | -347000 | -0.347
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22255 | 21510 | 745 | -745000 | -0.745 | 999664 | 999664 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32348 | 31760 | 588 | -588000 | -0.588 | 997780 | 997780 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24375 | 22535 | 1840 | -1840000 | -1.84 | 996587 | 996587 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 5565 | 5187 | 378 | -189000 | -0.189 | 813314 | 813314 | 0 | 0 | 0
[5 empty] | -500 | 3372 | 1374 | 1998 | -999000 | -0.999
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5053 | 3960 | 1093 | -1093000 | -1.093 | 998340 | 998340 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21227 | 17864 | 3363 | -3363000 | -3.363 | 999433 | 999433 | 0 | 0 | 0 | Data upto 31.10.22
|  | 4865037 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12091 | 11947 | 144 | -144000 | -0.144 | 999487 | 999487 | 0 | 0 | 0 | Check meter Data
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54930 | 54121 | 809 | -809000 | -0.809 | 996470 | 996470 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 712393 | 716976 | -4583 | -4583000 | -4.583 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 769654 | 777175 | -7521 | -3760500 | -3.7605 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15141 | 14964 | 177 | -177000 | -0.177 | 997980 | 997998 | -18 | 18000 | 0.018
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 79236 | 77626 | 1610 | -805000 | -0.805 | 999964 | 999958 | 6 | -3000 | -0.003
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61288 | 60609 | 679 | -679000 | -0.679 | 999110 | 999102 | 8 | -8000 | -0.008
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998646 | 0 | 0 | 0 | 986990 | 987153 | -163 | -163000 | -0.163
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999593 | 0 | 0 | 0 | 999664 | 999680 | -16 | -64000 | -0.064
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1994 | 1994 | 0 | 0 | 0 | 16913 | 16784 | 129 | 64500 | 0.0645
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91330 | 91330 | 0 | 0 | 0 | 420327 | 419330 | 997 | 49850 | 0.04985
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998589 | 0 | 0 | 0 | 993362 | 993726 | -364 | -364000 | -0.364
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999159 | 999159 | 0 | 0 | 0 | 995531 | 995837 | -306 | -306000 | -0.306 | Data upto 25.10.22
|  | 4864898 | ELSTER | Kvarh(Lead/Lag) | 500 | 998335 | 998335 | 0 | 0 | 0 | 991030 | 991118 | -88 | -44000 | -0.044 | Check meter Data
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3 | 16 | -13 | -13000 | -0.013 | 999990 | 999990 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985507 | 986304 | -797 | -797000 | -0.797 | 997878 | 997878 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 900383 | 902796 | -2413 | -1206500 | -1.2065 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993249 | 993282 | -33 | -8800.11 | -0.0088001 | 392 | 378 | 14 | 3733.38 | 0.0037334
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2200 | 2200 | 0 | 0 | 0 | 2325 | 2185 | 140 | 70000 | 0.07
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54864 | 54844 | 20 | -20000 | -0.02 | 995614 | 995614 | 0 | 0 | 0
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1199 | 561 | 638 | -638000 | -0.638 | 999882 | 999882 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 27797 | 24539 | 3258 | -6516000 | -6.516 | 999501 | 999501 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77947 | 75344 | 2603 | -2603000 | -2.603 | 995796 | 995844 | -48 | 48000 | 0.048
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 6615 | 5524 | 1091 | -4364000 | -4.364 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 158846 | 156167 | 2679 | -2679000 | -2.679 | 998423 | 998424 | -1 | 1000 | 0.001
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 303885 | 291409 | 12476 | -4158625.08 | -4.1586 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 33665 | 30391 | 3274 | -6548000 | -6.548 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 43870 | 40786 | 3084 | -6168000 | -6.168 | 559 | 559 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 127338 | 120924 | 6414 | -6414000 | -6.414 | 2316 | 2316 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 8217000 | 7542000 | 675000 | -675000 | -0.675 | 2803000 | 2803000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 23553000 | 20368000 | 3185000 | -3185000 | -3.185 | 2792000 | 2792000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23578 | 21221 | 2357 | -2357000 | -2.357 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54701 | 54562 | 139 | -139000 | -0.139 | 772 | 772 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997748 | 998038 | -290 | -290000 | -0.29 | 24776 | 24786 | -10 | -10000 | -0.01
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | OCTOBER-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 1000000 | -1 | -100 | -0.0001 | 999937 | 999962 | -25 | -2500 | -0.0025
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3139 | 3162 | -23 | -2300 | -0.0023 | 36178 | 36131 | 47 | 4700 | 0.0047
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 753 | 754 | -1 | -1333 | -0.001333 | 633 | 630 | 3 | 3999 | 0.003999
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 21 | 8 | 13 | 1300 | 0.0013 | 3297 | 3132 | 165 | 16500 | 0.0165
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1905 | 1921 | -16 | -1600 | -0.0016 | 9144 | 8858 | 286 | 28600 | 0.0286
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999788 | 999785 | 3 | 1500 | 0.0015 | 2440 | 2439 | 1 | 500 | 0.0005
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 21 | 25 | -4 | -2000 | -0.002 | 296 | 295 | 1 | 500 | 0.0005
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1124 | 1120 | 4 | 2000 | 0.002 | 1562 | 1558 | 4 | 2000 | 0.002
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992948 | 992948 | 0 | 0 | 0 | 2906 | 2892 | 14 | 1400 | 0.0014
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9504 | 9512 | -8 | -800 | -0.0008 | 16199 | 16170 | 29 | 2900 | 0.0029
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15527 | 15284 | 243 | 24300 | 0.0243 | 6354 | 6346 | 8 | 800 | 0.0008
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 33439 | 33350 | 89 | 8900 | 0.0089 | 11361 | 11360 | 1 | 100 | 0.0001 | Data till 17/10/2022
[10 empty] | 0.00418 |  |  |  |  | 4.7e-05 | assessment 8 days
|  | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 9 | 0 | 9 | 900 | 0.0009 | 0 | 0 | 0 | 0 | 0 | w.e.f 26.10.22
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 62009 | 62196 | -187 | -18700 | -0.0187 | 2535 | 2519 | 16 | 1600 | 0.0016
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 434 | 433 | 1 | 133.33 | 0.00013333 | 997 | 968 | 29 | 3866.57 | 0.0038666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 1000000 | -1 | 400 | 0.0004 | 0 | 0 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999898 | 999898 | 0 | 0 | 0 | 999454 | 999454 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 944648 | 946012 | -1364 | -1091200 | -1.0912 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 999542 | 999999 | -457 | -365600 | -0.3656 | 0 | 0 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 966944 | 967672 | -728 | -145600 | -0.1456 | 2058 | 2041 | 17 | 3400 | 0.0034
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992519 | 992763 | -244 | -61000 | -0.061 | 857 | 853 | 4 | 1000 | 0.001
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980242 | 980904 | -662 | -662000 | -0.662 | 2115 | 2115 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1190 | 1203 | -13 | -9750 | -0.00975 | 4405 | 4402 | 3 | 2250 | 0.00225
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -75.5608 |  |  |  |  | -0.95925
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 367 | 367 | 0 | 0 | 0 | 1465 | 1421 | 44 | -4400 | -0.0044
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 440 | 403 | 37 | -29600 | -0.0296 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 38 | 18 | 20 | -26666.6 | -0.026667 | 3 | 3 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5559 | 5359 | 200 | -26666 | -0.026666 | 8037 | 8030 | 7 | -933.31 | -0.00093331
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997068 | 997113 | -45 | 8437.5 | 0.0084375 | 998459 | 998463 | -4 | 750 | 0.00075
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 897917 | 897917 | 0 | 0 | 0 | 997637 | 997637 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991898 | 991510 | 388 | -242500 | -0.2425 | 507 | 507 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999823 | 999884 | -61 | 30500 | 0.0305 | 214 | 214 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992013 | 992041 | -28 | 5600 | 0.0056 | 20595 | 20513 | 82 | -16400 | -0.0164
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 986373 | 987339 | -966 | 181125 | 0.18113 | 4307 | 4307 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981188 | 981621 | -433 | 81187.5 | 0.081187 | 3468 | 3469 | -1 | 187.5 | 0.0001875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4247 | 4260 | -13 | 3250 | 0.00325 | 8539 | 8539 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993313 | 993332 | -19 | 1900 | 0.0019 | 30628 | 30634 | -6 | 600 | 0.0006
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.013433 |  |  |  |  | -0.020196
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -75.5608 |  |  |  |  | -0.95925
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.013433 |  |  |  |  | -0.020196
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.7594 |  |  |  |  | -0.0525
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -77.3336 |  |  |  |  | -1.0319
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -77.3336 | (REACTIVE MUs) |  |  |  | -1.0319 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.0136 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -73.32 | (REACTIVE MUs) |  |  |  | -1.0319 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997844 | 997849 | -5 | -5000 | -0.005 | 995268 | 995750 | -482 | -482000 | -0.482
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998584 | 998588 | -4 | -4000 | -0.004 | 998784 | 998918 | -134 | -134000 | -0.134
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999698 | 999719 | -21 | -21000 | -0.021 | 993232 | 994946 | -1714 | -1714000 | -1.714
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999804 | 999806 | -2 | -2666.66 | -0.0026667 | 999330 | 999429 | -99 | -131999.67 | -0.132
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997597 | 997613 | -16 | -24000 | -0.024 | 999312 | 999349 | -37 | -55500 | -0.0555
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10447 | 10456 | -9 | -900 | -0.0009 | 19941 | 20327 | -386 | -38600 | -0.0386
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994906 | 994931 | -25 | -25000 | -0.025 | 995989 | 996107 | -118 | -118000 | -0.118
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991188 | 991275 | -87 | -6525 | -0.006525 | 989045 | 992197 | -3152 | -236400 | -0.2364
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996796 | 996800 | -4 | -3200 | -0.0032 | 998886 | 999009 | -123 | -98400 | -0.0984
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988609 | 988612 | -3 | -3999.99 | -0.004 | 265033 | 265045 | -12 | -15999.96 | -0.016
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 943 | 969 | -26 | 173333.316 | 0.17333 | 999956 | 999956 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31632 | 29927 | 1705 | -1705000 | -1.705 | 996602 | 996602 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5273 | 5158 | 115 | -230000 | -0.23 | 996024 | 996012 | 12 | -24000 | -0.024
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1199 | 561 | 638 | -638000 | -0.638 | 999882 | 999882 | 0 | 0 | 0
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1638 | 2332 | -694 | 694000 | 0.694 | 993846 | 993856 | -10 | 10000 | 0.01
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 149201 | 149131 | 70 | -70000 | -0.07 | 22251 | 22249 | 2 | -2000 | -0.002
[5 empty] | -1000 | 142697 | 142137 | 560 | -560000 | -0.56
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7333 | 6563 | 770 | -770000 | -0.77 | 999412 | 999411 | 1 | -1000 | -0.001
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38326 | 38320 | 6 | -12000 | -0.012 | 1163 | 1130 | 33 | -66000 | -0.066
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1843 | 1657 | 186 | -372000 | -0.372 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 124685 | 122696 | 1989 | -1591200 | -1.5912 | 10437 | 10434 | 3 | -2400 | -0.0024
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121964 | 121739 | 225 | -180000 | -0.18 | 5519 | 5508 | 11 | -8800 | -0.0088
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943956 | 944212 | -256 | 256000 | 0.256 | 959164 | 959181 | -17 | 17000 | 0.017
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952243 | 952481 | -238 | 476000 | 0.476 | 991141 | 991213 | -72 | 144000 | 0.144
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908616 | 909060 | -444 | 888000 | 0.888 | 971745 | 971759 | -14 | 28000 | 0.028
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10955 | 11056 | -101 | 101000 | 0.101 | 995896 | 995903 | -7 | 7000 | 0.007
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997328 | 997168 | 160 | -160000 | -0.16 | 997231 | 997231 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980968 | 980804 | 164 | -164000 | -0.164 | 999859 | 999859 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277995 | 277537 | 458 | -458000 | -0.458 | 124836 | 124834 | 2 | -2000 | -0.002
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7601 | 7534 | 67 | -134000 | -0.134 | 524 | 524 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 440 | 403 | 37 | 29600 | 0.0296 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933071 | 934129 | -1058 | 1058000 | 1.058 | 965240 | 965240 | 0 | 0 | 0
32 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997176 | 998554 | -1378 | 1378000 | 1.378 | 999513 | 999513 | 0 | 0 | 0
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41023 | 40916 | 107 | -85600 | -0.0856 | 1302 | 1239 | 63 | -50400 | -0.0504
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62821 | 62766 | 55 | -88000 | -0.088 | 995659 | 995569 | 90 | -144000 | -0.144
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996507 | 996019 | 488 | -976000 | -0.976 | 987716 | 987716 | 0 | 0 | 0
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000159 | 999992 | 167 | -167000 | -0.167 | 997968 | 997968 | 0 | 0 | 0
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23610 | 23566 | 44 | -44000 | -0.044 | 31452 | 31452 | 0 | 0 | 0
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2947 | 2342 | 605 | -605000 | -0.605 | 996765 | 996765 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1110 | 837 | 273 | -273000 | -0.273 | 1251 | 1251 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | OCTOBER-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3671 | 3283 | 388 | -388000 | -0.388 | 999943 | 999943 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22280 | 21878 | 402 | -402000 | -0.402 | 343 | 343 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12242 | 11608 | 634 | -634000 | -0.634 | 996670 | 997965 | -1295 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2479 | 1144 | 1335 | -1335000 | -1.335 | 2449 | 2449 | 0 | 0 | 0
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 2828 | 218 | 2610 | -1305000 | -1.305 | 1080 | 1080 | 0 | 0 | 0
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 269 | 51 | 218 | -545000 | -0.545 | 868 | 868 | 0 | 0 | 0
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1360 | 613 | 747 | -1494000 | -1.494 | 631 | 631 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87970 | 86140 | 1830 | -1830000 | -1.83 | 997109 | 997109 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 59297 | 57593 | 1704 | -3408000 | -3.408 | 999373 | 999373 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 6456 | 5879 | 577 | -865500 | -0.8655 | 27 | 27 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9877 | 9049 | 828 | -828000 | -0.828 | 999968 | 999968 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996469 | 996459 | 10 | -10000 | -0.01 | 999841 | 999841 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991075 | 991092 | -17 | 17000 | 0.017 | 994546 | 994546 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990236 | 990564 | -328 | 328000 | 0.328 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 994780 | 995115 | -335 | -1340000 | -1.34 | 999990 | 999990 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 968839 | 969878 | -1039 | -831200 | -0.8312 | 634 | 634 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 913390 | 915232 | -1842 | -1473600 | -1.4736 | 999431 | 999431 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 996787 | 997073 | -286 | -228800 | -0.2288 | 999853 | 999853 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994383 | 994567 | -184 | -147200 | -0.1472 | 52 | 52 | 0 | 0 | 0
61 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 997157 | 999333 | -2176 | -1740800 | -1.7408 | 999988 | 999988 | 0 | 0 | 0
62 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 996619 | 999149 | -2530 | -2024000 | -2.024 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986781 | 986837 | -56 | -112000 | -0.112 | 998518 | 998523 | -5 | -10000 | -0.01
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109903 | 109815 | 88 | -176000 | -0.176 | 6134 | 5755 | 379 | -758000 | -0.758
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13717 | 11743 | 1974 | -1974000 | -1.974 | 4670 | 4670 | 0 | 0 | 0
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 139791 | 138322 | 1469 | -1469000 | -1.469 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 367 | 367 | 0 | 0 | 0 | 1465 | 1421 | 44 | 4400 | 0.0044
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997068 | 997113 | -45 | -8437.5 | -0.0084375 | 998459 | 998463 | -4 | -750 | -0.00075
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998757 | 998763 | -6 | -6000 | -0.006 | 418 | 387 | 31 | 31000 | 0.031
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998758 | 998786 | -28 | -28000 | -0.028 | 327 | 296 | 31 | 31000 | 0.031
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 897917 | 897917 | 0 | 0 | 0 | 997637 | 997637 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 537 | 625 | -88 | -88000 | -0.088 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998758 | 998786 | -28 | -28000 | -0.028 | 327 | 296 | 31 | 31000 | 0.031
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1276 | 1276 | 0 | 0 | 0
[15 empty] | -0.00025 | Assessment 3 days
|  | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999976 | 999999 | -23 | -2300 | -0.0023 | w.e.f 04.10.22
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 2 | 0 | 2 | 200 | 0.0002 | 2765 | 2715 | 50 | 5000 | 0.005
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9447 | 9542 | -95 | -47500 | -0.0475 | 3095 | 3096 | -1 | -500 | -0.0005
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996509 | 996586 | -77 | -77000 | -0.077 | 4209 | 4210 | -1 | -1000 | -0.001
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981563 | 981721 | -158 | -158000 | -0.158 | 545 | 544 | 1 | 1000 | 0.001
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7713 | 7676 | 37 | 37000 | 0.037 | 6924 | 6923 | 1 | 1000 | 0.001
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 999653 | 1000018 | -365 | -54750 | -0.05475 | 239 | 227 | 12 | 1800 | 0.0018
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4633 | 4874 | -241 | -24100 | -0.0241 | 912139 | 912160 | -21 | -2100 | -0.0021
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1000027 | 999978 | 49 | 13066.83 | 0.013067 | 642 | 639 | 3 | 800.01 | 0.00080001
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5563 | 5551 | 12 | 12000 | 0.012 | 7980 | 7967 | 13 | 13000 | 0.013
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992013 | 992041 | -28 | -5600 | -0.0056 | 20595 | 20513 | 82 | 16400 | 0.0164
84 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 986373 | 987339 | -966 | -181125 | -0.18113 | 4307 | 4307 | 0 | 0 | 0
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981188 | 981621 | -433 | -81187.5 | -0.081187 | 3468 | 3469 | -1 | -187.5 | -0.0001875
86 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4247 | 4260 | -13 | -3250 | -0.00325 | 8539 | 8539 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993313 | 993332 | -19 | -1900 | -0.0019 | 30628 | 30634 | -6 | -600 | -0.0006
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -29.2718 |  |  |  |  | -3.7588
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21932 | 21932 | 0 | 0 | 0 | 5279 | 5284 | -5 | 2500 | 0.0025
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992568 | 992630 | -62 | 8266.46 | 0.0082665 | 8597 | 8597 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999939 | 999996 | -57 | 38000.019 | 0.038 | 505 | 503 | 2 | -1333.334 | -0.0013333
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1226 | 1269 | -43 | 43000 | 0.043 | 314 | 316 | -2 | 2000 | 0.002
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990595 | 990814 | -219 | 219000 | 0.219 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3092 | 3037 | 55 | -8800 | -0.0088 | 38603 | 38593 | 10 | -1600 | -0.0016
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3863 | 3822 | 41 | -8200 | -0.0082 | 18636 | 18607 | 29 | -5800 | -0.0058
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971301 | 971810 | -509 | 509000 | 0.509 | 999383 | 999383 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 504 | 81 | 423 | -42300 | -0.0423 | 1727 | 1727 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4359 | 3831 | 528 | -52800 | -0.0528 | 5073 | 5073 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4902555 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 03.10.22
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 833 | 833 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 1000000 | -1 | 100 | 0.0001 | 999937 | 999962 | -25 | 2500 | 0.0025
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3139 | 3162 | -23 | 2300 | 0.0023 | 36178 | 36131 | 47 | -4700 | -0.0047
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 753 | 754 | -1 | 1333 | 0.001333 | 633 | 630 | 3 | -3999 | -0.003999
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 21 | 8 | 13 | -1300 | -0.0013 | 3297 | 3132 | 165 | -16500 | -0.0165
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1905 | 1921 | -16 | 1600 | 0.0016 | 9144 | 8858 | 286 | -28600 | -0.0286
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 1000000 | -1 | -400 | -0.0004 | 0 | 0 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999898 | 999898 | 0 | 0 | 0 | 999454 | 999454 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 350 | 100 | 250 | -200000 | -0.2 | 549 | 549 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980242 | 980904 | -662 | 662000 | 0.662 | 2115 | 2115 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1190 | 1203 | -13 | 9750 | 0.00975 | 4405 | 4402 | 3 | -2250 | -0.00225
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.1805 |  |  |  |  | -0.057782
OCTOBER-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -29.2718 |  |  |  |  | -3.7588
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.1805 |  |  |  |  | -0.057782
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.45355 |  |  |  |  | 0.0020375
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.016487 |  |  |  |  | -0.05055
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -27.6542 |  |  |  |  | -3.8651
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -27.6542 | (REACTIVE MUs) |  |  |  | -3.8651 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.5868 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -22.0674 | (REACTIVE MUs) |  |  |  | -3.8651 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36598 | 36586 | 12 | 3204 | 0.003204 | 991976 | 992174 | -198 | -52866 | -0.052866
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11236 | 11235 | 1 | 4000 | 0.004 | 1413 | 1574 | -161 | -644000 | -0.644
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24927 | 24926 | 1 | 133.33 | 0.00013333 | 34832 | 34801 | 31 | 4133.23 | 0.0041332
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999785 | 999797 | -12 | -12000 | -0.012 | 999730 | 999834 | -104 | -104000 | -0.104
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18466 | 18467 | -1 | -1333.33 | -0.0013333 | 4948 | 4960 | -12 | -15999.96 | -0.016
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999692 | 999705 | -13 | -2600 | -0.0026 | 999225 | 999908 | -683 | -136600 | -0.1366
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975022 | 975082 | -60 | -60000 | -0.06 | 1216 | 1219 | -3 | -3000 | -0.003
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983442 | 983523 | -81 | -40500 | -0.0405 | 280 | 281 | -1 | -500 | -0.0005
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997612 | 997694 | -82 | -82000 | -0.082 | 999839 | 999839 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982752 | 982878 | -126 | -126000 | -0.126 | 1094 | 1094 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 135 | 203 | -68 | -68000 | -0.068 | 3393 | 3401 | -8 | -8000 | -0.008
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993441 | 993471 | -30 | -30000 | -0.03 | 995519 | 995524 | -5 | -5000 | -0.005
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992506 | 992545 | -39 | -39000 | -0.039 | 999977 | 999987 | -10 | -10000 | -0.01
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994363 | 994221 | 142 | 113600 | 0.1136 | 7476 | 7469 | 7 | 5600 | 0.0056
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14556 | 14442 | 114 | 15199.62 | 0.0152 | 8354 | 8354 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 36 | 39 | -3 | -3000 | -0.003 | 999827 | 999848 | -21 | -21000 | -0.021
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 616 | 636 | -20 | -20000 | -0.02 | 16908 | 16908 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 953834 | 955001 | -1167 | -1458750 | -1.4587 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944212 | 946346 | -2134 | -2134000 | -2.134 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992643 | 992643 | 0 | 0 | 0 | 998682 | 998682 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.5928 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999362 | 999362 | 0 | 0 | 0 | 998763 | 998981 | -218 | 218000 | 0.218
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6410 | 6426 | -16 | 16000 | 0.016 | 997811 | 997845 | -34 | 34000 | 0.034
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998920 | 0 | 0 | 0 | 12430 | 12515 | -85 | -85000 | -0.085
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 264309 | 263734 | 575 | -575000 | -0.575 | 26045 | 26012 | 33 | -33000 | -0.033
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 574 | 554 | 20 | -20000 | -0.02 | 1210 | 1163 | 47 | -47000 | -0.047
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8104 | 7790 | 314 | -314000 | -0.314 | 998980 | 998980 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6128 | 5881 | 247 | -247000 | -0.247 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101804 | 101588 | 216 | -216000 | -0.216 | 982674 | 982674 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 94274 | 93748 | 526 | -526000 | -0.526 | 334 | 334 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 1261 | 970 | 291 | -1455000 | -1.455 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 38 | 18 | 20 | 26666.6 | 0.026667 | 3 | 3 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5559 | 5359 | 200 | 26666 | 0.026666 | 8037 | 8030 | 7 | 933.31 | 0.00093331
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992568 | 992630 | -62 | -8246 | -0.008246 | 8597 | 8597 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974840 | 974749 | 91 | -91000 | -0.091 | 990097 | 990097 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961467 | 961390 | 77 | -77000 | -0.077 | 969105 | 969105 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -7.401 |  |  |  |  | -0.9033
| (A) NET ENERGY TO CENTRAL | [8 empty] | -7.401 |  |  |  |  | -0.9033
OCTOBER-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999988 | 999979 | 9 | -9000 | -0.009 | 54 | 21 | 33 | -33000 | -0.033
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981169 | 981144 | 25 | -25000 | -0.025 | 930743 | 930694 | 49 | -49000 | -0.049
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999981 | 999979 | 2 | -2000 | -0.002 | 999987 | 999969 | 18 | -18000 | -0.018
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999658 | 999655 | 3 | -3000 | -0.003 | 999723 | 999728 | -5 | 5000 | 0.005
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39916 | 39375 | 541 | -541000 | -0.541 | 998157 | 998157 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 18264 | 17034 | 1230 | -615000 | -0.615 | 645 | 645 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999827 | 999709 | 118 | -118000 | -0.118 | 999989 | 999989 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44358 | 44356 | 2 | -2000 | -0.002 | 999422 | 999422 | 0 | 0 | 0
[5 empty] | -1000 | 9434 | 9475 | -41 | 41000 | 0.041
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968 | 802 | 166 | -166000 | -0.166 | 21 | 21 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970635 | 970610 | 25 | -25000 | -0.025 | 968048 | 968048 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 954850 | 954861 | -11 | 11000 | 0.011
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 296 | 190 | 106 | -106000 | -0.106 | 38 | 31 | 7 | -7000 | -0.007
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13526 | 13429 | 97 | -485000 | -0.485 | 51 | 51 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25148 | 24354 | 794 | -794000 | -0.794 | 81 | 81 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6062 | 5524 | 538 | -538000 | -0.538 | 4 | 4 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -3.388 |  |  |  |  | -0.091
| (B) NET ENERGY TO EAST | [8 empty] | -3.388 |  |  |  |  | -0.091
OCTOBER-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993249 | 993282 | -33 | 8800.11 | 0.0088001 | 392 | 378 | 14 | -3733.38 | -0.0037334
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2200 | 2200 | 0 | 0 | 0 | 2325 | 2185 | 140 | -70000 | -0.07
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1328 | 1372 | -44 | 11733.04 | 0.011733 | 2245 | 2245 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 4390 | 3205 | 1185 | -474000 | -0.474 | 23 | 23 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 977169 | 977580 | -411 | 82200 | 0.0822 | 999384 | 999384 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1248 | 1325 | -77 | 77000 | 0.077 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3672 | 3673 | -1 | 800 | 0.0008 | 4745 | 4728 | 17 | -13600 | -0.0136
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2123 | 2133 | -10 | 8000 | 0.008 | 1664 | 1667 | -3 | 2400 | 0.0024
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 945545 | 945742 | -197 | 157600 | 0.1576 | 988568 | 988578 | -10 | 8000 | 0.008
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986781 | 986837 | -56 | 112000 | 0.112 | 998518 | 998523 | -5 | 10000 | 0.01
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997748 | 998038 | -290 | 290000 | 0.29 | 24776 | 24786 | -10 | 10000 | 0.01
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999788 | 999785 | 3 | -1500 | -0.0015 | 2440 | 2439 | 1 | -500 | -0.0005
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 21 | 25 | -4 | 2000 | 0.002 | 296 | 295 | 1 | -500 | -0.0005
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1124 | 1120 | 4 | -2000 | -0.002 | 1562 | 1558 | 4 | -2000 | -0.002
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 62009 | 62196 | -187 | 18700 | 0.0187 | 2535 | 2519 | 16 | -1600 | -0.0016
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 434 | 433 | 1 | -133.33 | -0.00013333 | 997 | 968 | 29 | -3866.57 | -0.0038666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992948 | 992948 | 0 | 0 | 0 | 2906 | 2892 | 14 | -1400 | -0.0014
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9504 | 9512 | -8 | 800 | 0.0008 | 16199 | 16170 | 29 | -2900 | -0.0029
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15527 | 15284 | 243 | -24300 | -0.0243 | 6354 | 6346 | 8 | -800 | -0.0008
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 33439 | 33350 | 89 | -8900 | -0.0089 | 11361 | 11360 | 1 | -100 | -0.0001 | Data till 17/10/22
[10 empty] | -0.00418 |  |  |  |  | -4.7e-05 | assessment 8 days
|  | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 9 | 0 | 9 | -900 | -0.0009 | 0 | 0 | 0 | 0 | 0 | w.e.f 26.10.22
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 68380 | 66880 | 1500 | 1500 | 0.0015 | 331720 | 317129 | 14591 | 14591 | 0.014591
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 39060 | 38670 | 390 | 390 | 0.00039 | 547929 | 537630 | 10299 | 10299 | 0.010299
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 231200 | 230600 | 600 | 600 | 0.0006 | 1709100 | 1624700 | 84400 | 84400 | 0.0844
[10 empty] | 0.25621 |  |  |  |  | 0.038643
OCTOBER-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -7.401 |  |  |  |  | -0.9033
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.25621 |  |  |  |  | 0.038643
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4046 |  |  |  |  | -0.0024375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -7.5493 |  |  |  |  | -0.86709
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -3.388 |  |  |  |  | -0.091
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -10.9373 |  |  |  |  | -0.95809
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.9373 | (REACTIVE MUs) |  |  |  | -0.95809 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.073 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.8643 | (REACTIVE MUs) |  |  |  | -0.95809 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1328 | 1372 | -44 | -11733.48 | -0.011733 | 2245 | 2245 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 4390 | 3205 | 1185 | 474000 | 0.474 | 23 | 23 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 977169 | 977580 | -411 | -82200 | -0.0822 | 999384 | 999384 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1248 | 1325 | -77 | -77000 | -0.077 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3672 | 3673 | -1 | -800 | -0.0008 | 4745 | 4728 | 17 | 13600 | 0.0136
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2123 | 2133 | -10 | -8000 | -0.008 | 1664 | 1667 | -3 | -2400 | -0.0024
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 945545 | 945742 | -197 | -157600 | -0.1576 | 988568 | 988578 | -10 | -8000 | -0.008
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953041 | 953103 | -62 | -3100 | -0.0031 | 29244 | 29694 | -450 | -22500 | -0.0225
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999590 | 999631 | -41 | -4100 | -0.0041 | 2660 | 3114 | -454 | -45400 | -0.0454
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997799 | 997802 | -3 | -1500 | -0.0015 | 7592 | 7357 | 235 | 117500 | 0.1175
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999871 | 0 | 0 | 0 | 997954 | 997954 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998520 | 998537 | -17 | -1700 | -0.0017 | 6619 | 6548 | 71 | 7100 | 0.0071
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11077 | 11076 | 1 | 1000 | 0.001 | 42142 | 42021 | 121 | 121000 | 0.121
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 882 | 916 | -34 | -3400 | -0.0034 | 1204 | 1577 | -373 | -37300 | -0.0373
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993974 | -576 | -576000 | -0.576 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981299 | 981938 | -639 | -639000 | -0.639 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998286 | 998386 | -100 | -250000 | -0.25 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995652 | 995823 | -171 | -427500 | -0.4275 | 461 | 461 | 0 | 0 | 0
[10 empty] | -1.8925 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990595 | 990814 | -219 | -219000 | -0.219 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3092 | 3037 | 55 | 8800 | 0.0088 | 38603 | 38593 | 10 | 1600 | 0.0016
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3863 | 3822 | 41 | 8200 | 0.0082 | 18636 | 18607 | 29 | 5800 | 0.0058
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971301 | 971810 | -509 | -509000 | -0.509 | 999383 | 999383 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4902555 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 03.10.22
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 833 | 833 | 0 | 0 | 0
OCTOBER-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997012 | 996690 | 322 | -322000 | -0.322 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999200 | 998860 | 340 | -340000 | -0.34 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998018 | 998018 | 0 | 0 | 0 | 995227 | 995229 | -2 | 4000 | 0.004
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999823 | 999903 | -80 | 80000 | 0.08 | 992463 | 992498 | -35 | 35000 | 0.035
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 504 | 81 | 423 | 42300 | 0.0423 | 1727 | 1727 | 0 | 0 | 0
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4359 | 3831 | 528 | 52800 | 0.0528 | 5073 | 5073 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21932 | 21932 | 0 | 0 | 0 | 5279 | 5284 | -5 | -2500 | -0.0025
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 537 | 625 | -88 | 88000 | 0.088 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999251 | 999525 | -274 | 274000 | 0.274 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1276 | 1276 | 0 | 0 | 0
[15 empty] | 0.00025 | assessment 3 days
|  | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 999976 | 999999 | -23 | 2300 | 0.0023 | w.e.f 04.10.22
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 2 | 0 | 2 | -200 | -0.0002 | 2765 | 2715 | 50 | -5000 | -0.005
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.6047 |  |  |  |  | 0.18505
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.6047 |  |  |  |  | 0.18505
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.46351 |  |  |  |  | 0
| TOTAL ENERGY TO NDMC | [8 empty] | -2.1412 |  |  |  |  | 0.18505

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4293 | 4293 | 0 | 0 | 0 | 79248 | 79290 | -42 | -8400 | -0.0084
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999891 | 999891 | 0 | 0 | 0 | 32386 | 32469 | -83 | -13280 | -0.01328
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 17 | 17 | 0 | 0 | 0 | 2325 | 2182 | 143 | 28600 | 0.0286
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19244 | 19266 | -22 | -8800 | -0.0088
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999503 | 999503 | 0 | 0 | 0 | 817 | 817 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2613 | 2635 | -22 | -8800 | -0.0088 | 6655 | 6655 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999939 | 999996 | -57 | -38000.019 | -0.038 | 505 | 503 | 2 | 1333.334 | 0.0013333
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1226 | 1269 | -43 | -43000 | -0.043 | 314 | 316 | -2 | -2000 | -0.002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0898 |  |  |  |  | -0.0025467
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4362 | 4177 | 185 | 6937.5 | 0.0069375 | 40166 | 39756 | 410 | 15375 | 0.015375
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 79 | 78 | 1 | 100 | 0.0001 | 1692 | 1591 | 101 | 10100 | 0.0101
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4280 | 126 | 9450 | 0.00945 | 59356 | 59207 | 149 | 11175 | 0.011175
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 25 | 13 | 12 | 1200 | 0.0012 | w.e.f 26/9/22
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 6165 | 6165 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 7860 | 7733 | 127 | 12700 | 0.0127
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.016487 |  |  |  |  | 0.05055
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0898 |  |  |  |  | -0.0025467
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.073313 |  |  |  |  | 0.048003
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.073313 | (REACTIVE MUs) |  |  |  | 0.048003 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.040325 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.11364 | (REACTIVE MUs) |  |  |  | 0.048003 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991898 | 991510 | 388 | 242500 | 0.2425 | 507 | 507 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999823 | 999884 | -61 | -30500 | -0.0305 | 214 | 214 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 350 | 100 | 250 | 200000 | 0.2 | 549 | 549 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 68380 | 66880 | 1500 | -1500 | -0.0015 | 331720 | 317129 | 14591 | -14591 | -0.014591
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 39060 | 38670 | 390 | -390 | -0.00039 | 547929 | 537630 | 10299 | -10299 | -0.010299
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 231200 | 230600 | 600 | -600 | -0.0006 | 1709100 | 1624700 | 84400 | -84400 | -0.0844
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.40951 |  |  |  |  | -0.10929
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0043279 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.41384 |  |  |  |  | -0.10929

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 995751 | 996075 | -324 | -162000 | -0.162 | 999659 | 999659 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 28548 | 29720 | -1172 | -117200 | -0.1172 | 992334 | 992348 | -14 | -1400 | -0.0014
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16505 | 16406 | 99 | 49500 | 0.0495 | 6270 | 6270 | 0 | 0 | 0 | Data till 04/10/22
|  | 5295152 | ELSTER | Kvarh(Lead/Lag) | 250 | 144186 | 141681 | 2505 | 626250 | 0.62625 | 133175 | 133175 | 0 | 0 | 0 | Check Meter Data
|  | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 21 | 0 | 21 | 17499.993 | 0.0175 | 0 | 0 | 0 | 0 | 0 | w.e.f 28.10.22
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997499 | 997491 | 8 | 7500 | 0.0075 | 999334 | 999333 | 1 | 937.5 | 0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999381 | 999440 | -59 | 59000 | 0.059 | 998977 | 998979 | -2 | 2000 | 0.002
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993791 | 993737 | 54 | -27000 | -0.027 | 535 | 536 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.45355 |  |  |  |  | 0.0020375
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961437 | 962500 | -1063 | -212600 | -0.2126 | 991453 | 991453 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999135 | 1000159 | -1024 | -192000 | -0.192 | 993643 | 993656 | -13 | -2437.5 | -0.0024375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4046 |  |  |  |  | -0.0024375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1224 | 1378 | -154 | -192500 | -0.1925 | 998649 | 998650 | -1 | -1250 | -0.00125
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999767 | 999983 | -216 | -202500 | -0.2025 | 999635 | 999635 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999394 | 999908 | -514 | -64250 | -0.06425 | 996785 | 996784 | 1 | 125 | 0.000125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 590 | 612 | -22 | -82500 | -0.0825 | 130 | 130 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999099 | 999211 | -112 | -112000 | -0.112 | 999668 | 999670 | -2 | -2000 | -0.002
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977382 | 978532 | -1150 | -1150000 | -1.15 | 990706 | 990756 | -50 | -50000 | -0.05
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 274 | 345 | -71 | 44375 | 0.044375 | 999798 | 999799 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -1.7594 |  |  |  |  | -0.0525
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.45355 |  |  |  |  | 0.0020375
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4046 |  |  |  |  | -0.0024375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.7594 |  |  |  |  | -0.0525

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2022 | INTIAL READING 01/10/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 3294 | 1849 | 1445 | 2890000 | 2.89 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 31152 | 29664 | 1488 | 2976000 | 2.976 | 1628 | 1628 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 5.866 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -5.4852 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 11.3513 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 3.3679 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 4.7142 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 2.5813 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.56189 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 862540 | 866368 | -3828 | 1914000 | 1.914 | 997812 | 997812 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.914 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.55889 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.80024 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.45745 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.097423 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 181355 | 180691 | 664 | -498000 | -0.498 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | -1000 | 73908 | 73720 | 188 | -188000 | -0.188 | 999650 | 999650 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 994291 | 994222 | 69 | -51750 | -0.05175 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.73775 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.14224 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.20871 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.11856 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.22354 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.044708 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 392970 | 399964 | -6994 | 699400 | 0.6994 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.6994 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 30 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.745 | % |  |  | 0.22902 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.1894 | % |  |  | 0.28108 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.8539 | % |  |  | 0.15285 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9664 | % |  |  | 0.027741 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6266 | % |  |  | 0.0043824 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6188 | % |  |  | 0.0043279 |  |  |  |  | 0
E) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D)
1) | NDPL |  |  |  | = |  |  |  |  | 4.0136 |  |  |  |  | 0
2) | BRPL |  |  |  | = |  |  |  |  | 5.5868 |  |  |  |  | 0
3) | BYPL |  |  |  | = |  |  |  |  | 3.073 |  |  |  |  | 0
4) | NDMC |  |  |  | = |  |  |  |  | 0.46351 |  |  |  |  | 0
5) | MES |  |  |  | = |  |  |  |  | -0.040325 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0043279 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2022 TO 31st OCTOBER-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -73.32 |  | -1.0319
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -22.0674 |  | -3.8651
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -7.8643 |  | -0.95809
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.1412 | + | 0.18505
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.11364 | + | 0.048003
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.41384 |  | -0.10929
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system