## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963290 | 963291 | -1 | 1000 | 0.001 | 992569 | 993264 | -695 | 695000 | 0.695
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 92062 | 92039 | 23 | -46000 | -0.046 | 4986 | 5005 | -19 | 38000 | 0.038
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14329 | 14329 | 0 | 0 | 0 | 243 | 426 | -183 | 183000 | 0.183
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67224 | 67187 | 37 | -37000 | -0.037 | 98723 | 98722 | 1 | -1000 | -0.001
[5 empty] | -1000 | [5 empty] | 98332 | 97976 | 356 | -356000 | -0.356
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999607 | 999607 | 0 | 0 | 0 | 986350 | 986456 | -106 | 106000 | 0.106
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917734 | 917734 | 0 | 0 | 0 | 30915 | 30214 | 701 | -701000 | -0.701
[5 empty] | -1000 | [5 empty] | 28233 | 28036 | 197 | -197000 | -0.197
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21100 | 21064 | 36 | -36000 | -0.036 | 999813 | 999818 | -5 | 5000 | 0.005
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31499 | 31471 | 28 | -28000 | -0.028 | 997982 | 997989 | -7 | 7000 | 0.007
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20951 | 20930 | 21 | -21000 | -0.021 | 996941 | 997004 | -63 | 63000 | 0.063
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 46189 | 46173 | 16 | -8000 | -0.008 | 814293 | 814548 | -255 | 127500 | 0.1275
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4328 | 4346 | -18 | 18000 | 0.018 | 998341 | 998425 | -84 | 84000 | 0.084
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16201 | 15638 | 563 | -563000 | -0.563 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54604 | 54632 | -28 | 28000 | 0.028 | 996584 | 996584 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 31174 | 31188 | -14 | 14 | 0.014 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 724686 | 726912 | -2226 | -2226000 | -2.226 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 791252 | 794893 | -3641 | -1820500 | -1.8205 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14982 | 14982 | 0 | 0 | 0 | 999360 | 999396 | -36 | 36000 | 0.036
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77224 | 77224 | 0 | 0 | 0 | 646 | 539 | 107 | -53500 | -0.0535
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60310 | 60309 | 1 | -1000 | -0.001 | 999014 | 998936 | 78 | -78000 | -0.078
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998644 | 998644 | 0 | 0 | 0 | 988116 | 988687 | -571 | -571000 | -0.571
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999592 | 999592 | 0 | 0 | 0 | 999761 | 999828 | -67 | -268000 | -0.268
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1988 | 1988 | 0 | 0 | 0 | 15236 | 15118 | 118 | 59000 | 0.059
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91111 | 91099 | 12 | 600 | 0.0006 | 239838 | 239102 | 736 | 36800 | 0.0368
[5 empty] | 50 | [5 empty] | 214702 | 214693 | 9 | 450 | 0.00045
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998594 | 998594 | 0 | 0 | 0 | 995362 | 995868 | -506 | -506000 | -0.506
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999155 | 999155 | 0 | 0 | 0 | 996922 | 998620 | -1698 | -1698000 | -1.698
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 29757 | 29757 | 0 | 0 | 0 | 194185 | 193537 | 648 | 64800 | 0.0648
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986659 | 986747 | -88 | -88000 | -0.088 | 997984 | 997984 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 903212 | 903740 | -528 | -264000 | -0.264 | 999491 | 999491 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993261 | 993370 | -109 | -29067.03 | -0.029067 | 185 | 110 | 75 | 20000.25 | 0.02
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2190 | 2191 | -1 | -500 | -0.0005 | 1453 | 1209 | 244 | 122000 | 0.122
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54811 | 54810 | 1 | -1000 | -0.001 | 996452 | 996517 | -65 | 65000 | 0.065
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 303108 | 303093 | 15 | -7500 | -0.0075 | 17435 | 17483 | -48 | 24000 | 0.024
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22375 | 22016 | 359 | -718000 | -0.718 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72676 | 72226 | 450 | -450000 | -0.45 | 997206 | 997272 | -66 | 66000 | 0.066
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 2242 | 1778 | 464 | -1856000 | -1.856 | 0 | 0 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 148495 | 147585 | 910 | -910000 | -0.91 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 253099 | 249362 | 3737 | -1245654.21 | -1.2457 | 245 | 244 | 1 | -333.33 | -0.00033333
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 20364 | 19466 | 898 | -1796000 | -1.796 | 999997 | 999998 | -1 | 2000 | 0.002
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38504 | 37595 | 909 | -1818000 | -1.818 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 116357 | 114504 | 1853 | -1853000 | -1.853 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7477000 | 7476000 | 1000 | -1000 | -0.001 | 1178000 | 1159000 | 19000 | -19000 | -0.019
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 19813000 | 19764000 | 49000 | -49000 | -0.049 | 1290000 | 1224000 | 66000 | -66000 | -0.066
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20829 | 20736 | 93 | -93000 | -0.093 | 997667 | 997665 | 2 | -2000 | -0.002
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54684 | 54574 | 110 | -110000 | -0.11 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998128 | 998128 | 0 | 0 | 0 | 24701 | 24920 | -219 | -219000 | -0.219
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | APRIL-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3156 | 3156 | 0 | 0 | 0 | 33476 | 32995 | 481 | 48100 | 0.0481
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 754 | 0 | 0 | 0 | 597 | 596 | 1 | 1333 | 0.001333
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1925 | 1925 | 0 | 0 | 0 | 6233 | 5423 | 810 | 81000 | 0.081
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999771 | 999771 | 0 | 0 | 0 | 2285 | 2264 | 21 | 10500 | 0.0105
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 24 | 24 | 0 | 0 | 0 | 213 | 176 | 37 | 18500 | 0.0185
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1093 | 1093 | 0 | 0 | 0 | 1365 | 1238 | 127 | 63500 | 0.0635
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992969 | 992970 | -1 | -100 | -0.0001 | 2638 | 2577 | 61 | 6100 | 0.0061
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8871 | 8650 | 221 | 22100 | 0.0221 | 14994 | 14979 | 15 | 1500 | 0.0015
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13083 | 13017 | 66 | 6600 | 0.0066 | 5916 | 5800 | 116 | 11600 | 0.0116
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31588 | 31541 | 47 | 4700 | 0.0047 | 11113 | 11033 | 80 | 8000 | 0.008
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60443 | 60347 | 96 | 9600 | 0.0096 | 2422 | 2406 | 16 | 1600 | 0.0016
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 105 | 105 | 0 | 0 | 0 | 808 | 790 | 18 | 2399.94 | 0.0023999
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 1000003 | 999997 | 6 | -2400 | -0.0024
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999881 | -1 | -400 | -0.0004 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946225 | 946620 | -395 | -316000 | -0.316 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992927 | 992971 | -44 | -88000 | -0.088 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967581 | 967577 | 4 | 800 | 0.0008 | 1798 | 1726 | 72 | 14400 | 0.0144
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992787 | 992784 | 3 | 750 | 0.00075 | 755 | 736 | 19 | 4750 | 0.00475
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981519 | 981515 | 4 | 4000 | 0.004 | 2059 | 2342 | -283 | -283000 | -0.283
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1196 | 1196 | 0 | 0 | 0 | 3486 | 3423 | 63 | 47250 | 0.04725
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -16.3706 |  |  |  |  | -2.8962
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 169 | 168 | 1 | -100 | -0.0001 | 805 | 384 | 421 | -42100 | -0.0421
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1334 | 1334 | 0 | 0 | 0 | 526 | 522 | 4 | -4000 | -0.004
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4475 | 4474 | 1 | -133.33 | -0.00013333 | 7306 | 7311 | -5 | 666.65 | 0.00066665
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998535 | 998688 | -153 | 28687.5 | 0.028688
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 898790 | 898884 | -94 | 75200 | 0.0752 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991332 | 991335 | -3 | 1875 | 0.001875 | 290 | 280 | 10 | -6250 | -0.00625
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999896 | 999896 | 0 | 0 | 0 | 244 | 84 | 160 | -80000 | -0.08
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992042 | 992041 | 1 | -200 | -0.0002 | 15737 | 15251 | 486 | -97200 | -0.0972
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987998 | 987984 | 14 | -2625 | -0.002625 | 4783 | 4781 | 2 | -375 | -0.000375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981971 | 981972 | -1 | 187.5 | 0.0001875 | 3692 | 3880 | -188 | 35250 | 0.03525
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3939 | 3938 | 1 | -250 | -0.00025 | 8131 | 8125 | 6 | -1500 | -0.0015
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993338 | 993338 | 0 | 0 | 0 | 29716 | 29802 | -86 | 8600 | 0.0086
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.073954 |  |  |  |  | -0.15822
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -16.3706 |  |  |  |  | -2.8962
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.073954 |  |  |  |  | -0.15822
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.19113 |  |  |  |  | -0.0065438
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -16.4877 |  |  |  |  | -3.0609
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.4877 | (REACTIVE MUs) |  |  |  | -3.0609 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.4018 | (REACTIVE MUs) |  |  |  | 0.00050326 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.8896 | (REACTIVE MUs) |  |  |  | -3.0604 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36155 | 36153 | 2 | 534 | 0.000534 | 994314 | 994275 | 39 | 10413 | 0.010413
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11227 | 11227 | 0 | 0 | 0 | 1710 | 1751 | -41 | -164000 | -0.164
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 24922 | 24922 | 0 | 0 | 0 | 34173 | 34074 | 99 | 131999.67 | 0.132 | CTR 300/5 to 800/1
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999835 | 999836 | -1 | -1000 | -0.001 | 999797 | 999797 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 1000021 | 999971 | 50 | 80000 | 0.08
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18463 | 18463 | 0 | 0 | 0 | 5079 | 5037 | 42 | 55999.86 | 0.056
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999793 | 999793 | 0 | 0 | 0 | 999966 | 999779 | 187 | 37400 | 0.0374
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975355 | 975359 | -4 | -4000 | -0.004 | 2175 | 2267 | -92 | -92000 | -0.092
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983639 | 983648 | -9 | -4500 | -0.0045 | 1000157 | 999999 | 158 | 79000 | 0.079
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997568 | 997571 | -3 | -3000 | -0.003 | 999894 | 999976 | -82 | -82000 | -0.082
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983085 | 983090 | -5 | -5000 | -0.005 | 1369 | 1323 | 46 | 46000 | 0.046
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999918 | 999919 | -1 | -1000 | -0.001 | 1000161 | 999984 | 177 | 177000 | 0.177
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993597 | 993600 | -3 | -3000 | -0.003 | 998143 | 998351 | -208 | -208000 | -0.208
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992624 | 992624 | 0 | 0 | 0 | 208 | 406 | -198 | -198000 | -0.198
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994294 | 994296 | -2 | -1600 | -0.0016 | 5543 | 5261 | 282 | 225600 | 0.2256
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 11686 | 11715 | -29 | -3866.57 | -0.0038666 | 5159 | 3680 | 1479 | 197195.07 | 0.1972
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999961 | 0 | 0 | 0 | 999929 | 999979 | -50 | -50000 | -0.05
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 503 | 508 | -5 | -5000 | -0.005 | 17444 | 17465 | -21 | -21000 | -0.021
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 957056 | 958070 | -1014 | -1267500 | -1.2675 | 947192 | 947192 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 950939 | 953163 | -2224 | -2224000 | -2.224 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993986 | 994553 | -567 | -567000 | -0.567 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.0585 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999421 | 999411 | 10 | -10000 | -0.01 | 999652 | 999968 | -316 | 316000 | 0.316
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978535 | 978540 | -5 | 5000 | 0.005 | 997921 | 997941 | -20 | 20000 | 0.02
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 1000003 | 999997 | 6 | 2400 | 0.0024
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998922 | 998922 | 0 | 0 | 0 | 13774 | 13880 | -106 | -106000 | -0.106
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 262952 | 262911 | 41 | -41000 | -0.041 | 25775 | 25400 | 375 | -375000 | -0.375
27 | TX.-2(66KV) | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1666.66 | 5387 | 5387 | 0 | 0 | 0 | 925 | 365 | 560 | -933329.6 | -0.93333 | Check meter
|  | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 29 | -29000 | -0.029 | w.e.f 30/4/22
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7596 | 8045 | -449 | 449000 | 0.449 | 999012 | 999036 | -24 | 24000 | 0.024
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6785 | 7211 | -426 | 426000 | 0.426 | 998093 | 998133 | -40 | 40000 | 0.04
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100911 | 100654 | 257 | -257000 | -0.257 | 982812 | 982834 | -22 | 22000 | 0.022
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93219 | 92886 | 333 | -333000 | -0.333 | 325 | 325 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 651 | 461 | 190 | -950000 | -0.95 | 999999 | 1000000 | -1 | 5000 | 0.005
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1334 | 1334 | 0 | 0 | 0 | 526 | 522 | 4 | 4000 | 0.004
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4475 | 4474 | 1 | 133.33 | 0.00013333 | 7306 | 7311 | -5 | -666.65 | -0.00066665
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992633 | 0 | 0 | 0 | 12013 | 12387 | -374 | -49742 | -0.049742
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975279 | 975263 | 16 | -16000 | -0.016 | 990115 | 990132 | -17 | 17000 | 0.017
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975024 | 975005 | 19 | -19000 | -0.019 | 981152 | 981175 | -23 | 23000 | 0.023
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -4.8358 |  |  |  |  | -0.79473
| (A) NET ENERGY TO CENTRAL | [8 empty] | -4.8358 |  |  |  |  | -0.79473
APRIL-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992472 | 992472 | 0 | 0 | 0 | 993850 | 993745 | 105 | -105000 | -0.105
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981175 | 981175 | 0 | 0 | 0 | 930422 | 930161 | 261 | -261000 | -0.261
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993290 | 993290 | 0 | 0 | 0 | 993360 | 993382 | -22 | 22000 | 0.022
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999997 | 1000000 | -3 | 3000 | 0.003 | 999990 | 1000000 | -10 | 10000 | 0.01
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38991 | 38994 | -3 | 3000 | 0.003 | 997990 | 998027 | -37 | 37000 | 0.037
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 16052 | 16012 | 40 | -20000 | -0.02 | 469 | 492 | -23 | 11500 | 0.0115
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7955 | 7960 | -5 | 5000 | 0.005 | 11538 | 11538 | 0 | 0 | 0 | Check meter Data
|  | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999986 | 1000000 | -14 | 14000 | 0.014 | 999988 | 1000000 | -12 | 12000 | 0.012 | w.e.f 5/4/22
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3586 | 3657 | -71 | 71000 | 0.071 | 999483 | 999497 | -14 | 14000 | 0.014
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 826 | 863 | -37 | 37000 | 0.037 | 7 | 32 | -25 | 25000 | 0.025
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991357 | 991357 | 0 | 0 | 0 | 955083 | 955343 | -260 | 260000 | 0.26
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968914 | 968913 | 1 | -1000 | -0.001 | 823883 | 823935 | -52 | 52000 | 0.052
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12860 | 12816 | 44 | -220000 | -0.22 | 50 | 50 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20415 | 20098 | 317 | -317000 | -0.317 | 80 | 80 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5443 | 5309 | 134 | -134000 | -0.134 | 999991 | 999991 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.559 |  |  |  |  | 0.0775
| (B) NET ENERGY TO EAST | [8 empty] | -0.559 |  |  |  |  | 0.0775
APRIL-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993261 | 993370 | -109 | 29067.03 | 0.029067 | 185 | 110 | 75 | -20000.25 | -0.02
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2190 | 2191 | -1 | 500 | 0.0005 | 1453 | 1209 | 244 | -122000 | -0.122
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1432 | 1451 | -19 | 5066.54 | 0.0050665 | 2342 | 2338 | 4 | -1066.64 | -0.0010666
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 7895 | 8160 | -265 | 26500 | 0.0265 | 31 | 34 | -3 | 300 | 0.0003
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 979412 | 979474 | -62 | 12400 | 0.0124 | 999382 | 999384 | -2 | 400 | 0.0004
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1459 | 1327 | 132 | -132000 | -0.132 | 84 | 82 | 2 | -2000 | -0.002
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3612 | 3612 | 0 | 0 | 0 | 3213 | 2805 | 408 | -326400 | -0.3264
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2168 | 2171 | -3 | 2400 | 0.0024 | 1628 | 1370 | 258 | -206400 | -0.2064
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946303 | 946320 | -17 | 13600 | 0.0136 | 988894 | 989300 | -406 | 324800 | 0.3248
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992557 | 992562 | -5 | 10000 | 0.01 | 999415 | 999488 | -73 | 146000 | 0.146
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987015 | 987020 | -5 | 10000 | 0.01 | 999071 | 999329 | -258 | 516000 | 0.516
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998128 | 0 | 0 | 0 | 24701 | 24920 | -219 | 219000 | 0.219
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999771 | 999771 | 0 | 0 | 0 | 2285 | 2264 | 21 | -10500 | -0.0105
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 24 | 24 | 0 | 0 | 0 | 213 | 176 | 37 | -18500 | -0.0185
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1093 | 1093 | 0 | 0 | 0 | 1365 | 1238 | 127 | -63500 | -0.0635
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60443 | 60347 | 96 | -9600 | -0.0096 | 2422 | 2406 | 16 | -1600 | -0.0016
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 105 | 105 | 0 | 0 | 0 | 808 | 790 | 18 | -2399.94 | -0.0023999
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992969 | 992970 | -1 | 100 | 0.0001 | 2638 | 2577 | 61 | -6100 | -0.0061
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8871 | 8650 | 221 | -22100 | -0.0221 | 14994 | 14979 | 15 | -1500 | -0.0015
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13083 | 13017 | 66 | -6600 | -0.0066 | 5916 | 5800 | 116 | -11600 | -0.0116
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31588 | 31541 | 47 | -4700 | -0.0047 | 11113 | 11033 | 80 | -8000 | -0.008
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 60620 | 58940 | 1680 | 1680 | 0.00168 | 257680 | 247240 | 10440 | 10440 | 0.01044
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 33440 | 33080 | 360 | 360 | 0.00036 | 473940 | 447830 | 26110 | 26110 | 0.02611
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 147800 | 135200 | 12600 | 12600 | 0.0126 | 1427699 | 1400700 | 26999 | 26999 | 0.026999
[10 empty] | -0.050726 |  |  |  |  | 0.46848
APRIL-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -4.8358 |  |  |  |  | -0.79473
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.050726 |  |  |  |  | 0.46848
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.00075 |  |  |  |  | -0.015
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.8873 |  |  |  |  | -0.34125
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.559 |  |  |  |  | 0.0775
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -5.4463 |  |  |  |  | -0.26375
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.4463 | (REACTIVE MUs) |  |  |  | -0.26375 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.0533 | (REACTIVE MUs) |  |  |  | 0.00037812 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.4995 | (REACTIVE MUs) |  |  |  | -0.26337 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997887 | 997887 | 0 | 0 | 0 | 996888 | 997028 | -140 | -140000 | -0.14
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998564 | 998564 | 0 | 0 | 0 | 999263 | 999347 | -84 | -84000 | -0.084
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999755 | 999755 | 0 | 0 | 0 | 998968 | 999407 | -439 | -439000 | -0.439
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999785 | 999785 | 0 | 0 | 0 | 999660 | 999695 | -35 | -46666.55 | -0.046667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997544 | 997543 | 1 | 1500 | 0.0015 | 999770 | 999693 | 77 | 115500 | 0.1155
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10543 | 10543 | 0 | 0 | 0 | 20945 | 20866 | 79 | 7900 | 0.0079
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994859 | 994857 | 2 | 2000 | 0.002 | 996257 | 996256 | 1 | 1000 | 0.001 | CTR 300/5 to 800/1
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991776 | 991776 | 0 | 0 | 0 | 992534 | 992760 | -226 | -16950 | -0.01695
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996793 | 996793 | 0 | 0 | 0 | 999053 | 999043 | 10 | 8000 | 0.008
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988622 | 988622 | 0 | 0 | 0 | 265035 | 265039 | -4 | -5333.32 | -0.0053333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1016 | 1016 | 0 | 0 | 0 | 39 | 42 | -3 | 19999.998 | 0.02
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28164 | 28144 | 20 | -20000 | -0.02 | 996639 | 996602 | 37 | -37000 | -0.037
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5217 | 5217 | 0 | 0 | 0 | 996445 | 996456 | -11 | 22000 | 0.022
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17418 | 17416 | 2 | -2000 | -0.002 | 996107 | 996276 | -169 | 169000 | 0.169
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3054 | 3053 | 1 | -1000 | -0.001 | 997377 | 998013 | -636 | 636000 | 0.636
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141532 | 141203 | 329 | -329000 | -0.329 | 19348 | 19346 | 2 | -2000 | -0.002
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6540 | 6520 | 20 | -20000 | -0.02 | 999808 | 999817 | -9 | 9000 | 0.009
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38291 | 38214 | 77 | -154000 | -0.154 | 998813 | 998799 | 14 | -28000 | -0.028
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1826 | 1870 | -44 | 88000 | 0.088 | 999992 | 999999 | -7 | 14000 | 0.014
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122461 | 122455 | 6 | -4800 | -0.0048 | 2798 | 2085 | 713 | -570400 | -0.5704
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121738 | 121738 | 0 | 0 | 0 | 999599 | 998987 | 612 | -489600 | -0.4896
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946199 | 946502 | -303 | 303000 | 0.303 | 959347 | 959348 | -1 | 1000 | 0.001
[5 empty] | -1000 | 951614 | 951789 | -175 | 175000 | 0.175
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 957073 | 957469 | -396 | 792000 | 0.792 | 991339 | 991341 | -2 | 4000 | 0.004
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 910777 | 910974 | -197 | 394000 | 0.394 | 971809 | 971812 | -3 | 6000 | 0.006
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12421 | 12467 | -46 | 46000 | 0.046 | 996073 | 996088 | -15 | 15000 | 0.015
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997335 | 997414 | -79 | 79000 | 0.079 | 999995 | 999995 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981020 | 981087 | -67 | 67000 | 0.067 | 999863 | 999863 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277405 | 277405 | 0 | 0 | 0 | 121484 | 121462 | 22 | -22000 | -0.022
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7510 | 7510 | 0 | 0 | 0 | 147 | 147 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935647 | 935762 | -115 | 115000 | 0.115 | 965454 | 965460 | -6 | 6000 | 0.006
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972475 | 972543 | -68 | 68000 | 0.068 | 983956 | 983970 | -14 | 14000 | 0.014
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40749 | 40749 | 0 | 0 | 0 | 999354 | 999229 | 125 | -100000 | -0.1
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62679 | 62679 | 0 | 0 | 0 | 979172 | 979125 | 47 | -75200 | -0.0752
[5 empty] | -1600 | [5 empty] | 979005 | 978994 | 11 | -17600 | -0.0176
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996280 | 996280 | 0 | 0 | 0 | 987673 | 984963 | 2710 | -5420000 | -5.42
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 998964 | 999865 | -901 | 901000 | 0.901
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23610 | 23603 | 7 | -7000 | -0.007 | 31708 | 31753 | -45 | 45000 | 0.045
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2585 | 2584 | 1 | -1000 | -0.001 | 996871 | 996891 | -20 | 20000 | 0.02
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 856 | 0 | 0 | 0 | 1472 | 1472 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | APRIL-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3466 | 3346 | 120 | -120000 | -0.12 | 999979 | 1000001 | -22 | 22000 | 0.022
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22014 | 21994 | 20 | -20000 | -0.02 | 380 | 406 | -26 | 26000 | 0.026
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15943 | 15740 | 203 | -203000 | -0.203 | 998340 | 998393 | -53 | 53000 | 0.053
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1117 | 1117 | 0 | 0 | 0 | 127 | 0 | 127 | -127000 | -0.127
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 107 | 0 | 107 | -53500 | -0.0535
46 | Tx.3 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1209 | 1209 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.0275 | Assessment
|  | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 44 | -110000 | -0.11 | w.e.f 07/04/22
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 490 | 446 | 44 | -88000 | -0.088 | 1000065 | 999996 | 69 | -138000 | -0.138
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86054 | 85894 | 160 | -160000 | -0.16 | 997153 | 997153 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57425 | 57346 | 79 | -158000 | -0.158 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5307 | 5183 | 124 | -186000 | -0.186 | 0 | 0 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8300 | 8127 | 173 | -173000 | -0.173 | 0 | 0 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996574 | 996598 | -24 | 24000 | 0.024 | 999951 | 999959 | -8 | 8000 | 0.008
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991256 | 991293 | -37 | 37000 | 0.037 | 994635 | 994636 | -1 | 1000 | 0.001
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990863 | 990910 | -47 | 47000 | 0.047 | 987053 | 987069 | -16 | 16000 | 0.016
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995276 | 995349 | -73 | -292000 | -0.292 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 970318 | 970371 | -53 | -42400 | -0.0424 | 610 | 610 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 916020 | 916267 | -247 | -197600 | -0.1976 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997073 | 997067 | 6 | 4800 | 0.0048 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994571 | 994578 | -7 | -5600 | -0.0056 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 987015 | 987020 | -5 | -10000 | -0.01 | 999071 | 999329 | -258 | -516000 | -0.516
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109530 | 109530 | 0 | 0 | 0 | 2408 | 1946 | 462 | -924000 | -0.924
63 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11485 | 11472 | 13 | -13000 | -0.013 | 184 | 55 | 129 | -129000 | -0.129
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138070 | 138051 | 19 | -19000 | -0.019 | 2014 | 1949 | 65 | -65000 | -0.065
NARAINA
65 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 169 | 168 | 1 | 100 | 0.0001 | 805 | 394 | 411 | 41100 | 0.0411
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998535 | 998688 | -153 | -28687.5 | -0.028688
67 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998788 | 998795 | -7 | -7000 | -0.007 | 47 | 23 | 24 | 24000 | 0.024
68 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998797 | 998804 | -7 | -7000 | -0.007 | 22 | 10 | 12 | 12000 | 0.012
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 898790 | 898884 | -94 | -75200 | -0.0752 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 499 | 511 | -12 | -12000 | -0.012 | 0 | 0 | 0 | 0 | 0
71 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999551 | 999561 | -10 | -10000 | -0.01 | 999999 | 999999 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10737 | 10737 | 0 | 0 | 0 | 26182 | 25762 | 420 | 31500 | 0.0315
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5406 | 5406 | 0 | 0 | 0 | 19930 | 19536 | 394 | 39400 | 0.0394 | Data till 26/4/22
[10 empty] | 0 |  |  |  |  | 0.0065667
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9536 | 9534 | 2 | 1000 | 0.001 | 3262 | 3258 | 4 | 2000 | 0.002
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996590 | 996591 | -1 | -1000 | -0.001 | 4218 | 4221 | -3 | -3000 | -0.003
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981731 | 981731 | 0 | 0 | 0 | 939 | 930 | 9 | 9000 | 0.009
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7665 | 7665 | 0 | 0 | 0 | 6753 | 6740 | 13 | 13000 | 0.013
78 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999639 | 1 | 1000 | 0.001 | 32 | 18 | 14 | 14000 | 0.014
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4765 | 4722 | 43 | 4300 | 0.0043 | 910530 | 910419 | 111 | 11100 | 0.0111
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6732 | 6732 | 0 | 0 | 0 | 1126 | 1126 | 0 | 0 | 0 | Meter Faulty
|  | 5295127 | ELSTER | Kvarh(Lead/Lag) | 1000 | 489 | 494 | -5 | -5000 | -0.005 | 31 | 3 | 28 | 28000 | 0.028 | Check meter Data
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5543 | 5543 | 0 | 0 | 0 | 7486 | 7471 | 15 | 15000 | 0.015
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992042 | 992041 | 1 | 200 | 0.0002 | 15737 | 15251 | 486 | 97200 | 0.0972
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987998 | 987984 | 14 | 2625 | 0.002625 | 4783 | 4781 | 2 | 375 | 0.000375
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981971 | 981972 | -1 | -187.5 | -0.0001875 | 3692 | 3880 | -188 | -35250 | -0.03525
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3939 | 3938 | 1 | 250 | 0.00025 | 8131 | 8125 | 6 | 1500 | 0.0015
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993338 | 993338 | 0 | 0 | 0 | 29716 | 29802 | -86 | -8600 | -0.0086
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.091012 |  |  |  |  | -7.1731
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21962 | 21960 | 2 | -1000 | -0.001 | 5030 | 4986 | 44 | -22000 | -0.022
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992633 | 0 | 0 | 0 | 12013 | 12387 | -374 | 49865.42 | 0.049865
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/04/22
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1270 | 1270 | 0 | 0 | 0 | 999347 | 999334 | 13 | -13000 | -0.013
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990801 | 990801 | 0 | 0 | 0 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3037 | 0 | 0 | 0 | 32107 | 31955 | 152 | -24320 | -0.02432
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3796 | 3796 | 0 | 0 | 0 | 11648 | 11192 | 456 | -91200 | -0.0912
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971896 | 972026 | -130 | 130000 | 0.13 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999866 | 999866 | 0 | 0 | 0 | 187 | 22 | 165 | -16500 | -0.0165
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3736 | 3737 | -1 | 100 | 0.0001 | 1908 | 1669 | 239 | -23900 | -0.0239
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 449 | 449 | 0 | 0 | 0 | 1596 | 1395 | 201 | -125625 | -0.12562
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3156 | 3156 | 0 | 0 | 0 | 33476 | 32995 | 481 | -48100 | -0.0481
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 754 | 0 | 0 | 0 | 597 | 596 | 1 | -1333 | -0.001333
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1925 | 1925 | 0 | 0 | 0 | 6233 | 5423 | 810 | -81000 | -0.081
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999881 | -1 | 400 | 0.0004 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 9221 | 8833 | 388 | -310400 | -0.3104 | 6224 | 6224 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981519 | 981515 | 4 | -4000 | -0.004 | 2059 | 2342 | -283 | 283000 | 0.283
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1196 | 1196 | 0 | 0 | 0 | 3486 | 3423 | 63 | -47250 | -0.04725
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.1849 |  |  |  |  | -0.16136
APRIL-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.091012 |  |  |  |  | -7.1731
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.1849 |  |  |  |  | -0.16136
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.0197 |  |  |  |  | -0.0006625
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.347
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.29561 |  |  |  |  | -7.6822
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.29561 | (REACTIVE MUs) |  |  |  | -7.6822 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.9646 | (REACTIVE MUs) |  |  |  | 0.0007053 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.2602 | (REACTIVE MUs) |  |  |  | -7.6815 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1432 | 1451 | -19 | -5066.73 | -0.0050667 | 2342 | 2338 | 4 | 1066.68 | 0.0010667
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 7895 | 8160 | -265 | -26500 | -0.0265 | 31 | 34 | -3 | -300 | -0.0003
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 979412 | 979474 | -62 | -12400 | -0.0124 | 999382 | 999384 | -2 | -400 | -0.0004
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1459 | 1327 | 132 | 132000 | 0.132 | 84 | 82 | 2 | 2000 | 0.002
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3612 | 3612 | 0 | 0 | 0 | 3213 | 2805 | 408 | 326400 | 0.3264
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2168 | 2171 | -3 | -2400 | -0.0024 | 1628 | 1370 | 258 | 206400 | 0.2064
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946303 | 946320 | -17 | -13600 | -0.0136 | 988894 | 989300 | -406 | -324800 | -0.3248
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992557 | 992562 | -5 | -10000 | -0.01 | 999415 | 999488 | -73 | -146000 | -0.146
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953356 | 953356 | 0 | 0 | 0 | 19718 | 19166 | 552 | 27600 | 0.0276
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 962207 | 962207 | 0 | 0 | 0 | 20449 | 20449 | 0 | 0 | 0 | meter faulty
[10 empty] | -0.00014 |  |  |  |  | -0.0126 | Assessment
|  | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 1000000 | -1 | -100 | -0.0001 | 999917 | 1000000 | -83 | -8300 | -0.0083 | w.e.f 19/4/22
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997785 | 997785 | 0 | 0 | 0 | 5537 | 5417 | 120 | 60000 | 0.06
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999889 | 999889 | 0 | 0 | 0 | 999520 | 999618 | -98 | -9800 | -0.0098
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998695 | 998695 | 0 | 0 | 0 | 999859 | 998766 | 1093 | 109300 | 0.1093
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11064 | 11064 | 0 | 0 | 0 | 41222 | 41222 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1103 | 1103 | 0 | 0 | 0 | 1609 | 1334 | 275 | 27500 | 0.0275
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994563 | 994924 | -361 | -361000 | -0.361 | 281 | 281 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982565 | 983006 | -441 | -441000 | -0.441 | 2709 | 2709 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998461 | 998561 | -100 | -250000 | -0.25 | 34 | 34 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996130 | 996293 | -163 | -407500 | -0.4075 | 461 | 461 | 0 | 0 | 0
[10 empty] | -1.4595 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990801 | 990801 | 0 | 0 | 0 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3037 | 0 | 0 | 0 | 32107 | 31955 | 152 | 24320 | 0.02432
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3796 | 3796 | 0 | 0 | 0 | 11648 | 11192 | 456 | 91200 | 0.0912
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971896 | 972026 | -130 | -130000 | -0.13 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
APRIL-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996877 | 996920 | -43 | 43000 | 0.043 | 989798 | 989799 | -1 | 1000 | 0.001
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999093 | 999149 | -56 | 56000 | 0.056 | 995612 | 995612 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998098 | 998113 | -15 | 30000 | 0.03 | 996393 | 996394 | -1 | 2000 | 0.002
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50 | 77 | -27 | 27000 | 0.027 | 995017 | 995020 | -3 | 3000 | 0.003
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 449 | 449 | 0 | 0 | 0 | 1596 | 1395 | 201 | 125625 | 0.12562
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999866 | 999866 | 0 | 0 | 0 | 187 | 22 | 165 | 16500 | 0.0165
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3736 | 3737 | -1 | -100 | -0.0001 | 1908 | 1669 | 239 | 23900 | 0.0239
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21962 | 21960 | 2 | 1000 | 0.001 | 5030 | 4986 | 44 | 22000 | 0.022
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 499 | 511 | -12 | 12000 | 0.012 | 0 | 0 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999551 | 999561 | -10 | 10000 | 0.01 | 999999 | 999999 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10737 | 10737 | 0 | 0 | 0 | 26182 | 25762 | 420 | -31500 | -0.0315
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5406 | 5406 | 0 | 0 | 0 | 19930 | 19536 | 394 | -39400 | -0.0394 | Data till 26/4
[10 empty] | 0 |  |  |  |  | -0.0065667 | Assessment
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.3488 |  |  |  |  | 0.49015
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -1.3488 |  |  |  |  | 0.49015
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.17625 |  |  |  |  | 6.3275e-05
| TOTAL ENERGY TO NDMC | [8 empty] | -1.5251 |  |  |  |  | 0.49021

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 78079 | 77441 | 638 | 127600 | 0.1276
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999875 | 999876 | -1 | -160 | -0.00016 | 30950 | 30612 | 338 | 54080 | 0.05408
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4588 | 4588 | 0 | 0 | 0 | 59246 | 59182 | 64 | 64000 | 0.064
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19416 | 19457 | -41 | -16400 | -0.0164
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999481 | 999481 | 0 | 0 | 0 | 793 | 738 | 55 | 44000 | 0.044
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2673 | 2673 | 0 | 0 | 0 | 6046 | 6015 | 31 | 12400 | 0.0124
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/04/22
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1270 | 1270 | 0 | 0 | 0 | 999347 | 999334 | 13 | 13000 | 0.013
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.00016 |  |  |  |  | 0.29868
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4040 | 4040 | 0 | 0 | 0 | 15647 | 11903 | 3744 | 140400 | 0.1404
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 91 | 87 | 4 | 400 | 0.0004
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 41860 | 39812 | 2048 | 153600 | 0.1536
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 2543 | 1999 | 544 | 40800 | 0.0408
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 5172 | 5054 | 118 | 11800 | 0.0118
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.347
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.00016 |  |  |  |  | 0.29868
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.00016 |  |  |  |  | 0.64568
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.00016 | (REACTIVE MUs) |  |  |  | 0.64568 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.029907 | (REACTIVE MUs) |  |  |  | 1.0737e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.030067 | (REACTIVE MUs) |  |  |  | 0.64569 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991332 | 991335 | -3 | -1875 | -0.001875 | 290 | 280 | 10 | 6250 | 0.00625
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999896 | 999896 | 0 | 0 | 0 | 244 | 84 | 160 | 80000 | 0.08
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 9221 | 8833 | 388 | 310400 | 0.3104 | 6224 | 6224 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 60620 | 58940 | 1680 | -1680 | -0.00168 | 257680 | 247240 | 10440 | -10440 | -0.01044
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 33440 | 33080 | 360 | -360 | -0.00036 | 473940 | 447830 | 26110 | -26110 | -0.02611
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 147800 | 135200 | 12600 | -12600 | -0.0126 | 1427699 | 1400700 | 26999 | -26999 | -0.026999
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.29389 |  |  |  |  | 0.022701
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.016634 |  |  |  |  | 5.9717e-06
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.27725 |  |  |  |  | 0.022707

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996123 | 996152 | -29 | -14500 | -0.0145 | 1000002 | 999995 | 7 | 3500 | 0.0035
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29805 | 29807 | -2 | -200 | -0.0002 | 997948 | 998541 | -593 | -59300 | -0.0593
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16088 | 16100 | -12 | -6000 | -0.006 | 5289 | 5316 | -27 | -13500 | -0.0135
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997462 | 997462 | 0 | 0 | 0 | 999716 | 999707 | 9 | 8437.5 | 0.0084375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999467 | 999467 | 0 | 0 | 0 | 999660 | 999717 | -57 | 57000 | 0.057
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993788 | 993790 | -2 | 1000 | 0.001 | 155 | 162 | -7 | 3500 | 0.0035
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 1 | -1 | -300 | -0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.0197 |  |  |  |  | -0.0006625
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961967 | 961967 | 0 | 0 | 0 | 993639 | 993639 | 0 | 0 | 0
9 | O/G DMS | 4864890 | ELSTER | Kvarh(Lead/Lag) | 750 | 998988 | 998989 | -1 | -750 | -0.00075 | 999764 | 999784 | -20 | -15000 | -0.015 | Check meter data
|  | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 34 | 6375 | 0.006375 | w.e.f 26/04/22
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.00075 |  |  |  |  | -0.015
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1330 | 1374 | -44 | -55000 | -0.055 | 998669 | 998657 | 12 | 15000 | 0.015
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 54465 | 54826 | -361 | -50765.625 | -0.050766 | 987241 | 987241 | 0 | 0 | 0 | data till 25/4
|  | 5295125 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 368884 | 368886 | -2 | -187.5 | -0.0001875 | 220080 | 220237 | -157 | -14718.75 | -0.014719 | Check meter data
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999781 | 1000000 | -219 | -27375 | -0.027375 | 999866 | 1000000 | -134 | -16750 | -0.01675 | w.e.f 01/04/22
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 623 | 634 | -11 | -41250 | -0.04125 | 142 | 144 | -2 | -7500 | -0.0075
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999238 | 999236 | 2 | 2000 | 0.002 | 999970 | 999993 | -23 | -23000 | -0.023
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 978783 | 978990 | -207 | -31050 | -0.03105 | 988704 | 988449 | 255 | 38250 | 0.03825
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 375 | 395 | -20 | 12500 | 0.0125 | 999911 | 999914 | -3 | 1875 | 0.001875
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 1 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | -0.19113 |  |  |  |  | -0.0065438
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.0197 |  |  |  |  | -0.0006625
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.00075 |  |  |  |  | -0.015
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.19113 |  |  |  |  | -0.0065438

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 221058 | 218580 | 2478 | 2478000 | 2.478 | 47829 | 47829 | 0 | 0 | 0
[5 empty] | 1000 | 175149 | 173510 | 1639 | 1639000 | 1.639
[5 empty] | 1000 | 172083 | 171103 | 980 | 980000 | 0.98
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 26956 | 26246 | 710 | 1420000 | 1.42 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 877861 | 879142 | -1281 | 640500 | 0.6405 | 997991 | 997991 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 418701 | 420668 | -1967 | 196700 | 0.1967 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 7.3542 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 7.3542 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -5.8077 |  |  |  |  | 0.0016667
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.7295 |  |  |  |  | 0
[7 empty] | NDMC = |  |  | -1.4595 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -11.9967 |  |  |  |  | 0.0016667
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -4.6425 |  |  |  |  | 0.0016667
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.1957 | % |  |  | -1.4018 |  |  |  |  | 0.00050326
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.3179 | % |  |  | -1.9646 |  |  |  |  | 0.0007053
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6874 | % |  |  | -1.0533 |  |  |  |  | 0.00037812
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7965 | % |  |  | -0.17625 |  |  |  |  | 6.3275e-05
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6442 | % |  |  | -0.029907 |  |  |  |  | 1.0737e-05
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3583 | % |  |  | -0.016634 |  |  |  |  | 5.9717e-06
Note :Sharing taken from wk-04 abt bill 2022-23

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2022 TO 30th APRIL-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -17.8896 |  | -3.0604
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.2602 |  | -7.6815
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -6.4995 |  | -0.26337
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -1.5251 | + | 0.49021
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.030067 | + | 0.64569
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.27725 | + | 0.022707
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2022 | INTIAL READING 01/04/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83