## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963202 | 963963 | -761 | 761000 | 0.761 | 993310 | 993310 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 88873 | 87485 | 1388 | -2776000 | -2.776 | 4985 | 4985 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7561 | 5261 | 2300 | -2300000 | -2.3 | 418 | 418 | 0 | 0 | 0
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32543 | 32202 | 341 | -341000 | -0.341 | 96757 | 96759 | -2 | 2000 | 0.002
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998427 | 998486 | -59 | 59000 | 0.059 | 986459 | 986465 | -6 | 6000 | 0.006
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898891 | 898781 | 110 | -110000 | -0.11 | 26514 | 26576 | -62 | 62000 | 0.062
[5 empty] | -1000 | 898625 | 898583 | 42 | -42000 | -0.042
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13276 | 11122 | 2154 | -2154000 | -2.154 | 999811 | 999811 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24532 | 22643 | 1889 | -1889000 | -1.889 | 997984 | 997984 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15288 | 14131 | 1157 | -1157000 | -1.157 | 996976 | 996976 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 975038 | 974363 | 675 | -337500 | -0.3375 | 837119 | 837119 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 115 | 519 | -404 | 404000 | 0.404 | 998385 | 998385 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9127 | 9127 | 0 | 0 | 0 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53285 | 52477 | 808 | -808000 | -0.808 | 996582 | 996582 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 24059 | 22785 | 1274 | -1274 | -1.274 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 744032 | 748876 | -4844 | -4844000 | -4.844 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 847037 | 851971 | -4934 | -2467000 | -2.467 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13700 | 12798 | 902 | -902000 | -0.902 | 999378 | 999379 | -1 | 1000 | 0.001
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 70480 | 66149 | 4331 | -2165500 | -2.1655 | 440 | 440 | 0 | 0 | 0
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57526 | 55674 | 1852 | -1852000 | -1.852 | 998770 | 998770 | 0 | 0 | 0
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999745 | 999832 | -87 | -87000 | -0.087 | 988740 | 988741 | -1 | -1000 | -0.001
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999880 | 999920 | -40 | -160000 | -0.16 | 999839 | 999839 | 0 | 0 | 0
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1803 | 1783 | 20 | 10000 | 0.01 | 15064 | 15064 | 0 | 0 | 0
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 71985 | 56418 | 15567 | 778350 | 0.77835 | 214260 | 214260 | 0 | 0 | 0
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999689 | 999769 | -80 | -80000 | -0.08 | 996229 | 996230 | -1 | -1000 | -0.001
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999455 | 999452 | 3 | 3000 | 0.003 | 999560 | 999536 | 24 | 24000 | 0.024
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 45304 | 45860 | -556 | -55600 | -0.0556 | 193647 | 193630 | 17 | 1700 | 0.0017
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993220 | 994035 | -815 | -815000 | -0.815 | 997984 | 997991 | -7 | -7000 | -0.007
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 925875 | 928127 | -2252 | -1126000 | -1.126 | 999477 | 999477 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995329 | 995678 | -349 | -93067.83 | -0.093068 | 84 | 83 | 1 | 266.67 | 0.00026667
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2260 | 2256 | 4 | 2000 | 0.002 | 1149 | 1144 | 5 | 2500 | 0.0025
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47244 | 46381 | 863 | -863000 | -0.863 | 996515 | 996515 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 258216 | 252166 | 6050 | -3025000 | -3.025 | 17481 | 17481 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9101 | 8072 | 1029 | -2058000 | -2.058 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59555 | 58418 | 1137 | -1137000 | -1.137 | 997330 | 997422 | -92 | 92000 | 0.092
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 142203 | 138345 | 3858 | -7716000 | -7.716 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 135844 | 131512 | 4332 | -4332000 | -4.332 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 196302 | 184370 | 11932 | -3977293.56 | -3.9773 | 228 | 228 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7528 | 4820 | 2708 | -5416000 | -5.416 | 2 | 2 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 23566 | 22550 | 1016 | -2032000 | -2.032 | 470 | 469 | 1 | -2000 | -0.002
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85232 | 83074 | 2158 | -2158000 | -2.158 | 2090 | 2089 | 1 | -1000 | -0.001
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 2187000 | 1882000 | 305000 | 305000 | 0.305 | 1115000 | 1086000 | 29000 | 29000 | 0.029
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 11601000 | 10955000 | 646000 | 646000 | 0.646 | 1150000 | 1151000 | -1000 | -1000 | -0.001
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6326 | 5444 | 882 | -882000 | -0.882 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50747 | 51195 | -448 | 448000 | 0.448 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998129 | 998147 | -18 | -18000 | -0.018 | 26314 | 26341 | -27 | -27000 | -0.027
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | OCTOBER-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999474 | 999607 | -133 | -13300 | -0.0133 | 999845 | 999848 | -3 | -300 | -0.0003
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3191 | 3191 | 0 | 0 | 0 | 32498 | 31989 | 509 | 50900 | 0.0509
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 765 | 765 | 0 | 0 | 0 | 602 | 591 | 11 | 14663 | 0.014663
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2012 | 2020 | -8 | -800 | -0.0008 | 4833 | 4512 | 321 | 32100 | 0.0321
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999816 | 999813 | 3 | 1500 | 0.0015 | 2261 | 2259 | 2 | 1000 | 0.001
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 33 | 16 | 17 | 8500 | 0.0085 | 155 | 150 | 5 | 2500 | 0.0025
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1080 | 1042 | 38 | 19000 | 0.019 | 979 | 971 | 8 | 4000 | 0.004
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994261 | 994337 | -76 | -7600 | -0.0076 | 2740 | 2721 | 19 | 1900 | 0.0019
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9064 | 8764 | 300 | 30000 | 0.03 | 14853 | 14820 | 33 | 3300 | 0.0033
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12276 | 11777 | 499 | 49900 | 0.0499 | 5664 | 5625 | 39 | 3900 | 0.0039
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 30964 | 30577 | 387 | 38700 | 0.0387 | 10918 | 10890 | 28 | 2800 | 0.0028
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 63001 | 62168 | 833 | 83300 | 0.0833 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 252 | 204 | 48 | 6399.84 | 0.0063998 | 793 | 470 | 323 | 43065.59 | 0.043066
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 957126 | 959013 | -1887 | -1509600 | -1.5096 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994316 | 994540 | -224 | -448000 | -0.448 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 976349 | 976253 | 96 | 19200 | 0.0192 | 1723 | 1723 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996137 | 995653 | 484 | 121000 | 0.121 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988185 | 988368 | -183 | -183000 | -0.183 | 2363 | 2363 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1795 | 1710 | 85 | 63750 | 0.06375 | 3410 | 3410 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -59.7547 |  |  |  |  | 0.3403
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 29523 | 27161 | 2362 | -236200 | -0.2362 | 149938 | 149937 | 1 | -100 | -0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1109 | 881 | 228 | -228000 | -0.228 | 516 | 517 | -1 | 1000 | 0.001
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5007 | 4966 | 41 | -5466.53 | -0.0054665 | 7304 | 7293 | 11 | -1466.63 | -0.0014666
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997177 | 997177 | 0 | 0 | 0 | 998978 | 999034 | -56 | 10500 | 0.0105
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990947 | 990866 | 81 | -50625 | -0.050625 | 201 | 201 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999799 | 999965 | -166 | 83000 | 0.083 | 50 | 50 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994726 | 994702 | 24 | -4800 | -0.0048 | 15248 | 15248 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990186 | 990322 | -136 | 25500 | 0.0255 | 4781 | 4788 | -7 | 1312.5 | 0.0013125
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987363 | 987557 | -194 | 36375 | 0.036375 | 3876 | 3880 | -4 | 750 | 0.00075
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4551 | 4570 | -19 | 4750 | 0.00475 | 8122 | 8122 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994735 | 994787 | -52 | 5200 | 0.0052 | 29815 | 29815 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.37027 |  |  |  |  | 0.011996
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -59.7547 |  |  |  |  | 0.3403
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.37027 |  |  |  |  | 0.011996
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.2369 |  |  |  |  | -0.19573
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -60.3618 |  |  |  |  | 0.15656
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -60.3618 | (REACTIVE MUs) |  |  |  | 0.15656 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -7.9687 | (REACTIVE MUs) |  |  |  | -0.0017458 | (REACTIVE MUs)
[9 empty] | TOTAL | -68.3306 | (REACTIVE MUs) |  |  |  | 0.15481 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 37179 | 37229 | -50 | -13350 | -0.01335 | 994661 | 994573 | 88 | 23496 | 0.023496
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11658 | 11527 | 131 | 39300 | 0.0393 | 2531 | 2754 | -223 | -66900 | -0.0669
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 24682 | 23908 | 774 | 58050 | 0.05805 | 33249 | 32705 | 544 | 40800 | 0.0408
4 | IG STD- BAY-29 | 4865085 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 991487 | 991479 | 8 | 10666.64 | 0.010667 | 648 | 645 | 3 | 3999.99 | 0.004 | Check Meter Data
|  | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999999 | 1000000 | -1 | -1000 | -0.001 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 84 | 8 | 12800 | 0.0128 | 46 | 34 | 12 | 19200 | 0.0192
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18571 | 18594 | -23 | -30666.59 | -0.030667 | 4963 | 4954 | 9 | 11999.97 | 0.012
7 | MINTO RD. B-34 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 980317 | 980317 | 0 | 0 | 0 | 998709 | 998628 | 81 | 8100 | 0.0081
|  | 4865100 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980364 | 980317 | 47 | 62666.51 | 0.062667 | 998713 | 998628 | 85 | 113333.05 | 0.11333 | CTR from 300/5 to 800/1 w.e.f 7/10/21
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975635 | 975793 | -158 | -158000 | -0.158 | 2279 | 2281 | -2 | -2000 | -0.002
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984096 | 984159 | -63 | -31500 | -0.0315 | 231 | 232 | -1 | -500 | -0.0005
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997755 | 997897 | -142 | -142000 | -0.142 | 999995 | 999994 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983325 | 983546 | -221 | -221000 | -0.221 | 1350 | 1356 | -6 | -6000 | -0.006
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 57 | 239 | -182 | -182000 | -0.182 | 146 | 117 | 29 | 29000 | 0.029
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993744 | 993804 | -60 | -60000 | -0.06 | 998494 | 998549 | -55 | -55000 | -0.055
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992646 | 992670 | -24 | -24000 | -0.024 | 330 | 348 | -18 | -18000 | -0.018
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994491 | 994622 | -131 | -104800 | -0.1048 | 5278 | 5274 | 4 | 3200 | 0.0032
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 13059 | 14395 | -1336 | -178128.88 | -0.17813 | 3693 | 3659 | 34 | 4533.22 | 0.0045332
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 719 | 862 | -143 | -143000 | -0.143 | 17467 | 17468 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 966914 | 968167 | -1253 | -1566250 | -1.5662 | 947192 | 947193 | -1 | -1250 | -0.00125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971814 | 975021 | -3207 | -3207000 | -3.207 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996232 | 997513 | -1281 | -1281000 | -1.281 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -6.0542 |  |  |  |  | -0.00125
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999765 | 1000011 | -246 | 246000 | 0.246 | 999971 | 999993 | -22 | 22000 | 0.022 | Check meter
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980260 | 980436 | -176 | 176000 | 0.176 | 997942 | 997942 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999704 | 999649 | 55 | 55000 | 0.055 | 13910 | 13920 | -10 | -10000 | -0.01
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 253845 | 251208 | 2637 | -2637000 | -2.637 | 9288 | 9238 | 50 | -50000 | -0.05
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62684 | 61440 | 1244 | -1244000 | -1.244 | 193 | 199 | -6 | 6000 | 0.006
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5280 | 5184 | 96 | -96000 | -0.096 | 999031 | 999053 | -22 | 22000 | 0.022
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4704 | 4406 | 298 | -298000 | -0.298 | 998129 | 998161 | -32 | 32000 | 0.032
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92560 | 89975 | 2585 | -2585000 | -2.585 | 982830 | 982830 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76063 | 71884 | 4179 | -4179000 | -4.179 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 54829 | 52271 | 2558 | -5116000 | -5.116 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1109 | 881 | 228 | 228000 | 0.228 | 516 | 517 | -1 | -1000 | -0.001
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5007 | 4966 | 41 | 5466.53 | 0.0054665 | 7304 | 7293 | 11 | 1466.63 | 0.0014666
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993249 | 993249 | 0 | 0 | 0 | 12582 | 12719 | -137 | -18221 | -0.018221
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948829 | 948613 | 216 | -216000 | -0.216 | 990121 | 990121 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968479 | 968229 | 250 | -250000 | -0.25 | 981160 | 981160 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -23.0707 |  |  |  |  | 0.11226
| (A) NET ENERGY TO CENTRAL | [8 empty] | -23.0707 |  |  |  |  | 0.11226
OCTOBER-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990405 | 990216 | 189 | -189000 | -0.189 | 993645 | 993645 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979247 | 979043 | 204 | -204000 | -0.204 | 929711 | 929714 | -3 | 3000 | 0.003
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992259 | 992215 | 44 | -44000 | -0.044 | 993340 | 993340 | 0 | 0 | 0
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992254 | 992566 | -312 | 312000 | 0.312 | 995571 | 995571 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36102 | 34931 | 1171 | -1171000 | -1.171 | 997623 | 997623 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 5800 | 3092 | 2708 | -1354000 | -1.354 | 177 | 177 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999100 | 999519 | -419 | 419000 | 0.419 | 999501 | 999501 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 1605 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1634 | 1782 | -148 | 148000 | 0.148 | 999509 | 999509 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936088 | 934354 | 1734 | -1734000 | -1.734 | 978386 | 978386 | 0 | 0 | 0
-1000
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989891 | 988983 | 908 | -908000 | -0.908 | 955644 | 955669 | -25 | 25000 | 0.025
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966787 | 966567 | 220 | -220000 | -0.22 | 823832 | 823858 | -26 | 26000 | 0.026
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 11294 | 10788 | 506 | -2530000 | -2.53 | 34 | 34 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12318 | 10380 | 1938 | -1938000 | -1.938 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1875 | 1076 | 799 | -799000 | -0.799 | 999990 | 999990 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -10.212 |  |  |  |  | 0.054
| (B) NET ENERGY TO EAST | [8 empty] | -10.212 |  |  |  |  | 0.054
OCTOBER-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995329 | 995678 | -349 | 93067.83 | 0.093068 | 84 | 83 | 1 | -266.67 | -0.00026667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2260 | 2256 | 4 | -2000 | -0.002 | 1149 | 1144 | 5 | -2500 | -0.0025
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2046 | 2168 | -122 | 32532.52 | 0.032533 | 2323 | 2323 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 1555 | 233 | 1322 | -132200 | -0.1322 | 1000016 | 999999 | 17 | -1700 | -0.0017
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 981831 | 982527 | -696 | 139200 | 0.1392 | 999383 | 999384 | -1 | 200 | 0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1109 | 1046 | 63 | -63000 | -0.063 | 81 | 74 | 7 | -7000 | -0.007
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3929 | 3916 | 13 | -10400 | -0.0104 | 2760 | 2713 | 47 | -37600 | -0.0376
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2687 | 2802 | -115 | 92000 | 0.092 | 1328 | 1324 | 4 | -3200 | -0.0032
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982260 | -141 | 112800 | 0.1128 | 998603 | 998646 | -43 | 34400 | 0.0344
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950512 | -245 | 196000 | 0.196 | 979419 | 979548 | -129 | 103200 | 0.1032
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 950466 | 951049 | -583 | 466400 | 0.4664 | 989607 | 989679 | -72 | 57600 | 0.0576
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993183 | 993330 | -147 | 294000 | 0.294 | 999557 | 999526 | 31 | -62000 | -0.062
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 988120 | 988434 | -314 | 628000 | 0.628 | 999467 | 999478 | -11 | 22000 | 0.022
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998129 | 998147 | -18 | 18000 | 0.018 | 26314 | 26341 | -27 | 27000 | 0.027
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999474 | 999607 | -133 | 13300 | 0.0133 | 999845 | 999848 | -3 | 300 | 0.0003
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999816 | 999813 | 3 | -1500 | -0.0015 | 2261 | 2259 | 2 | -1000 | -0.001
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 33 | 16 | 17 | -8500 | -0.0085 | 155 | 150 | 5 | -2500 | -0.0025
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1080 | 1042 | 38 | -19000 | -0.019 | 979 | 971 | 8 | -4000 | -0.004
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 63001 | 62168 | 833 | -83300 | -0.0833 | 2406 | 2406 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 252 | 204 | 48 | -6399.84 | -0.0063998 | 793 | 470 | 323 | -43065.59 | -0.043066
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994261 | 994337 | -76 | 7600 | 0.0076 | 2740 | 2721 | 19 | -1900 | -0.0019
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9064 | 8764 | 300 | -30000 | -0.03 | 14853 | 14820 | 33 | -3300 | -0.0033
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12276 | 11777 | 499 | -49900 | -0.0499 | 5664 | 5625 | 39 | -3900 | -0.0039
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 30964 | 30577 | 387 | -38700 | -0.0387 | 10918 | 10890 | 28 | -2800 | -0.0028
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 58310 | 54060 | 4250 | 4250 | 0.00425 | 222220 | 219720 | 2500 | 2500 | 0.0025
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 32290 | 27240 | 5050 | 5050 | 0.00505 | 368609 | 360150 | 8459 | 8459 | 0.008459
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 129400 | 117400 | 12000 | 12000 | 0.012 | 1152099 | 1089100 | 62999 | 62999 | 0.062999
[10 empty] | 1.6693 |  |  |  |  | 0.14193
OCTOBER-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -23.0707 |  |  |  |  | 0.11226
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.6693 |  |  |  |  | 0.14193
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.18168 |  |  |  |  | -0.006375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -21.5831 |  |  |  |  | 0.24781
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -10.212 |  |  |  |  | 0.054
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -31.7951 |  |  |  |  | 0.30181
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -31.7951 | (REACTIVE MUs) |  |  |  | 0.30181 | (REACTIVE MUs)
Assessment on Tx-1 at 220KV Gazipur S/Stn due to change in M.F.(2020-21 w.e.f 4th June 2020) | [9 empty] | -7.3751 |  |  |  |  | -0.0067
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.3183 | (REACTIVE MUs) |  |  |  | -0.0011651 | (REACTIVE MUs)
[9 empty] | TOTAL | -44.4885 | (REACTIVE MUs) |  |  |  | 0.29394 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998168 | 998194 | -26 | -26000 | -0.026 | 998318 | 998359 | -41 | -41000 | -0.041
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998927 | 998981 | -54 | -54000 | -0.054 | 999792 | 999789 | 3 | 3000 | 0.003
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 983311 | 983620 | -309 | -61800 | -0.0618 | 998569 | 998843 | -274 | -54800 | -0.0548
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999914 | 999909 | 5 | 6666.65 | 0.0066666 | 999800 | 999795 | 5 | 6666.65 | 0.0066666
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998119 | 998234 | -115 | -172500 | -0.1725 | 999940 | 999947 | -7 | -10500 | -0.0105
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11279 | 11329 | -50 | -5000 | -0.005 | 22534 | 22372 | 162 | 16200 | 0.0162
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 978190 | 979118 | -928 | -69600 | -0.0696 | 998452 | 998391 | 61 | 4575 | 0.004575
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 995330 | 995722 | -392 | -29400 | -0.0294 | 998589 | 998748 | -159 | -11925 | -0.011925
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997169 | 997174 | -5 | -4000 | -0.004 | 999697 | 999681 | 16 | 12800 | 0.0128
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 988772 | 988774 | -2 | -200 | -0.0002 | 265081 | 265072 | 9 | 900 | 0.0009
[5 empty] | 1333.33 | 988750 | 988772 | -22 | -29333.26 | -0.029333 | 265081 | 265081 | 0 | 0 | 0 | CTR 8001/ w.e.f 13/10/20221
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 336 | 325 | 0 | 0 | 0 | 35 | 36 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19345 | 18763 | 582 | -582000 | -0.582 | 996590 | 996590 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3285 | 3145 | 140 | -280000 | -0.28 | 996424 | 996425 | -1 | 2000 | 0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16639 | 16695 | -56 | 56000 | 0.056 | 996291 | 996303 | -12 | 12000 | 0.012
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000003 | 999987 | 16 | -16000 | -0.016 | 999887 | 999947 | -60 | 60000 | 0.06
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 122304 | 121194 | 1110 | -1110000 | -1.11 | 19346 | 19347 | -1 | 1000 | 0.001
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 335 | 119 | 216 | -216000 | -0.216 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25929 | 25501 | 428 | -856000 | -0.856 | 998798 | 998798 | 0 | 0 | 0
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000025 | 999955 | 70 | -140000 | -0.14 | 999999 | 1000000 | -1 | 2000 | 0.002
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 70767 | 63497 | 7270 | -5816000 | -5.816 | 1964 | 1964 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 90110 | 87440 | 2670 | -2136000 | -2.136 | 998920 | 998920 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951071 | 951313 | -242 | 242000 | 0.242 | 959351 | 959387 | -36 | 36000 | 0.036
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 959900 | 960559 | -659 | 1318000 | 1.318 | 991340 | 991344 | -4 | 8000 | 0.008
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 913637 | 914215 | -578 | 1156000 | 1.156 | 971815 | 971832 | -17 | 34000 | 0.034
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9651 | 9526 | 125 | -125000 | -0.125 | 996089 | 996107 | -18 | 18000 | 0.018
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996820 | 996645 | 175 | -175000 | -0.175 | 999995 | 1000053 | -58 | 58000 | 0.058
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980491 | 980303 | 188 | -188000 | -0.188 | 999864 | 999864 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 250383 | 247599 | 2784 | -2784000 | -2.784 | 120827 | 120826 | 1 | -1000 | -0.001
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5363 | 4021 | 1342 | -2684000 | -2.684 | 27 | 27 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936045 | 937576 | -1531 | 1531000 | 1.531 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972189 | 972991 | -802 | 802000 | 0.802 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100416 | 98877 | 1539 | -1539000 | -1.539 | 985625 | 985625 | 0 | 0 | 0
[5 empty] | -1000 | 98135 | 97280 | 855 | -855000 | -0.855
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 31762 | 29886 | 1876 | -1500800 | -1.5008 | 999226 | 999226 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 49580 | 48636 | 944 | -1510400 | -1.5104 | 978991 | 978991 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995645 | 995937 | -292 | 584000 | 0.584 | 984289 | 984289 | 0 | 0 | 0
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4260 | 4482 | -222 | 111000 | 0.111 | 990553 | 990669 | -116 | 58000 | 0.058
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22613 | 22702 | -89 | 89000 | 0.089 | 31864 | 31864 | 0 | 0 | 0
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2080 | 1856 | 224 | -224000 | -0.224 | 996553 | 996553 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 492 | 441 | 51 | -51000 | -0.051 | 654 | 660 | -6 | 6000 | 0.006
BRPL(+) continue | [14 empty] | OCTOBER-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52014 | 51682 | 332 | -332000 | -0.332 | 999474 | 999529 | -55 | 55000 | 0.055
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12783 | 12515 | 268 | -268000 | -0.268 | 402 | 427 | -25 | 25000 | 0.025
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8077 | 7778 | 299 | -299000 | -0.299 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7890 | 6773 | 1117 | -1117000 | -1.117 | 458 | 458 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6070 | 5248 | 822 | -822000 | -0.822 | 925064 | 925068 | -4 | 4000 | 0.004
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62991 | 62659 | 332 | -332000 | -0.332 | 17549 | 17060 | 489 | -489000 | -0.489
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3280 | 3045 | 235 | -470000 | -0.47 | 999556 | 999557 | -1 | 2000 | 0.002
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74961 | 74511 | 450 | -450000 | -0.45 | 997153 | 997154 | -1 | 1000 | 0.001
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50168 | 50018 | 150 | -300000 | -0.3 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10351 | 10482 | -131 | 262000 | 0.262 | 2254 | 2266 | -12 | 24000 | 0.024
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9818 | 9279 | 539 | -1078000 | -1.078 | 2058 | 2050 | 8 | -16000 | -0.016
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996170 | 996819 | -649 | 649000 | 0.649 | 999976 | 999976 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991998 | 991998 | 0 | 0 | 0 | 994638 | 994638 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990982 | 992220 | -1238 | 1238000 | 1.238 | 987076 | 987076 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997283 | 997402 | 0 | 0 | 0 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977473 | 977917 | -444 | -355200 | -0.3552 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 927303 | 929823 | -2520 | -2016000 | -2.016 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998537 | 998266 | 271 | 216800 | 0.2168 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995942 | 995945 | -3 | -2400 | -0.0024 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 988120 | 988434 | -314 | -628000 | -0.628 | 999467 | 999478 | -11 | -22000 | -0.022
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 97918 | 94559 | 3359 | -6718000 | -6.718 | 1786 | 1786 | 0 | 0 | 0
64 | Tx-2 | 4865014 | ELSTER | Kvarh(Lead/Lag) | -1000 | 98478 | 98478 | 0 | 0 | 0 | 14149 | 14107 | 42 | -42000 | -0.042 | Check meter data
|  | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42 | 0 | 42 | -42000 | -0.042 | 11 | 0 | 11 | -11000 | -0.011 | w.e.f 7/10
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125938 | 124369 | 1569 | -1569000 | -1.569 | 1949 | 1949 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 29523 | 27161 | 2362 | 236200 | 0.2362 | 149938 | 149937 | 1 | 100 | 0.0001
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997177 | 997177 | 0 | 0 | 0 | 998978 | 999034 | -56 | -10500 | -0.0105
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943266 | 943706 | -440 | -176000 | -0.176 | 994579 | 994560 | 19 | 7600 | 0.0076
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980167 | 980550 | -383 | -153200 | -0.1532 | 73982 | 73969 | 13 | 5200 | 0.0052
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 500006 | 496392 | 3614 | 361400 | 0.3614 | 85812 | 85808 | 4 | 400 | 0.0004
[5 empty] | 100 | [5 empty] | 87712 | 87720 | -8 | -800 | -0.0008
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1725 | 1977 | -252 | -252000 | -0.252 | 1570 | 1573 | -3 | -3000 | -0.003
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10808 | 10810 | -2 | -150 | -0.00015 | 25923 | 25950 | -27 | -2025 | -0.002025
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5313 | 5310 | 3 | 300 | 0.0003 | 19144 | 19007 | 137 | 13700 | 0.0137
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10647 | 10424 | 223 | 111500 | 0.1115 | 3257 | 3257 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998243 | 998263 | -20 | -20000 | -0.02 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983443 | 983822 | -379 | -379000 | -0.379 | 914 | 914 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7756 | 7529 | 227 | 227000 | 0.227 | 6740 | 6740 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 341 | 192 | 149 | 149000 | 0.149 | 18 | 18 | 0 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 992071 | 989382 | 2689 | 268900 | 0.2689 | 910413 | 910413 | 0 | 0 | 0
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6263 | 5908 | 355 | 355000 | 0.355 | 1125 | 1125 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5739 | 5412 | 327 | 327000 | 0.327 | 7449 | 7449 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994726 | 994702 | 24 | 4800 | 0.0048 | 15248 | 15248 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990186 | 990322 | -136 | -25500 | -0.0255 | 4781 | 4788 | -7 | -1312.5 | -0.0013125
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987363 | 987557 | -194 | -36375 | -0.036375 | 3876 | 3880 | -4 | -750 | -0.00075
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4551 | 4570 | -19 | -4750 | -0.00475 | 8122 | 8122 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994735 | 994787 | -52 | -5200 | -0.0052 | 29815 | 29815 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -30.7882 |  |  |  |  | -0.24047
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21863 | 21747 | 116 | -58000 | -0.058 | 4974 | 4959 | 15 | -7500 | -0.0075
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993249 | 993249 | 0 | 0 | 0 | 12582 | 12719 | -137 | 18266.21 | 0.018266
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1220 | 1129 | 91 | -91000 | -0.091 | 999336 | 999340 | -4 | 4000 | 0.004
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992848 | 992912 | -64 | 64000 | 0.064 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6634 | 6780 | -146 | 23360 | 0.02336 | 32001 | 31800 | 201 | -32160 | -0.03216
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3563 | 3556 | 7 | -1400 | -0.0014 | 10964 | 10953 | 11 | -2200 | -0.0022
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976295 | 976758 | -463 | 463000 | 0.463 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 103044 | 103056 | -12 | 1200 | 0.0012 | 76424 | 76415 | 9 | -900 | -0.0009
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4266 | 4381 | -115 | 11500 | 0.0115 | 1594 | 1594 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 2287 | 4751 | -2464 | 246400 | 0.2464 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3191 | 3191 | 0 | 0 | 0 | 32498 | 31989 | 509 | -50900 | -0.0509
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 765 | 765 | 0 | 0 | 0 | 602 | 591 | 11 | -14663 | -0.014663
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2012 | 2020 | -8 | 800 | 0.0008 | 4833 | 4512 | 321 | -32100 | -0.0321
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 997518 | 996595 | 923 | -738400 | -0.7384 | 6224 | 6221 | 3 | -2400 | -0.0024
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988185 | 988368 | -183 | 183000 | 0.183 | 2363 | 2363 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1795 | 1710 | 85 | -63750 | -0.06375 | 3410 | 3410 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.04071 |  |  |  |  | -0.12056
OCTOBER-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -30.7882 |  |  |  |  | -0.24047
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.04071 |  |  |  |  | -0.12056
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.24501 |  |  |  |  | -0.04515
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.20321
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -30.9925 |  |  |  |  | -0.60939
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -30.9925 | (REACTIVE MUs) |  |  |  | -0.60939 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -9.4626 | (REACTIVE MUs) |  |  |  | -0.0020731 | (REACTIVE MUs)
[9 empty] | TOTAL | -40.4552 | (REACTIVE MUs) |  |  |  | -0.61146 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2046 | 2168 | -122 | -32533.74 | -0.032534 | 2323 | 2323 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 1555 | 233 | 1322 | 132200 | 0.1322 | 1000016 | 999999 | 17 | 1700 | 0.0017
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 981831 | 982527 | -696 | -139200 | -0.1392 | 999383 | 999384 | -1 | -200 | -0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1109 | 1046 | 63 | 63000 | 0.063 | 81 | 74 | 7 | 7000 | 0.007
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3929 | 3916 | 13 | 10400 | 0.0104 | 2760 | 2713 | 47 | 37600 | 0.0376
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2687 | 2802 | -115 | -92000 | -0.092 | 1328 | 1324 | 4 | 3200 | 0.0032
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982260 | -141 | -112800 | -0.1128 | 998603 | 998646 | -43 | -34400 | -0.0344
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950512 | -245 | -196000 | -0.196 | 979419 | 979548 | -129 | -103200 | -0.1032
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 950466 | 951049 | -583 | -466400 | -0.4664 | 989607 | 989679 | -72 | -57600 | -0.0576
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993183 | 993330 | -147 | -294000 | -0.294 | 999557 | 999526 | 31 | 62000 | 0.062
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 955991 | 956575 | -584 | -29200 | -0.0292 | 22394 | 22227 | 167 | 8350 | 0.00835
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 968195 | 969060 | -865 | -64875 | -0.064875 | 22881 | 22709 | 172 | 12900 | 0.0129
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998004 | 998011 | -7 | -3500 | -0.0035 | 5556 | 5498 | 58 | 29000 | 0.029
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996132 | 996173 | -41 | -15375 | -0.015375 | 7582 | 7610 | -28 | -10500 | -0.0105
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999717 | 999717 | 0 | 0 | 0 | 405 | 405 | 0 | 0 | 0
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11265 | 11225 | 40 | 3000 | 0.003 | 41331 | 41052 | 279 | 20925 | 0.020925
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 3830 | 4037 | -207 | -20700 | -0.0207 | 2128 | 2087 | 41 | 4100 | 0.0041
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999413 | 999509 | -96 | -96000 | -0.096 | 281 | 283 | -2 | -2000 | -0.002
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990614 | 991541 | -927 | -927000 | -0.927 | 2709 | 2708 | 1 | 1000 | 0.001
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999771 | 999840 | -69 | -172500 | -0.1725 | 34 | 35 | -1 | -2500 | -0.0025
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997906 | 998174 | -268 | -670000 | -0.67 | 461 | 462 | -1 | -2500 | -0.0025
[10 empty] | -1.8655 |  |  |  |  | -0.006
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992848 | 992912 | -64 | -64000 | -0.064 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6634 | 6780 | -146 | -23360 | -0.02336 | 32001 | 31800 | 201 | 32160 | 0.03216
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3563 | 3556 | 7 | 1400 | 0.0014 | 10964 | 10953 | 11 | 2200 | 0.0022
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976295 | 976758 | -463 | -463000 | -0.463 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
OCTOBER-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996306 | 996435 | -129 | 129000 | 0.129 | 989799 | 989808 | -9 | 9000 | 0.009
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997545 | 997677 | -132 | 132000 | 0.132 | 995612 | 995615 | -3 | 3000 | 0.003
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997727 | 997708 | 19 | -38000 | -0.038 | 996394 | 996395 | -1 | 2000 | 0.002
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999353 | 999322 | 31 | -31000 | -0.031 | 995019 | 995023 | -4 | 4000 | 0.004
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 103044 | 103056 | -12 | -1200 | -0.0012 | 76424 | 76415 | 9 | 900 | 0.0009
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4266 | 4381 | -115 | -11500 | -0.0115 | 1594 | 1594 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 2287 | 4751 | -2464 | -246400 | -0.2464 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21863 | 21747 | 116 | 58000 | 0.058 | 4974 | 4959 | 15 | 7500 | 0.0075
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 500006 | 496392 | 3614 | -361400 | -0.3614 | 85812 | 85808 | 4 | -400 | -0.0004
[5 empty] | -100 | [5 empty] | 87712 | 87720 | -8 | 800 | 0.0008
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1725 | 1977 | -252 | 252000 | 0.252 | 1570 | 1573 | -3 | 3000 | 0.003
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10808 | 10810 | -2 | 150 | 0.00015 | 25923 | 25950 | -27 | 2025 | 0.002025
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5313 | 5310 | 3 | -300 | -0.0003 | 19144 | 19007 | 137 | -13700 | -0.0137
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.7911 |  |  |  |  | 0.02736
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -3.7911 |  |  |  |  | 0.02736
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.93976 |  |  |  |  | -0.00020588
| TOTAL ENERGY TO NDMC | [8 empty] | -4.7309 |  |  |  |  | 0.027154

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4058 | 3908 | 150 | 30000 | 0.03 | 77437 | 77436 | 1 | 200 | 0.0002
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1708 | 1343 | 365 | 58400 | 0.0584 | 30570 | 30571 | -1 | -160 | -0.00016
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4698 | 4701 | -3 | -3000 | -0.003 | 59190 | 59190 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 187 | 277 | -90 | -36000 | -0.036 | 19469 | 19469 | 0 | 0 | 0
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999602 | 999764 | -162 | -129600 | -0.1296 | 724 | 724 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2671 | 2652 | 19 | 7600 | 0.0076 | 6044 | 6044 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1220 | 1129 | 91 | 91000 | 0.091 | 999336 | 999340 | -4 | -4000 | -0.004
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0184 |  |  |  |  | -0.00396
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4326 | 4326 | 0 | 0 | 0 | 10529 | 8212 | 2317 | 86887.5 | 0.086888
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 79 | 79 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 34763 | 33245 | 1518 | 113850 | 0.11385
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1993 | 1960 | 33 | 2475 | 0.002475
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4379 | 4379 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.20321
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0184 |  |  |  |  | -0.00396
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0184 |  |  |  |  | 0.19925
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0184 | (REACTIVE MUs) |  |  |  | 0.19925 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.15114 | (REACTIVE MUs) |  |  |  | -3.3112e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.13274 | (REACTIVE MUs) |  |  |  | 0.19922 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990947 | 990866 | 81 | 50625 | 0.050625 | 201 | 201 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999799 | 999965 | -166 | -83000 | -0.083 | 50 | 50 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 997518 | 996595 | 923 | 738400 | 0.7384 | 6224 | 6221 | 3 | 2400 | 0.0024
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 58310 | 54060 | 4250 | -4250 | -0.00425 | 222220 | 219720 | 2500 | -2500 | -0.0025
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 32290 | 27240 | 5050 | -5050 | -0.00505 | 368609 | 360150 | 8459 | -8459 | -0.008459
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 129400 | 117400 | 12000 | -12000 | -0.012 | 1152099 | 1089100 | 62999 | -62999 | -0.062999
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.68473 |  |  |  |  | -0.071558
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.1231 |  |  |  |  | -2.6969e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.56162 |  |  |  |  | -0.071585

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 999509 | 1000000 | -491 | -245500 | -0.2455 | 999999 | 1000000 | -1 | -500 | -0.0005
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44165 | 44972 | -807 | -80700 | -0.0807 | 998589 | 998688 | -99 | -9900 | -0.0099
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16705 | 16707 | -2 | -1000 | -0.001 | 5293 | 5353 | -60 | -30000 | -0.03
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997918 | 997873 | 45 | 42187.5 | 0.042188 | 999706 | 999702 | 4 | 3750 | 0.00375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999884 | 999920 | -36 | 36000 | 0.036 | 999723 | 999735 | -12 | 12000 | 0.012
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993080 | 993088 | -8 | 4000 | 0.004 | 163 | 122 | 41 | -20500 | -0.0205
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.24501 |  |  |  |  | -0.04515
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 967960 | 968184 | -224 | -44800 | -0.0448 | 993767 | 993752 | 15 | 3000 | 0.003
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986698 | 986844 | -146 | -136875 | -0.13687 | 999446 | 999456 | -10 | -9375 | -0.009375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.18168 |  |  |  |  | -0.006375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1715 | 1753 | -38 | -47500 | -0.0475 | 998657 | 998681 | -24 | -30000 | -0.03
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 63295 | 63531 | -236 | -33187.5 | -0.033188 | 987523 | 987685 | -162 | -22781.25 | -0.022781
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 44173 | 44322 | -149 | -24833.383 | -0.024833 | 988676 | 988829 | -153 | -25500.051 | -0.0255
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 932 | 938 | -6 | -22500 | -0.0225 | 171 | 192 | -21 | -78750 | -0.07875
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 948386 | 948769 | -383 | -76600 | -0.0766 | 997742 | 997787 | -45 | -9000 | -0.009
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 986692 | 987153 | -461 | -69150 | -0.06915 | 988279 | 988477 | -198 | -29700 | -0.0297
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999907 | 999966 | -59 | 36875 | 0.036875 | 999914 | 999914 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.2369 |  |  |  |  | -0.19573
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.24501 |  |  |  |  | -0.04515
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.18168 |  |  |  |  | -0.006375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.2369 |  |  |  |  | -0.19573

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 133814 | 129069 | 4745 | 4745000 | 4.745 | 47829 | 47827 | 2 | 2000 | 0.002
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 13549 | 11672 | 1877 | 3754000 | 3.754 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 891297 | 895838 | -4541 | 2270500 | 2.2705 | 998004 | 998004 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 426429 | 425378 | 1051 | -105100 | -0.1051 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 10.6644 |  | NET REACTIVE ENERGY |  |  | 0.002
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 10.6644 |  |  |  |  | 0.002
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -21.4413 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -11.3212 |  |  |  |  | -0.00125
[7 empty] | NDMC = |  |  | -1.8655 |  |  |  |  | -0.006
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -34.628 |  |  |  |  | -0.00725
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -23.9636 |  |  |  |  | -0.00525
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.2534 | % |  |  | -7.9687 |  |  |  |  | -0.0017458
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.4874 | % |  |  | -9.4626 |  |  |  |  | -0.0020731
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.1932 | % |  |  | -5.3183 |  |  |  |  | -0.0011651
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9216 | % |  |  | -0.93976 |  |  |  |  | -0.00020588
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6307 | % |  |  | -0.15114 |  |  |  |  | -3.3112e-05
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5137 | % |  |  | -0.1231 |  |  |  |  | -2.6969e-05
Note :Sharing taken from wk-30 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2021 TO 31ST OCTOBER-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -68.3306 | + | 0.15481
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -40.4552 |  | -0.61146
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -44.4885 | + | 0.29394
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.7309 | + | 0.027154
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.13274 | + | 0.19922
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.56162 |  | -0.071585
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2021 | INTIAL READING 01/10/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83