## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 369 | 369 | 0 | 0 | 0 | 999232 | 999356 | -124 | 124000 | 0.124
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 98422 | 97808 | 614 | -1228000 | -1.228 | 5073 | 5066 | 7 | -14000 | -0.014
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 796000 | 35000 | 761000 | -761000 | -0.761 | 0 | 0 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18503 | 18503 | 0 | 0 | 0 | 1000330 | 999805 | 525 | -525000 | -0.525
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 1171000 | 1236000 | -65000 | 65000 | 0.065 | 0 | 38000 | -38000 | 38000 | 0.038
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 244 | 190 | 54 | -108000 | -0.108 | 839 | 793 | 46 | -92000 | -0.092
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34383 | 34345 | 38 | -38000 | -0.038 | 999102 | 999640 | -538 | 538000 | 0.538
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44008 | 43963 | 45 | -45000 | -0.045 | 997341 | 997755 | -414 | 414000 | 0.414
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31099 | 30963 | 136 | -136000 | -0.136 | 996922 | 996607 | 315 | -315000 | -0.315
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13575 | 13473 | 102 | -51000 | -0.051 | 813015 | 812843 | 172 | -86000 | -0.086
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12324 | 12270 | 54 | -54000 | -0.054 | 998299 | 998350 | -51 | 51000 | 0.051
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31074 | 30678 | 396 | -396000 | -0.396 | 233 | 36 | 197 | -197000 | -0.197
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64390 | 64384 | 6 | -6000 | -0.006 | 996165 | 996473 | -308 | 308000 | 0.308
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 681436 | 682385 | -949 | -949000 | -0.949 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 707295 | 711503 | -4208 | -2104000 | -2.104 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15982 | 15981 | 1 | -1000 | -0.001 | 998581 | 998454 | 127 | -127000 | -0.127
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 1055 | 533 | 522 | -522000 | -0.522
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62748 | 62720 | 28 | -28000 | -0.028 | 1000204 | 999814 | 390 | -390000 | -0.39
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998623 | 998623 | 0 | 0 | 0 | 985766 | 986432 | -666 | -666000 | -0.666
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999568 | 999568 | 0 | 0 | 0 | 999548 | 999617 | -69 | -276000 | -0.276
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 17315 | 17060 | 255 | 127500 | 0.1275
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 92054 | 92046 | 8 | 400 | 0.0004 | 424454 | 421659 | 2795 | 139750 | 0.13975
[5 empty] | 50 | 157232 | 157232 | 0 | 0 | 0
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998484 | 998484 | 0 | 0 | 0 | 992068 | 992751 | -683 | -683000 | -0.683
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 995039 | 996939 | -1900 | -2533332.7 | -2.5333
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999777 | 999777 | 0 | 0 | 0 | 1000026 | 999999 | 27 | 27000 | 0.027
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975351 | 975844 | -493 | -493000 | -0.493 | 997849 | 997857 | -8 | -8000 | -0.008
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 882628 | 882880 | -252 | -126000 | -0.126 | 999233 | 999244 | -11 | -5500 | -0.0055
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991430 | 991434 | -4 | -1066.68 | -0.0010667 | 999966 | 1000322 | -356 | -94934.52 | -0.094935
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 0 | 0 | 0 | 0 | 0 | 51 | 50 | 1 | 2000 | 0.002
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60885 | 60896 | -11 | 11000 | 0.011 | 995213 | 995682 | -469 | 469000 | 0.469
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5654 | 5633 | 21 | -21000 | -0.021 | 999775 | 999929 | -154 | 154000 | 0.154
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 39784 | 39627 | 157 | -314000 | -0.314 | 999669 | 999551 | 118 | -236000 | -0.236
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95802 | 95472 | 330 | -330000 | -0.33 | 995556 | 995678 | -122 | 122000 | 0.122
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 16138 | 15711 | 427 | -1708000 | -1.708 | 1000011 | 999998 | 13 | -52000 | -0.052
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 176090 | 175636 | 454 | -454000 | -0.454 | 998433 | 998424 | 9 | -9000 | -0.009
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 404436 | 400170 | 4266 | -1421985.78 | -1.422 | 528 | 266 | 262 | -87332.46 | -0.087332
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 55561 | 54935 | 626 | -1252000 | -1.252 | 34 | 1 | 33 | -66000 | -0.066
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3374 | 3218 | 156 | -390000 | -0.39 | 29 | 0 | 29 | -72500 | -0.0725
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 162239 | 161806 | 433 | -433000 | -0.433 | 2390 | 2317 | 73 | -73000 | -0.073
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 16947000 | 16812000 | 135000 | -135000 | -0.135 | 3460000 | 2829000 | 631000 | -631000 | -0.631
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 52170000 | 51375000 | 795000 | -795000 | -0.795 | 3009000 | 2802000 | 207000 | -207000 | -0.207
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43674 | 43359 | 315 | -315000 | -0.315 | 997905 | 997783 | 122 | -122000 | -0.122
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61424 | 61452 | -28 | 28000 | 0.028 | 913 | 767 | 146 | -146000 | -0.146
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993464 | 993576 | -112 | -112000 | -0.112 | 24616 | 24669 | -53 | -53000 | -0.053
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JUNE-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 999999 | 0 | 0 | 0 | 999735 | 999777 | -42 | -4200 | -0.0042
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3230 | 3206 | 24 | 2400 | 0.0024 | 34994 | 34761 | 233 | 23300 | 0.0233
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 744 | 0 | 0 | 0 | 630 | 626 | 4 | 5332 | 0.005332
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4042 | 622 | 62200 | 0.0622
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1636 | 1636 | 0 | 0 | 0 | 10828 | 10074 | 754 | 75400 | 0.0754
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999831 | 999819 | 12 | 6000 | 0.006 | 2455 | 2447 | 8 | 4000 | 0.004
57 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | 500 | 999936 | 999946 | -10 | -5000 | -0.005 | 6 | 4 | 2 | 1000 | 0.001
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1158 | 1149 | 9 | 4500 | 0.0045 | 1599 | 1587 | 12 | 6000 | 0.006
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992791 | 992793 | -2 | -200 | -0.0002 | 3121 | 3027 | 94 | 9400 | 0.0094
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000001 | 999999 | 2 | 2666.66 | 0.0026667 | 53 | 33 | 20 | 26666.6 | 0.026667
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17205 | 16763 | 442 | 44200 | 0.0442 | 6538 | 6498 | 40 | 4000 | 0.004
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 1218 | 828 | 390 | 39000 | 0.039 | 141 | 106 | 35 | 3500 | 0.0035
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59260 | 59204 | 56 | 5600 | 0.0056 | 2617 | 2577 | 40 | 4000 | 0.004
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 439 | 439 | 0 | 0 | 0 | 1151 | 1025 | 126 | 16799.58 | 0.0168
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 932278 | 932539 | -261 | -208800 | -0.2088 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 993726 | 993845 | -119 | -95200 | -0.0952 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 957587 | 957609 | -22 | -4400 | -0.0044 | 2051 | 2049 | 2 | 400 | 0.0004
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988496 | 988467 | 29 | 7250 | 0.00725 | 868 | 857 | 11 | 2750 | 0.00275
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979282 | 979283 | -1 | -1000 | -0.001 | 1900 | 1977 | -77 | -77000 | -0.077
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999574 | 999577 | -3 | -843.75 | -0.00084375 | 52 | 29 | 23 | 6468.75 | 0.0064687
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -104000 | -46000 | -58000 | -58000 | -0.058 | 0 | 0 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | 316000 | -15000 | 331000 | 331000 | 0.331 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -14.0325 |  |  |  |  | -5.6053
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 308 | 307 | 1 | -100 | -0.0001 | 3503 | 2267 | 1236 | -123600 | -0.1236
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 643 | 643 | 0 | 0 | 0 | 639 | 639 | 0 | 0 | 0
|  | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 643500 | 640000 | 3500 | -2800 | -0.0028 | 7000 | 0 | 7000 | -5600 | -0.0056 | w.e.f 08.06.2023
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 170 | 112 | 58 | -77333.14 | -0.077333 | 6 | 7 | -1 | 1333.33 | 0.0013333
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6887 | 6690 | 197 | -26266.01 | -0.026266 | 8039 | 8030 | 9 | -1199.97 | -0.0012
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996263 | 996267 | -4 | 750 | 0.00075 | 998403 | 998451 | -48 | 9000 | 0.009
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 893516 | 893565 | -49 | 39200 | 0.0392 | 997528 | 997591 | -63 | 50400 | 0.0504
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992016 | 992024 | -8 | 5000 | 0.005 | 869 | 629 | 240 | -150000 | -0.15
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999651 | 999607 | 44 | -22000 | -0.022 | 380 | 379 | 1 | -500 | -0.0005
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991421 | 991423 | -2 | 400 | 0.0004 | 20562 | 20639 | -77 | 15400 | 0.0154
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999969 | 999969 | 0 | 0 | 0 | 999920 | 999958 | -38 | 35625 | 0.035625
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980831 | 980832 | -1 | 187.5 | 0.0001875 | 3212 | 3297 | -85 | 15937.5 | 0.015938
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | -10000 | -0.01
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993035 | 993030 | 5 | -500 | -0.0005 | 30902 | 30647 | 255 | -25500 | -0.0255
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.083462 |  |  |  |  | -0.1887
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -14.0325 |  |  |  |  | -5.6053
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.083462 |  |  |  |  | -0.1887
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.08175 |  |  |  |  | -0.45939
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.1977 |  |  |  |  | -6.2534
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.1977 | (REACTIVE MUs) |  |  |  | -6.2534 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.66315 | (REACTIVE MUs) |  |  |  | 0.47427 | (REACTIVE MUs)
[9 empty] | TOTAL | -13.5345 | (REACTIVE MUs) |  |  |  | -5.7791 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997806 | 0 | 0 | 0 | 990108 | 991925 | -1817 | -1817000 | -1.817
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998506 | 0 | 0 | 0 | 998098 | 997968 | 130 | 130000 | 0.13
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999434 | 999434 | 0 | 0 | 0 | 975819 | 982421 | -6602 | -1320400 | -1.3204
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999790 | 0 | 0 | 0 | 997112 | 998266 | -1154 | -1538662.82 | -1.5387
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997306 | 997306 | 0 | 0 | 0 | 998507 | 998706 | -199 | -298500 | -0.2985
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10345 | 10345 | 0 | 0 | 0 | 18588 | 18588 | 0 | 0 | 0
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994508 | 994508 | 0 | 0 | 0 | 995253 | 995332 | -79 | -79000 | -0.079
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990609 | 990609 | 0 | 0 | 0 | 985273 | 985410 | -137 | -137000 | -0.137
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 999997 | 0 | 0 | 0 | 998723 | 999013 | -290 | -232000 | -0.232
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988555 | 988555 | 0 | 0 | 0 | 264941 | 264925 | 16 | 21333.28 | 0.021333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 954 | 954 | 0 | 0 | 0 | 999958 | 999954 | 4 | -26666.664 | -0.026667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34330 | 34329 | 1 | -1000 | -0.001 | 996837 | 996709 | 128 | -128000 | -0.128
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5292 | 5292 | 0 | 0 | 0 | 996832 | 996335 | 497 | -994000 | -0.994
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1648 | 1648 | 0 | 0 | 0 | 993473 | 993542 | -69 | 69000 | 0.069
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 187616 | 187451 | 165 | -165000 | -0.165 | 24108 | 24054 | 54 | -54000 | -0.054
[5 empty] | -1000 | 188157 | 188157 | 0 | 0 | 0
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13376 | 13357 | 19 | -19000 | -0.019 | 999777 | 999405 | 372 | -372000 | -0.372
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38465 | 38464 | 1 | -2000 | -0.002 | 3229 | 2511 | 718 | -1436000 | -1.436
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4081 | 4096 | -15 | 30000 | 0.03 | 999727 | 999642 | 85 | -170000 | -0.17
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 53 | 10 | 43 | -68800 | -0.0688 | 463 | 73 | 390 | -624000 | -0.624
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 129097 | 129043 | 54 | -43200 | -0.0432 | 6422 | 5854 | 568 | -454400 | -0.4544
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999878 | 999934 | -56 | 140000 | 0.14 | 999945 | 999964 | -19 | 47500 | 0.0475
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952519 | 952616 | -97 | 194000 | 0.194 | 989746 | 990161 | -415 | 830000 | 0.83
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 907783 | 908183 | -400 | 800000 | 0.8 | 970988 | 971005 | -17 | 34000 | 0.034
24 | Tx.4 | [8 empty] | 0.054 |  |  |  |  | 0.015 | Assessment 11 days
|  | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999911 | 1000000 | -89 | 89000 | 0.089 | 999976 | 1000000 | -24 | 24000 | 0.024 | w.e.f 13.06.2023
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997417 | 997417 | 0 | 0 | 0 | 997236 | 997231 | 5 | -5000 | -0.005
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981241 | 981241 | 0 | 0 | 0 | 999864 | 999859 | 5 | -5000 | -0.005
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293846 | 293771 | 75 | -75000 | -0.075 | 125945 | 125181 | 764 | -764000 | -0.764
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7964 | 7952 | 12 | -24000 | -0.024 | 809 | 572 | 237 | -474000 | -0.474
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 643 | 643 | 0 | 0 | 0 | 639 | 639 | 0 | 0 | 0
|  | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 643500 | 640000 | 3500 | 2800 | 0.0028 | 7000 | 0 | 7000 | 5600 | 0.0056 | w.e.f 08.06.2023
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933775 | 933775 | 0 | 0 | 0 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994954 | 995739 | -785 | 785000 | 0.785 | 999509 | 999510 | -1 | 1000 | 0.001
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 751 | 860 | -109 | 109000 | 0.109 | 1 | 6 | -5 | 5000 | 0.005
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41381 | 41381 | 0 | 0 | 0 | 6567 | 3635 | 2932 | -2345600 | -2.3456
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63149 | 63149 | 0 | 0 | 0 | 56256 | 54874 | 1382 | -2211200 | -2.2112
[5 empty] | -1600 | [5 empty] | 56923 | 56701 | 222 | -355200 | -0.3552
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 84 | 96 | -12 | 24000 | 0.024 | 1150 | 539 | 611 | -1222000 | -1.222
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 399 | 403 | -4 | 4000 | 0.004 | 1000044 | 999010 | 1034 | -1034000 | -1.034
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24103 | 24103 | 0 | 0 | 0 | 31181 | 31340 | -159 | 159000 | 0.159
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5607 | 5604 | 3 | -3000 | -0.003 | 996803 | 996767 | 36 | -36000 | -0.036
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1249 | 1254 | -5 | 5000 | 0.005 | 1656 | 1300 | 356 | -356000 | -0.356
BRPL(+) continue | [14 empty] | JUNE-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6722 | 6601 | 121 | -121000 | -0.121 | 999958 | 999947 | 11 | -11000 | -0.011
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25096 | 25022 | 74 | -74000 | -0.074 | 620 | 594 | 26 | -26000 | -0.026
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39616 | 39607 | 9 | -9000 | -0.009 | 996669 | 996669 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 997246 | 997241 | 5 | -5000 | -0.005
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7698 | 7680 | 18 | -18000 | -0.018 | 2572 | 2480 | 92 | -92000 | -0.092
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 16716 | 16634 | 82 | -41000 | -0.041 | 1195 | 1112 | 83 | -41500 | -0.0415
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2548 | 2539 | 9 | -22500 | -0.0225 | 912 | 878 | 34 | -85000 | -0.085
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4570 | 4552 | 18 | -36000 | -0.036 | 732 | 655 | 77 | -154000 | -0.154
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99146 | 99017 | 129 | -129000 | -0.129 | 997068 | 997101 | -33 | 33000 | 0.033
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 70366 | 70094 | 272 | -544000 | -0.544 | 999367 | 999373 | -6 | 12000 | 0.012
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 9690 | 9569 | 121 | -181500 | -0.1815 | 33 | 32 | 1 | -1500 | -0.0015
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15093 | 14884 | 209 | -209000 | -0.209 | 999979 | 999977 | 2 | -2000 | -0.002
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996816 | 0 | 0 | 0 | 999882 | 999823 | 59 | -59000 | -0.059
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991325 | 991325 | 0 | 0 | 0 | 994562 | 994531 | 31 | -31000 | -0.031
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989575 | 989576 | -1 | 1000 | 0.001 | 986828 | 986840 | -12 | 12000 | 0.012
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993842 | 993875 | -33 | -132000 | -0.132 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 962189 | 962467 | -278 | -222400 | -0.2224 | 633 | 634 | -1 | -800 | -0.0008
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 906572 | 906864 | -292 | -233600 | -0.2336 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 150 | 85 | 65 | 52000 | 0.052 | 0 | 0 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992694 | 992729 | -35 | -28000 | -0.028 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 985172 | 985426 | -254 | -203200 | -0.2032 | 999776 | 999782 | -6 | -4800 | -0.0048
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 983668 | 984538 | -870 | -696000 | -0.696 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 128706 | 128568 | 138 | -276000 | -0.276 | 7044 | 6936 | 108 | -216000 | -0.216
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19645 | 19645 | 0 | 0 | 0 | 8787 | 6061 | 2726 | -2726000 | -2.726
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142613 | 142562 | 51 | -51000 | -0.051 | 3148 | 3103 | 45 | -45000 | -0.045
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 308 | 307 | 1 | 100 | 0.0001 | 3503 | 2267 | 1236 | 123600 | 0.1236
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996263 | 996267 | -4 | -750 | -0.00075 | 998403 | 998451 | -48 | -9000 | -0.009
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998246 | 998246 | 0 | 0 | 0 | 482 | 462 | 20 | 20000 | 0.02
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997791 | 997791 | 0 | 0 | 0 | 391 | 391 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 893516 | 893565 | -49 | -39200 | -0.0392 | 997528 | 997591 | -63 | -50400 | -0.0504
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923 | 878 | 45 | 45000 | 0.045 | 999897 | 999967 | -70 | -70000 | -0.07
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997070 | 997077 | -7 | -7000 | -0.007 | 999820 | 999914 | -94 | -94000 | -0.094
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999994 | 999990 | 4 | 400 | 0.0004 | 999777 | 999635 | 142 | 14200 | 0.0142
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 22 | 18 | 4 | 800 | 0.0008 | 81 | 57 | 24 | 4800 | 0.0048
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8136 | 8140 | -4 | -2000 | -0.002 | 3097 | 3095 | 2 | 1000 | 0.001
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994219 | 994227 | -8 | -8000 | -0.008 | 4183 | 4209 | -26 | -26000 | -0.026
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980418 | 980419 | -1 | -1000 | -0.001 | 522 | 554 | -32 | -32000 | -0.032
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7516 | 7510 | 6 | 6000 | 0.006 | 6927 | 6924 | 3 | 3000 | 0.003
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993503 | 993475 | 28 | 4200 | 0.0042 | 308 | 242 | 66 | 9900 | 0.0099
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 154210 | 154121 | 89 | 8900 | 0.0089 | 912213 | 912141 | 72 | 7200 | 0.0072
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2979 | 2918 | 61 | 16266.87 | 0.016267 | 643 | 642 | 1 | 266.67 | 0.00026667
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5426 | 5419 | 7 | 7000 | 0.007 | 7993 | 7984 | 9 | 9000 | 0.009
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991421 | 991423 | -2 | -400 | -0.0004 | 20562 | 20639 | -77 | -15400 | -0.0154
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999969 | 999969 | 0 | 0 | 0 | 999920 | 999958 | -38 | -35625 | -0.035625
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980831 | 980832 | -1 | -187.5 | -0.0001875 | 3212 | 3297 | -85 | -15937.5 | -0.015938
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 10000 | 0.01
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993035 | 993030 | 5 | 500 | 0.0005 | 30902 | 30647 | 255 | 25500 | 0.0255
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.3078 |  |  |  |  | -20.7117
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21916 | 21916 | 0 | 0 | 0 | 5549 | 5383 | 166 | -83000 | -0.083
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992416 | 992416 | 0 | 0 | 0 | 5500 | 6505 | -1005 | 133996.65 | 0.134
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999811 | 999811 | 0 | 0 | 0 | 292 | 233 | 59 | -39333.353 | -0.039333
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1130 | 0 | 0 | 0 | 355 | 253 | 102 | -102000 | -0.102
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989502 | 989531 | -29 | 29000 | 0.029 | 2548 | 2540 | 8 | -8000 | -0.008
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2840 | 2840 | 0 | 0 | 0 | 40475 | 39288 | 1187 | -189920 | -0.18992
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3851 | 3851 | 0 | 0 | 0 | 21694 | 19737 | 1957 | -391400 | -0.3914
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968275 | 968295 | -20 | 20000 | 0.02 | 999361 | 999404 | -43 | 43000 | 0.043
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 773 | 754 | 19 | -1900 | -0.0019 | 2430 | 2266 | 164 | -16400 | -0.0164
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4935 | 4990 | -55 | 5500 | 0.0055 | 5566 | 5475 | 91 | -9100 | -0.0091
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 209 | 209 | 0 | 0 | 0 | 3526 | 2308 | 1218 | 1014995.94 | 1.015
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 3407 | 2732 | 675 | -421875 | -0.42188
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 999999 | 0 | 0 | 0 | 999735 | 999777 | -42 | 4200 | 0.0042
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3230 | 3206 | 24 | -2400 | -0.0024 | 34994 | 34761 | 233 | -23300 | -0.0233
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 744 | 0 | 0 | 0 | 630 | 626 | 4 | -5332 | -0.005332
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4042 | 622 | -62200 | -0.0622
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1636 | 1636 | 0 | 0 | 0 | 10828 | 10074 | 754 | -75400 | -0.0754
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1811 | 1789 | 22 | -17600 | -0.0176 | 753 | 617 | 136 | -108800 | -0.1088
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979282 | 979283 | -1 | 1000 | 0.001 | 1900 | 1977 | -77 | 77000 | 0.077
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999574 | 999577 | -3 | 843.75 | 0.00084375 | 52 | 29 | 23 | -6468.75 | -0.0064687
FED FROM BRPL(RLY.)
31 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.05 | 0 | 0.05 | -30 | -3e-05 | 8.97 | 0.61 | 8.36 | -5016 | -0.005016 | wef 08.06.23
32 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0 | 0 | 0 | 0 | 0 | 3.79 | 1.25 | 2.54 | -7620 | -0.00762 | wef 08.06.23
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.034414 |  |  |  |  | -0.28197
JUNE-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.3078 |  |  |  |  | -20.7117
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.034414 |  |  |  |  | -0.28197
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.16607 |  |  |  |  | 0.041875
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0108 |  |  |  |  | -0.2423
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -1.1181 |  |  |  |  | -21.1941
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.1181 | (REACTIVE MUs) |  |  |  | -21.1941 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.9132 | (REACTIVE MUs) |  |  |  | 0.65847 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.20489 | (REACTIVE MUs) |  |  |  | -20.5356 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36293 | 36293 | 0 | 0 | 0 | 983997 | 988449 | -4452 | -1188684 | -1.1887
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 999304 | 999645 | -341 | -1364000 | -1.364
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 34231 | 34669 | -438 | -58398.54 | -0.058399
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999603 | 999603 | 0 | 0 | 0 | 998893 | 999251 | -358 | -358000 | -0.358
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999305 | 999754 | -449 | -718400 | -0.7184
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18375 | 0 | 0 | 0 | 4116 | 4830 | -714 | -951997.62 | -0.952
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999340 | 999340 | 0 | 0 | 0 | 994117 | 997122 | -3005 | -601000 | -0.601
RPH
8 | KAMLA MKT.-2 | 4865183 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999979 | 999983 | -4 | -16000 | -0.016 | 999994 | 999996 | -2 | -8000 | -0.008
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982814 | 982821 | -7 | -3500 | -0.0035 | 279 | 249 | 30 | 15000 | 0.015
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997238 | 997230 | 8 | 8000 | 0.008 | 999830 | 999841 | -11 | -11000 | -0.011
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982513 | 982524 | -11 | -11000 | -0.011 | 1061 | 1082 | -21 | -21000 | -0.021
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999965 | 999967 | -2 | -2666.66 | -0.0026667 | 993 | 255 | 738 | 983997.54 | 0.984
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993353 | 993357 | -4 | -4000 | -0.004 | 995009 | 995196 | -187 | -187000 | -0.187
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992495 | 992495 | 0 | 0 | 0 | 999754 | 999887 | -133 | -133000 | -0.133
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994334 | 0 | 0 | 0 | 6616 | 6881 | -265 | -212000 | -0.212
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14648 | 14599 | 49 | 6533.17 | 0.0065332 | 8408 | 8345 | 63 | 8399.79 | 0.0083998
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999793 | 999825 | -32 | -32000 | -0.032
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 429 | 417 | 12 | 12000 | 0.012 | 16844 | 16883 | -39 | -39000 | -0.039
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 944573 | 944823 | -250 | -312500 | -0.3125 | 947174 | 947181 | -7 | -8750 | -0.00875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 924471 | 925132 | -661 | -661000 | -0.661 | 933504 | 933515 | -11 | -11000 | -0.011
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999595 | 999738 | -143 | -143000 | -0.143 | 999990 | 999999 | -9 | -9000 | -0.009
| KASHMIRI GATE | [8 empty] | -0.9735 |  |  |  |  | -0.01975
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11 | 11 | 0 | 0 | 0 | 1000064 | 999942 | 122 | -122000 | -0.122
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6703 | 6644 | 59 | -59000 | -0.059 | 997809 | 997808 | 1 | -1000 | -0.001
[5 empty] | -1000 | [5 empty] | 985393 | 985240 | 153 | -153000 | -0.153
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998892 | 998892 | 0 | 0 | 0 | 11795 | 12124 | -329 | -329000 | -0.329
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4633 | 4330 | 303 | -303000 | -0.303 | 480 | 237 | 243 | -243000 | -0.243
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -750 | 1301 | 1267 | 34 | -25500 | -0.0255 | 1702 | 1692 | 10 | -7500 | -0.0075
[10 empty] | 0.3005 |  |  |  |  | 0.36875 | Assessment for May-2022 to April-2023 due to wrong M.F
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12016 | 11975 | 41 | -41000 | -0.041 | 999026 | 998987 | 39 | -39000 | -0.039
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7066 | 7084 | -18 | 18000 | 0.018 | 998052 | 998031 | 21 | -21000 | -0.021
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125175 | 0 | 0 | 0 | 983952 | 983673 | 279 | -279000 | -0.279
[5 empty] | -1000 | [5 empty] | 986137 | 985605 | 532 | -532000 | -0.532
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 97159 | 0 | 0 | 0 | 2431 | 1072 | 1359 | -1359000 | -1.359
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3066 | 3066 | 0 | 0 | 0 | 128 | 43 | 85 | -425000 | -0.425
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 170 | 112 | 58 | 77333.14 | 0.077333 | 6 | 7 | -1 | -1333.33 | -0.0013333
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6887 | 6690 | 197 | 26266.01 | 0.026266 | 8039 | 8030 | 9 | 1199.97 | 0.0012
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992416 | 992416 | 0 | 0 | 0 | 5500 | 6505 | -1005 | -133665 | -0.13367
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975415 | 975322 | 93 | -93000 | -0.093 | 990270 | 990270 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962295 | 962200 | 95 | -95000 | -0.095 | 969523 | 969524 | -1 | 1000 | 0.001
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | -99000 | 78000 | -177000 | 177000 | 0.177 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 311000 | 353000 | -42000 | 42000 | 0.042 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.1025 |  |  |  |  | -8.1794
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.1025 |  |  |  |  | -8.1794
JUNE-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 651 | 656 | -5 | 5000 | 0.005 | 378 | 317 | 61 | -61000 | -0.061
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982107 | 982108 | -1 | 1000 | 0.001 | 933958 | 933835 | 123 | -123000 | -0.123
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 276 | 280 | -4 | 4000 | 0.004 | 114 | 97 | 17 | -17000 | -0.017
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2497 | 2571 | -74 | 74000 | 0.074 | 999787 | 999770 | 17 | -17000 | -0.017
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41713 | 41710 | 3 | -3000 | -0.003 | 998659 | 998473 | 186 | -186000 | -0.186
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24562 | 24545 | 17 | -8500 | -0.0085 | 1295 | 1013 | 282 | -141000 | -0.141
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 502 | 537 | -35 | 35000 | 0.035 | 31 | 31 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45703 | 45703 | 0 | 0 | 0 | 999415 | 999415 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1981 | 2011 | -30 | 30000 | 0.03 | 77 | 70 | 7 | -7000 | -0.007
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973110 | 973086 | 24 | -24000 | -0.024 | 968630 | 968159 | 471 | -471000 | -0.471
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1157 | 1153 | 4 | -4000 | -0.004 | 161 | 70 | 91 | -91000 | -0.091
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14043 | 14026 | 17 | -85000 | -0.085 | 253 | 221 | 32 | -160000 | -0.16
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30323 | 30208 | 115 | -115000 | -0.115 | 206 | 131 | 75 | -75000 | -0.075
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10433 | 10224 | 209 | -209000 | -0.209 | 18 | 13 | 5 | -5000 | -0.005
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.2995 |  |  |  |  | -1.354
| (B) NET ENERGY TO EAST | [8 empty] | -0.2995 |  |  |  |  | -1.354
JUNE-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991430 | 991434 | -4 | 1066.68 | 0.0010667 | 999966 | 1000322 | -356 | 94934.52 | 0.094935
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 51 | 50 | 1 | -2000 | -0.002
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 737 | 751 | -14 | 3733.24 | 0.0037332 | 2219 | 2240 | -21 | 5599.86 | 0.0055999
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 10304 | 10145 | 159 | -15900 | -0.0159 | 918 | 133 | 785 | -78500 | -0.0785
[10 empty] | 2.184 |  |  |  |  | 0.006 | assessment sept-22 to march-23 due to wrong MF.
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 972736 | 972800 | -64 | 12800 | 0.0128 | 999591 | 999420 | 171 | -34200 | -0.0342
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 793 | 808 | -15 | 15000 | 0.015 | 388 | 390 | -2 | 2000 | 0.002
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 1000006 | 999999 | 7 | -5600 | -0.0056 | 241 | 71 | 170 | -136000 | -0.136
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1821 | 1831 | -10 | 8000 | 0.008 | 1701 | 1664 | 37 | -29600 | -0.0296
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942098 | 942247 | -149 | 119200 | 0.1192 | 988210 | 988376 | -166 | 132800 | 0.1328
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992330 | 992333 | -3 | 6000 | 0.006 | 998879 | 999006 | -127 | 254000 | 0.254
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993464 | 993576 | -112 | 112000 | 0.112 | 24616 | 24669 | -53 | 53000 | 0.053
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999831 | 999819 | 12 | -6000 | -0.006 | 2455 | 2447 | 8 | -4000 | -0.004
18 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | -500 | 999936 | 999946 | -10 | 5000 | 0.005 | 6 | 4 | 2 | -1000 | -0.001
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1158 | 1149 | 9 | -4500 | -0.0045 | 1599 | 1587 | 12 | -6000 | -0.006
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59260 | 59204 | 56 | -5600 | -0.0056 | 2617 | 2577 | 40 | -4000 | -0.004
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 439 | 439 | 0 | 0 | 0 | 1151 | 1025 | 126 | -16799.58 | -0.0168
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992791 | 992793 | -2 | 200 | 0.0002 | 3121 | 3027 | 94 | -9400 | -0.0094
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 1000001 | 999999 | 2 | -2666.66 | -0.0026667 | 53 | 33 | 20 | -26666.6 | -0.026667
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17205 | 16763 | 442 | -44200 | -0.0442 | 6538 | 6498 | 40 | -4000 | -0.004
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 1218 | 828 | 390 | -39000 | -0.039 | 141 | 106 | 35 | -3500 | -0.0035
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 84810 | 76110 | 8700 | -8700 | -0.0087 | 375270 | 367969 | 7301 | -7301 | -0.007301
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 47550 | 47080 | 470 | -470 | -0.00047 | 611480 | 600540 | 10940 | -10940 | -0.01094
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 283200 | 279600 | 3600 | -3600 | -0.0036 | 2031800 | 1970099 | 61701 | -61701 | -0.061701
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -104000 | -46000 | -58000 | 58000 | 0.058 | 0 | 0 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | 316000 | -15000 | 331000 | -331000 | -0.331 | 0 | 0 | 0 | 0 | 0
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 13.11 | 11.83 | 1.28 | -1536 | -0.001536 | 16.82 | 7.36 | 9.46 | -11352 | -0.011352 | wef 08.06.23
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.26 | 0.18 | 0.08 | -96 | -9.6e-05 | 33.38 | 16.96 | 16.42 | -19704 | -0.019704 | wef 08.06.23
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.23 | 0.23 | 0 | 0 | 0 | 13.77 | 6.26 | 7.51 | -9012 | -0.009012 | wef 08.06.23
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.72 | 0.45 | 0.27 | -324 | -0.000324 | 13.03 | 3 | 10.03 | -12036 | -0.012036 | wef 08.06.23
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0 | 0 | 0 | 0 | 0 | 6.6 | 1.44 | 5.16 | -15480 | -0.01548 | wef 08.06.23
[10 empty] | 2.0558 |  |  |  |  | 0.045142
JUNE-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.1025 |  |  |  |  | -8.1794
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.0558 |  |  |  |  | 0.045142
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.95327 |  |  |  |  | -8.1342
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.2995 |  |  |  |  | -1.354
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.65377 |  |  |  |  | -9.4882
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.65377 | (REACTIVE MUs) |  |  |  | -9.4882 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.48692 | (REACTIVE MUs) |  |  |  | 0.36912 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1407 | (REACTIVE MUs) |  |  |  | -9.1191 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 737 | 751 | -14 | -3733.38 | -0.0037334 | 2219 | 2240 | -21 | -5600.07 | -0.0056001
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 10304 | 10145 | 159 | 15900 | 0.0159 | 918 | 133 | 785 | 78500 | 0.0785
[10 empty] | -2.184 |  |  |  |  | -0.006 | assessment sept-22 to march-23 due to wrong MF.
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 972736 | 972800 | -64 | -12800 | -0.0128 | 999591 | 999420 | 171 | 34200 | 0.0342
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 793 | 808 | -15 | -15000 | -0.015 | 388 | 390 | -2 | -2000 | -0.002
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 1000006 | 999999 | 7 | 5600 | 0.0056 | 241 | 71 | 170 | 136000 | 0.136
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1821 | 1831 | -10 | -8000 | -0.008 | 1701 | 1664 | 37 | 29600 | 0.0296
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942098 | 942247 | -149 | -119200 | -0.1192 | 988210 | 988376 | -166 | -132800 | -0.1328
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992330 | 992333 | -3 | -6000 | -0.006 | 998879 | 999006 | -127 | -254000 | -0.254
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952727 | 952727 | 0 | 0 | 0 | 29144 | 26817 | 2327 | 116350 | 0.11635
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998975 | 998975 | 0 | 0 | 0 | 998948 | 1000142 | -1194 | -119400 | -0.1194
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997778 | 0 | 0 | 0 | 8778 | 8262 | 516 | 258000 | 0.258
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999830 | 999830 | 0 | 0 | 0 | 997423 | 996304 | 1119 | 111900 | 0.1119
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998338 | 998338 | 0 | 0 | 0 | 4325 | 4250 | 75 | 99999.75 | 0.1
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 42708 | 536 | 536000 | 0.536
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 999862 | 999862 | 0 | 0 | 0 | 3696 | 2033 | 1663 | 166300 | 0.1663 | up to 25.06.2023
[5 empty] | 1333.33 | 999862 | 999862 | 0 | 0 | 0 | 3721 | 3696 | 25 | 33333.25 | 0.033333 | CT Changed from 300/5 to 800/1 w.e.f 26.06.23
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991508 | 991623 | -115 | -115000 | -0.115 | 392 | 409 | -17 | -17000 | -0.017
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976381 | 976437 | -56 | -56000 | -0.056 | 2820 | 2783 | 37 | 37000 | 0.037
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996812 | 996824 | -12 | -30000 | -0.03 | 115 | 84 | 31 | 77500 | 0.0775
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 993630 | 993695 | -65 | -162500 | -0.1625 | 468 | 462 | 6 | 15000 | 0.015
[10 empty] | -0.3635 |  |  |  |  | 0.1125
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989502 | 989531 | -29 | -29000 | -0.029 | 2548 | 2540 | 8 | 8000 | 0.008
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2840 | 2840 | 0 | 0 | 0 | 40475 | 39288 | 1187 | 189920 | 0.18992
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3851 | 3851 | 0 | 0 | 0 | 21694 | 19737 | 1957 | 391400 | 0.3914
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968275 | 968295 | -20 | -20000 | -0.02 | 999361 | 999404 | -43 | -43000 | -0.043
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 209 | 209 | 0 | 0 | 0 | 3526 | 2308 | 1218 | -1014995.94 | -1.015
JUNE-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 643 | 664 | -21 | 21000 | 0.021 | 989324 | 989431 | -107 | 107000 | 0.107
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3134 | 3159 | -25 | 25000 | 0.025 | 995213 | 995322 | -109 | 109000 | 0.109
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998324 | 998332 | -8 | 16000 | 0.016 | 995030 | 995178 | -148 | 296000 | 0.296
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999902 | 999923 | -21 | 21000 | 0.021 | 999653 | 999912 | -259 | 259000 | 0.259
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 3407 | 2732 | 675 | 421875 | 0.42188
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 773 | 754 | 19 | 1900 | 0.0019 | 2430 | 2266 | 164 | 16400 | 0.0164
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4935 | 4990 | -55 | -5500 | -0.0055 | 5566 | 5475 | 91 | 9100 | 0.0091
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21916 | 21916 | 0 | 0 | 0 | 5549 | 5383 | 166 | 83000 | 0.083
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923 | 878 | 45 | -45000 | -0.045 | 999897 | 999967 | -70 | 70000 | 0.07
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997070 | 997077 | -7 | 7000 | 0.007 | 999820 | 999914 | -94 | 94000 | 0.094
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999994 | 999990 | 4 | -400 | -0.0004 | 999777 | 999635 | 142 | -14200 | -0.0142
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 22 | 18 | 4 | -800 | -0.0008 | 81 | 57 | 24 | -4800 | -0.0048
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.6995 |  |  |  |  | 2.1706
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.6995 |  |  |  |  | 2.1706
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.48319 |  |  |  |  | 0.077344
| TOTAL ENERGY TO NDMC | [8 empty] | -3.1827 |  |  |  |  | 2.2479

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4281 | 4281 | 0 | 0 | 0 | 80420 | 80420 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999495 | 999495 | 0 | 0 | 0 | 32932 | 32479 | 453 | 72480 | 0.07248
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999908 | 999908 | 0 | 0 | 0 | 2323 | 2383 | -60 | -12000 | -0.012
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999873 | 999873 | 0 | 0 | 0 | 19958 | 19434 | 524 | 209600 | 0.2096
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999301 | 999301 | 0 | 0 | 0 | 740 | 765 | -25 | -20000 | -0.02
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2327 | 2327 | 0 | 0 | 0 | 6786 | 6763 | 23 | 9200 | 0.0092
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999811 | 999811 | 0 | 0 | 0 | 292 | 233 | 59 | 39333.353 | 0.039333
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1130 | 0 | 0 | 0 | 355 | 253 | 102 | 102000 | 0.102
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 0.40061
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 25 | 4 | 21 | 10500 | 0.0105 | 263 | 121 | 142 | 71000 | 0.071
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 88 | 87 | 1 | 100 | 0.0001 | 1774 | 1754 | 20 | 2000 | 0.002
11 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4407 | 4407 | 0 | 0 | 0 | 65131 | 62965 | 2166 | 162450 | 0.16245
12 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 6 | 6 | 0 | 0 | 0 | 196 | 172 | 24 | 2400 | 0.0024
13 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 5822 | 5828 | -6 | -450 | -0.00045
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10292 | 2 | 200 | 0.0002 | 8673 | 8624 | 49 | 4900 | 0.0049
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0108 |  |  |  |  | 0.2423
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 0.40061
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0108 |  |  |  |  | 0.64291
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0108 | (REACTIVE MUs) |  |  |  | 0.64291 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.1303 | (REACTIVE MUs) |  |  |  | 0.00012183 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.1195 | (REACTIVE MUs) |  |  |  | 0.64304 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992016 | 992024 | -8 | -5000 | -0.005 | 869 | 629 | 240 | 150000 | 0.15
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999651 | 999607 | 44 | 22000 | 0.022 | 380 | 379 | 1 | 500 | 0.0005
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1811 | 1789 | 22 | 17600 | 0.0176 | 753 | 617 | 136 | 108800 | 0.1088
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 84810 | 76110 | 8700 | 8700 | 0.0087 | 375270 | 367969 | 7301 | 7301 | 0.007301
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 47550 | 47080 | 470 | 470 | 0.00047 | 611480 | 600540 | 10940 | 10940 | 0.01094
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 283200 | 279600 | 3600 | 3600 | 0.0036 | 2031800 | 1970099 | 61701 | 61701 | 0.061701
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 13.11 | 11.83 | 1.28 | 1536 | 0.001536 | 16.82 | 7.36 | 9.46 | 11352 | 0.011352 | wef 08.06.23
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.26 | 0.18 | 0.08 | 96 | 9.6e-05 | 33.38 | 16.96 | 16.42 | 19704 | 0.019704 | wef 08.06.23
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.23 | 0.23 | 0 | 0 | 0 | 13.77 | 6.26 | 7.51 | 9012 | 0.009012 | wef 08.06.23
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.72 | 0.45 | 0.27 | 324 | 0.000324 | 13.03 | 3 | 10.03 | 12036 | 0.012036 | wef 08.06.23
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0 | 0 | 0 | 0 | 0 | 6.6 | 1.44 | 5.16 | 15480 | 0.01548 | wef 08.06.23
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.05 | 0 | 0.05 | 30 | 3e-05 | 8.97 | 0.61 | 8.36 | 5016 | 0.005016 | wef 08.06.23
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0 | 0 | 0 | 0 | 0 | 3.79 | 1.25 | 2.54 | 7620 | 0.00762 | wef 08.06.23
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.049356 |  |  |  |  | 0.41946
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0011254 |  |  |  |  | 2.9104e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.050481 |  |  |  |  | 0.41949

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993158 | 993169 | -11 | -5500 | -0.0055 | 999533 | 999646 | -113 | -56500 | -0.0565
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 18487 | 18524 | -37 | -3700 | -0.0037 | 990313 | 992090 | -1777 | -177700 | -0.1777
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 293 | 106 | 187 | 155833.271 | 0.15583 | 1000128 | 999990 | 138 | 114999.954 | 0.115
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996938 | 996937 | 1 | 937.5 | 0.0009375 | 999268 | 999322 | -54 | -50625 | -0.050625
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999304 | 999309 | -5 | 5000 | 0.005 | 998837 | 998959 | -122 | 122000 | 0.122
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994082 | 994109 | -27 | 13500 | 0.0135 | 393 | 573 | -180 | 90000 | 0.09
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999968 | -1 | -300 | -0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.16607 |  |  |  |  | 0.041875
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999090 | 999098 | -8 | -10000 | -0.01 | 998560 | 998644 | -84 | -105000 | -0.105
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998420 | 998450 | -30 | -28125 | -0.028125 | 999561 | 999624 | -63 | -59062.5 | -0.059062
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 993338 | 993465 | -127 | -15875 | -0.015875 | 996169 | 996676 | -507 | -63375 | -0.063375
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999360 | 999371 | -11 | -13750 | -0.01375 | 999959 | 999978 | -19 | -23750 | -0.02375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998171 | 998177 | -6 | -6000 | -0.006 | 999588 | 999651 | -63 | -63000 | -0.063
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965513 | 965526 | -13 | -13000 | -0.013 | 990364 | 990527 | -163 | -163000 | -0.163
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999818 | 999826 | -8 | 5000 | 0.005 | 999767 | 999795 | -28 | 17500 | 0.0175
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999968 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | -0.08175 |  |  |  |  | -0.45939
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.16607 |  |  |  |  | 0.041875
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.08175 |  |  |  |  | -0.45939

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2023 | INTIAL READING 01/06/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 15331 | 14930 | 401 | 802000 | 0.802 | 1000001 | 999999 | 2 | 4000 | 0.004
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 6410 | 6018 | 392 | 784000 | 0.784 | 3 | 0 | 3 | 6000 | 0.006
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 1.586 |  |  |  |  | 0.004
[7 empty] | Generation at feeders |  | = | -1.337 |  |  |  |  | 0.09275
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 2.923 |  |  |  |  | -0.08875
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 0.86725 |  |  |  |  | -0.026332
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 1.2139 |  |  |  |  | -0.036858
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 0.66469 |  |  |  |  | -0.020182
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.14469 |  |  |  |  | -0.0043931
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 841636 | 842347 | -711 | 355500 | 0.3555 | 997659 | 997810 | -151 | 75500 | 0.0755 | upto 26.06.2023
[10 empty] | 0.0711 |  |  |  |  | 0.0151 | assessment 5 days
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.4266 |  |  |  |  | 0.0906
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.12457 |  |  |  |  | 0.026455
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.17836 |  |  |  |  | 0.03788
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.10196 |  |  |  |  | 0.021653
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.021714 |  |  |  |  | 0.0046115
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 189754 | 187711 | 2043 | -1532250 | -1.5322 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 4339 | 3781 | 558 | -558000 | -0.558 | 999998 | 1000000 | -2 | 2000 | 0.002
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993195 | 993071 | 124 | -93000 | -0.093 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -2.1833 |  |  |  |  | 0.002
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.42093 |  |  |  |  | 0.0003856
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.61764 |  |  |  |  | 0.0005658
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.35085 |  |  |  |  | 0.0003214
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.66152 |  |  |  |  | 0.000606
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.1323 |  |  |  |  | 0.0001212
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 328403 | 331573 | -3170 | 317000 | 0.317 | 984121 | 984122 | -1 | 100 | 0.0001
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.317 |  |  |  |  | 0.0001
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 12 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.1039 | % |  |  | 0.092259 |  |  |  |  | 2.9104e-05
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.7095 | % |  |  | 0.13856 |  |  |  |  | 4.3709e-05
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.4369 | % |  |  | 0.071125 |  |  |  |  | 2.2437e-05
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.763 | % |  |  | 0.011929 |  |  |  |  | 3.763e-06
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6317 | % |  |  | 0.0020025 |  |  |  |  | 6.317e-07
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.355 | % |  |  | 0.0011254 |  |  |  |  | 2.9104e-05
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.53 | -1.53 | 0 | 0 | 0 | -11.34 | -4.78 | -6.56 | 1574400 | 1.5744
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0 |  |  |  |  | 0.47374
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0 |  |  |  |  | 0.65684
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0 |  |  |  |  | 0.36731
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0 |  |  |  |  | 0.076516
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 0.66315 |  |  |  |  | 0.47427
2) | BRPL |  |  |  | = |  |  |  |  | 0.9132 |  |  |  |  | 0.65847
3) | BYPL |  |  |  | = |  |  |  |  | 0.48692 |  |  |  |  | 0.36912
4) | NDMC |  |  |  | = |  |  |  |  | -0.48319 |  |  |  |  | 0.077344
5) | MES |  |  |  | = |  |  |  |  | -0.1303 |  |  |  |  | 0.00012183
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0011254 |  |  |  |  | 2.9104e-05

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2023 TO 30st JUNE-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -13.5345 |  | -5.7791
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.20489 |  | -20.5356
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.1407 |  | -9.1191
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -3.1827 | + | 2.2479
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.1195 | + | 0.64304
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.050481 | + | 0.41949
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department