## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18201 | 18752 | -551 | 551000 | 0.551 | 979294 | 979305 | -11 | 11000 | 0.011
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999980 | 1000013 | -33 | 33000 | 0.033 | 131 | 320 | -189 | 189000 | 0.189 | ROLL OVER
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19874 | 20407 | -533 | 533000 | 0.533 | 997176 | 997176 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974967 | 975034 | -67 | 67000 | 0.067 | 978577 | 978598 | -21 | 21000 | 0.021
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922982 | 923151 | -169 | 169000 | 0.169 | 950007 | 950007 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18317 | 18257 | 60 | -60000 | -0.06 | 16544 | 16573 | -29 | 29000 | 0.029
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19313 | 19278 | 35 | -35000 | -0.035 | 12691 | 12716 | -25 | 25000 | 0.025
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | [10 empty] | NOV. MONTH OFF
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12450 | 12039 | 411 | -411000 | -0.411 | 986851 | 986853 | -2 | 2000 | 0.002
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35004 | 35545 | -541 | 541000 | 0.541 | 9897 | 9897 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1983 | 2600 | -617 | 617000 | 0.617 | 4226 | 4236 | -10 | 10000 | 0.01
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998960 | 998798 | 162 | -162000 | -0.162 | 999502 | 999502 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 959675 | 962098 | -2423 | -2423000 | -2.423 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997560 | 997502 | 58 | -58000 | -0.058 | 17230 | 17317 | -87 | 87000 | 0.087
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998875 | 998602 | 273 | -273000 | -0.273 | 19558 | 19576 | -18 | 18000 | 0.018
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1116 | 1112 | 4 | -4000 | -0.004 | 21160 | 21199 | -39 | 39000 | 0.039
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 27808 | 27716 | 92 | 92000 | 0.092
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 196 | 192 | 4 | 4000 | 0.004 | 26440 | 26316 | 124 | 124000 | 0.124
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1792 | 1769 | 23 | 2300 | 0.0023 | 121006 | 120077 | 929 | 92900 | 0.0929
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 3023 | 2912 | 111 | 11100 | 0.0111 | 168959 | 167941 | 1018 | 101800 | 0.1018
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996105 | 996109 | -4 | -4000 | -0.004 | 997700 | 997716 | -16 | -16000 | -0.016
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999947 | 0 | 0 | 0 | 1713 | 1654 | 59 | 59000 | 0.059
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 654764 | 654935 | -171 | -171000 | -0.171 | 801428 | 801428 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661805 | 662397 | -592 | -592000 | -0.592 | 833902 | 833903 | -1 | -1000 | -0.001
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991111 | 990956 | 155 | 155000 | 0.155 | 998457 | 998457 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999474 | 999257 | 217 | 108500 | 0.1085 | 999815 | 999815 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6964 | 6870 | 94 | -94000 | -0.094 | 981915 | 981915 | 0 | 0 | 0
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998964 | 998020 | 944 | -944000 | -0.944 | 948540 | 948541 | -1 | 1000 | 0.001
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992459 | 992808 | -349 | 349000 | 0.349 | 936250 | 936425 | -175 | 175000 | 0.175
DSIDC BAWANA
30 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4632 | 3346 | 1286 | -1286000 | -1.286 | 14 | 18 | -4 | 4000 | 0.004
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
31 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 776 | 763 | 13 | 13000 | 0.013 | 16226 | 16213 | 13 | 13000 | 0.013
32 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999235 | 999111 | 124 | 124000 | 0.124 | 3020 | 3002 | 18 | 18000 | 0.018
| NDPL(+) continue | [14 empty] | NOVEMBER-2011
DMS
33 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 791 | 682 | 109 | 109000 | 0.109 | 55483 | 55273 | 210 | 210000 | 0.21
REWARI LINE
34 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 11244 | 9895 | 1349 | 134900 | 0.1349 | 58551 | 58442 | 109 | 10900 | 0.0109
VISHAL
35 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 7648 | 7474 | 174 | 17400 | 0.0174 | 12074 | 11502 | 572 | 57200 | 0.0572
36 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9530 | 9526 | 4 | 400 | 0.0004 | 30605 | 30456 | 149 | 14900 | 0.0149
37 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13704 | 13706 | -2 | -200 | -0.0002 | 35097 | 35068 | 29 | 2900 | 0.0029
S.B.MILL
38 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 31897 | 31643 | 254 | 25400 | 0.0254 | 10523 | 10420 | 103 | 10300 | 0.0103
39 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
40 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
41 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 15105 | 14789 | 316 | 31600 | 0.0316 | 10897 | 10741 | 156 | 15600 | 0.0156
44 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
B.G.ROAD
45 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3491 | 3442 | 49 | 24500 | 0.0245 | 29116 | 29054 | 62 | 31000 | 0.031 | 21/11/11 Reading taken as Final reading
45 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5085 | 5083 | 2 | 1000 | 0.001 | 22230 | 22191 | 39 | 19500 | 0.0195 | installed on dated 24/11/11
46 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3245 | 3193 | 52 | 26000 | 0.026 | 20396 | 20288 | 108 | 54000 | 0.054
47 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3266 | 3233 | 33 | 16500 | 0.0165 | 13791 | 13766 | 25 | 12500 | 0.0125
48 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3212 | 3182 | 30 | 15000 | 0.015 | 15945 | 15876 | 69 | 34500 | 0.0345
D.M.S.
49 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999785 | 999941 | -156 | -15600 | -0.0156 | 5777 | 5730 | 47 | 4700 | 0.0047
50 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2674 | 2594 | 80 | 8000 | 0.008 | 13597 | 13582 | 15 | 1500 | 0.0015
51 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 7145 | 6597 | 548 | 54800 | 0.0548 | 48700 | 48646 | 54 | 5400 | 0.0054
52 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8123 | 8161 | -38 | -3800 | -0.0038 | 19085 | 19093 | -8 | -800 | -0.0008
53 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999586 | 999622 | -36 | -3600 | -0.0036 | 256 | 239 | 17 | 1700 | 0.0017
54 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
55 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 2336 | 2223 | 113 | 11300 | 0.0113 | 61617 | 61147 | 470 | 47000 | 0.047
56 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 3967 | 3763 | 204 | 20400 | 0.0204 | 52713 | 52466 | 247 | 24700 | 0.0247
57 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 4668 | 4445 | 223 | 22300 | 0.0223 | 75877 | 75462 | 415 | 41500 | 0.0415
KASHMIRI GATE
58 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 107538 | 103049 | 4489 | 448900 | 0.4489 | 26728 | 26728 | 0 | 0 | 0
59 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 14749 | 13878 | 871 | 87100 | 0.0871 | 33449 | 33449 | 0 | 0 | 0
60 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
61 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12609 | 12608 | 1 | -400 | -0.0004
62 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999292 | 999157 | 135 | 13500 | 0.0135
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.2078 |  |  |  |  | 1.7068
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 5570 | 5159 | 411 | -41100 | -0.0411 | 8885 | 8664 | 221 | -22100 | -0.0221
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5761 | 5738 | 23 | -23000 | -0.023 | 4071 | 4040 | 31 | -31000 | -0.031
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3504 | 3504 | 0 | 0 | 0 | 1605 | 1605 | 0 | 0 | 0 | NOV. MONTH OFF
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12862 | 12833 | 29 | -29000 | -0.029 | 24028 | 24018 | 10 | -10000 | -0.01
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 40087 | 38527 | 1560 | -156000 | -0.156 | 147125 | 147110 | 15 | -1500 | -0.0015
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978778 | 980286 | -1508 | 1508000 | 1.508 | 992720 | 992720 | 0 | 0 | 0
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 997987 | 998215 | -228 | 285000 | 0.285 | 629 | 628 | 1 | -1250 | -0.00125 | Final reading is of dated 28/11/11
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.5439 |  |  |  |  | -0.06585
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.2078 |  |  |  |  | 1.7068
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.5439 |  |  |  |  | -0.06585
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.0859 |  |  |  |  | 0.16849
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.422 |  |  |  |  | 1.8094
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.422 | (REACTIVE MUs) |  |  |  | 1.8094 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.24992 | (REACTIVE MUs) |  |  |  | 1.8811 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.6719 | (REACTIVE MUs) |  |  |  | 3.6906 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 989885 | 990484 | -599 | -59900 | -0.0599 | 78622 | 77648 | 974 | 97400 | 0.0974
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17586 | 15618 | 1968 | 196800 | 0.1968 | 999494 | 999388 | 106 | 10600 | 0.0106
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 24148 | 23833 | 315 | 31500 | 0.0315 | 31215 | 31173 | 42 | 4200 | 0.0042
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998891 | 999004 | -113 | -11300 | -0.0113 | 5027 | 5086 | -59 | -5900 | -0.0059
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8694 | 8205 | 489 | 48900 | 0.0489 | 74279 | 72757 | 1522 | 152200 | 0.1522
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1166 | 802 | 364 | 36400 | 0.0364 | 46702 | 46355 | 347 | 34700 | 0.0347
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999611 | 999784 | -173 | -173000 | -0.173 | 999713 | 999713 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999854 | 999880 | -26 | -26000 | -0.026 | 2316 | 2314 | 2 | 2000 | 0.002
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 364 | 285 | 79 | 79000 | 0.079 | 1307 | 1306 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 139 | 73 | 66 | 66000 | 0.066 | 2433 | 2432 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999766 | 999712 | 54 | 54000 | 0.054 | 2216 | 2214 | 2 | 2000 | 0.002
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 459 | 470 | -11 | -11000 | -0.011 | 1072 | 1077 | -5 | -5000 | -0.005
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 158 | 155 | 3 | 3000 | 0.003 | 13529 | 13443 | 86 | 86000 | 0.086
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 299 | 300 | -1 | -1000 | -0.001 | 34171 | 34086 | 85 | 85000 | 0.085
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 254 | 258 | -4 | -4000 | -0.004 | 9439 | 8827 | 612 | 612000 | 0.612
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 248 | 236 | 12 | 12000 | 0.012 | 5325 | 5325 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 30121 | 29697 | 424 | 42400 | 0.0424 | 532 | 530 | 2 | 200 | 0.0002
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998543 | 998499 | 44 | 44000 | 0.044 | 5750 | 5553 | 197 | 197000 | 0.197
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 835678 | 838958 | -3280 | -3608000 | -3.608
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 876886 | 880370 | -3484 | -3832400 | -3.8324
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993602 | 994326 | -724 | -724000 | -0.724 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.6386 |  |  |  |  | -6.4592
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965892 | 966298 | -406 | 406000 | 0.406 | 978078 | 978078 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982728 | 983285 | -557 | 557000 | 0.557 | 984544 | 984544 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 942 | 928 | 14 | 14000 | 0.014 | 56348 | 56002 | 346 | 346000 | 0.346
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2803 | 1298 | 1505 | -1505000 | -1.505 | 974707 | 974886 | -179 | 179000 | 0.179
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4035 | 3431 | 604 | -604000 | -0.604 | 980149 | 980329 | -180 | 180000 | 0.18
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994814 | 995821 | -1007 | 1007000 | 1.007 | 991320 | 991326 | -6 | 6000 | 0.006
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997522 | 998824 | -1302 | 1302000 | 1.302 | 996261 | 996276 | -15 | 15000 | 0.015
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3504 | 3504 | 0 | 0 | 0 | 1605 | 1605 | 0 | 0 | 0 | NOV. MONTH OFF
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12862 | 12833 | 29 | 29000 | 0.029 | 24028 | 24018 | 10 | 10000 | 0.01
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 85585 | 85690 | -105 | -10500 | -0.0105 | 1663 | 1663 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 52818 | 52598 | 220 | 22000 | 0.022 | 999576 | 999577 | -1 | -100 | -0.0001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.8213 |  |  |  |  | -5.4301
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.8213 |  |  |  |  | -5.4301
NOVEMBER-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997697 | 997785 | -88 | 88000 | 0.088 | 943877 | 944420 | -543 | 543000 | 0.543
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15608 | 15659 | -51 | 51000 | 0.051 | 962478 | 963037 | -559 | 559000 | 0.559
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14099 | 14229 | -130 | 130000 | 0.13 | 949921 | 950373 | -452 | 452000 | 0.452
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957462 | 964840 | -7378 | 7378000 | 7.378 | 993732 | 993732 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948417 | 955906 | -7489 | 7489000 | 7.489 | 992021 | 992021 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999709 | 1000796 | -1087 | 1087000 | 1.087 | 994530 | 994563 | -33 | 33000 | 0.033 | ROLL OVER
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1382 | 1862 | -480 | 480000 | 0.48 | 984339 | 984381 | -42 | 42000 | 0.042
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999028 | 999894 | -866 | 1732000 | 1.732 | 990694 | 990723 | -29 | 58000 | 0.058
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | [10 empty] | OFF
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12797 | 13679 | -882 | 882000 | 0.882 | 958342 | 958800 | -458 | 458000 | 0.458
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968608 | 970322 | -1714 | 1714000 | 1.714 | 906340 | 907100 | -760 | 760000 | 0.76
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21363 | 21356 | 7 | -7000 | -0.007 | 27127 | 26850 | 277 | -277000 | -0.277
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19047 | 15424 | 3623 | -3623000 | -3.623 | 36353 | 36137 | 216 | -216000 | -0.216
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 17.401 |  |  |  |  | 2.412
| (B) NET ENERGY TO EAST | [8 empty] | 17.401 |  |  |  |  | 2.412
6
NOVEMBER-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991111 | 990956 | 155 | -155000 | -0.155 | 998457 | 998457 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999474 | 999257 | 217 | -108500 | -0.1085 | 999815 | 999815 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 19184 | 17445 | 1739 | -347800 | -0.3478 | 62309 | 62307 | 2 | -400 | -0.0004
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 23609 | 21587 | 2022 | -202200 | -0.2022 | 121060 | 121060 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 992335 | 993256 | -921 | 92100 | 0.0921 | 4243 | 4243 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 991807 | 992335 | -528 | 105600 | 0.1056 | 4243 | 4243 | 0 | 0 | 0 | CTR Changed from 400/5 to 800/5 w.e.f.20/11/11
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 35172 | 29645 | 5527 | -552700 | -0.5527 | 80036 | 80033 | 3 | -300 | -0.0003
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63548 | 60725 | 2823 | -2823000 | -2.823 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1240 | 1163 | 77 | -77000 | -0.077 | 53 | 53 | 0 | 0 | 0
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 998552 | 999470 | -918 | 734400 | 0.7344 | 998661 | 998713 | -52 | 41600 | 0.0416
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998742 | 999390 | -648 | 648000 | 0.648 | 37905 | 37739 | 166 | -166000 | -0.166
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 998649 | 999226 | -577 | 769331.41 | 0.76933 | 510 | 485 | 25 | -33333.25 | -0.033333
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 776 | 763 | 13 | -13000 | -0.013 | 16226 | 16213 | 13 | -13000 | -0.013
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999235 | 999111 | 124 | -124000 | -0.124 | 3020 | 3002 | 18 | -18000 | -0.018
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 791 | 682 | 109 | -109000 | -0.109 | 55483 | 55273 | 210 | -210000 | -0.21
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3491 | 3442 | 49 | -24500 | -0.0245 | 29116 | 29054 | 62 | -31000 | -0.031 | 21/11/11 Reading taken as Final reading
15 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5085 | 5083 | 2 | -1000 | -0.001 | 22230 | 22191 | 39 | -19500 | -0.0195 | Installed on dated 24/11/11
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3245 | 3193 | 52 | -26000 | -0.026 | 20396 | 20288 | 108 | -54000 | -0.054
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3266 | 3233 | 33 | -16500 | -0.0165 | 13791 | 13766 | 25 | -12500 | -0.0125
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3212 | 3182 | 30 | -15000 | -0.015 | 15945 | 15876 | 69 | -34500 | -0.0345
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 107538 | 103049 | 4489 | -448900 | -0.4489 | 26728 | 26728 | 0 | 0 | 0
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 14749 | 13878 | 871 | -87100 | -0.0871 | 33449 | 33449 | 0 | 0 | 0
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999785 | 999941 | -156 | 15600 | 0.0156 | 5777 | 5730 | 47 | -4700 | -0.0047
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2674 | 2594 | 80 | -8000 | -0.008 | 13597 | 13582 | 15 | -1500 | -0.0015
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 7145 | 6597 | 548 | -54800 | -0.0548 | 48700 | 48646 | 54 | -5400 | -0.0054
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8123 | 8161 | -38 | 3800 | 0.0038 | 19085 | 19093 | -8 | 800 | 0.0008
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999586 | 999622 | -36 | 3600 | 0.0036 | 256 | 239 | 17 | -1700 | -0.0017
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 2336 | 2223 | 113 | -11300 | -0.0113 | 61617 | 61147 | 470 | -47000 | -0.047
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 3967 | 3763 | 204 | -20400 | -0.0204 | 52713 | 52466 | 247 | -24700 | -0.0247
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 4668 | 4445 | 223 | -22300 | -0.0223 | 75877 | 75462 | 415 | -41500 | -0.0415
[10 empty] | -2.8756 |  |  |  |  | -0.67663
NOVEMBER-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.8213 |  |  |  |  | -5.4301
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.8756 |  |  |  |  | -0.67663
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.1244 |  |  |  |  | 0.0015
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.9299 |  |  |  |  | -6.1052
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 17.401 |  |  |  |  | 2.412
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 15.4711 |  |  |  |  | -3.6932
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 15.4711 | (REACTIVE MUs) |  |  |  | -3.6932 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.20078 | (REACTIVE MUs) |  |  |  | 1.5113 | (REACTIVE MUs)
[9 empty] | TOTAL | 15.6719 | (REACTIVE MUs) |  |  |  | -2.1819 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998905 | 999064 | -159 | -159000 | -0.159 | 11358 | 11292 | 66 | 66000 | 0.066
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 991081 | 992138 | -1057 | -105700 | -0.1057 | 677756 | 677683 | 73 | 7300 | 0.0073
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6485 | 5722 | 763 | 763000 | 0.763 | 45839 | 45689 | 150 | 150000 | 0.15
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10757 | 10479 | 278 | 278000 | 0.278 | 491 | 477 | 14 | 14000 | 0.014
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7251 | 7012 | 239 | 23900 | 0.0239 | 86425 | 85871 | 554 | 55400 | 0.0554
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 43166 | 42399 | 767 | 76700 | 0.0767 | 268755 | 268753 | 2 | 200 | 0.0002
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7985 | 6461 | 1524 | 152400 | 0.1524 | 343419 | 343353 | 66 | 6600 | 0.0066
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999924 | 999889 | 35 | 35000 | 0.035 | 12602 | 12166 | 436 | 436000 | 0.436
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994903 | 995281 | -378 | 378000 | 0.378 | 962111 | 962257 | -146 | 146000 | 0.146
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993492 | 993941 | -449 | 449000 | 0.449 | 964715 | 964826 | -111 | 111000 | 0.111
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988930 | 989374 | -444 | 444000 | 0.444 | 949221 | 949377 | -156 | 156000 | 0.156
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999682 | 1000127 | -445 | 445000 | 0.445 | 965366 | 965503 | -137 | 137000 | 0.137 | ROLL OVER
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999683 | 1000362 | -679 | 679000 | 0.679 | 993800 | 994465 | -665 | 665000 | 0.665 | ROLL OVER
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1493 | 1035 | 458 | -458000 | -0.458 | 996773 | 996776 | -3 | 3000 | 0.003
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39545 | 39233 | 312 | -312000 | -0.312 | 27243 | 27448 | -205 | 205000 | 0.205
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4965 | 5143 | -178 | 178000 | 0.178 | 11991 | 12116 | -125 | 125000 | 0.125
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24644 | 24508 | 136 | -136000 | -0.136 | 13336 | 13605 | -269 | 269000 | 0.269
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13704 | 13082 | 622 | -622000 | -0.622 | 42849 | 42891 | -42 | 42000 | 0.042
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5761 | 5738 | 23 | 23000 | 0.023 | 4071 | 4040 | 31 | 31000 | 0.031
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958858 | 960774 | -1916 | 1916000 | 1.916 | 906495 | 906495 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991495 | 992948 | -1453 | 1453000 | 1.453 | 870175 | 870739 | -564 | 564000 | 0.564
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 342 | 317 | 25 | -25000 | -0.025 | 997650 | 999498 | -1848 | 1848000 | 1.848
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 452 | 450 | 2 | -2000 | -0.002 | 984714 | 987020 | -2306 | 2306000 | 2.306
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999014 | 998770 | 244 | -244000 | -0.244 | 957923 | 957954 | -31 | 31000 | 0.031
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | [10 empty] | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 927306 | 931828 | -4522 | 4522000 | 4.522
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 914349 | 919433 | -5084 | 5084000 | 5.084
BRPL(+) continue | [14 empty] | NOVEMBER-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998860 | 998860 | 0 | 0 | 0 | 976614 | 977382 | -768 | 768000 | 0.768
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69 | 69 | 0 | 0 | 0 | 994332 | 994559 | -227 | 227000 | 0.227
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990508 | 990127 | 381 | -762000 | -0.762 | 972321 | 972324 | -3 | 6000 | 0.006
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998217 | 998502 | -285 | 285000 | 0.285 | 933569 | 934460 | -891 | 891000 | 0.891
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1586 | 1592 | -6 | 6000 | 0.006 | 949778 | 950418 | -640 | 640000 | 0.64
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998365 | 998693 | -328 | 328000 | 0.328 | 940004 | 940817 | -813 | 813000 | 0.813
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | [10 empty] | NOV. MONTH OFF
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 987634 | 990984 | -3350 | 2233331.1 | 2.2333 | 976515 | 976550 | -35 | 23333.31 | 0.023333
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 222 | 189 | 33 | -66000 | -0.066 | 1049 | 1037 | 12 | -24000 | -0.024
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996950 | 996907 | 43 | -86000 | -0.086 | 322 | 314 | 8 | -16000 | -0.016
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992809 | 993657 | -848 | 848000 | 0.848 | 999915 | 999915 | 0 | 0 | 0 | FINAL READING IS OF DATED 26/11/11
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989601 | 992556 | -2955 | 2955000 | 2.955 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999854 | 1000019 | -165 | -132000 | -0.132 | 129 | 118 | 11 | 8800 | 0.0088 | ROLL OVER
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 823 | 588 | 235 | 188000 | 0.188 | 60 | 57 | 3 | 2400 | 0.0024
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 996752 | 998345 | -1593 | -1274400 | -1.2744 | 999957 | 999960 | -3 | -2400 | -0.0024
PARK STREET
45 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998742 | 999390 | -648 | -648000 | -0.648 | 37905 | 37739 | 166 | 166000 | 0.166
46 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998649 | 999226 | -577 | -769331.41 | -0.76933 | 510 | 485 | 25 | 33333.25 | 0.033333
SARITA VIHAR
47 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1393 | 2349 | -956 | 956000 | 0.956 | 982991 | 983054 | -63 | 63000 | 0.063
48 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999321 | 999232 | 89 | -89000 | -0.089 | 989778 | 989780 | -2 | 2000 | 0.002
NARAINA
49 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 5570 | 5159 | 411 | 41100 | 0.0411 | 8885 | 8664 | 221 | 22100 | 0.0221
SUDARSHAN PARK
50 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 40087 | 38527 | 1560 | 156000 | 0.156 | 147125 | 147110 | 15 | 1500 | 0.0015
REWARI LINE
51 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
52 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978778 | 980286 | -1508 | -1508000 | -1.508 | 992720 | 992720 | 0 | 0 | 0
A.I.I.M.S.
53 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999910 | 999608 | 302 | 30200 | 0.0302 | 5332 | 5311 | 21 | 2100 | 0.0021
54 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 4067 | 3350 | 717 | 71700 | 0.0717 | 12596 | 12555 | 41 | 4100 | 0.0041
66KV GHEBRA
55 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 997987 | 998215 | -228 | -285000 | -0.285 | 629 | 628 | 1 | 1250 | 0.00125 | FINAL READING IS OF DATED 28/11/11
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.7089 |  |  |  |  | 20.613
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 994807 | 990615 | 4192 | -419200 | -0.4192 | 857824 | 857824 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 85585 | 85690 | -105 | 10500 | 0.0105 | 1663 | 1663 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 52818 | 52598 | 220 | -22000 | -0.022 | 999576 | 999577 | -1 | 100 | 0.0001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 249 | 333 | -84 | 8400 | 0.0084 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 351 | 459 | -108 | 10800 | 0.0108 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 767574 | 766165 | 1409 | -140900 | -0.1409 | 49641 | 49624 | 17 | -1700 | -0.0017 | New meter installed on 17/11/11 in place of meter 4865140
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 474 | 477 | -3 | 3000 | 0.003 | 72602 | 72603 | -1 | 1000 | 0.001
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4394 | 3442 | 952 | -952000 | -0.952 | 2117 | 2117 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 807007 | 800739 | 6268 | -626800 | -0.6268 | 46054 | 45982 | 72 | -7200 | -0.0072
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 21517 | 19964 | 1553 | -155300 | -0.1553 | 51164 | 51164 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 18530 | 16888 | 1642 | -164200 | -0.1642 | 52492 | 52492 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 57618 | 51903 | 5715 | -1143000 | -1.143 | 103507 | 103507 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 24646 | 21354 | 3292 | -329200 | -0.3292 | 12533 | 12532 | 1 | -100 | -0.0001
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 27122 | 22094 | 5028 | -502800 | -0.5028 | 622633 | 621847 | 786 | -78600 | -0.0786
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 90396 | 86997 | 3399 | -339900 | -0.3399 | 230277 | 228778 | 1499 | -149900 | -0.1499
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 175277 | 165942 | 9335 | 933500 | 0.9335 | 36217 | 36212 | 5 | 500 | 0.0005
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 871 | 893 | -22 | 2200 | 0.0022 | 12636 | 12619 | 17 | -1700 | -0.0017
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 11244 | 9895 | 1349 | -134900 | -0.1349 | 58551 | 58442 | 109 | -10900 | -0.0109
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 7648 | 7474 | 174 | -17400 | -0.0174 | 12074 | 11502 | 572 | -57200 | -0.0572
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9530 | 9526 | 4 | -400 | -0.0004 | 30605 | 30456 | 149 | -14900 | -0.0149
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13704 | 13706 | -2 | 200 | 0.0002 | 35097 | 35068 | 29 | -2900 | -0.0029
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 31897 | 31643 | 254 | -25400 | -0.0254 | 10523 | 10420 | 103 | -10300 | -0.0103
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 15105 | 14789 | 316 | -31600 | -0.0316 | 10897 | 10741 | 156 | -15600 | -0.0156
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12609 | 12608 | 1 | 400 | 0.0004
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999292 | 999157 | 135 | -13500 | -0.0135
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -4.0364 |  |  |  |  | -0.3625
NOVEMBER-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.7089 |  |  |  |  | 20.613
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -4.0364 |  |  |  |  | -0.3625
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.2326 |  |  |  |  | 0.4441
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.27035 |  |  |  |  | -0.0782
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 3.6347 |  |  |  |  | 20.6164
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.6347 | (REACTIVE MUs) |  |  |  | 20.6164 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.35318 | (REACTIVE MUs) |  |  |  | 2.6584 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.9879 | (REACTIVE MUs) |  |  |  | 23.2748 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 19184 | 17445 | 1739 | 347800 | 0.3478 | 62309 | 62307 | 2 | 400 | 0.0004
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 23609 | 21587 | 2022 | 202200 | 0.2022 | 121060 | 121060 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 992335 | 993256 | -921 | -92100 | -0.0921 | 4243 | 4243 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 991807 | 992335 | -528 | -105600 | -0.1056 | 4243 | 4243 | 0 | 0 | 0 | CTR Changed from 400/5 to 800/5 w.e.f.20/11/11
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 35172 | 29645 | 5527 | 552700 | 0.5527 | 80036 | 80033 | 3 | 300 | 0.0003
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 63548 | 60725 | 2823 | 2823000 | 2.823 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1240 | 1163 | 77 | 77000 | 0.077 | 53 | 53 | 0 | 0 | 0
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 998552 | 999470 | -918 | -734400 | -0.7344 | 998661 | 998713 | -52 | -41600 | -0.0416
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998306 | 998174 | 132 | 13200 | 0.0132 | 280365 | 279873 | 492 | 49200 | 0.0492
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6759 | 6227 | 532 | 53200 | 0.0532 | 417119 | 416866 | 253 | 25300 | 0.0253
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 10749 | 10418 | 331 | 33100 | 0.0331 | 201179 | 199432 | 1747 | 174700 | 0.1747
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5267 | 5246 | 21 | 2100 | 0.0021 | 300096 | 299764 | 332 | 33200 | 0.0332
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998794 | 998887 | -93 | -9300 | -0.0093 | 227903 | 227120 | 783 | 78300 | 0.0783
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999353 | 999271 | 82 | 8200 | 0.0082 | 126021 | 125824 | 197 | 19700 | 0.0197
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12150 | 10965 | 1185 | 118500 | 0.1185 | 184121 | 183044 | 1077 | 107700 | 0.1077
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 12330 | 10665 | 1665 | 166500 | 0.1665 | 224349 | 223744 | 605 | 60500 | 0.0605
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 57899 | 58336 | -437 | -480700 | -0.4807
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5214 | 4987 | 227 | 227000 | 0.227 | 36417 | 36417 | 0 | 0 | 0
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 129169 | 128527 | 642 | 706200 | 0.7062
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8487 | 8510 | -23 | -23000 | -0.023 | 48268 | 48268 | 0 | 0 | 0
[10 empty] | 0.204 |  |  |  |  | 0.2255
RIDGE VALLEY
20 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 767574 | 766165 | 1409 | 140900 | 0.1409 | 49641 | 49624 | 17 | 1700 | 0.0017 | New meter installed on 17/11/11 in place of meter 4865140
20 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 474 | 477 | -3 | -3000 | -0.003 | 72602 | 72603 | -1 | -1000 | -0.001
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4394 | 3442 | 952 | 952000 | 0.952 | 2117 | 2117 | 0 | 0 | 0
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 807007 | 800739 | 6268 | 626800 | 0.6268 | 46054 | 45982 | 72 | 7200 | 0.0072
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 24646 | 21354 | 3292 | 329200 | 0.3292 | 12533 | 12532 | 1 | 100 | 0.0001
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 27122 | 22094 | 5028 | 502800 | 0.5028 | 622633 | 621847 | 786 | 78600 | 0.0786
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 90396 | 86997 | 3399 | 339900 | 0.3399 | 230277 | 228778 | 1499 | 149900 | 0.1499
NOVEMBER-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 175277 | 165942 | 9335 | -933500 | -0.9335 | 36217 | 36212 | 5 | -500 | -0.0005
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 871 | 893 | -22 | -2200 | -0.0022 | 12636 | 12619 | 17 | 1700 | 0.0017
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 21517 | 19964 | 1553 | 155300 | 0.1553 | 51164 | 51164 | 0 | 0 | 0
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 18530 | 16888 | 1642 | 164200 | 0.1642 | 52492 | 52492 | 0 | 0 | 0
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 57618 | 51903 | 5715 | 1143000 | 1.143 | 103507 | 103507 | 0 | 0 | 0
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 994807 | 990615 | 4192 | 419200 | 0.4192 | 857824 | 857824 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999910 | 999608 | 302 | -30200 | -0.0302 | 5332 | 5311 | 21 | -2100 | -0.0021
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 4067 | 3350 | 717 | -71700 | -0.0717 | 12596 | 12555 | 41 | -4100 | -0.0041
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.3928 |  |  |  |  | 0.9647
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.3928 |  |  |  |  | 0.9647
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.045912 |  |  |  |  | 0.34558
| TOTAL ENERGY TO NDMC | [8 empty] | 7.4387 |  |  |  |  | 1.3103

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 553 | 549 | 4 | 4000 | 0.004 | 13970 | 13921 | 49 | 49000 | 0.049
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 386 | 382 | 4 | 4000 | 0.004 | 18414 | 18338 | 76 | 76000 | 0.076
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 674 | 669 | 5 | 5000 | 0.005 | 26157 | 26094 | 63 | 63000 | 0.063
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 410 | 0 | 0 | 0 | 13488 | 13439 | 49 | 49000 | 0.049
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1444 | 1324 | 120 | 120000 | 0.12 | 6702 | 6693 | 9 | 9000 | 0.009
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 249 | 333 | -84 | -8400 | -0.0084 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 351 | 459 | -108 | -10800 | -0.0108 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1138 |  |  |  |  | 0.246
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32952 | 32952 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 25737 | 25909 | -172 | -17200 | -0.0172 | 59111 | 59076 | 35 | 3500 | 0.0035
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 64605 | 64605 | 0 | 0 | 0 | 6611 | 6611 | 0 | 0 | 0
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 17561 | 16636 | 925 | 92500 | 0.0925 | 45403 | 45247 | 156 | 15600 | 0.0156
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999805 | 999796 | 9 | 900 | 0.0009 | 17006 | 16676 | 330 | 33000 | 0.033
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 72945 | 71412 | 1533 | 153300 | 0.1533 | 38573 | 38382 | 191 | 19100 | 0.0191
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2241 | 1660 | 581 | 58100 | 0.0581 | 3678 | 3608 | 70 | 7000 | 0.007
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2876 |  |  |  |  | 0.0782
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7848 | 7503 | 345 | 17250 | 0.01725 | 18966 | 18966 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.01725 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.27035 |  |  |  |  | 0.0782
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1138 |  |  |  |  | 0.246
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.38415 |  |  |  |  | 0.3242
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.38415 | (REACTIVE MUs) |  |  |  | 0.3242 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00681 | (REACTIVE MUs) |  |  |  | 0.051259 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.39096 | (REACTIVE MUs) |  |  |  | 0.37546 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 57132 | 55880 | 1252 | 125200 | 0.1252 | 77499 | 77499 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 7998 | 9081 | -1083 | -108300 | -0.1083 | 999414 | 999413 | 1 | 100 | 0.0001
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 167600 | 169168 | -1568 | -156800 | -0.1568 | 91882 | 91884 | -2 | -200 | -0.0002
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13918 | 13567 | 351 | 351000 | 0.351 | 17718 | 17716 | 2 | 2000 | 0.002
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993804 | 993839 | -35 | 17500 | 0.0175 | 945032 | 945576 | -544 | 272000 | 0.272
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994424 | 994432 | -8 | 4000 | 0.004 | 987505 | 987849 | -344 | 172000 | 0.172
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999890 | -6 | -1800 | -0.0018
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.2326 |  |  |  |  | 0.4441
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 955509 | 954156 | 1353 | 270600 | 0.2706 | 991835 | 991826 | 9 | 1800 | 0.0018
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 902696 | 904158 | -1462 | -146200 | -0.1462 | 928741 | 928744 | -3 | -300 | -0.0003
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.1244 |  |  |  |  | 0.0015
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 162987 | 160692 | 2295 | 459000 | 0.459 | 258294 | 258260 | 34 | 6800 | 0.0068
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 48999 | 46314 | 2685 | 537000 | 0.537 | 40242 | 40240 | 2 | 400 | 0.0004
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 64110 | 59110 | 5000 | 500000 | 0.5 | 70046 | 70040 | 6 | 600 | 0.0006
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987116 | 987026 | 90 | 90000 | 0.09 | 997780 | 997776 | 4 | 4000 | 0.004
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 986443 | 982524 | 3919 | 391900 | 0.3919 | 7434 | 7432 | 2 | 200 | 0.0002
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 130 | 138 | -8 | -7500 | -0.0075 | 2577 | 2412 | 165 | 154687.5 | 0.15469
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 993054 | 993285 | -231 | 115500 | 0.1155 | 995745 | 995745 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999890 | -6 | 1800 | 0.0018
| TOTAL NDPL | [8 empty] | 2.0859 |  |  |  |  | 0.16849
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.2326 |  |  |  |  | 0.4441
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.1244 |  |  |  |  | 0.0015
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.0859 |  |  |  |  | 0.16849

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7360 | 7539 | -179 | -358000 | -0.358 | 1 | 1 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 6577 | 5817 | 760 | 1520000 | 1.52 | 999697 | 999697 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 1.162 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 986227 | 987811 | -1584 | -1584000 | -1.584 | 991638 | 991852 | -214 | -214000 | -0.214
[7 empty] | NET REACTIVE ENERGY |  |  | -1.584 |  | NET REACTIVE ENERGY |  |  | -0.214
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.422 |  |  |  |  | -0.214
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.6386 |  |  |  |  | -6.4592
[7 empty] | NDMC = |  |  | 0.204 |  |  |  |  | 0.2255
MES =
[7 empty] | 2)TOTAL |  |  | -0.4346 |  |  |  |  | -6.2337
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.8566 |  |  |  |  | -6.4477
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.1755 | % |  |  | -0.24992 |  |  |  |  | -1.8811
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.2304 | % |  |  | -0.35318 |  |  |  |  | -2.6584
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4392 | % |  |  | -0.20078 |  |  |  |  | -1.5113
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3598 | % |  |  | -0.045912 |  |  |  |  | -0.34558
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.795 | % |  |  | -0.00681 |  |  |  |  | -0.051259
Note :Sharing taken from wk-33 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2011 TO 30th NOVEMBER-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.6719 | + | 3.6906
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 3.9879 | + | 23.2748
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 15.6719 |  | -2.1819
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.4387 | + | 1.3103
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.39096 | + | 0.37546
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/11 | INTIAL READING 01/11/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 983318 | 984493 | -1175 | -1762500 | -1.7625 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 976696 | 978183 | -1487 | -2230500 | -2.2305 | 986915 | 986915 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 933787 | 936905 | -3118 | -4677000 | -4.677 | 970201 | 970201 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -8.67 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 996990 | 997019 | -29 | -145000 | -0.145 | 37096 | 37234 | -138 | -690000 | -0.69
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999379 | 999405 | -26 | -26000 | -0.026 | 8115 | 8253 | -138 | -138000 | -0.138 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 971334 | 973677 | -2343 | -2343000 | -2.343 | 991272 | 991337 | -65 | -65000 | -0.065
[8 empty] | NET REACTIVE ENERGY |  | -2.514 |  |  | NET REACTIVE ENERGY |  | -0.893