## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963963 | 964595 | -632 | 632000 | 0.632 | 993310 | 993310 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 87485 | 86395 | 1090 | -2180000 | -2.18 | 4985 | 4985 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5261 | 3224 | 2037 | -2037000 | -2.037 | 418 | 418 | 0 | 0 | 0
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32202 | 31943 | 259 | -259000 | -0.259 | 96759 | 96759 | 0 | 0 | 0
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 996465 | 996465 | 0 | 0 | 0
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898583 | 898577 | 6 | -6000 | -0.006 | 26576 | 26905 | -329 | 329000 | 0.329
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11122 | 10118 | 1004 | -1004000 | -1.004 | 999811 | 999811 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22643 | 21816 | 827 | -827000 | -0.827 | 997984 | 997984 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14131 | 14005 | 126 | -126000 | -0.126 | 996976 | 996976 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 974363 | 975059 | -696 | 348000 | 0.348 | 837119 | 837119 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 519 | 834 | -315 | 315000 | 0.315 | 998385 | 998385 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8932 | 9358 | -426 | 426000 | 0.426 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52477 | 52330 | 147 | -147000 | -0.147 | 996582 | 996582 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 22785 | 21830 | 955 | -955 | -0.955 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 748876 | 752921 | -4045 | -4045000 | -4.045 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 851971 | 854351 | -2380 | -1190000 | -1.19 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12798 | 12525 | 273 | -273000 | -0.273 | 999379 | 999381 | -2 | 2000 | 0.002
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 66149 | 64048 | 2101 | -1050500 | -1.0505 | 440 | 440 | 0 | 0 | 0
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55674 | 54717 | 957 | -957000 | -0.957 | 998770 | 998769 | 1 | -1000 | -0.001
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999832 | 999858 | -26 | -26000 | -0.026 | 988741 | 988712 | 29 | 29000 | 0.029
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999920 | 999936 | -16 | -64000 | -0.064 | 999839 | 999839 | 0 | 0 | 0
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1783 | 1628 | 155 | 77500 | 0.0775 | 15064 | 15062 | 2 | 1000 | 0.001
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 56418 | 50321 | 6097 | 304850 | 0.30485 | 214260 | 214260 | 0 | 0 | 0
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999769 | 0 | 0 | 0 | 996230 | 996265 | -35 | -35000 | -0.035
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999452 | 999451 | 1 | 1000 | 0.001 | 999536 | 999548 | -12 | -12000 | -0.012
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 45860 | 45837 | 23 | 2300 | 0.0023 | 193630 | 193628 | 2 | 200 | 0.0002
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994035 | 994288 | -253 | -253000 | -0.253 | 997991 | 997992 | -1 | -1000 | -0.001
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 928127 | 928894 | -767 | -383500 | -0.3835 | 999477 | 999477 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995678 | 995458 | 220 | 58667.4 | 0.058667 | 83 | 83 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2256 | 2233 | 23 | 11500 | 0.0115 | 1144 | 1139 | 5 | 2500 | 0.0025
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46381 | 46584 | -203 | 203000 | 0.203 | 996515 | 996515 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 252166 | 249617 | 2549 | -1274500 | -1.2745 | 17481 | 17481 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8072 | 7851 | 221 | -442000 | -0.442 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58418 | 57864 | 554 | -554000 | -0.554 | 997422 | 997589 | -167 | 167000 | 0.167
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 138345 | 135159 | 3186 | -6372000 | -6.372 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 131512 | 127987 | 3525 | -3525000 | -3.525 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 184370 | 175699 | 8671 | -2890304.43 | -2.8903 | 228 | 228 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4820 | 2771 | 2049 | -4098000 | -4.098 | 2 | 2 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22550 | 22143 | 407 | -814000 | -0.814 | 469 | 469 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 83074 | 82135 | 939 | -939000 | -0.939 | 2089 | 2089 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1882000 | 1882000 | 0 | 0 | 0 | 1086000 | 1077000 | 9000 | 9000 | 0.009
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 10956000 | 10955000 | 1000 | 1000 | 0.001 | 1151000 | 1140000 | 11000 | 11000 | 0.011
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5444 | 5994 | -550 | 550000 | 0.55 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51195 | 51845 | -650 | 650000 | 0.65 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998147 | 998305 | -158 | -158000 | -0.158 | 26341 | 26343 | -2 | -2000 | -0.002
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | SEPTEMBER-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999607 | 999660 | -53 | -5300 | -0.0053 | 999848 | 999849 | -1 | -100 | -0.0001
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3191 | 3191 | 0 | 0 | 0 | 31989 | 31704 | 285 | 28500 | 0.0285
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 765 | 765 | 0 | 0 | 0 | 591 | 585 | 6 | 7998 | 0.007998
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3197 | 3197 | 0 | 0 | 0 | 2146 | 2146 | 0 | 0 | 0
|  | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 6/9
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2020 | 2015 | 5 | 500 | 0.0005 | 4512 | 4327 | 185 | 18500 | 0.0185
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999813 | 999805 | 8 | 4000 | 0.004 | 2259 | 2257 | 2 | 1000 | 0.001
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 16 | 5 | 11 | 5500 | 0.0055 | 150 | 145 | 5 | 2500 | 0.0025
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1042 | 1025 | 17 | 8500 | 0.0085 | 971 | 963 | 8 | 4000 | 0.004
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994337 | 994365 | -28 | -2800 | -0.0028 | 2721 | 2718 | 3 | 300 | 0.0003
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8764 | 8453 | 311 | 31100 | 0.0311 | 14820 | 14803 | 17 | 1700 | 0.0017
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 11777 | 11442 | 335 | 33500 | 0.0335 | 5625 | 5601 | 24 | 2400 | 0.0024
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 30577 | 30316 | 261 | 26100 | 0.0261 | 10890 | 10871 | 19 | 1900 | 0.0019
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 62168 | 61111 | 1057 | 105700 | 0.1057 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 204 | 46 | 158 | 21066.14 | 0.021066 | 470 | 472 | -2 | -266.66 | -0.00026666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999999 | -1 | 400 | 0.0004 | 999997 | 1000000 | -3 | 1200 | 0.0012
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 959013 | 960464 | -1451 | -1160800 | -1.1608 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994540 | 994769 | -229 | -458000 | -0.458 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 976253 | 974475 | 1778 | 355600 | 0.3556 | 1723 | 1723 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 995653 | 995755 | -102 | -25500 | -0.0255 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988368 | 988170 | 198 | 198000 | 0.198 | 2363 | 2363 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1710 | 1623 | 87 | 65250 | 0.06525 | 3410 | 3410 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -34.0662 |  |  |  |  | 0.56933
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 27161 | 23861 | 3300 | -330000 | -0.33 | 149937 | 149937 | 0 | 0 | 0
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 881 | 849 | 32 | -32000 | -0.032 | 517 | 517 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4966 | 4401 | 565 | -75331.45 | -0.075331 | 7293 | 7293 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997177 | 997177 | 0 | 0 | 0 | 999034 | 999097 | -63 | 11812.5 | 0.011813
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990866 | 990410 | 456 | -285000 | -0.285 | 201 | 201 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999965 | 1000000 | -35 | 17500 | 0.0175 | 50 | 0 | 50 | -25000 | -0.025
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994702 | 994784 | -82 | 16400 | 0.0164 | 15248 | 15245 | 3 | -600 | -0.0006
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990322 | 990398 | -76 | 14250 | 0.01425 | 4788 | 4796 | -8 | 1500 | 0.0015
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987557 | 987399 | 158 | -29625 | -0.029625 | 3880 | 3872 | 8 | -1500 | -0.0015
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4570 | 4553 | 17 | -4250 | -0.00425 | 8122 | 8122 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994787 | 994667 | 120 | -12000 | -0.012 | 29815 | 29815 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.72006 |  |  |  |  | -0.013787
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -34.0662 |  |  |  |  | 0.56933
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.72006 |  |  |  |  | -0.013787
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.025734 |  |  |  |  | -0.50138
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -34.7605 |  |  |  |  | 0.054167
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.7605 | (REACTIVE MUs) |  |  |  | 0.054167 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.0788 | (REACTIVE MUs) |  |  |  | 0.012905 | (REACTIVE MUs)
[9 empty] | TOTAL | -40.8392 | (REACTIVE MUs) |  |  |  | 0.067072 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 37229 | 37185 | 44 | 11748 | 0.011748 | 994573 | 994566 | 7 | 1869 | 0.001869
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11527 | 11523 | 4 | 1200 | 0.0012 | 2754 | 2874 | -120 | -36000 | -0.036
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 23908 | 23661 | 247 | 18525 | 0.018525 | 32705 | 32517 | 188 | 14100 | 0.0141
4 | IG STD- BAY-29 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 998014 | 997953 | 61 | 6100 | 0.0061 | 143 | 143 | 0 | 0 | 0
|  | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998016 | 998014 | 2 | 2666.66 | 0.0026667 | 148 | 143 | 5 | 6666.65 | 0.0066666 | w.e.f 10/9/21 CTR = 800/1
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 84 | 51 | 33 | 52800 | 0.0528 | 34 | 43 | -9 | -14400 | -0.0144
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 18595 | 18343 | 252 | 25200 | 0.0252 | 4954 | 4947 | 7 | 700 | 0.0007
|  | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18595 | 18594 | 1 | 1333.33 | 0.0013333 | 4954 | 4954 | 0 | 0 | 0 | w.e.f 17/9/21 CTR = 800/1
7 | MINTO RD. B-34 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 980317 | 979192 | 1125 | 112500 | 0.1125 | 998628 | 998417 | 211 | 21100 | 0.0211
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975793 | 975813 | -20 | -20000 | -0.02 | 2281 | 2274 | 7 | 7000 | 0.007
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984159 | 984218 | -59 | -29500 | -0.0295 | 232 | 219 | 13 | 6500 | 0.0065
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997897 | 997954 | -57 | -57000 | -0.057 | 999994 | 999999 | -5 | -5000 | -0.005
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983546 | 983673 | -127 | -127000 | -0.127 | 1356 | 1356 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 239 | 113 | 126 | 126000 | 0.126 | 117 | 3 | 114 | 114000 | 0.114
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993804 | 993841 | -37 | -37000 | -0.037 | 998549 | 998606 | -57 | -57000 | -0.057
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992670 | 992745 | -75 | -75000 | -0.075 | 348 | 349 | -1 | -1000 | -0.001
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994622 | 994747 | -125 | -100000 | -0.1 | 5274 | 5238 | 36 | 28800 | 0.0288
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14395 | 14410 | -15 | -1999.95 | -0.0019999 | 3659 | 3674 | -15 | -1999.95 | -0.0019999
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 862 | 767 | 95 | 95000 | 0.095 | 17468 | 17474 | -6 | -6000 | -0.006
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 968167 | 968607 | -440 | -550000 | -0.55 | 947193 | 947204 | -11 | -13750 | -0.01375
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975021 | 976248 | -1227 | -1227000 | -1.227 | 933562 | 933587 | -25 | -25000 | -0.025
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997513 | 997840 | -327 | -327000 | -0.327 | 998708 | 998715 | -7 | -7000 | -0.007
| KASHMIRI GATE | [8 empty] | -2.104 |  |  |  |  | -0.04575
22 | 100 MVA TX.-1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985366 | 985371 | -5 | 5000 | 0.005 | 993636 | 993671 | -35 | 35000 | 0.035 | Check Meter
|  | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11 | 0 | 11 | -11000 | -0.011 | 999993 | 1000000 | -7 | 7000 | 0.007 | w.e.f 16/9
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980436 | 981115 | -679 | 679000 | 0.679 | 997942 | 997944 | -2 | 2000 | 0.002
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999999 | -1 | -400 | -0.0004 | 999997 | 1000000 | -3 | -1200 | -0.0012
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999649 | 999640 | 9 | 9000 | 0.009 | 13920 | 13934 | -14 | -14000 | -0.014
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 251208 | 247813 | 3395 | -3395000 | -3.395 | 9238 | 9242 | -4 | 4000 | 0.004
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61440 | 58839 | 2601 | -2601000 | -2.601 | 199 | 199 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5184 | 4928 | 256 | -256000 | -0.256 | 999053 | 999056 | -3 | 3000 | 0.003
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4406 | 4521 | -115 | 115000 | 0.115 | 998161 | 998164 | -3 | 3000 | 0.003
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 89975 | 88281 | 1694 | -1694000 | -1.694 | 982830 | 982830 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71884 | 68027 | 3857 | -3857000 | -3.857 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52271 | 49799 | 2472 | -4944000 | -4.944 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 881 | 849 | 32 | 32000 | 0.032 | 517 | 517 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4966 | 4401 | 565 | 75331.45 | 0.075331 | 7293 | 7293 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993249 | 993250 | -1 | -133 | -0.000133 | 12719 | 12828 | -109 | -14497 | -0.014497
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948613 | 949357 | -744 | 744000 | 0.744 | 990121 | 990121 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968229 | 969156 | -927 | 927000 | 0.927 | 981160 | 981160 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -16.2706 |  |  |  |  | 0.057889
| (A) NET ENERGY TO CENTRAL | [8 empty] | -16.2706 |  |  |  |  | 0.057889
SEPTEMBER-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990216 | 990328 | -112 | 112000 | 0.112 | 993645 | 993645 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979043 | 979019 | 24 | -24000 | -0.024 | 929714 | 929718 | -4 | 4000 | 0.004
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992215 | 992352 | -137 | 137000 | 0.137 | 993340 | 993340 | 0 | 0 | 0
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992566 | 993363 | -797 | 797000 | 0.797 | 995571 | 995571 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34931 | 34621 | 310 | -310000 | -0.31 | 997623 | 997623 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 3092 | 2554 | 538 | -269000 | -0.269 | 177 | 182 | -5 | 2500 | 0.0025
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999519 | 1000076 | -557 | 557000 | 0.557 | 999501 | 999501 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 1605 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1782 | 2077 | -295 | 295000 | 0.295 | 999509 | 999509 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934354 | 934499 | -145 | 145000 | 0.145 | 978386 | 978386 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988983 | 988983 | 0 | 0 | 0 | 955669 | 955669 | 0 | 0 | 0
[5 empty] | -1000 | 979671 | 979297 | 374 | -374000 | -0.374
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966567 | 966413 | 154 | -154000 | -0.154 | 823858 | 823871 | -13 | 13000 | 0.013
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 10788 | 10272 | 516 | -2580000 | -2.58 | 34 | 34 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10380 | 8381 | 1999 | -1999000 | -1.999 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1076 | 447 | 629 | -629000 | -0.629 | 999990 | 999990 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.296 |  |  |  |  | 0.0195
| (B) NET ENERGY TO EAST | [8 empty] | -4.296 |  |  |  |  | 0.0195
SEPTEMBER-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995678 | 995458 | 220 | -58667.4 | -0.058667 | 83 | 83 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2256 | 2233 | 23 | -11500 | -0.0115 | 1144 | 1139 | 5 | -2500 | -0.0025
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2168 | 2429 | -261 | 69598.26 | 0.069598 | 2323 | 2323 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000233 | 999905 | 328 | -32800 | -0.0328 | 999999 | 999990 | 9 | -900 | -0.0009
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 982527 | 982897 | -370 | 74000 | 0.074 | 999384 | 999384 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1046 | 915 | 131 | -131000 | -0.131 | 74 | 74 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3916 | 3669 | 247 | -197600 | -0.1976 | 2713 | 2708 | 5 | -4000 | -0.004
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2802 | 2951 | -149 | 119200 | 0.1192 | 1324 | 1325 | -1 | 800 | 0.0008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982260 | 982977 | -717 | 573600 | 0.5736 | 998646 | 998654 | -8 | 6400 | 0.0064
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950512 | 951506 | -994 | 795200 | 0.7952 | 979548 | 979552 | -4 | 3200 | 0.0032
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 951049 | 952108 | -1059 | 847200 | 0.8472 | 989679 | 989685 | -6 | 4800 | 0.0048
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993330 | 993608 | -278 | 556000 | 0.556 | 999526 | 999527 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 988434 | 988979 | -545 | 1090000 | 1.09 | 999478 | 999480 | -2 | 4000 | 0.004
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998147 | 998305 | -158 | 158000 | 0.158 | 26341 | 26343 | -2 | 2000 | 0.002
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999607 | 999660 | -53 | 5300 | 0.0053 | 999848 | 999849 | -1 | 100 | 0.0001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999813 | 999805 | 8 | -4000 | -0.004 | 2259 | 2257 | 2 | -1000 | -0.001
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 16 | 5 | 11 | -5500 | -0.0055 | 150 | 145 | 5 | -2500 | -0.0025
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1042 | 1025 | 17 | -8500 | -0.0085 | 971 | 963 | 8 | -4000 | -0.004
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 62168 | 61111 | 1057 | -105700 | -0.1057 | 2406 | 2406 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 204 | 46 | 158 | -21066.14 | -0.021066 | 470 | 472 | -2 | 266.66 | 0.00026666
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994337 | 994365 | -28 | 2800 | 0.0028 | 2721 | 2718 | 3 | -300 | -0.0003
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8764 | 8453 | 311 | -31100 | -0.0311 | 14820 | 14803 | 17 | -1700 | -0.0017
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 11777 | 11442 | 335 | -33500 | -0.0335 | 5625 | 5601 | 24 | -2400 | -0.0024
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 30577 | 30316 | 261 | -26100 | -0.0261 | 10890 | 10871 | 19 | -1900 | -0.0019
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 54060 | 50420 | 3640 | 3640 | 0.00364 | 219720 | 214820 | 4900 | 4900 | 0.0049
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 27240 | 21610 | 5630 | 5630 | 0.00563 | 360150 | 350760 | 9390 | 9390 | 0.00939
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 117400 | 101300 | 16100 | 16100 | 0.0161 | 1089100 | 1050300 | 38800 | 38800 | 0.0388
[10 empty] | 3.6492 |  |  |  |  | 0.055457
SEPTEMBER-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -16.2706 |  |  |  |  | 0.057889
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.6492 |  |  |  |  | 0.055457
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.0042125 |  |  |  |  | -0.12836
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -12.6172 |  |  |  |  | -0.015017
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.296 |  |  |  |  | 0.0195
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -16.9132 |  |  |  |  | 0.0044829
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.9132 | (REACTIVE MUs) |  |  |  | 0.0044829 | (REACTIVE MUs)
Assessment on Tx-1 at 220KV Gazipur S/Stn due to change in M.F.(2020-21 w.e.f 4th June 2020) | [9 empty] | -7.3751 |  |  |  |  | -0.0067
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.4316 | (REACTIVE MUs) |  |  |  | 0.0094083 | (REACTIVE MUs)
[9 empty] | TOTAL | -28.7199 | (REACTIVE MUs) |  |  |  | 0.0071911 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998194 | 998188 | 6 | 6000 | 0.006 | 998359 | 998375 | -16 | -16000 | -0.016
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998981 | 999022 | -41 | -41000 | -0.041 | 999789 | 999811 | -22 | -22000 | -0.022
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 983620 | 983684 | -64 | -12800 | -0.0128 | 998843 | 998982 | -139 | -27800 | -0.0278
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999909 | 999881 | 28 | 37333.24 | 0.037333 | 999795 | 999777 | 18 | 23999.94 | 0.024
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998234 | 998251 | -17 | -25500 | -0.0255 | 999947 | 999956 | -9 | -13500 | -0.0135
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11329 | 11264 | 65 | 6500 | 0.0065 | 22372 | 22178 | 194 | 19400 | 0.0194
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 979118 | 979034 | 84 | 6300 | 0.0063 | 998391 | 998311 | 80 | 6000 | 0.006
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 995722 | 995932 | -210 | -15750 | -0.01575 | 998748 | 998846 | -98 | -7350 | -0.00735
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997174 | 997168 | 6 | 4800 | 0.0048 | 999681 | 999666 | 15 | 12000 | 0.012
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 988774 | 988934 | -160 | -16000 | -0.016 | 265072 | 265056 | 16 | 1600 | 0.0016
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 325 | 316 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18763 | 18587 | 176 | -176000 | -0.176 | 996590 | 996590 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3145 | 3206 | -61 | 122000 | 0.122 | 996425 | 996426 | -1 | 2000 | 0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16695 | 16820 | -125 | 125000 | 0.125 | 996303 | 996304 | -1 | 1000 | 0.001
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 999413 | 999430 | -17 | 17000 | 0.017
|  | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999987 | 1000000 | -13 | 13000 | 0.013 | 999947 | 1000000 | -53 | 53000 | 0.053 | w.e.f 6/9
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 121194 | 120405 | 789 | -789000 | -0.789 | 19347 | 19347 | 0 | 0 | 0
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119 | 50 | 69 | -69000 | -0.069 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25501 | 25165 | 336 | -672000 | -0.672 | 998798 | 998798 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 924885 | 925037 | -152 | 152000 | 0.152 | 813389 | 813389 | 0 | 0 | 0
|  | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999955 | 1000000 | -45 | 90000 | 0.09 | 0 | 0 | 0 | 0 | 0 | w.e.f 6/9
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 63497 | 56633 | 6864 | -5491200 | -5.4912 | 1964 | 1964 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 87440 | 85293 | 2147 | -1717600 | -1.7176 | 998920 | 998920 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951313 | 951379 | -66 | 66000 | 0.066 | 959387 | 959443 | -56 | 56000 | 0.056
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 960559 | 960929 | -370 | 740000 | 0.74 | 991344 | 991345 | -1 | 2000 | 0.002
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 914215 | 914436 | -221 | 442000 | 0.442 | 971832 | 971841 | -9 | 18000 | 0.018
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9526 | 9572 | -46 | 46000 | 0.046 | 996107 | 996113 | -6 | 6000 | 0.006
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996645 | 996800 | -155 | 155000 | 0.155 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980303 | 980473 | -170 | 170000 | 0.17 | 999864 | 999864 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247599 | 245968 | 1631 | -1631000 | -1.631 | 120826 | 120826 | 0 | 0 | 0
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4021 | 3421 | 600 | -1200000 | -1.2 | 27 | 27 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937576 | 940145 | -2569 | 2569000 | 2.569 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972991 | 974706 | -1715 | 1715000 | 1.715 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97280 | 94121 | 3159 | -3159000 | -3.159 | 985625 | 985625 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 29886 | 29152 | 734 | -587200 | -0.5872 | 999226 | 999226 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 48636 | 48266 | 370 | -592000 | -0.592 | 978991 | 978991 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995937 | 996878 | -941 | 1882000 | 1.882 | 984289 | 984289 | 0 | 0 | 0
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4482 | 5151 | -669 | 334500 | 0.3345 | 990669 | 990688 | -19 | 9500 | 0.0095
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22702 | 23128 | -426 | 426000 | 0.426 | 31864 | 31864 | 0 | 0 | 0
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1856 | 1925 | -69 | 69000 | 0.069 | 996553 | 996553 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 441 | 532 | -91 | 91000 | 0.091 | 660 | 660 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | SEPTEMBER-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51682 | 51601 | 81 | -81000 | -0.081 | 999529 | 999554 | -25 | 25000 | 0.025
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12515 | 12423 | 92 | -92000 | -0.092 | 427 | 447 | -20 | 20000 | 0.02
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7778 | 7540 | 238 | -238000 | -0.238 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6773 | 6171 | 602 | -602000 | -0.602 | 458 | 458 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5248 | 6022 | -774 | 774000 | 0.774 | 925068 | 925068 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62659 | 62109 | 550 | -550000 | -0.55 | 17060 | 17060 | 0 | 0 | 0
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3045 | 3162 | -117 | 234000 | 0.234 | 999557 | 999557 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74511 | 74465 | 46 | -46000 | -0.046 | 997154 | 997154 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50018 | 50127 | -109 | 218000 | 0.218 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10482 | 10534 | -52 | 104000 | 0.104 | 2266 | 2273 | -7 | 14000 | 0.014
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9279 | 9130 | 149 | -298000 | -0.298 | 2050 | 2045 | 5 | -10000 | -0.01
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996819 | 997789 | -970 | 970000 | 0.97 | 999976 | 999976 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991998 | 991998 | 0 | 0 | 0 | 994638 | 994638 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992220 | 994301 | -2081 | 2081000 | 2.081 | 987076 | 987076 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997402 | 997553 | -151 | -604000 | -0.604 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977917 | 977667 | 250 | 200000 | 0.2 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 929823 | 932562 | -2739 | -2191200 | -2.1912 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998266 | 998117 | 149 | 119200 | 0.1192 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995945 | 995716 | 229 | 183200 | 0.1832 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 988434 | 988979 | -545 | -1090000 | -1.09 | 999478 | 999480 | -2 | -4000 | -0.004
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 94559 | 92239 | 2320 | -4640000 | -4.64 | 1786 | 1786 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 11888 | 11888 | 0 | 0 | 0
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 124369 | 121478 | 2891 | -2891000 | -2.891 | 1949 | 1949 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 27161 | 23861 | 3300 | 330000 | 0.33 | 149937 | 149937 | 0 | 0 | 0
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997177 | 997177 | 0 | 0 | 0 | 999034 | 999097 | -63 | -11812.5 | -0.011813
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943706 | 943847 | -141 | -56400 | -0.0564 | 994560 | 994557 | 3 | 1200 | 0.0012
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980550 | 980662 | -112 | -44800 | -0.0448 | 73969 | 73969 | 0 | 0 | 0
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 496392 | 492889 | 3503 | 350300 | 0.3503 | 87720 | 87686 | 34 | 3400 | 0.0034
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1977 | 2044 | -67 | -67000 | -0.067 | 1573 | 1573 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 25950 | 25592 | 358 | 26850 | 0.02685
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 19007 | 18644 | 363 | 36300 | 0.0363
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10424 | 9777 | 647 | 323500 | 0.3235 | 3257 | 3257 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998263 | 997872 | 391 | 391000 | 0.391 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983822 | 984087 | -265 | -265000 | -0.265 | 914 | 914 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7529 | 7147 | 382 | 382000 | 0.382 | 6740 | 6740 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000192 | 999975 | 217 | 217000 | 0.217 | 18 | 18 | 0 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 989382 | 984879 | 4503 | 450300 | 0.4503 | 910413 | 910413 | 0 | 0 | 0
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5908 | 5335 | 573 | 573000 | 0.573 | 1125 | 1125 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5412 | 5042 | 370 | 370000 | 0.37 | 7449 | 7449 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994702 | 994784 | -82 | -16400 | -0.0164 | 15248 | 15245 | 3 | 600 | 0.0006
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990322 | 990398 | -76 | -14250 | -0.01425 | 4788 | 4796 | -8 | -1500 | -0.0015
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987557 | 987399 | 158 | 29625 | 0.029625 | 3880 | 3872 | 8 | 1500 | 0.0015
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4570 | 4553 | 17 | 4250 | 0.00425 | 8122 | 8122 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994787 | 994667 | 120 | 12000 | 0.012 | 29815 | 29815 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -12.3973 |  |  |  |  | 0.24239
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21747 | 21658 | 89 | -44500 | -0.0445 | 4959 | 4953 | 6 | -3000 | -0.003
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993249 | 993250 | -1 | 133.33 | 0.00013333 | 12719 | 12828 | -109 | 14532.97 | 0.014533
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1129 | 1130 | -1 | 1000 | 0.001 | 999340 | 999353 | -13 | 13000 | 0.013
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992912 | 992888 | 24 | -24000 | -0.024 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6780 | 6781 | -1 | 160 | 0.00016 | 31800 | 31755 | 45 | -7200 | -0.0072
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3556 | 3556 | 0 | 0 | 0 | 10953 | 10863 | 90 | -18000 | -0.018
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976758 | 977067 | -309 | 309000 | 0.309 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 103056 | 102835 | 221 | -22100 | -0.0221 | 76415 | 76408 | 7 | -700 | -0.0007
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4381 | 4223 | 158 | -15800 | -0.0158 | 1594 | 1585 | 9 | -900 | -0.0009
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 4751 | 6535 | -1784 | 178400 | 0.1784 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3191 | 3191 | 0 | 0 | 0 | 31989 | 31704 | 285 | -28500 | -0.0285
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 765 | 765 | 0 | 0 | 0 | 591 | 585 | 6 | -7998 | -0.007998
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3197 | 3197 | 0 | 0 | 0 | 2146 | 2146 | 0 | 0 | 0
|  | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 6/9
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2020 | 2015 | 5 | -500 | -0.0005 | 4512 | 4327 | 185 | -18500 | -0.0185
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996595 | 996050 | 545 | -436000 | -0.436 | 6221 | 6221 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988368 | 988170 | 198 | -198000 | -0.198 | 2363 | 2363 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1710 | 1623 | 87 | -65250 | -0.06525 | 3410 | 3410 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.31746 |  |  |  |  | -0.057265
SEPTEMBER-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -12.3973 |  |  |  |  | 0.24239
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.31746 |  |  |  |  | -0.057265
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.026287 |  |  |  |  | 0.069975
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.062212 |  |  |  |  | -0.045
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -12.8032 |  |  |  |  | 0.2101
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -12.8032 | (REACTIVE MUs) |  |  |  | 0.2101 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.1415 | (REACTIVE MUs) |  |  |  | 0.017284 | (REACTIVE MUs)
[9 empty] | TOTAL | -20.9447 | (REACTIVE MUs) |  |  |  | 0.22738 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2168 | 2429 | -261 | -69600.87 | -0.069601 | 2323 | 2323 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000233 | 999905 | 328 | 32800 | 0.0328 | 999999 | 999990 | 9 | 900 | 0.0009
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 982527 | 982897 | -370 | -74000 | -0.074 | 999384 | 999384 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1046 | 915 | 131 | 131000 | 0.131 | 74 | 74 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3916 | 3669 | 247 | 197600 | 0.1976 | 2713 | 2708 | 5 | 4000 | 0.004
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2802 | 2951 | -149 | -119200 | -0.1192 | 1324 | 1325 | -1 | -800 | -0.0008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982260 | 982977 | -717 | -573600 | -0.5736 | 998646 | 998654 | -8 | -6400 | -0.0064
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950512 | 951506 | -994 | -795200 | -0.7952 | 979548 | 979552 | -4 | -3200 | -0.0032
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 951049 | 952108 | -1059 | -847200 | -0.8472 | 989679 | 989685 | -6 | -4800 | -0.0048
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993330 | 993608 | -278 | -556000 | -0.556 | 999526 | 999527 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 956575 | 956814 | -239 | -11950 | -0.01195 | 22227 | 21952 | 275 | 13750 | 0.01375
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 969060 | 969457 | -397 | -29775 | -0.029775 | 22709 | 22632 | 77 | 5775 | 0.005775
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998011 | 998012 | -1 | -500 | -0.0005 | 5498 | 5468 | 30 | 15000 | 0.015
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996173 | 996193 | -20 | -7500 | -0.0075 | 7610 | 7627 | -17 | -6375 | -0.006375
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999717 | 999717 | 0 | 0 | 0 | 405 | 405 | 0 | 0 | 0
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11225 | 11147 | 78 | 5850 | 0.00585 | 41052 | 40780 | 272 | 20400 | 0.0204
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 4037 | 4230 | -193 | -19300 | -0.0193 | 2087 | 2060 | 27 | 2700 | 0.0027
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999509 | 999674 | -165 | -165000 | -0.165 | 283 | 242 | 41 | 41000 | 0.041
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991541 | 991784 | -243 | -243000 | -0.243 | 2708 | 2680 | 28 | 28000 | 0.028
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999840 | 999915 | -75 | -187500 | -0.1875 | 35 | 41 | -6 | -15000 | -0.015
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998174 | 998255 | -81 | -202500 | -0.2025 | 462 | 463 | -1 | -2500 | -0.0025
[10 empty] | -0.798 |  |  |  |  | 0.0515
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992912 | 992888 | 24 | 24000 | 0.024 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6780 | 6781 | -1 | -160 | -0.00016 | 31800 | 31755 | 45 | 7200 | 0.0072
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3556 | 3556 | 0 | 0 | 0 | 10953 | 10863 | 90 | 18000 | 0.018
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976758 | 977067 | -309 | -309000 | -0.309 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
SEPTEMBER-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996435 | 996627 | -192 | 192000 | 0.192 | 989808 | 989824 | -16 | 16000 | 0.016
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997677 | 997887 | -210 | 210000 | 0.21 | 995615 | 995628 | -13 | 13000 | 0.013
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997708 | 997760 | -52 | 104000 | 0.104 | 996395 | 996409 | -14 | 28000 | 0.028
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999322 | 999423 | -101 | 101000 | 0.101 | 995023 | 995055 | -32 | 32000 | 0.032
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 103056 | 102835 | 221 | 22100 | 0.0221 | 76415 | 76408 | 7 | 700 | 0.0007
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4381 | 4223 | 158 | 15800 | 0.0158 | 1594 | 1585 | 9 | 900 | 0.0009
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 4751 | 6535 | -1784 | -178400 | -0.1784 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21747 | 21658 | 89 | 44500 | 0.0445 | 4959 | 4953 | 6 | 3000 | 0.003
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 496392 | 492889 | 3503 | -350300 | -0.3503 | 87720 | 87686 | 34 | -3400 | -0.0034
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1977 | 2044 | -67 | 67000 | 0.067 | 1573 | 1573 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 25950 | 25592 | 358 | -26850 | -0.02685
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 19007 | 18644 | 363 | -36300 | -0.0363
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.592 |  |  |  |  | 0.1427
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -3.592 |  |  |  |  | 0.1427
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.8094 |  |  |  |  | 0.0017183
| TOTAL ENERGY TO NDMC | [8 empty] | -4.4014 |  |  |  |  | 0.14442

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3908 | 3782 | 126 | 25200 | 0.0252 | 77436 | 77378 | 58 | 11600 | 0.0116
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1343 | 1113 | 230 | 36800 | 0.0368 | 30571 | 30503 | 68 | 10880 | 0.01088
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4701 | 4654 | 47 | 47000 | 0.047 | 59190 | 59190 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 277 | 279 | -2 | -800 | -0.0008 | 19469 | 19365 | 104 | 41600 | 0.0416
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999764 | 999707 | 57 | 45600 | 0.0456 | 724 | 724 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2652 | 2380 | 272 | 108800 | 0.1088 | 6044 | 6043 | 1 | 400 | 0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1129 | 1130 | -1 | -1000 | -0.001 | 999340 | 999353 | -13 | -13000 | -0.013
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2616 |  |  |  |  | 0.05148
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4326 | 3487 | 839 | 31462.5 | 0.031462 | 8212 | 7410 | 802 | 30075 | 0.030075
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 79 | 79 | 0 | 0 | 0 | w.e.f 28/5
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 3870 | 410 | 30750 | 0.03075 | 33245 | 33078 | 167 | 12525 | 0.012525
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1960 | 1928 | 32 | 2400 | 0.0024
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4379 | 4379 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.062212 |  |  |  |  | 0.045
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2616 |  |  |  |  | 0.05148
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.32381 |  |  |  |  | 0.09648
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.32381 | (REACTIVE MUs) |  |  |  | 0.09648 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.13253 | (REACTIVE MUs) |  |  |  | 0.00028135 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19129 | (REACTIVE MUs) |  |  |  | 0.096761 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990866 | 990410 | 456 | 285000 | 0.285 | 201 | 201 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999965 | 1000000 | -35 | -17500 | -0.0175 | 50 | 0 | 50 | 25000 | 0.025
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996595 | 996050 | 545 | 436000 | 0.436 | 6221 | 6221 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 54060 | 50420 | 3640 | -3640 | -0.00364 | 219720 | 214820 | 4900 | -4900 | -0.0049
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 27240 | 21610 | 5630 | -5630 | -0.00563 | 360150 | 350760 | 9390 | -9390 | -0.00939
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 117400 | 101300 | 16100 | -16100 | -0.0161 | 1089100 | 1050300 | 38800 | -38800 | -0.0388
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.67813 |  |  |  |  | -0.02809
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.071858 |  |  |  |  | 0.00015255
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.60627 |  |  |  |  | -0.027937

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4902571 | ELSTER | Kvarh(Lead/Lag) | 1500 | 994577 | 994600 | -23 | -34500 | -0.0345 | 999777 | 999785 | -8 | -12000 | -0.012 | Check meter data
|  | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 30/9
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44972 | 44988 | -16 | -1600 | -0.0016 | 998688 | 998837 | -149 | -14900 | -0.0149
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16707 | 16721 | -14 | -7000 | -0.007 | 5353 | 5197 | 156 | 78000 | 0.078
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997873 | 997862 | 11 | 10312.5 | 0.010313 | 999702 | 999684 | 18 | 16875 | 0.016875
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999920 | 999924 | -4 | 4000 | 0.004 | 999735 | 999756 | -21 | 21000 | 0.021 | w.e.f 13/5
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993088 | 993093 | -5 | 2500 | 0.0025 | 122 | 84 | 38 | -19000 | -0.019
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.026287 |  |  |  |  | 0.069975
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968184 | 968177 | 7 | 1400 | 0.0014 | 993752 | 994361 | -609 | -121800 | -0.1218
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986844 | 986841 | 3 | 2812.5 | 0.0028125 | 999456 | 999463 | -7 | -6562.5 | -0.0065625
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.0042125 |  |  |  |  | -0.12836
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1753 | 1748 | 5 | 6250 | 0.00625 | 998681 | 998736 | -55 | -68750 | -0.06875
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 63531 | 63380 | 151 | 21234.375 | 0.021234 | 987685 | 988323 | -638 | -89718.75 | -0.089719
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 44322 | 44199 | 123 | 20500.041 | 0.0205 | 988829 | 989428 | -599 | -99833.533 | -0.099834
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 938 | 944 | -6 | -22500 | -0.0225 | 192 | 238 | -46 | -172500 | -0.1725
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 948769 | 948778 | -9 | -1800 | -0.0018 | 997787 | 997867 | -80 | -16000 | -0.016
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987153 | 987206 | -53 | -7950 | -0.00795 | 988477 | 988870 | -393 | -58950 | -0.05895
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999966 | 999982 | -16 | 10000 | 0.01 | 999914 | 999921 | -7 | 4375 | 0.004375
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.025734 |  |  |  |  | -0.50138
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.026287 |  |  |  |  | 0.069975
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.0042125 |  |  |  |  | -0.12836
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.025734 |  |  |  |  | -0.50138

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 129069 | 127295 | 1774 | 1774000 | 1.774 | 47827 | 47799 | 28 | 28000 | 0.028
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 11672 | 10897 | 775 | 1550000 | 1.55 | 1630 | 1626 | 4 | 8000 | 0.008
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 895838 | 899724 | -3886 | 1943000 | 1.943 | 998004 | 998004 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 425378 | 426005 | -627 | 62700 | 0.0627 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.3297 |  | NET REACTIVE ENERGY |  |  | 0.036
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.3297 |  |  |  |  | 0.036
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -16.8853 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -7.312 |  |  |  |  | -0.04575
[7 empty] | NDMC = |  |  | -0.798 |  |  |  |  | 0.0515
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -24.9953 |  |  |  |  | 0.00575
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.6656 |  |  |  |  | 0.04175
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.9106 | % |  |  | -6.0788 |  |  |  |  | 0.012905
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3995 | % |  |  | -8.1415 |  |  |  |  | 0.017284
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5348 | % |  |  | -4.4316 |  |  |  |  | 0.0094083
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1158 | % |  |  | -0.8094 |  |  |  |  | 0.0017183
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6739 | % |  |  | -0.13253 |  |  |  |  | 0.00028135
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3654 | % |  |  | -0.071858 |  |  |  |  | 0.00015255
Note :Sharing taken from wk-26 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2021 TO 30th SEPTEMBER-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -40.8392 | + | 0.067072
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -20.9447 | + | 0.22738
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -28.7199 | + | 0.0071911
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.4014 | + | 0.14442
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19129 | + | 0.096761
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.60627 |  | -0.027937
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2021 | INTIAL READING 01/09/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83