## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19676 | 20913 | -1237 | 1237000 | 1.237 | 979264 | 979279 | -15 | 15000 | 0.015
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999484 | 999816 | -332 | 332000 | 0.332 | 994087 | 994256 | -169 | 169000 | 0.169
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21083 | 21264 | -181 | 181000 | 0.181 | 1261 | 1265 | -4 | 4000 | 0.004
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974897 | 974838 | 59 | -59000 | -0.059 | 988202 | 988261 | -59 | 59000 | 0.059
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923854 | 925351 | -1497 | 1497000 | 1.497 | 960712 | 960713 | -1 | 1000 | 0.001
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17885 | 17812 | 73 | -73000 | -0.073 | 11878 | 11602 | 276 | -276000 | -0.276
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18873 | 18785 | 88 | -88000 | -0.088 | 8659 | 8461 | 198 | -198000 | -0.198
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17063 | 16858 | 205 | -205000 | -0.205 | 997016 | 996979 | 37 | -37000 | -0.037
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11966 | 11889 | 77 | -77000 | -0.077 | 988529 | 988639 | -110 | 110000 | 0.11
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36106 | 36215 | -109 | 109000 | 0.109 | 9936 | 9939 | -3 | 3000 | 0.003
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3867 | 4373 | -506 | 506000 | 0.506 | 4237 | 4236 | 1 | -1000 | -0.001
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999404 | 1000008 | -604 | 604000 | 0.604 | 999975 | 1000000 | -25 | 25000 | 0.025 | ROLL OVER
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970519 | 972967 | -2448 | -2448000 | -2.448 | 920612 | 920612 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997517 | 997574 | -57 | 57000 | 0.057 | 16030 | 16183 | -153 | 153000 | 0.153
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998253 | 998354 | -101 | 101000 | 0.101 | 18428 | 18429 | -1 | 1000 | 0.001
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1021 | 952 | 69 | -69000 | -0.069 | 20572 | 20547 | 25 | -25000 | -0.025
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999684 | 999673 | 11 | 11000 | 0.011 | 31346 | 31322 | 24 | 24000 | 0.024
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 130 | 33 | 33000 | 0.033 | 25918 | 25934 | -16 | -16000 | -0.016
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1694 | 1693 | 1 | 100 | 0.0001 | 98954 | 97991 | 963 | 96300 | 0.0963
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2460 | 2258 | 202 | 20200 | 0.0202 | 154626 | 153855 | 771 | 77100 | 0.0771
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996239 | 996250 | -11 | -11000 | -0.011 | 998425 | 998376 | 49 | 49000 | 0.049
| INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14 | 3 | 11 | -11000 | -0.011 | 999999 | 1000000 | -1 | 1000 | 0.001 | Loaded on 11/2/11 . Conn. in received mode from 11/2/11 to 14/02/11 ,ROLL OVER
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8 | 14 | -6 | -6000 | -0.006 | 1000060 | 999999 | 61 | 61000 | 0.061
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655682 | 655909 | -227 | -227000 | -0.227 | 803363 | 803389 | -26 | -26000 | -0.026
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662932 | 663949 | -1017 | -1017000 | -1.017 | 834763 | 834767 | -4 | -4000 | -0.004
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992474 | 992474 | 0 | 0 | 0 | 998659 | 998659 | 0 | 0 | 0 | OFF
26 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 993559 | 993005 | 554 | 55400 | 0.0554 | 12137 | 12093 | 44 | 4400 | 0.0044
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6019 | 5187 | 832 | -832000 | -0.832 | 981589 | 981465 | 124 | -124000 | -0.124
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996686 | 996854 | -168 | 168000 | 0.168 | 949977 | 950113 | -136 | 136000 | 0.136
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993326 | 993960 | -634 | 634000 | 0.634 | 954224 | 954967 | -743 | 743000 | 0.743
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
30 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 483 | 37 | 37000 | 0.037 | 13790 | 13563 | 227 | 227000 | 0.227
31 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998887 | 998903 | -16 | -16000 | -0.016 | 3333 | 3267 | 66 | 66000 | 0.066
| NDPL(+) continue | [14 empty] | FEBRUARY-2011
DMS
32 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 473 | 334 | 139 | 139000 | 0.139 | 50767 | 50694 | 73 | 73000 | 0.073
REWARI LINE
33 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 8898 | 7819 | 1079 | 107900 | 0.1079 | 44377 | 44170 | 207 | 20700 | 0.0207
VISHAL
34 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6042 | 6042 | 0 | 0 | 0 | 7171 | 7171 | 0 | 0 | 0
35 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8245 | 8159 | 86 | 8600 | 0.0086 | 25662 | 25513 | 149 | 14900 | 0.0149
36 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13613 | 13437 | 176 | 17600 | 0.0176 | 34647 | 34218 | 429 | 42900 | 0.0429
S.B.MILL
37 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 28353 | 27940 | 413 | 41300 | 0.0413 | 8523 | 8523 | 0 | 0 | 0
38 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
39 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
40 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 13371 | 12335 | 1036 | 103600 | 0.1036 | 8346 | 8340 | 6 | 600 | 0.0006
43 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997815 | 997753 | 62 | 6200 | 0.0062 | 999975 | 999974 | 1 | 100 | 0.0001
B.G.ROAD
44 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3421 | 3354 | 67 | 33500 | 0.0335 | 26218 | 26141 | 77 | 38500 | 0.0385
45 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3166 | 3089 | 77 | 38500 | 0.0385 | 17829 | 17777 | 52 | 26000 | 0.026
46 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3208 | 3133 | 75 | 37500 | 0.0375 | 12059 | 12025 | 34 | 17000 | 0.017
47 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3165 | 3119 | 46 | 23000 | 0.023 | 13741 | 13702 | 39 | 19500 | 0.0195
D.M.S.
48 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999562 | 999512 | 50 | 5000 | 0.005 | 4724 | 4719 | 5 | 500 | 0.0005
49 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 1817 | 1473 | 344 | 34400 | 0.0344 | 11518 | 11514 | 4 | 400 | 0.0004
50 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 4343 | 3796 | 547 | 54700 | 0.0547 | 44121 | 44113 | 8 | 800 | 0.0008
51 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8079 | 6908 | 1171 | 117100 | 0.1171 | 19016 | 18990 | 26 | 2600 | 0.0026
52 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999783 | 999829 | -46 | -4600 | -0.0046 | 283 | 284 | -1 | -100 | -0.0001
53 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
54 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 926 | 774 | 152 | 15200 | 0.0152 | 54452 | 54129 | 323 | 32300 | 0.0323
55 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 599 | 406 | 193 | 19300 | 0.0193 | 49491 | 49273 | 218 | 21800 | 0.0218
56 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 796 | 527 | 269 | 26900 | 0.0269 | 71027 | 70608 | 419 | 41900 | 0.0419
KASHMIRI GATE
57 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 84600 | 82913 | 1687 | 168700 | 0.1687 | 25729 | 25723 | 6 | 600 | 0.0006
58 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 7947 | 7567 | 380 | 38000 | 0.038 | 28045 | 27759 | 286 | 28600 | 0.0286
59 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
60 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 400 | 341 | 59 | -5900 | -0.0059 | 902 | 853 | 49 | -4900 | -0.0049
61 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999472 | 999472 | 0 | 0 | 0 | 999160 | 999148 | 12 | 1200 | 0.0012
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 1.4692 |  |  |  |  | 1.6967
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4111 | 4022 | 89 | -8900 | -0.0089 | 7556 | 7540 | 16 | -1600 | -0.0016
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4331 | 4342 | -11 | 11000 | 0.011 | 3687 | 3689 | -2 | 2000 | 0.002
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5741 | 5585 | 156 | -156000 | -0.156 | 3914 | 3864 | 50 | -50000 | -0.05
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3562 | 3400 | 162 | -32400 | -0.0324 | 3241 | 3207 | 34 | -6800 | -0.0068
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12536 | 11707 | 829 | -829000 | -0.829 | 10523 | 10489 | 34 | -34000 | -0.034
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 34534 | 32558 | 1976 | -197600 | -0.1976 | 147860 | 147764 | 96 | -9600 | -0.0096
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983494 | 984444 | -950 | 950000 | 0.95 | 993647 | 993693 | -46 | 46000 | 0.046
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.2629 |  |  |  |  | -0.054
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 1.4692 |  |  |  |  | 1.6967
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.2629 |  |  |  |  | -0.054
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.6026 |  |  |  |  | 0.1148
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 2.8089 |  |  |  |  | 1.7575
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.8089 | (REACTIVE MUs) |  |  |  | 1.7575 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.4515 | (REACTIVE MUs) |  |  |  | 1.3118 | (REACTIVE MUs)
ASSESSMENT OF BYPL FEEDERS AT GAS TURBINE (DMRC-I,DMRC-II,AKSHARDHAM) | [9 empty] | 0.13122 |  |  |  |  | 10.3363
FOR THE PERIOD ( APRIL 2010 TO SEP.2010)
[9 empty] | TOTAL | 2.4886 | (REACTIVE MUs) |  |  |  | 13.4057 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 995668 | 995019 | 649 | 64900 | 0.0649 | 71485 | 70379 | 1106 | 110600 | 0.1106
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14887 | 15919 | -1032 | -103200 | -0.1032 | 997172 | 997229 | -57 | -5700 | -0.0057
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22229 | 20744 | 1485 | 148500 | 0.1485 | 29018 | 28741 | 277 | 27700 | 0.0277
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999058 | 999440 | -382 | -38200 | -0.0382 | 998181 | 998215 | -34 | -3400 | -0.0034 | ROLL OVER
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8683 | 8698 | -15 | -1500 | -0.0015 | 68177 | 68093 | 84 | 8400 | 0.0084
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999248 | 998077 | 1171 | 117100 | 0.1171 | 46722 | 45683 | 1039 | 103900 | 0.1039
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999987 | 999993 | -6 | -6000 | -0.006 | 209 | 205 | 4 | 4000 | 0.004 | ROLL OVER
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999912 | 999928 | -16 | -16000 | -0.016 | 2278 | 2289 | -11 | -11000 | -0.011
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 101 | 96 | 5 | 5000 | 0.005 | 1423 | 1338 | 85 | 85000 | 0.085
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 188 | 222 | -34 | -34000 | -0.034 | 2638 | 2629 | 9 | 9000 | 0.009
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 213 | 225 | -12 | -12000 | -0.012 | 1844 | 1849 | -5 | -5000 | -0.005
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 312 | 295 | 17 | 17000 | 0.017 | 765 | 654 | 111 | 111000 | 0.111 | ROLL OVER
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 31 | 28 | 3 | 3000 | 0.003 | 13331 | 13236 | 95 | 95000 | 0.095
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 136 | 116 | 20 | 20000 | 0.02 | 33548 | 33528 | 20 | 20000 | 0.02
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 261 | 261 | 0 | 0 | 0 | 7175 | 6511 | 664 | 664000 | 0.664
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 229 | 281 | -52 | -52000 | -0.052 | 5055 | 5056 | -1 | -1000 | -0.001
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 28663 | 28400 | 263 | 26300 | 0.0263 | 418 | 418 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998954 | 998950 | 4 | 4000 | 0.004 | 5011 | 5043 | -32 | -32000 | -0.032
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 869326 | 873732 | -4406 | -4846600 | -4.8466
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 903442 | 905833 | -2391 | -2630100 | -2.6301
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997235 | 998075 | -840 | -840000 | -0.84 | 10117 | 10117 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.8847 |  |  |  |  | -6.5377
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967259 | 967525 | -266 | 266000 | 0.266 | 980473 | 980481 | -8 | 8000 | 0.008
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986545 | 987034 | -489 | 489000 | 0.489 | 987059 | 987177 | -118 | 118000 | 0.118
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 813 | 739 | 74 | 74000 | 0.074 | 48936 | 48726 | 210 | 210000 | 0.21
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 556 | 598 | -42 | 42000 | 0.042 | 980659 | 980862 | -203 | 203000 | 0.203
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2926 | 2566 | 360 | -360000 | -0.36 | 984408 | 985437 | -1029 | 1029000 | 1.029
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997551 | 998068 | -517 | 517000 | 0.517 | 992507 | 992637 | -130 | 130000 | 0.13
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998583 | 998788 | -205 | 205000 | 0.205 | 997155 | 997323 | -168 | 168000 | 0.168
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3562 | 3400 | 162 | 32400 | 0.0324 | 3241 | 3207 | 34 | 6800 | 0.0068
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12536 | 11707 | 829 | 829000 | 0.829 | 10523 | 10489 | 34 | 34000 | 0.034
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 67740 | 64625 | 3115 | 311500 | 0.3115 | 1644 | 1644 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 35142 | 34159 | 983 | 98300 | 0.0983 | 999406 | 999406 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.8071 |  |  |  |  | -4.3894
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.8071 |  |  |  |  | -4.3894
FEBRUARY-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998127 | 998542 | -415 | 415000 | 0.415 | 955116 | 955731 | -615 | 615000 | 0.615
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15874 | 16127 | -253 | 253000 | 0.253 | 971933 | 972584 | -651 | 651000 | 0.651
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14635 | 15135 | -500 | 500000 | 0.5 | 963011 | 963631 | -620 | 620000 | 0.62
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983730 | 984301 | -571 | 571000 | 0.571 | 993839 | 993846 | -7 | 7000 | 0.007
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974439 | 975096 | -657 | 657000 | 0.657 | 992110 | 992110 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1686 | 1680 | 6 | -6000 | -0.006 | 996289 | 996700 | -411 | 411000 | 0.411
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1450 | 1305 | 145 | -145000 | -0.145 | 984996 | 984969 | 27 | -27000 | -0.027
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 676 | 823 | -147 | 147000 | 0.147 | 995472 | 996241 | -769 | 769000 | 0.769
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999769 | 999865 | -96 | 96000 | 0.096 | 982171 | 983165 | -994 | 994000 | 0.994
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13709 | 13752 | -43 | 43000 | 0.043 | 968688 | 969057 | -369 | 369000 | 0.369
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970957 | 971870 | -913 | 913000 | 0.913 | 926999 | 927812 | -813 | 813000 | 0.813
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20898 | 20912 | -14 | 14000 | 0.014 | 21328 | 21140 | 188 | -188000 | -0.188
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14708 | 14713 | -5 | 5000 | 0.005 | 29999 | 29707 | 292 | -292000 | -0.292
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.463 |  |  |  |  | 4.742
| (B) NET ENERGY TO EAST | [8 empty] | 3.463 |  |  |  |  | 4.742
6
FEBRUARY-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992474 | 992474 | 0 | 0 | 0 | 998659 | 998659 | 0 | 0 | 0 | OFF
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 993559 | 993005 | 554 | -55400 | -0.0554 | 12137 | 12093 | 44 | -4400 | -0.0044
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 5761 | 4386 | 1375 | -137500 | -0.1375 | 54751 | 54059 | 692 | -69200 | -0.0692
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 10383 | 9629 | 754 | -75400 | -0.0754 | 112359 | 112252 | 107 | -10700 | -0.0107
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 995584 | 995764 | -180 | 18000 | 0.018 | 4311 | 4313 | -2 | 200 | 0.0002
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 12645 | 10709 | 1936 | -193600 | -0.1936 | 74542 | 74351 | 191 | -19100 | -0.0191
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36667 | 35270 | 1397 | -1397000 | -1.397 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO SOUTH & WEST
9 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999754 | 999785 | -31 | 31000 | 0.031 | 35964 | 36072 | -108 | 108000 | 0.108
10 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999656 | 999749 | -93 | 123999.69 | 0.124 | 587 | 614 | -27 | 35999.91 | 0.036
EXPORT TO NORTH from SHASTRI PARK
11 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 520 | 483 | 37 | -37000 | -0.037 | 13790 | 13563 | 227 | -227000 | -0.227
12 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998887 | 998903 | -16 | 16000 | 0.016 | 3333 | 3267 | 66 | -66000 | -0.066
DMS
13 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 473 | 334 | 139 | -139000 | -0.139 | 50767 | 50694 | 73 | -73000 | -0.073
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
14 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3421 | 3354 | 67 | -33500 | -0.0335 | 26218 | 26141 | 77 | -38500 | -0.0385
15 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3166 | 3089 | 77 | -38500 | -0.0385 | 17829 | 17777 | 52 | -26000 | -0.026
16 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3208 | 3133 | 75 | -37500 | -0.0375 | 12059 | 12025 | 34 | -17000 | -0.017
17 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3165 | 3119 | 46 | -23000 | -0.023 | 13741 | 13702 | 39 | -19500 | -0.0195
KASHMIRI GATE
18 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 84600 | 82913 | 1687 | -168700 | -0.1687 | 25729 | 25723 | 6 | -600 | -0.0006
19 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 7947 | 7567 | 380 | -38000 | -0.038 | 28045 | 27759 | 286 | -28600 | -0.0286
D.M.S.
20 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999562 | 999512 | 50 | -5000 | -0.005 | 4724 | 4719 | 5 | -500 | -0.0005
21 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 1817 | 1473 | 344 | -34400 | -0.0344 | 11518 | 11514 | 4 | -400 | -0.0004
22 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 4343 | 3796 | 547 | -54700 | -0.0547 | 44121 | 44113 | 8 | -800 | -0.0008
23 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8079 | 6908 | 1171 | -117100 | -0.1171 | 19016 | 18990 | 26 | -2600 | -0.0026
24 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999783 | 999829 | -46 | 4600 | 0.0046 | 283 | 284 | -1 | 100 | 0.0001
25 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
26 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 926 | 774 | 152 | -15200 | -0.0152 | 54452 | 54129 | 323 | -32300 | -0.0323
27 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 599 | 406 | 193 | -19300 | -0.0193 | 49491 | 49273 | 218 | -21800 | -0.0218
28 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 796 | 527 | 269 | -26900 | -0.0269 | 71027 | 70608 | 419 | -41900 | -0.0419
[10 empty] | -2.4531 |  |  |  |  | -0.5556
FEBRUARY-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.8071 |  |  |  |  | -4.3894
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.4531 |  |  |  |  | -0.5556
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.6445 |  |  |  |  | -0.0191
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.2905 |  |  |  |  | -4.9641
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.463 |  |  |  |  | 4.742
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 2.1725 |  |  |  |  | -0.2221
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.1725 | (REACTIVE MUs) |  |  |  | -0.2221 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.35877 | (REACTIVE MUs) |  |  |  | 1.0424 | (REACTIVE MUs)
ASSESSMENT OF BYPL FEEDERS AT GAS TURBINE (DMRC-I,DMRC-II,AKSHARDHAM) | [9 empty] | 0.11038 |  |  |  |  | 8.7476
FOR THE PERIOD ( APRIL 2010 TO SEP.2010)
[9 empty] | TOTAL | 1.9241 | (REACTIVE MUs) |  |  |  | 9.5679 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999177 | 999255 | -78 | -78000 | -0.078 | 11625 | 11735 | -110 | -110000 | -0.11
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 2887 | 6328 | -3441 | -344100 | -0.3441 | 681309 | 681384 | -75 | -7500 | -0.0075
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4719 | 4928 | -209 | -209000 | -0.209 | 42970 | 42981 | -11 | -11000 | -0.011
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9491 | 9360 | 131 | 131000 | 0.131 | 514 | 503 | 11 | 11000 | 0.011
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 376 | 117 | 259 | 77700 | 0.0777 | 181 | 163 | 18 | 5400 | 0.0054
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 4624 | 3517 | 1107 | 110700 | 0.1107 | 78193 | 78170 | 23 | 2300 | 0.0023
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 22687 | 22999 | -312 | -31200 | -0.0312 | 268843 | 268845 | -2 | -200 | -0.0002
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001196 | 999226 | 1970 | 197000 | 0.197 | 326360 | 326119 | 241 | 24100 | 0.0241 | ROLL OVER
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999911 | 999813 | 98 | 98000 | 0.098 | 10628 | 10532 | 96 | 96000 | 0.096
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995463 | 996142 | -679 | 679000 | 0.679 | 967745 | 967964 | -219 | 219000 | 0.219
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994127 | 994914 | -787 | 787000 | 0.787 | 969740 | 969916 | -176 | 176000 | 0.176
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991449 | 993239 | -1790 | 1790000 | 1.79 | 960706 | 960840 | -134 | 134000 | 0.134
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999290 | 999152 | 138 | -138000 | -0.138 | 970527 | 970581 | -54 | 54000 | 0.054
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9739 | 8060 | 1679 | -1679000 | -1.679 | 31733 | 31731 | 2 | -2000 | -0.002
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998629 | 999374 | -745 | 745000 | 0.745 | 979004 | 979088 | -84 | 84000 | 0.084
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37244 | 37159 | 85 | -85000 | -0.085 | 27536 | 27561 | -25 | 25000 | 0.025
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3746 | 4649 | -903 | 903000 | 0.903 | 13313 | 13525 | -212 | 212000 | 0.212
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22585 | 22909 | -324 | 324000 | 0.324 | 14426 | 14448 | -22 | 22000 | 0.022
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9183 | 9147 | 36 | -36000 | -0.036 | 40123 | 40158 | -35 | 35000 | 0.035
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4331 | 4342 | -11 | -11000 | -0.011 | 3687 | 3689 | -2 | -2000 | -0.002
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5741 | 5585 | 156 | 156000 | 0.156 | 3914 | 3864 | 50 | 50000 | 0.05
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978586 | 981598 | -3012 | 3012000 | 3.012 | 910094 | 910105 | -11 | 11000 | 0.011
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995294 | 996548 | -1254 | 1254000 | 1.254 | 887818 | 887818 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 5133 | 7188 | -2055 | 2055000 | 2.055
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 448 | 0 | 0 | 0 | 997796 | 999989 | -2193 | 2193000 | 2.193
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997538 | 997432 | 106 | -106000 | -0.106 | 959570 | 959604 | -34 | 34000 | 0.034
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999631 | 999645 | -14 | 14000 | 0.014 | 956714 | 959359 | -2645 | 2645000 | 2.645
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999031 | 999038 | -7 | 7000 | 0.007 | 949914 | 953343 | -3429 | 3429000 | 3.429
BRPL(+) continue | [14 empty] | FEBRUARY-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999042 | 999820 | -778 | 778000 | 0.778 | 978307 | 978500 | -193 | 193000 | 0.193
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 286 | 1044 | -758 | 758000 | 0.758 | 994895 | 995103 | -208 | 208000 | 0.208
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989849 | 989861 | -12 | 24000 | 0.024 | 981320 | 981876 | -556 | 1112000 | 1.112
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998328 | 998617 | -289 | 289000 | 0.289 | 948988 | 949062 | -74 | 74000 | 0.074
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1048 | 1117 | -69 | 69000 | 0.069 | 965444 | 965911 | -467 | 467000 | 0.467
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998545 | 998844 | -299 | 299000 | 0.299 | 955232 | 955303 | -71 | 71000 | 0.071
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 995841 | 996039 | -198 | 131999.868 | 0.132 | 998940 | 998950 | -10 | 6666.66 | 0.0066667
DIAL
| Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 133 | 58 | 75 | -150000 | -0.15 | 269 | 251 | 18 | -36000 | -0.036
| Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996840 | 996757 | 83 | -166000 | -0.166 | 999615 | 999600 | 15 | -30000 | -0.03
PARK STREET
38 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999754 | 999785 | -31 | -31000 | -0.031 | 35964 | 36072 | -108 | -108000 | -0.108
39 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999656 | 999749 | -93 | -123999.69 | -0.124 | 587 | 614 | -27 | -35999.91 | -0.036
SARITA VIHAR
40 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1948 | 673 | 1275 | -1275000 | -1.275 | 982016 | 982034 | -18 | 18000 | 0.018
41 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999226 | 1000581 | -1355 | 1355000 | 1.355 | 988308 | 988387 | -79 | 79000 | 0.079 | ROLL OVER
NARAINA
42 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4111 | 4022 | 89 | 8900 | 0.0089 | 7556 | 7540 | 16 | 1600 | 0.0016
SUDARSHAN PARK
43 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 34534 | 32558 | 1976 | 197600 | 0.1976 | 147860 | 147764 | 96 | 9600 | 0.0096
REWARI LINE
44 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
45 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983494 | 984444 | -950 | -950000 | -0.95 | 993647 | 993693 | -46 | -46000 | -0.046
A.I.I.M.S.
46 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999476 | 999476 | 0 | 0 | 0 | 1070 | 1070 | 0 | 0 | 0
47 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 2431 | 2244 | 187 | 18700 | 0.0187 | 3342 | 3048 | 294 | 29400 | 0.0294
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 8.8013 |  |  |  |  | 13.3974
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 983755 | 987481 | -3726 | -372600 | -0.3726 | 859235 | 859284 | -49 | -4900 | -0.0049
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 67740 | 64625 | 3115 | -311500 | -0.3115 | 1644 | 1644 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 35142 | 34159 | 983 | -98300 | -0.0983 | 999406 | 999406 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 337 | 337 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 562 | 560 | 2 | -200 | -0.0002 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 693017 | 685665 | 7352 | -735200 | -0.7352 | 43485 | 43485 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2174 | 1953 | 221 | -221000 | -0.221 | 908 | 854 | 54 | -54000 | -0.054
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 703984 | 698500 | 5484 | -548400 | -0.5484 | 38222 | 38222 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 10831 | 8648 | 2183 | -218300 | -0.2183 | 48622 | 48612 | 10 | -1000 | -0.001
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 12007 | 10110 | 1897 | -189700 | -0.1897 | 47390 | 47390 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 31266 | 30935 | 331 | -66200 | -0.0662 | 100688 | 100689 | -1 | 200 | 0.0002 | CT RATIO FOUND 800/5 IN CT RATIO TESTING . M.F. IS DOUBLED
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 11613 | 10592 | 1021 | -102100 | -0.1021 | 2413 | 2348 | 65 | -6500 | -0.0065
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 10476 | 7144 | 3332 | -333200 | -0.3332 | 603832 | 603784 | 48 | -4800 | -0.0048
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 82092 | 81030 | 1062 | -106200 | -0.1062 | 162638 | 159697 | 2941 | -294100 | -0.2941
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 149182 | 145835 | 3347 | 334700 | 0.3347 | 24913 | 24249 | 664 | 66400 | 0.0664
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 672 | 672 | 0 | 0 | 0 | 11153 | 11149 | 4 | -400 | -0.0004
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 8898 | 7819 | 1079 | -107900 | -0.1079 | 44377 | 44170 | 207 | -20700 | -0.0207
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6042 | 6042 | 0 | 0 | 0 | 7171 | 7171 | 0 | 0 | 0
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8245 | 8159 | 86 | -8600 | -0.0086 | 25662 | 25513 | 149 | -14900 | -0.0149
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13613 | 13437 | 176 | -17600 | -0.0176 | 34647 | 34218 | 429 | -42900 | -0.0429
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 28353 | 27940 | 413 | -41300 | -0.0413 | 8523 | 8523 | 0 | 0 | 0
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 13371 | 12335 | 1036 | -103600 | -0.1036 | 8346 | 8340 | 6 | -600 | -0.0006
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997815 | 997753 | 62 | -6200 | -0.0062 | 999975 | 999974 | 1 | -100 | -0.0001
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 400 | 341 | 59 | 5900 | 0.0059 | 902 | 853 | 49 | 4900 | 0.0049
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999472 | 999472 | 0 | 0 | 0 | 999160 | 999148 | 12 | -1200 | -0.0012
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.2475 |  |  |  |  | -0.3746
FEBRUARY-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 8.8013 |  |  |  |  | 13.3974
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.2475 |  |  |  |  | -0.3746
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.514 |  |  |  |  | 0.8869
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.20055 |  |  |  |  | -0.1026
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 6.8673 |  |  |  |  | 13.8071
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 6.8673 | (REACTIVE MUs) |  |  |  | 13.8071 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.61277 | (REACTIVE MUs) |  |  |  | 1.7804 | (REACTIVE MUs)
ASSESSMENT OF BYPL FEEDERS AT GAS TURBINE (DMRC-I,DMRC-II,AKSHARDHAM) | [9 empty] | 0.18879 |  |  |  |  | 15.0295
FOR THE PERIOD ( APRIL 2010 TO SEP.2010)
[9 empty] | TOTAL | 6.4433 | (REACTIVE MUs) |  |  |  | 30.617 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 5761 | 4386 | 1375 | 137500 | 0.1375 | 54751 | 54059 | 692 | 69200 | 0.0692
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 10383 | 9629 | 754 | 75400 | 0.0754 | 112359 | 112252 | 107 | 10700 | 0.0107
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 995584 | 995764 | -180 | -18000 | -0.018 | 4311 | 4313 | -2 | -200 | -0.0002
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 12645 | 10709 | 1936 | 193600 | 0.1936 | 74542 | 74351 | 191 | 19100 | 0.0191
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 36667 | 35270 | 1397 | 1397000 | 1.397 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998007 | 998623 | -616 | -61600 | -0.0616 | 268403 | 268433 | -30 | -3000 | -0.003
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 3297 | 2990 | 307 | 30700 | 0.0307 | 398282 | 397527 | 755 | 75500 | 0.0755
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 6852 | 5387 | 1465 | 146500 | 0.1465 | 178570 | 177931 | 639 | 63900 | 0.0639
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 3643 | 3079 | 564 | 56400 | 0.0564 | 291887 | 291283 | 604 | 60400 | 0.0604
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998971 | 999257 | -286 | -28600 | -0.0286 | 199204 | 198470 | 734 | 73400 | 0.0734
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998773 | 999046 | -273 | -27300 | -0.0273 | 123009 | 123175 | -166 | -16600 | -0.0166 | ROLL OVER
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 7295 | 6266 | 1029 | 102900 | 0.1029 | 177728 | 176000 | 1728 | 172800 | 0.1728
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 6042 | 5134 | 908 | 90800 | 0.0908 | 216806 | 215360 | 1446 | 144600 | 0.1446
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 47492 | 46640 | 852 | 937200 | 0.9372
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4948 | 4674 | 274 | 274000 | 0.274 | 36121 | 36121 | 0 | 0 | 0
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 116608 | 115414 | 1194 | 1313400 | 1.3134
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7646 | 7456 | 190 | 190000 | 0.19 | 48092 | 48092 | 0 | 0 | 0
[10 empty] | 0.464 |  |  |  |  | 2.2506
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 693017 | 685665 | 7352 | 735200 | 0.7352 | 43485 | 43485 | 0 | 0 | 0
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2174 | 1953 | 221 | 221000 | 0.221 | 908 | 854 | 54 | 54000 | 0.054
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 703984 | 698500 | 5484 | 548400 | 0.5484 | 38222 | 38222 | 0 | 0 | 0
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 11613 | 10592 | 1021 | 102100 | 0.1021 | 2413 | 2348 | 65 | 6500 | 0.0065
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 10476 | 7144 | 3332 | 333200 | 0.3332 | 603832 | 603784 | 48 | 4800 | 0.0048
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 82092 | 81030 | 1062 | 106200 | 0.1062 | 162638 | 159697 | 2941 | 294100 | 0.2941
FEBRUARY-2011
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 149182 | 145835 | 3347 | -334700 | -0.3347 | 24913 | 24249 | 664 | -66400 | -0.0664
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 672 | 672 | 0 | 0 | 0 | 11153 | 11149 | 4 | 400 | 0.0004
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 10831 | 8648 | 2183 | 218300 | 0.2183 | 48622 | 48612 | 10 | 1000 | 0.001
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 12007 | 10110 | 1897 | 189700 | 0.1897 | 47390 | 47390 | 0 | 0 | 0
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 31266 | 30935 | 331 | 66200 | 0.0662 | 100688 | 100689 | -1 | -200 | -0.0002 | CT RATIO FOUND 800/5 IN CT RATIO TESTING SO M.F. IS DOUBLED
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 983755 | 987481 | -3726 | 372600 | 0.3726 | 859235 | 859284 | -49 | 4900 | 0.0049
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999476 | 999476 | 0 | 0 | 0 | 1070 | 1070 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 2431 | 2244 | 187 | -18700 | -0.0187 | 3342 | 3048 | 294 | -29400 | -0.0294
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.0988 |  |  |  |  | 3.1901
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.0988 |  |  |  |  | 3.1901
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.08453 |  |  |  |  | 0.24561
| ASSESSMENT OF BYPL FEEDERS AT GAS TURBINE (DMRC-I,DMRC-II,AKSHARDHAM)FOR THE PERIOD APRIL 2010 TO SEP.2010 | [8 empty] | 0.0229 |  |  |  |  | 1.878
| TOTAL ENERGY TO NDMC | [8 empty] | 5.0372 |  |  |  |  | 5.3137

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 511 | 464 | 47 | 47000 | 0.047 | 12062 | 11983 | 79 | 79000 | 0.079
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 349 | 310 | 39 | 39000 | 0.039 | 16439 | 16380 | 59 | 59000 | 0.059
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 610 | 382 | 228 | 228000 | 0.228 | 23528 | 23523 | 5 | 5000 | 0.005
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 386 | 276 | 110 | 110000 | 0.11 | 12309 | 12306 | 3 | 3000 | 0.003
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1098 | 920 | 178 | 178000 | 0.178 | 6031 | 6030 | 1 | 1000 | 0.001
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 337 | 337 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 562 | 560 | 2 | 200 | 0.0002 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6022 |  |  |  |  | 0.147
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3211 | 3211 | 0 | 0 | 0 | 32040 | 32039 | 1 | 100 | 0.0001
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 21669 | 21525 | 144 | 14400 | 0.0144 | 52240 | 52046 | 194 | 19400 | 0.0194
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 62966 | 62425 | 541 | 54100 | 0.0541 | 5462 | 5395 | 67 | 6700 | 0.0067
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 13126 | 12808 | 318 | 31800 | 0.0318 | 36840 | 36551 | 289 | 28900 | 0.0289
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999778 | 999796 | -18 | -1800 | -0.0018 | 13830 | 13827 | 3 | 300 | 0.0003
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 68041 | 67341 | 700 | 70000 | 0.07 | 28041 | 27710 | 331 | 33100 | 0.0331
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 643 | 419 | 224 | 22400 | 0.0224 | 1045 | 904 | 141 | 14100 | 0.0141
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1909 |  |  |  |  | 0.1026
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7449 | 7642 | -193 | -9650 | -0.00965 | 18541 | 18541 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.00965 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.20055 |  |  |  |  | 0.1026
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6022 |  |  |  |  | 0.147
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.80275 |  |  |  |  | 0.2496
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.80275 | (REACTIVE MUs) |  |  |  | 0.2496 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.014731 | (REACTIVE MUs) |  |  |  | 0.042802 | (REACTIVE MUs)
ASSESSMENT OF BYPL FEEDERS AT GAS TURBINE (DMRC-I,DMRC-II,AKSHARDHAM) | [9 empty] | 0.0035 |  |  |  |  | 0.2789
FOR THE PERIOD APRIL 2010 TO SEP.2010
[9 empty] | TOTAL | 0.79152 | (REACTIVE MUs) |  |  |  | 0.5713 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 66676 | 62316 | 4360 | 436000 | 0.436 | 76557 | 76514 | 43 | 4300 | 0.0043
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 14678 | 16612 | -1934 | -193400 | -0.1934 | 999957 | 999976 | -19 | -1900 | -0.0019
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 130531 | 124832 | 5699 | 569900 | 0.5699 | 86284 | 85899 | 385 | 38500 | 0.0385
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12678 | 11993 | 685 | 685000 | 0.685 | 16862 | 16848 | 14 | 14000 | 0.014
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993950 | 993974 | -24 | 12000 | 0.012 | 960805 | 961834 | -1029 | 514500 | 0.5145
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994493 | 994502 | -9 | 4500 | 0.0045 | 990166 | 990801 | -635 | 317500 | 0.3175
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999906 | 999906 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.514 |  |  |  |  | 0.8869
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 960749 | 962728 | -1979 | -395800 | -0.3958 | 990954 | 990999 | -45 | -9000 | -0.009
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 929724 | 932211 | -2487 | -248700 | -0.2487 | 931312 | 931413 | -101 | -10100 | -0.0101
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.6445 |  |  |  |  | -0.0191
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 147178 | 143113 | 4065 | 813000 | 0.813 | 252080 | 251739 | 341 | 68200 | 0.0682
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 25463 | 23324 | 2139 | 427800 | 0.4278 | 38975 | 38892 | 83 | 16600 | 0.0166
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 19249 | 15103 | 4146 | 414600 | 0.4146 | 67670 | 67538 | 132 | 13200 | 0.0132
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991507 | 991671 | -164 | -164000 | -0.164 | 997644 | 997628 | 16 | 16000 | 0.016
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 985969 | 986817 | -848 | -84800 | -0.0848 | 7839 | 7846 | -7 | -700 | -0.0007
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 995285 | 995677 | -392 | 196000 | 0.196 | 995906 | 995909 | -3 | 1500 | 0.0015
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999906 | 999906 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.6026 |  |  |  |  | 0.1148
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.514 |  |  |  |  | 0.8869
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.6445 |  |  |  |  | -0.0191
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.6026 |  |  |  |  | 0.1148

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6455 | 5992 | 463 | 926000 | 0.926 | 999918 | 999918 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 5466 | 4876 | 590 | 1180000 | 1.18 | 999698 | 999698 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.106 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999677 | 999753 | -76 | -76000 | -0.076 | 41591 | 41501 | 90 | 90000 | 0.09
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991412 | 991499 | -87 | -87000 | -0.087 | 985553 | 985779 | -226 | -226000 | -0.226
[7 empty] | NET REACTIVE ENERGY |  |  | -0.163 |  | NET REACTIVE ENERGY |  |  | -0.136
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.943 |  |  |  |  | -0.136
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.8847 |  |  |  |  | -6.5377
[7 empty] | NDMC = |  |  | 0.464 |  |  |  |  | 2.2506
MES =
[7 empty] | 2)TOTAL |  |  | -0.4207 |  |  |  |  | -4.2871
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.5223 |  |  |  |  | -4.4231
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.6589 | % |  |  | 0.4515 |  |  |  |  | -1.3118
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.2532 | % |  |  | 0.61277 |  |  |  |  | -1.7804
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.5674 | % |  |  | 0.35877 |  |  |  |  | -1.0424
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.5528 | % |  |  | 0.08453 |  |  |  |  | -0.24561
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9677 | % |  |  | 0.014731 |  |  |  |  | -0.042802
Note :Sharing taken from wk-46 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2011 TO 28th FEBRUARY-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 2.4886 | + | 13.4057
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 6.4433 | + | 30.617
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.9241 | + | 9.5679
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.0372 | + | 5.3137
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.79152 | + | 0.5713
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
3 No. 66KV BYPL Feeders at Gas Turbine Station not accounted in Genco Sheet in reactive energy drawl on feeders from Genco from April2010 to Jan.2011. As such assessment of same is adjusted in February2011 and March 2011 Reactive Bills.

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/11 | INTIAL READING 01/02/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990459 | 990246 | 213 | 319500 | 0.3195 | 981739 | 981743 | -4 | -6000 | -0.006
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 987373 | 988289 | -916 | -1374000 | -1.374 | 987403 | 987403 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 950345 | 951126 | -781 | -1171500 | -1.1715 | 971577 | 971580 | -3 | -4500 | -0.0045
[8 empty] | NET REACTIVE ENERGY |  | -2.226 |  |  | NET REACTIVE ENERGY |  | -0.0105
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997002 | 997053 | -51 | -255000 | -0.255 | 37952 | 38038 | -86 | -430000 | -0.43 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999628 | 999964 | -336 | -336000 | -0.336 | 9859 | 10316 | -457 | -457000 | -0.457 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 980725 | 980811 | -86 | -86000 | -0.086 | 992749 | 992749 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.677 |  |  | NET REACTIVE ENERGY |  | -0.887